## Slide 1: LLO Electronics Racks - Start
Search by
AREA
Search by SUBSYSTEM
This document provides details about the LLO electronics racks. It may be examined through four separate but interconnected methods: racks may be found searching MAPS of the observatory, or for AREAS in which they reside, or by searching SUBSYSTEMS that they service., or through the DocDB references to their D-numbers or S-numbers.
Search by
LOCATION
Search by
DocDB

## Slide 2: Locations
X-End – D0901465
Y-Mid-station
Y-End – D0901464
Corner Station – D0901466
Staging Building – D000294
Science Education Building
Warehouse
<< Start
X-Mid-station

## Slide 3: IFO Locations
<< Start

## Slide 4: Staging Building, SEC As Built
D000294
<< Locations

## Slide 5: LLO Racks by AREA
Mass Storage
Room (MSR)
Operator Control
Room (OCR)
CDS Electronics
Room (CER)
Laser Diode
Room (LDR)
CDS Power
Room (CPR)
LVEA Racks
(LVEA Racks)
X-End Racks
(X-End Racks)
X-End Tables
(X-End)
Computer User Room (CUR)
Electronics Test Racks (ETR)
LLO electronics racks are installed in a variety of LOCATIONS. Generally speaking, each location houses a specific type of rack. Front-end computers are housed in the MSR. Electronics racks with IO chasses are housed in the CER. Other electronics racks that interface to chambers are located in the LVEA, X-End and Y-End areas. Power supplies are housed in the CPR. And finally, test racks for electronics are spread throughout the facility, housed wherever they are required.
<< Start
Other Areas
(Other)
LVEA Tables
(LVEA Tables)
Y-End Racks
(Y-End Racks)
Y-End Tables
(Y-End)

## Slide 6: LLO Racks by Subsystem
Auxiliary Optics
CER:(AOS / TCS)
LVEA:(AOS / TCS)
CERX:(AOS / TCS)
VEAX:(AOS / TCS)
CERY:(AOS / TCS)
VEAY:(AOS / TCS)
Data Acquisition
CER:(DAQ / PEM / OAF)
LVEA:(DAQ / PEM / OAF)
CERX:(DAQ / PEM / OAF)
VEAX:(DAQ / PEM / OAF)
CERY:(DAQ / PEM / OAF)
VEAY:(DAQ / PEM / OAF)
Interferometer Sensing and Control
CER:(ISC)
LVEA:(ISC)
CERX:(ISC)
VEAX:(ISC)
CERY:(ISC)
VEAY:(ISC)
Pre-stabilized Laser CER:(PSL)
LVEA:(PSL)
CERX:(PSL)
VEAX:(PSL)
CERY:(PSL)
VEAY:(PSL)
Seismic Isolation
CER:(SEI)
LVEA:(SEI)
CERX:(SEI)
VEAX:(SEI)
CERY:(SEI)
VEAY:(SEI)
Suspensions
CER:(SUS)
LVEA:(SUS)
CERX:(SUS)
VEAX:(SUS)
CERY:(SUS)
VEAY:(SUS)
IFO Subsystems are another way to view the racks that are installed in a variety of locations. Generally speaking, each subsystem has racks that are positioned in several physical locations. The subsystems are: AOS, DAQ, ISC, PSL, SEI, SUS, VAC, and VDC. TCS is a part of AOS. PEM and OAF are part of DAQ. HEPI is part of SEI.
Vacuum
CER:(VAC)
LVEA:(VAC)
CERX:(VAC)
VEAX:(VAC)
CERY:(VAC)
VEAY:(VAC)
DC Power
CER:(VDC)
LVEA:(VDC)
CERX:(VDC)
VEAX:(VDC)
CERY:(VDC)
VEAY:(VDC)
<< Start
Facilities
CER:(FAC)
LVEA:(FAC)
CERX:(FAC)
VEAX:(FAC)
CERY:(FAC)
VEAY:(FAC)

## Slide 7: LLO Rack Naming Scheme
CDS racks are named according to site, IFO designation, subsystem use, station (location) and sequence. (See G1001030)
Site | Description | IFO | Subsystem | Description | Station | Description | Rack Number
L | Livingston | 1 | AOS | Auxiliary Optics | C | [Corner] Common | 1
H | Hanford | 2 | DAQ | Data Acquisition | MS | Mass Storage | 2
M | MIT |  | ETR | Electronics Test Rack | R | [Corner] Remote (Field) | 3
C | CIT |  | FAC | Facilities and Infrastructure | XC | X-End Common | 4
 |  |  | ISC | IFO Sensing and Control | XR | X-End Remote [Field] | 5
 |  |  | LDR | Laser Diode Room | YC | Y-End Common | 6
 |  |  | OAF | Online Adaptive Filtering | YR | Y-End Remote [Field] | 7
 |  |  | PEM | Physical Environment Monitoring |  |  | 8
 |  |  | PSL | Pre-stabilized Laser |  |  | 9
 |  |  | SEI | Seismic Isolation |  |  | 10
 |  |  | SUS | Suspensions |  |  | 11
 |  |  | TCS | Thermal Compensation System |  |  | 12
 |  |  | VAC | Vacuum |  |  | etc.
 |  |  | VDC | Voltage – DC |  |  | 
<< Start

## Slide 8: LLO CDS Electronics Rack Names
Rack | Rack Designator | Subsystem | Location | Comment | Rack Type | Dxxxxxxx | Sxxxxxxx
1 | L1-AOS-C1 | AOS | CER |  | Standard | D1201119 | S1202974
2 | L1-TCS-R1 | AOS | LVEA |  | Standard | D1201122 | S1202975
3 | L1-TCS-R2 | AOS | LVEA |  | Standard | D1201123 | S1202976
4 | L1-TCS-XC1 | AOS | CERX |  | Standard | D1201129 | S1202980
5 | L1-TCS-YC1 | AOS | CERY |  | Standard | D1201130 | S1202981
6 | L1-OAF-C1 | DAQ | CER | OAF/PEM | Standard | D1200941 | S1202404
7 | L1-DAQ-XC1 | DAQ | CERX |  | Standard | D1201085 | S1202949
8 | L1-DAQ-YC1 | DAQ | CERY |  | Standard | D1201092 | S1202956
9 | L1-ISC-C1 | ISC | CER |  | Standard | D1200949 | S1201186
10 | L1-ISC-C2 | ISC | CER |  | Standard | D1200975 | S1201187
11 | L1-ISC-C3 | ISC | CER |  | Standard | D1200976 | S1201188
12 | L1-ISC-C4 | ISC | CER |  | Standard | D1200977 | S1201189
13 | L1-ISC-R1 | ISC | LVEA |  | Standard | D1001460 | S1201192
14 | L1-ISC-R2 | ISC | LVEA |  | Standard | D1001425 | S1201193
15 | L1-ISC-R3 | ISC | LVEA |  | Standard | D1001426 | S1201194
16 | L1-ISC-R4 | ISC | LVEA |  | Standard | D1101904 | S1201195
17 | L1-ISC-R5 | ISC | LVEA |  | Standard | D1200196 | S1201196
18 | L1-ISC-XC1 | ISC | CERX |  | Standard | D1201084 | S1202948
19 | L1-ISC-YC1 | ISC | CERY |  | Standard | D1201091 | S1202955
20 | L1-ISC-XR1 | ISC | VEAX |  | Standard | D1201087 | S1202951
21 | L1-ISC-YR1 | ISC | VEAY |  | Standard | D1201094 | S1202958
22 | L1-ETR-04 | OPTICS | Test Rack | Optics Electronics Lab Rack | 11U |  | 
23 | L1-LDR-C1 | PSL | LDR |  | Vendor |  | 
24 | L1-LDR-C2 | PSL | LDR |  | Vendor |  | 
25 | L1-PSL-C1 | PSL | CER |  | Standard | D1201118 | S1202977
26 | L1-PSL-R1 | PSL | LVEA |  | Standard | D1201120 | S1202978
27 | L1-PSL-R2 | PSL | LVEA |  | Standard | D1201121 | S1202979
28 | L1-SEI-C1 | SEI | CER | SEI HAM 1 and HAM 6 | Standard | D1201112 | S1200743
29 | L1-SEI-C2 | SEI | CER | SEI HAM 2 and HAM 3 | Standard | D1201113 | S1200744
30 | L1-SEI-C3 | SEI | CER | SEI HAM 4 and HAM 5 | Standard | D1201114 | S1200745
31 | L1-SEI-C4 | SEI | CER | SEI BCS1 | Standard | D1201115 | S1200746
32 | L1-SEI-C5 | SEI | CER | SEI BCS2 | Standard | D1201116 | S1200747
33 | L1-SEI-C6 | SEI | CER | SEI BCS3 | Standard | D1201117 | S1200748
34 | L1-SEI-XC1 | SEI | CERX | SEI BCS4 | Standard | D1201081 | S1202945
35 | L1-SEI-YC1 | SEI | CERY | SEI BCS5 | Standard | D1201088 | S1202952
36 | L1-ETR-05 | SEI | Test Rack | HAM ISI Electronics Test Rack |  |  | 
37 | L1-ETR-07 | SEI | Test Rack | Triple Electronics Test Rack |  |  | 
38 | L1-SUS-C1 | SUS | CER | SUS ITM, FM, and BS (1 of 2) | Standard | D1200856 | S1104062
39 | L1-SUS-C2 | SUS | CER | SUS ITM, FM, and BS (2 of 2) | Standard | D1200859 | S1104356
40 | L1-SUS-C3 | SUS | CER | SUS HAM 2 (1 of 2) | Standard | D1200864 | S1104357
41 | L1-SUS-C4 | SUS | CER | SUS HAM 2 (2 of 2) | Standard | D1200867 | S1104358
42 | L1-SUS-C5 | SUS | CER | SUS ITMX, ITMY, and BS (1 of 2) | Standard | D1200874 | S1105375
43 | L1-SUS-C6 | SUS | CER | SUS ITMX, ITMY, and BS (2 of 2) | Standard | D1200875 | S1105376
44 | L1-SUS-C7 | SUS | CER | SUS HAM 5 and HAM 6 (1 of 2) | Standard | D1200876 | S1105377
45 | L1-SUS-C8 | SUS | CER | SUS HAM 5 and HAM 6 (2 of 2) | Standard | D1200877 | S1105378
46 | L1-SUS-R1 | SUS | LVEA |  | Standard | D1200879 | S1200749
47 | L1-SUS-R2 | SUS | LVEA |  | Standard | D1200880 | S1200750
48 | L1-SUS-R3 | SUS | LVEA |  | Standard | D1200883 | S1202300
49 | L1-SUS-R4 | SUS | LVEA |  | Standard | D1201134 | S1202995
50 | L1-SUS-R5 | SUS | LVEA |  | Standard | D1201135 | S1202996
51 | L1-SUS-R6 | SUS | LVEA |  | Standard | D1201136 | S1202997
52 | L1-SUS-XC1 | SUS | CERX |  | Standard | D1201082 | S1202946
53 | L1-SUS-XC2 | SUS | CERX |  | Standard | D1201083 | S1202947
54 | L1-SUS-XR1 | SUS | VEAX |  | Standard | D1201131 | S1202993
55 | L1-SUS-YC1 | SUS | CERY |  | Standard | D1201089 | S1202953
56 | L1-SUS-YC2 | SUS | CERY |  | Standard | D1201090 | S1202954
57 | L1-SUS-YR1 | SUS | VEAY |  | Standard | D1201132 | S1202994
58 | L1-ETR-02 | SUS | Test Rack | BSC Electronics Test Rack |  |  | 
59 | L1-ETR-03 | SUS | Test Rack | RM Electronics Test Rack |  |  | 
60 | L1-ETR-06 | SUS | Test Rack | STS Huddle Electronics Test Rack |  |  | 
61 | L1-VAC-R1 | VAC | LVEA | Vacuum Rack – X Arm | Knurr |  | 
62 | L1-VAC-R2 | VAC | LVEA | Vacuum Rack – Y Arm | Knurr |  | 
63 | L1-VAC-R3 | VAC | Mechanical Room | Vacuum Rack – Mechanical Room | Knurr |  | 
64 | L1-VAC-XR1 | VAC | VEAX | Vacuum Rack – X End | Knurr |  | 
65 | L1-VAC-YR1 | VAC | VEAY | Vacuum Rack – Y End | Knurr |  | 
66 | L1-VDC-C1 | VDC | CPR |  | DC | D1200890 | S1105247
67 | L1-VDC-C2 | VDC | CPR |  | DC | D1200891 | S1105248
68 | L1-VDC-C3 | VDC | CPR |  | DC | D1200892 | S1105249
69 | L1-VDC-C4 | VDC | CPR |  | DC | D1200893 | S1105250
70 | L1-VDC-C5 | VDC | CPR |  | DC | D1200894 | S1105251
71 | L1-VDC-C6 | VDC | CPR |  | DC | D1200895 | S1105252
72 | L1-VDC-C7 | VDC | CPR |  | DC | D1200896 | S1105253
73 | L1-VDC-C8 | VDC | CPR | Planned | DC | D1201137 | S1202998
74 | L1-VDC-XC1 | VDC | CERX |  | DC | D1200897 | S1202311
75 | L1-VDC-XC2 | VDC | CERX |  | DC | D1200898 | S1202312
76 | L1-VDC-YC1 | VDC | CERY |  | DC | D1200899 | S1202313
77 | L1-VDC-YC2 | VDC | CERY |  | DC | D1200900 | S1202314
78 | L1-MSR-01 | CDS | MSR | Atomic Clock | Knurr | D1201372 | S1203487
79 | L1-MSR-02 | CDS | MSR | Fiber Patch | Knurr | D1201373 | S1203488
80 | L1-MSR-03 | CDS | MSR | EPICS | Knurr | D1201374 | S1203489
81 | L1-MSR-04 | CDS | MSR | EPICS | Knurr | D1201375 | S1203490
82 | L1-MSR-05 | CDS | MSR | Backup Tape | Knurr | D1201376 | S1203491
83 | L1-MSR-06 | CDS | MSR | Video | Knurr | D1201377 | S1203492
84 | L1-MSR-07 | CDS | MSR | IFO Front End Computers | Standard | D1201378 | S1203493
85 | L1-MSR-08 | CDS | MSR | IFO Front End Computers | Standard | D1201379 | S1203494
86 | L1-MSR-09 | CDS | MSR | CDS Computers | Standard | D1201380 | S1203495
87 | L1-MSR-10 | CDS | MSR | CDS Computers | Standard | D1201381 | S1203496
88 | L1-MSR-11 | CDS | MSR | General Computing | Standard | D1201382 | S1203497
89 | L1-MSR-12 | CDS | MSR | DAQ Electronics Test Rack | Standard | D1201383 | S1203498
90 | L1-MSR-13 | CDS | MSR | UPS for IFO and CDS Computers | Linier | D1201384 | S1203499
91 | L1-FAC-C1 | FAC | CER |  | Standard | D1200940 | S1202403
92 | L1-FAC-XC1 | FAC | CERX |  | Standard | D1201086 | S1202950
93 | L1-FAC-YC1 | FAC | CERY |  | Standard | D1201093 | S1202957
94 | L1-UNK-C1 |  | CER |  | Standard | D1201356 | S1203450
95 | L1-UNK-C2 |  | CER |  | Standard | D1201357 | S1203451
96 | L1-UNK-C3 |  | CER |  | Standard | D1201358 | S1203452
CDS racks are named according to site, IFO designation, subsystem use, station (location) and sequence. (See G1001030)
<< Start

## Slide 10: Corner Station – D0901490
CER
LDR
CPR
LVEA – Racks
LVEA – Tables
D0901466
MSR
CUR
Y-End – D0901464
X-End – D0901465
OCR
D0901490
Staging Building – D000294
<< Locations
MECH

## Slide 11: OCR (Operations Control Room)
OCR
<< LLO Racks by AREA
OCR Documentation
<< LLO CDS Components
<< LLO Corner Station

## Slide 12: CUR (Computer User’s Room)
CUR
CUR Documentation
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station

## Slide 13: MSR (Mass Storage Room)
MSR
MSR Documentation
MSR Layout
IO Extenders Index
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station

## Slide 14: MSR (Mass Storage Room) Layout
<< LLO Corner Station
<< LLO Racks by AREA
<< LLO CDS Components
Y
|
V
1
2
3
4
5
6
7
<-X
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
L1-MS1
UPS1
L1-MS7
L1-MS8
L1-MS9
L1-MS2
L1-MS3
L1-MS4
L1-MS5
L1-MS6
L1-MS10
L1-MS11
L1-MS12
L1-MS13
UPS0
MAINS
UPS0-01
UPS0-03
UPS0-05
UPS0-07
UPS0-09
UPS0-11
UPS0-13
UPS0-15
UPS0-17
UPS0-19
UPS0-02
UPS0-04
UPS0-06
UPS0-08
UPS0-10
UPS0-12
UPS0-14
UPS0-16
MAIN-01
MAIN-03
MAIN-05
MAIN-07
MAIN-09
MAIN-11
MAIN-13
MAIN-15
MAIN-17
MAIN-19
MAIN-02
MAIN-25
MAIN-08
MAIN-10
MAIN-12
MAIN-14
MAIN-20
MAIN-22
MAIN-21
MAIN-23
MAIN-29
MAIN-04
MAIN-06
MAIN-16
MAIN-18
MAIN-24
MAIN-26
MAIN-27
MAIN-28
MAIN-30
CUR UPS
UPS0-18
UPS0-20
OCR UPS
UPS1
BM1
MBS
BDS

## Slide 15: MSR Power Panels
Battery
Module
Battery
Disconnect
Switch
UPS0
Module
Maintenance
Bypass
Switch
To MAINS
Floor
<< MSR Layout
UPS0
Panel
MAINS
Panel

## Slide 16: UPS0 Power Panel
<< MSR Power Panels
Panel | Circuit | Circuit Voltage | Breaker Amperage | Outlet Box Label | Type | Outlet Amperage | Outlet Color | Outlet Strip | Rack
UPS Panel | 1 | 110 | 20 | UPS CKT 1 | DD 5-20R | 110VAC 20A | Orange | Open | Open
UPS Panel | 2 | 110 | 20 | UPS CKT 2 | DD 5-20R | 110VAC 20A | Orange | 20A-009 | MS4-2
UPS Panel | 3 | 110 | 20 | UPS CKT 3 | DD 5-20R | 110VAC 20A | Orange | Open | Open
UPS Panel | 4 | 110 | 20 | UPS CKT 4 | DD 5-20R | 110VAC 20A | Orange | 20A-011 | MS4-1
UPS Panel | 5 | 110 | 20 | UPS CKT 5 | DD 5-20R | 110VAC 20A | Orange | 20A-028 | MS11-1
UPS Panel | 6 | 110 | 20 | UPS CKT 6 | DD 5-20R | 110VAC 20A | Orange | 20A-004 | MS3-1
UPS Panel | 7 | 110 | 20 | UPS CKT 7 | DD 5-20R | 110VAC 20A | Orange | 20A-045 | MS11-2
UPS Panel | 8 | 110 | 20 | UPS CKT 8 | DD 5-20R | 110VAC 20A | Orange | 20A-003 | MS3-2
UPS Panel | 9 | 110 | 20 | UPS CKT 9 | DD 5-20R | 110VAC 20A | Orange | 20A-047 | MS10-2
UPS Panel | 10 | 110 | 20 | UPS CKT 10 | DD 5-20R | 110VAC 20A | Orange | 20A-002 | MS2-1
UPS Panel | 11 | 110 | 20 | UPS CKT 11 | DD 5-20R | 110VAC 20A | Orange | 20A-048 | MS10-1
UPS Panel | 12 | 110 | 20 | UPS CKT 12 | DD 5-20R | 110VAC 20A | Orange | 20A-001 | MS2-2
UPS Panel | 13 | 110 | 20 | UPS CKT 13 | DD 5-20R | 110VAC 20A | Orange | 15A-001 | MS6-1
UPS Panel | 14 | 110 | 20 | UPS CKT 14 | DD 5-20R | 110VAC 20A | Orange | Open | Open
UPS Panel | 15 | 110 | 20 | UPS CKT 15 | DD 5-20R | 110VAC 20A | Orange | Open | Open
UPS Panel | 16 | 110 | 20 | UPS CKT 16 | DD 5-20R | 110VAC 20A | Orange | 20A-007 | MS1-1
UPS Panel | 17 | 110 | 20 | UPS CKT 17 | DD 5-20R | 110VAC 20A | Orange | 20A-005 | MS5-1
UPS Panel | 18 | 110 | 20 | UPS CKT 18 | DD 5-20R | 110VAC 20A | Orange | Operator Desk | OCR X11Y2
UPS Panel | 19 | 110 | 20 | UPS CKT 19 | DD 5-20R | 110VAC 20A | Orange | 20A-008 | MS5-2
UPS Panel | 20 | 110 | 20 | UPS CKT 20 | DD 5-20R | 110VAC 20A | Orange | Operator Desk | OCR X11Y2
 |  |  |  |  |  |  |  |  | As of 4/8/2013

## Slide 17: MAINS Power Panel
<< MSR Power Panels
Panel | Circuit | Circuit Voltage | Breaker Amperage | Outlet Box Label | Type | Outlet Amperage | Outlet Color | Outlet Strip | Destination
MAINS | 01 | 110 | 20 | MAIN CKT 1 | DD 5-20R | 110VAC 20A | White | 15A-005 | MS12-2
MAINS | 02 | 110 | 20 | MAIN CKT 2 | DD 5-20R | 110VAC 20A | White | 20A-021 | MS7-3
MAINS | 03 | 110 | 20 | MAIN CKT 3 | DD 5-20R | 110VAC 20A | White | 15A-006 | MS12-1
MAINS | 04 | 110 | 20 | MAIN CKT 4 | DD 5-20R | 110VAC 20A | White | 20A-014 | MS5-1
MAINS | 05 | 110 | 20 | MAIN CKT 5 | DD 5-20R | 110VAC 20A | White | 20A-027 | MS11-1
MAINS | 06 | 110 | 20 | MAIN CKT 6 | DD 5-20R | 110VAC 20A | White | 20A-015 | MS5-2
MAINS | 07 | 110 | 20 | MAIN CKT 7 | DD 5-20R | 110VAC 20A | White | 20A-046 | MS11-2
MAINS | 08 | 110 | 20 | MAIN CKT 8 | DD 5-20R | 110VAC 20A | White | 20A-029 | MS4-2
MAINS | 09 | 110 | 20 | MAIN CKT 9 | DD 5-20R | 110VAC 20A | White | 20A-044 | MS10-2
MAINS | 10 | 110 | 20 | MAIN CKT 10 | DD 5-20R | 110VAC 20A | White | 20A-010 | MS4-1
MAINS | 11 | 110 | 20 | MAIN CKT 11 | DD 5-20R | 110VAC 20A | White | 20A-043 | MS10-1
MAINS | 12 | 110 | 20 | MAIN CKT 12 | DD 5-20R | 110VAC 20A | White | 20A-016 | MS3-2
MAINS | 13 | 110 | 20 | MAIN CKT 13 | DD 5-20R | 110VAC 20A | White | 20A-025 | MS9-2
MAINS | 14 | 110 | 20 | MAIN CKT 14 | DD 5-20R | 110VAC 20A | White | 20A-012 | MS3-1
MAINS | 15 | 110 | 20 | MAIN CKT 15 | DD 5-20R | 110VAC 20A | White | 20A-026 | MS9-1
MAINS | 16 | 110 | 20 | MAIN CKT 16 | DD 5-20R | 110VAC 20A | White | 20A-013 | MS2-1
MAINS | 17 | 110 | 20 | MAIN CKT 17 | DD 5-20R | 110VAC 20A | White | 20A-024 | MS8-1
MAINS | 18 | 110 | 20 | MAIN CKT 18 | DD 5-20R | 110VAC 20A | White | 20A-017 | MS2-2
MAINS | 19 | 110 | 20 | MAIN CKT 19 | DD 5-20R | 110VAC 20A | White | 20A-018 | MS8-2
MAINS | 20 | 110 | 20 | MAIN CKT 20 | DD 5-20R | 110VAC 20A | White | Open | Open
MAINS | 21 | 110 | 20 | MAIN CKT 21 | DD 5-20R | 110VAC 20A | White | 20A-019 | MS7-2
MAINS | 22 | 110 | 20 | MAIN CKT 22 | DD 5-20R | 110VAC 20A | White | 20A-038 | MS1-1
MAINS | 23 | 110 | 20 | MAIN CKT 23 | DD 5-20R | 110VAC 20A | White | 20A-020 | MS7-1
MAINS | 24 | 110 | 30 | MAIN CKT 24 | L6-30R | 110VAC 30A | Brown | Single Outlet | Open
MAINS | 25 | 110 | 20 | MAIN CKT 25 | DD 5-20R | 110VAC 20A | White | 15A-002 | MS6-1
MAINS | 26 | 110 | 30 | MAIN CKT 26 | L6-30R | 110VAC 30A | Brown | Single Outlet | CUR-UPS 1
MAINS | 27 | 110 | 30 | MAIN CKT 27 | L6-30R | 110VAC 30A | Brown | Single Outlet | CUR-UPS 2
MAINS | 28 | 110 | 30 | MAIN CKT 28 | L6-30R | 110VAC 30A | Brown | Single Outlet | CUR-UPS 3
MAINS | 29 | 110 | 20 | MAIN CKT 29 | DD 5-20R | 110VAC 20A | White | 20A-055 | MS9-3
MAINS | 30 | 110 | 30 | MAIN CKT 30 | L6-30R | 110VAC 30A | Brown | Single Outlet | CUR-UPS 3
MAINS | 31/32/33 |  | 100 |  |  |  |  |  | As of 4/8/2013

## Slide 18: Battery Module
30 each NPX-150R
<< MSR Layout

## Slide 19: UPS ACP XXXX
1
2
3
4
5
6
7
8
Input: 120VAC 30A
<< MSR Layout

## Slide 20: UPS ACP 2200
1
2
3
4
5
6
7
8
Input: 120VAC 20A
<< MSR Layout

## Slide 21: UPS ACP 2200XL
Input: 120VAC 20A
1
2
3
4
5
6
7
8
9
10
11
<< MSR Layout

## Slide 22: UPS ACP 3000XL
Input: 120VAC 30A
1
2
3
4
5
6
7
8
9
10
11
<< MSR Layout

## Slide 23: UPS1 ACP 10000XL
Input: 208VAC 30A
1
2
3
4
5
6
7
8
9
10
11
12
Input: 208VAC 30A
1
2
3
4
5
6
7
8
9
10
11
12
Input: 208VAC 30A
1
2
3
4
<< MSR Layout
Input: 208VAC 30A
1
2
3
4
5
6
7
8
9
10
11
12
Description
Dxxxxxxx
Power
SN:
Input: 208VAC 30A
1
2
3
4

## Slide 24: UPS0 Battery Module Switch Box
<< MSR Layout

## Slide 25: UPS0 Maintenance Bypass Switch Box
<< MSR Layout

## Slide 26: UPS0 Circuit Breaker Box
<< MSR Layout

## Slide 27: Mains Circuit Breaker Box
<< MSR Layout

## Slide 28: Mains Circuit Breaker Box – Floor Penetration
<< MSR Layout

## Slide 29: Mains and UPS Subfloor Distribution Boxes
<< MSR Layout

## Slide 30: Mains and UPS Subfloor Distribution Boxes
<< MSR Layout

## Slide 31: Old UPS Distribution Box
<< MSR Layout

## Slide 32: L1-MS1
CDS MSR Rack 1 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
MAIN CKT 24
<< MSR Layout

## Slide 33: L1-MS2
CDS MSR Rack 2 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout

## Slide 34: L1-MS3
CDS MSR Rack 3 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout

## Slide 35: L1-MS4
CDS MSR Rack 4 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout

## Slide 36: L1-MS5
CDS MSR Rack 5 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout

## Slide 37: L1-MS6
CDS MSR Rack 6 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout

## Slide 38: L1-MS7
CDS MSR Rack 7 Layout (Txxxxxxx)
<< MSR Layout

## Slide 39: L1-MS8
CDS MSR Rack 8 Layout (Txxxxxxx)
<< MSR Layout

## Slide 40: L1-MS9
CDS MSR Rack 9 Layout (T1000588)
Timing IRIG-B Chassis
D0900301
±12@1A
S1202405
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
MasterClock GPS Seconds Display
ALD-118
UPS
SN: 09050004
Power 10 DC Power Supply
3300D-3020
UPS
SN: 1009264
<< MSR Layout

## Slide 41: D0900301 – S1107510
Timing IRIG-B Interface Chassis
D0900301
+12VDC
S1202405
D0900301
Front
S1202405
Rear
<< L1-MS9

## Slide 42: MasterClock ALD118
MasterClock GPS Seconds Display
ALD118
UPS
SN: 09050004
D0900301
Front
S1202405
Rear
<< L1-MS9

## Slide 43: Power 10 DC Power Supply
Power 10 DC Power Supply
3300D-3020
UPS
SN: 1009264
D0900301
Front
S1202405
Rear
<< L1-MS9

## Slide 44: L1-MS10
CDS MSR Rack 10 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout

## Slide 45: L1-MS11
CDS MSR Rack 11 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR

## Slide 46: L1-MS12
CDS MSR Rack 12 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout

## Slide 47: L1-MS13
CDS MSR Rack 13 Layout (Txxxxxxx)
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout

## Slide 48: IO Extender Communications and Timing Fibers
<< MSR
l1psl0 | S1001134 | L1-PSL-C1 | L1:FE-IO-19 | L1:TIM-PSL-C1-A
l1oaf0 | S1103894 | L1-OAF-C1 | L1:FE-IO-03 | 
l1tcs0 | S1103894 | L1-AOS-C1 | L1:FE-IO-22 | 
l1seiham16 | S1001144 | L1-SEI-C1 | L1:FE-IO-07 | 
l1seiham23 | S1001145 | L1-SEI-C2 | L1:FE-IO-08 | 
l1seiham45 | S1001146 | L1-SEI-C3 | L1:FE-IO-09 | 
l1seibsc1 | S1001147 | L1-SEI-C4 | L1:FE-IO-04 | 
l1seibsc2 | S1001148 | L1-SEI-C5 | L1:FE-IO-20 | 
l1seibsc3 | S1100946 | L1-SEI-C6 | L1:FE-IO-23 | 
l1asc0 | S1106300 | L1-ISC-C1 | L1:FE-IO-02 | 
l1lsc0 | S1106342 | L1-ISC-C1 | L1:FE-IO-01 | 
l1susauxham34 | S1001141 | L1-SUS-C2 | L1:FE-IO-17 | 
l1susham34 | S1001140 | L1-SUS-C2 | L1:FE-IO-13 | 
l1susauxham2 | S1103891 | L1-SUS-C3 | L1:FE-IO-16 | 
l1susham2a | S1001133 | L1-SUS-C3 | L1:FE-IO-11 | 
l1susham2b | S1001139 | L1-SUS-C3 | L1:FE-IO-12 | 
l1susbsc123 | S1001143 | L1-SUS-C5 | L1:FE-IO-10 | 
l1susauxbsc123 | S1103888 | L1-SUS-C5 | L1:FE-IO-21 | 
l1susauxham56 | S1103889 | L1-SUS-C8 | L1:FE-IO-18 | 
l1susham56 | S1001142 | L1-SUS-C8 | L1:FE-IO-14 | 
l1iscex | S1000536 | L1-ISC-XC1 | L1:FE-IO-33 | L1:ISCEX
l1seiex | S1201774 | L1-SEI-XC1 | L1:FE-IO-30 | L1:SEIEX
l1susauxex | S1201779 | L1-SUS-XC2 | L1:FE-IO-32 | L1:SUSAUXEX
l1susex | S1103367 | L1-SUS-XC2 | L1:FE-IO-31 | L1:SUSEX
l1pemey | S1000528 | L1-ISC-YC1 |  | 
l1seiey | S1200166 | L1-SEI-YC1 |  | 
l1susauxey | S1201775 | L1-SUS-YC2 |  | 
l1susey | S1201776 | L1-SUS-YC2 |  | 

## Slide 49: Binary IO Card - DIO6464L-PE
37-pin D-SUB × for 100-pin 0.8mm pitch connector shielded cable distribution 2 (3m)
DIO6464L-PE

## Slide 50: CER (Corner Electronics Room)
CER
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station
Rack Layout >>

## Slide 51: LLO CER – Rack Layout
<< LLO Corner Station
<< LLO Racks by Area
<< LLO CDS Components
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-FAC-C1
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-TCS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-PSL-C1
L1-ISC-C4
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
FAC Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
DAQ Rack 1
L1-AOS-C1
CDS Electronics Room (CER)

## Slide 52: LLO CER, LDR, and CPR Cable Tray Layout
From MSR
Fibers and DC Cables
DC Cables
AC Cables
Signal Cables
Signal Cables
CER
LDR
CPR
138”
120”
102”

## Slide 53: LLO CER – 8.5ft Cable Tray Layout
2feet
2 feet
All posts are E-Posts
L1-PSL-C3
L1-PSL-C2
L1-PSL-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
43”
207”
8.5”
293”
54”
231”
139”
48”
Each Rack is 39” Deep and 24” Wide
CDS Electronics Room (CER)

## Slide 54: LLO CER – 10ft Cable Tray Layout
2feet
2 feet
All posts are E-Posts
10 Foot
L1-PSL-C3
L1-PSL-C2
L1-PSL-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
14 Foot
LDR cables and chiller water pipes
Each Rack is 39” Deep and 24” Wide
CDS Electronics Room (CER)

## Slide 55: LLO CER – 11.5ft Cable Tray Layout
2feet
2 feet
All posts are E-Posts
L1-PSL-C3
L1-PSL-C2
L1-PSL-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
Waterfall down from the LDR for DC Power Cables
Each Rack is 39” Deep and 24” Wide
Waterfall down from the ceiling connects the fiber cable tray to the MSR
CDS Electronics Room (CER)

## Slide 56: LLO CER – Rack Layout
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-FAC-C1
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-TCS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-PSL-C1
L1-ISC-C4
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
FAC Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
DAQ Rack 1
3’
11’
18’
25’
8’
28’
6’
21’
8’
Point A
Point B
Point C
6’
L1-AOS-C1
CDS Electronics Room (CER)

## Slide 57: LDR (Laser Diode Room)
LDR
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station

## Slide 58: LLO LDR – Rack Layout
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station
No posts
CDS Power Room (CPR)
Front
Front
L1-VDC-C5
L1-VDC-C7
L1-VDC-C1
L1-VDC-C2
L1-VDC-C3
L1-VDC-C4
L1-VDC-C6
2feet
Each Rack is 39” Deep and 24” Wide
Laser Diode Room (LDR)
Changing Room
480V Distribution
Panel
208V Distribution
Panel
DC Supplies
2feet
208V Distribution
Panel – CDS1
208V Distribution
Panel – CDS2
LDR Chiller
L1-LDR-C2
L1-LDR-C1
2 feet
Transformer
11’

## Slide 59: LLO LDR – 10ft Cable Tray Layout
Front
Front
L1-VDC-C5
L1-VDC-C7
L1-VDC-C1
L1-VDC-C2
L1-VDC-C3
L1-VDC-C4
L1-VDC-C6
2feet
Each Rack is 39” Deep and 24” Wide
Laser Diode Room (LDR)
Changing Room
480V Distribution
Panel
208V Distribution
Panel
DC Supplies
2feet
208V Distribution
Panel – CDS1
208V Distribution
Panel – CDS2
LDR Chiller
L1-LDR-C2
L1-LDR-C1
2 feet
No posts
L1-LDR-C2
L1-LDR-C1
10 Foot
CDS Power Room (CPR)
Transformer

## Slide 60: CPR (CDS Power Room)
CPR
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station

## Slide 61: LLO CPR – Rack Layout
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station
Transformer
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
Laser Diode Room (LDR)
Changing Room
480V Distribution
Panel
208V Distribution
Panel
DC Supplies
2feet
208V Distribution
Panel – CDS1
208V Distribution
Panel – CDS2
LDR Chiller
L1-LDR-C2
L1-LDR-C1
CDS Power Room (CPR)
Front
Front
L1-VDC-C5
L1-VDC-C7
L1-VDC-C1
L1-VDC-C2
L1-VDC-C3
L1-VDC-C4
L1-VDC-C6
5.5’

## Slide 62: LLO CPR – 8.5ft (AC) Cable Tray Layout
Front
Front
L1-VDC-C5
L1-VDC-C7
L1-VDC-C1
L1-VDC-C2
L1-VDC-C3
L1-VDC-C4
L1-VDC-C6
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
Laser Diode Room (LDR)
Changing Room
480V Distribution
Panel
208V Distribution
Panel
DC Supplies
2feet
208V Distribution
Panel – CDS1
208V Distribution
Panel – CDS2
LDR Chiller
L1-LDR-C2
L1-LDR-C1
CDS Power Room (CPR)
Transformer
No posts
All posts are F-Posts

## Slide 63: LLO CPR – 10ft (DC) Cable Tray
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
Laser Diode Room (LDR)
Changing Room
480V Distribution
Panel
208V Distribution
Panel
DC Supplies
2feet
No posts
208V Distribution
Panel – CDS1
208V Distribution
Panel – CDS2
LDR Chiller
L1-LDR-C2
L1-LDR-C1
Front
Front
L1-VDC-C5
L1-VDC-C7
L1-VDC-C1
L1-VDC-C2
L1-VDC-C3
L1-VDC-C4
L1-VDC-C6
2feet
CDS Power Room (CPR)
Transformer
All posts are F-Posts
Waterfall up over the LDR for DC Power Cables
Cable tray penetrates wall into CER

## Slide 64: Subsystem: DC Power (VDC)
VDC
<< LLO Racks by Subsystem
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station
DC Power Supplies >>
CPR Rack Layout >>
CERX DC Rack Layout >>
CERY DC Rack Layout >>

## Slide 65: DC Power Supplies
<< VDC
KEPCO JQE25-20MVPY27274
KEPCO BHK500-80MG
KEPCO JQE36-30M

## Slide 66: KEPCO BHK500-80MG
<< DC Power Supplies
Picture: Front Panel
Picture: Rear Panel
Specifications
Inventory of Serial Numbers / Dates received / scheduled maintenance / assigned use / etc.
Acceptance Testing: LIGO-Txxxxxxx

## Slide 67: KEPCO JQE25-20MVPY27274
<< DC Power Supplies
Acceptance Testing: LIGO-T1100478
Picture: Front Panel
Picture: Rear Panel
Specifications
Inventory of Serial Numbers / Dates received / scheduled maintenance / assigned use / etc.

## Slide 68: KEPCO JQE36-30
<< DC Power Supplies
Acceptance Testing: LIGO-Txxxxxxx
Picture: Front Panel
Picture: Rear Panel
Specifications
Inventory of Serial Numbers / Dates received / scheduled maintenance / assigned use / etc.

## Slide 69: DC Power Rack – Required VDC
A Standard Bank (SB) of power supplies consists of 4 supplies, and services 1 Electronics Rack. The 4 supplies are:
+18V@20A, -18V@20A, +24V@20A, and -24V@20A.
Each Standard Bank of DC Power Supplies provides
18V * 20A => 360W
360W * 2 PS => 720W
24V * 20A => 480W
480W * 2 PS => 960W
720W + 960W => 1680W
There are 5 SB (20 PS) / Power Rack. Each Power Rack therefore provides 8400W
Each Power Rack services 5 Electronics Racks.
There are roughly 22 racks per interferometer.
Therefore 5 DC Power Racks are required and will provide for a total of 42,000 W.
10 x 4U => 40U
5 Standard Banks per Rack
DC Power Rack
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
<< CPR
Notes: For a JQE25-20M: AC power calculations:
125 VAC * 10.5 A => 1312.5 W/PS
20 PS/Rack * 1312.5 W/PS => 26,250 W/Rack
7 Racks * 26,250 W/Rack => 183,750 W
20 PS/Rack * 10.5 A/PS => 210 A/Rack
7 Racks * 210A/Rack => 1470 A

## Slide 70: DC Power Rack – Required VAC
A Standard Bank (SB) of power supplies consists of 4 supplies, and services 1 Electronics Rack. The 4 supplies are:
+18V@20A, -18V@20A, +24V@20A, and -24V@20A.
Each (~JQE25-20M) DC Power Supply requires 10.5A @ 125VAC
Each Standard Bank of DC Power Supplies requires 42A @ 125VAC
There are 5 SB (20 PS) / Power Rack. Each Power Rack therefore requires 210A @ 125VAC.
10 – 125V@20A circuits per Power Rack should suffice.
Each Power Rack services 5 Electronics Racks.
There are roughly 22 racks per interferometer.
70 – 125V @20A circuits are required for a total of 183,750W.
Therefore 2 – 480VAC * 200A circuits would provide 192,000W
10 x 4U => 40U
5 Standard Banks per Rack
DC Power Rack
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
<< CPR
Notes: 125 VAC * 10.5 A => 1312.5 W/PS
20 PS/Rack * 1312.5 W/PS => 26,250 W/Rack
7 Racks * 26,250 W/Rack => 183,750 W
20 PS/Rack * 10.5 A/PS => 210 A/Rack
7 Racks * 210A/Rack => 1470 A

## Slide 71: DC Power Rack – VAC Wiring
12 @ 125V, 20A Circuits per Rack
Rear
Outlet 7
Outlet 8
Outlet 9
Outlet 10
Outlet 11
Outlet 12
Outlet 1
Outlet 2
Outlet 3
Outlet 4
Outlet 5
Outlet 6
DC Power Rack
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
A
B
A
B
<< CPR
Notes: 12 @ 125V, 20A Circuits

## Slide 72: L1-VDC-C1 Power Racks – Required Supplies
Cable Runs >>
L1-VDC-C1 Power Rack
B
A
L1-VDC-C1 Power Rack
A
B
L1-SUS-C2
L1-SUS-C2
L1-SUS-C3
L1-SUS-C3
L1-SUS-C4
L1-SUS-C4
L1-SUS-C4
L1-SUS-C4
L1-SUS-C5
L1-SUS-C5
L1-SUS-C6
L1-SUS-C6
L1-SUS-C6
L1-SUS-C6
L1-SUS-C7
L1-SUS-C7
L1-SUS-C8
L1-SUS-C8
L1-SUS-C1
L1-SUS-C1
L1-SUS-C2
L1-SUS-C2
L1-SUS-C3
L1-SUS-C3
L1-SUS-C4
L1-SUS-C4
L1-SUS-C4
L1-SUS-C4
L1-SUS-C5
L1-SUS-C5
L1-SUS-C6
L1-SUS-C6
L1-SUS-C6
L1-SUS-C6
L1-SUS-C7
L1-SUS-C7
L1-SUS-C8
L1-SUS-C8
L1-SUS-C1
L1-SUS-C1
<< CPR
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
L1-VDC-C1 Corner Station DC Power Rack Layout (D1200890) (S1105247)

## Slide 73: L1-VDC-C1 Cable Runs
<< L1-VDC-C1
L1-VDC-C1 Corner Station DC Cable Runs (D1200890) (S1105247)
L1-VDC-C1 S1105247 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | DC Power Strip
1 | CDS-1 | 06 | L1-VDC-C1 | 08 | Top | U37-A (Left) | JQE 25V 20A | H236464 | Plus | PTO-001 | L1-SUS-C8 | PSO-001
2 | CDS-1 | 06 | L1-VDC-C1 | 08 | Bottom | U37-B (Right) | JQE 25V 20A | H236467 | Minus | PTO-001 | L1-SUS-C8 | PSO-001
3 | CDS-1 | 27 | L1-VDC-C1 | 02 | Top | U33-A (Left) | JQE 25V 20A | H236434 | Plus | PTO-002 | L1-SUS-C7 | PSO-002
4 | CDS-1 | 27 | L1-VDC-C1 | 02 | Bottom | U33-B (Right) | JQE 25V 20A | H236427 | Minus | PTO-002 | L1-SUS-C7 | PSO-002
5 | CDS-1 | 08 | L1-VDC-C1 | 09 | Top | U29-A (Left) | JQE 25V 20A | H236468 | Plus | PTO-021 | L1-SUS-C6A | PSO-003
6 | CDS-1 | 08 | L1-VDC-C1 | 09 | Bottom | U29-B (Right) | JQE 25V 20A | H236372-R1 | Minus | PTO-021 | L1-SUS-C6A | PSO-003
7 | CDS-1 | 29 | L1-VDC-C1 | 03 | Top | U25-A (Left) | JQE 25V 20A | H236447 | Plus | PTO-003 | L1-SUS-C6B | PSO-021
8 | CDS-1 | 29 | L1-VDC-C1 | 03 | Bottom | U25-B (Right) | JQE 25V 20A | H236463 | Minus | PTO-003 | L1-SUS-C6B | PSO-021
9 | CDS-1 | 10 | L1-VDC-C1 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236388 | Plus | PTO-004 | L1-SUS-C5 | PSO-004
10 | CDS-1 | 10 | L1-VDC-C1 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236406 | Minus | PTO-004 | L1-SUS-C5 | PSO-004
11 | CDS-1 | 31 | L1-VDC-C1 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236396 | Plus | PTO-005 | L1-SUS-C4A | PSO-005
12 | CDS-1 | 31 | L1-VDC-C1 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236404 | Minus | PTO-005 | L1-SUS-C4A | PSO-005
13 | CDS-1 | 12 | L1-VDC-C1 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236418 | Plus | PTO-022 | L1-SUS-C4B | PSO-022
14 | CDS-1 | 12 | L1-VDC-C1 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236424 | Minus | PTO-022 | L1-SUS-C4B | PSO-022
15 | CDS-1 | 33 | L1-VDC-C1 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236469 | Plus | PTO-006 | L1-SUS-C3 | PSO-006
16 | CDS-1 | 33 | L1-VDC-C1 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236443 | Minus | PTO-006 | L1-SUS-C3 | PSO-006
17 | CDS-1 | 14 | L1-VDC-C1 | 12 | Top | U05-A (Left) | JQE 25V 20A | H210616 | Plus | PTO-007 | L1-SUS-C2 | PSO-007
18 | CDS-1 | 14 | L1-VDC-C1 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H210622 | Minus | PTO-007 | L1-SUS-C2 | PSO-007
19 | CDS-1 | 02 | L1-VDC-C1 | 06 | Top | U01-A (Left) | JQE 25V 20A | H210617 | Plus | PTO-008 | L1-SUS-C1 | PSO-008
20 | CDS-1 | 02 | L1-VDC-C1 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H210619 | Minus | PTO-008 | L1-SUS-C1 | PSO-008
D1200890 |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 74: L1-VDC-C2 Power Racks – Required Supplies
Cable Runs >>
L1-VDC-C2 Power Rack
B
A
L1-VDC-C2 Power Rack
A
B
L1-ISC-C1
L1-ISC-C1
L1-ISC-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C2
L1-ISC-C2
L1-ISC-C2
L1-ISC-C3
L1-ISC-C3
L1-ISC-C3
L1-ISC-C3
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C3
L1-ISC-C4
L1-ISC-C1
L1-ISC-C2
L1-ISC-C1
L1-ISC-C1
L1-ISC-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C2
L1-ISC-C2
L1-ISC-C2
L1-ISC-C3
L1-ISC-C3
L1-ISC-C3
L1-ISC-C3
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C3
L1-ISC-C2
L1-ISC-C1
<< CPR
+24VDC
-24VDC
+12VDC
+12VDC
+12VDC
+12VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
+24VDC
+24VDC
+24VDC
L1-VDC-C2 Corner Station DC Power Rack Layout (D1200891) (S1105248)

## Slide 75: L1-VDC-C2 Cable Runs
<< L1-VDC-C2
L1-VDC-C2 Corner Station DC Cable Runs (D1200891) (S1105248)
L1-VDC-C2 S1105248 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack
1 | CDS-1 | 15 | L1-VDC-C2 | 08 | Top | U37-A (Left) | JQE 15V 6A |  | Plus | PTG-002 | L1-ISC-C3
2 | CDS-1 | 15 | L1-VDC-C2 | 08 | Bottom | U37-B (Right) | JQE 15V 6A |  | Plus | PTG-003 | L1-ISC-C4
3 | CDS-1 | 03 | L1-VDC-C2 | 02 | Top | U33-A (Left) | JQE 25V 20A | H236408 | Plus | PTY-012 | L1-ISC-C4
4 | CDS-1 | 03 | L1-VDC-C2 | 02 | Bottom | U33-B (Right) | JQE 25V 20A | H236466 | Minus | PTY-012 | L1-ISC-C4
5 | CDS-1 | 17 | L1-VDC-C2 | 09 | Top | U29-A (Left) | JQE 25V 20A | H236426 | Plus | PTO-057 | L1-ISC-C4
6 | CDS-1 | 17 | L1-VDC-C2 | 09 | Bottom | U29-B (Right) | JQE 25V 20A | H236439 | Minus | PTO-057 | L1-ISC-C4
7 | CDS-1 | 05 | L1-VDC-C2 | 03 | Top | U25-A (Left) | JQE 25V 20A | H236437 | Plus | PTY-011 | L1-ISC-C3
8 | CDS-1 | 05 | L1-VDC-C2 | 03 | Bottom | U25-B (Right) | JQE 25V 20A | H236425 | Minus | PTY-011 | L1-ISC-C3
9 | CDS-1 | 19 | L1-VDC-C2 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236444 | Plus | PTO-056 | L1-ISC-C3
10 | CDS-1 | 19 | L1-VDC-C2 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236471 | Minus | PTO-056 | L1-ISC-C3
11 | CDS-1 | 07 | L1-VDC-C2 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236431 |  |  | 
12 | CDS-1 | 07 | L1-VDC-C2 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236470 |  |  | 
13 | CDS-1 | 21 | L1-VDC-C2 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236430 | Plus | PTO-055 | L1-ISC-C2
14 | CDS-1 | 21 | L1-VDC-C2 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236445 | Minus | PTO-055 | L1-ISC-C2
15 | CDS-1 | 09 | L1-VDC-C2 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236395 |  |  | 
16 | CDS-1 | 09 | L1-VDC-C2 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236438 |  |  | 
17 | CDS-1 | 23 | L1-VDC-C2 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236475 | Plus | PTO-054 | L1-ISC-C1
18 | CDS-1 | 23 | L1-VDC-C2 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236455 | Minus | PTO-054 | L1-ISC-C1
19 | CDS-1 | 06 | L1-VDC-C2 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236399 | Plus | L1-TB02 | L1-ISC-C1
20 | CDS-1 | 06 | L1-VDC-C2 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236407 | Plus | L1-TB07 | L1-ISC-C2
D1200891 |  |  |  |  |  |  |  |  |  |  | 

## Slide 76: L1-VDC-C3 Power Racks – Required Supplies
Cable Runs >>
L1-VDC-C3 Power Rack
B
A
L1-VDC-C3 Power Rack
A
B
L1-SEI-C1
L1-SEI-C1
L1-SEI-C1
L1-SEI-C1
L1-SEI-C2
L1-SEI-C2
L1-SEI-C2
L1-SEI-C2
L1-SEI-C3
L1-SEI-C4
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C4
L1-SEI-C4
L1-SEI-C4
L1-SEI-C4
L1-SEI-C1
L1-SEI-C2
L1-SEI-C1
L1-SEI-C1
L1-SEI-C1
L1-SEI-C1
L1-SEI-C2
L1-SEI-C2
L1-SEI-C2
L1-SEI-C2
L1-SEI-C4
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C4
L1-SEI-C4
L1-SEI-C4
L1-SEI-C4
L1-SEI-C2
L1-SEI-C1
<< CPR
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
L1-VDC-C3 Corner Station DC Power Rack Layout (D1200892) (S1105249)

## Slide 77: L1-VDC-C3 Cable Runs
<< L1-VDC-C3
L1-VDC-C3 Corner Station DC Cable Runs (D1200892) (S1105249)
L1-VDC-C3 S1105249 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | DC Power Strip
1 | CDS-2 | 15 | L1-VDC-C3 | 08 | Top | U37-A (Left) | JQE 25V 20A | H236457 | Plus | PTO-014 | L1-SEI-C4 | PSO-014
2 | CDS-2 | 15 | L1-VDC-C3 | 08 | Bottom | U37-B (Right) | JQE 25V 20A | H236456 | Minus | PTO-014 | L1-SEI-C4 | PSO-014
3 | CDS-2 | 03 | L1-VDC-C3 | 02 | Top | U33-A (Left) | JQE 25V 20A | H236450 | Plus | PTY-013 | L1-SEI-C4 | PSY-013
4 | CDS-2 | 03 | L1-VDC-C3 | 02 | Bottom | U33-B (Right) | JQE 25V 20A | H236454 | Minus | PTY-013 | L1-SEI-C4 | PSY-013
5 | CDS-2 | 17 | L1-VDC-C3 | 09 | Top | U29-A (Left) | JQE 25V 20A | H236452 | Plus | PTO-015 | L1-SEI-C3 | PSO-015
6 | CDS-2 | 17 | L1-VDC-C3 | 09 | Bottom | U29-B (Right) | JQE 25V 20A | H236451 | Minus | PTO-015 | L1-SEI-C3 | PSO-015
7 | CDS-2 | 05 | L1-VDC-C3 | 03 | Top | U25-A (Left) | JQE 25V 20A | H236458 | Plus | PTY-014 | L1-SEI-C3 | PSY-014
8 | CDS-2 | 05 | L1-VDC-C3 | 03 | Bottom | U25-B (Right) | JQE 25V 20A | H236432 | Minus | PTY-014 | L1-SEI-C3 | PSY-014
9 | CDS-2 | 19 | L1-VDC-C3 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236435 | Plus | PTY-015 | L1-SEI-C3 | PSY-015
10 | CDS-2 | 19 | L1-VDC-C3 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236436 | Plus | PTY-016 | L1-SEI-C4 | PSY-016
11 | CDS-2 | 07 | L1-VDC-C3 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236402 | Plus | PTO-016 | L1-SEI-C2 | PSO-016
12 | CDS-2 | 07 | L1-VDC-C3 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236477 | Minus | PTO-016 | L1-SEI-C2 | PSO-016
13 | CDS-2 | 21 | L1-VDC-C3 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236384 | Plus | PTY-017 | L1-SEI-C2 | PSY-017
14 | CDS-2 | 21 | L1-VDC-C3 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236390 | Minus | PTY-017 | L1-SEI-C2 | PSY-017
15 | CDS-2 | 09 | L1-VDC-C3 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236383 | Plus | PTO-017 | L1-SEI-C1 | PSO-017
16 | CDS-2 | 09 | L1-VDC-C3 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236391 | Minus | PTO-017 | L1-SEI-C1 | PSO-017
17 | CDS-2 | 23 | L1-VDC-C3 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236372-R2 | Plus | PTY-018 | L1-SEI-C1 | PSY-018
18 | CDS-2 | 23 | L1-VDC-C3 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236377 | Minus | PTY-018 | L1-SEI-C1 | PSY-018
19 | CDS-2 | 11 | L1-VDC-C3 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236401 | Plus | PTY-019 | L1-SEI-C1 | PSY-019
20 | CDS-2 | 11 | L1-VDC-C3 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236392 | Plus | PTY-020 | L1-SEI-C2 | PSY-020
D1200892 |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 78: L1-VDC-C4 Power Racks – Required Supplies
Cable Runs >>
L1-VDC-C4 Power Rack
B
A
L1-VDC-C4 Power Rack
A
B
L1-SEI-C5
L1-SEI-C5
L1-SEI-C5
L1-SEI-C5
L1-SEI-C6
L1-SEI-C6
L1-SEI-C6
L1-SEI-C6
L1-SUS-C5B
L1-SUS-C8
L1-SUS-C2
L1-SUS-C3B
L1-PSL-C1
L1-PSL-C1
L1-SEI-C5
L1-SEI-C6
L1-SEI-C5
L1-SEI-C5
L1-SEI-C5
L1-SEI-C5
L1-SEI-C6
L1-SEI-C6
L1-SEI-C6
L1-SEI-C6
L1-SUS-C8
L1-SUS-C5B
L1-SUS-C3B
L1-SUS-C2
L1-PSL-C1
L1-PSL-C1
L1-SEI-C6
L1-SEI-C5
<< CPR
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
L1-SUS-C5A
L1-SUS-C3A
+24VDC
+24VDC
Unused
L1-PSL-C1
Unused
+24VDC
L1-SUS-C5A
L1-SUS-C3A
+24VDC
+24VDC
L1-PSL-C1
Unused
+24VDC
Unused
L1-VDC-C4 Corner Station DC Power Rack Layout (D1200893) (S1105250)

## Slide 79: L1-VDC-C4 Cable Runs
<< L1-VDC-C4
L1-VDC-C4 S1105250 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | DC Power Strip
1 | CDS-2 | 26 | L1-VDC-C4 | 08 | Top | U37-A (Left) | JQE 25V 20A | H236442 | Plus | PTO-018 | L1-PSL-C1 | PSO-018
2 | CDS-2 | 26 | L1-VDC-C4 | 08 | Bottom | U37-B (Right) | JQE 25V 20A | H236416 | Minus | PTO-018 | L1-PSL-C1 | PSO-018
3 | CDS-2 | 14 | L1-VDC-C4 | 02 | Top | U33-A (Left) | JQE 25V 20A | H236449 |  |  |  | 
4 | CDS-2 | 14 | L1-VDC-C4 | 02 | Bottom | U33-B (Right) | JQE 25V 20A | H236453 | Plus | PTY-009 | L1-PSL-C1 | PSY-009
5 | CDS-2 | 28 | L1-VDC-C4 | 09 | Top | U29-A (Left) | JQE 25V 20A | H236495 | Plus | PTY-002 | L1-SUS-C5A | None
6 | CDS-2 | 28 | L1-VDC-C4 | 09 | Bottom | U29-B (Right) | JQE 25V 20A | H236375 | Plus | PTY-005 | L1-SUS-C3A | PSY-027
7 | CDS-2 | 16 | L1-VDC-C4 | 03 | Top | U25-A (Left) | JQE 25V 20A | H210621 | Plus | L1-TB03 | L1-SUS-C2 | PSY-004
8 | CDS-2 | 16 | L1-VDC-C4 | 03 | Bottom | U25-B (Right) | JQE 25V 20A | H210620 | Plus | L1-TB04 | L1-SUS-C3B | PSY-005
9 | CDS-2 | 30 | L1-VDC-C4 | 10 | Top | U21-A (Left) | JQE 25V 20A | H210618 | Plus | L1-TB01 | L1-SUS-C5B | PSY-002
10 | CDS-2 | 30 | L1-VDC-C4 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236386 | Plus | PTY-001 | L1-SUS-C8 | PSY-001
11 | CDS-2 | 18 | L1-VDC-C4 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236374 | Plus | PTO-019 | L1-SEI-C6 | PSO-019
12 | CDS-2 | 18 | L1-VDC-C4 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236382 | Minus | PTO-019 | L1-SEI-C6 | PSO-019
13 | CDS-2 | 32 | L1-VDC-C4 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236373 | Plus | PTY-021 | L1-SEI-C6 | PSY-021
14 | CDS-2 | 32 | L1-VDC-C4 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236387 | Minus | PTY-021 | L1-SEI-C6 | PSY-021
15 | CDS-2 | 20 | L1-VDC-C4 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236376 | Plus | PTO-020 | L1-SEI-C5 | PSO-020
16 | CDS-2 | 20 | L1-VDC-C4 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236379 | Minus | PTO-020 | L1-SEI-C5 | PSO-020
17 | CDS-2 | 34 | L1-VDC-C4 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236381 | Plus | PTY-022 | L1-SEI-C5 | PSY-022
18 | CDS-2 | 34 | L1-VDC-C4 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236385 | Minus | PTY-022 | L1-SEI-C5 | PSY-022
19 | CDS-2 | 22 | L1-VDC-C4 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236415 | Plus | PTY-023 | L1-SEI-C5 | PSY-023
20 | CDS-2 | 22 | L1-VDC-C4 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236403 | Plus | PTY-024 | L1-SEI-C6 | PSY-024
D1200893 |  |  |  |  |  |  |  |  |  |  |  | 
L1-VDC-C4 Corner Station DC Cable Runs (D1200893) (S1105250)

## Slide 80: L1-VDC-C5 Power Racks – Required Supplies
Cable Runs >>
<< CPR
L1-VDC-C5 Power Rack
B
A
L1-VDC-C5 Power Rack
A
B
L1-PSL-R1
L1-PSL-R1
L1-PSL-R2
L1-PSL-R2
L1-PSL-R2
L1-PSL-R2
L1-SUS-R1
L1-SUS-R2
L1-SUS-R1
L1-SUS-R2
L1-SUS-R3
L1-SUS-R4
L1-SUS-R6
L1-SUS-R3
L1-SUS-R4
L1-SUS-R6
L1-PSL-R1
L1-PSL-R1
L1-PSL-R1
L1-PSL-R1
L1-PSL-R2
L1-PSL-R2
L1-PSL-R2
L1-PSL-R2
L1-SUS-R1
L1-SUS-R2
L1-SUS-R1
L1-SUS-R2
L1-SUS-R3
L1-SUS-R4
L1-SUS-R6
L1-SUS-R3
L1-SUS-R4
L1-SUS-R6
L1-PSL-R1
L1-PSL-R1
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
L1-VDC-C5 Corner Station DC Power Rack Layout (D1200894) (S1105251)
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused

## Slide 81: L1-VDC-C5 Cable Runs
<< L1-VDC-C5
L1-VDC-C5 Corner Station DC Cable Runs (D1200894) (S1105251)
L1-VDC-C5 S1105251 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-1 | 25 | L1-VDC-C5 | 08 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-1 | 25 | L1-VDC-C5 | 08 | Bottom | U37-B (Right) | JQE 25V 10A | H192374 |  |  |  |  | 
3 | CDS-2 | 13 | L1-VDC-C5 | 02 | Top | U33-A (Left) |  |  |  |  |  |  | 
4 | CDS-2 | 13 | L1-VDC-C5 | 02 | Bottom | U33-B (Right) |  |  |  |  |  |  | 
5 | CDS-1 | 13 | L1-VDC-C5 | 09 | Top | U29-A (Left) | JQE 25V 4A JQE 25V 4A |  |  |  |  |  | 
6 | CDS-1 | 13 | L1-VDC-C5 | 09 | Bottom | U29-B (Right) | BHK 300V 130mA | A100472 |  |  |  |  | 
7 | CDS-2 | 38 | L1-VDC-C5 | 03 | Top | U25-A (Left) | JQE 150V 3.5A | H179839 |  |  |  |  | 
8 | CDS-2 | 38 | L1-VDC-C5 | 03 | Bottom | U25-B (Right) | JQE 150V 3.5A | H179837 |  |  |  |  | 
9 | CDS-1 | 01 | L1-VDC-C5 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236420 | Plus | PTO-027 PTO-028 PTO-030 | L1-SUS-R3 L1-SUS-R5 L1-SUS-R6 |  | PSO-027 PSO-028 PSO-030
10 | CDS-1 | 01 | L1-VDC-C5 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236378 | Minus | PTO-027 PTO-028 PTO-030 | L1-SUS-R3 L1-SUS-R5 L1-SUS-R6 |  | PSO-027 PSO-028 PSO-030
11 | CDS-2 | 12 | L1-VDC-C5 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236409 | Plus | PTO-023 PTO-024 | L1-SUS-R1 L1-SUS-R2 |  | PSO-023 PSO-024
12 | CDS-2 | 12 | L1-VDC-C5 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236410 | Minus | PTO-023 PTO-024 | L1-SUS-R1 L1-SUS-R2 |  | PSO-023 PSO-024
13 | CDS-1 | 04 | L1-VDC-C5 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236380 | Plus | PTO-025 | L1-PSL-R2 |  | PSO-025
14 | CDS-1 | 04 | L1-VDC-C5 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236465 | Minus | PTO-025 | L1-PSL-R2 |  | PSO-025
15 | CDS-2 | 24 | L1-VDC-C5 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236459 | Plus | PTY-025 | L1-PSL-R2 |  | PSY-025
16 | CDS-2 | 24 | L1-VDC-C5 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236394 | Minus | PTY-025 | L1-PSL-R2 |  | PSY-025
17 | CDS-2 | 01 | L1-VDC-C5 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236397 | Plus | PTO-026 | L1-PSL-R1 |  | PSO-026
18 | CDS-2 | 01 | L1-VDC-C5 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236400 | Minus | PTO-026 | L1-PSL-R1 |  | PSO-026
19 | CDS-2 | 36 | L1-VDC-C5 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236393 | Plus | L1-TB05 | L1-PSL-R1 |  | PSY-026
20 | CDS-2 | 36 | L1-VDC-C5 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236398 | Minus | L1-TB05 | L1-PSL-R1 |  | PSY-026

## Slide 82: L1-VDC-C6 Power Racks – Required Supplies
Cable Runs >>
<< CPR
L1-VDC-C6 Power Rack
B
A
L1-VDC-C6 Power Rack
A
B
L1-OAF-C1
L1-OAF-C1
L1-AOS-C1
L1-AOS-C1
L1-TCS-R2
L1-TCS-R2
L1-TCS-R1
L1-TCS-R1
Unused
Unused
Unused
Unused
L1-PSL-R2
L1-PSL-R2
L1-AOS-C1
L1-OAF-C1
L1-OAF-C1
L1-OAF-C1
L1-AOS-C1
L1-AOS-C1
L1-TCS-R2
L1-TCS-R2
L1-TCS-R1
L1-TCS-R1
Unused
Unused
Unused
Unused
L1-PSL-R2
L1-PSL-R2
L1-OAF-C1
L1-AOS-C1
Unused
Unused
Unused
L1-PSL-R2
L1-FAC-C1
Unused
Unused
Unused
L1-FAC-C1
L1-PSL-R2
Unused
Unused
Unused
Unused
+160VDC
-160VDC
-160VDC
+160VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
+24VDC
+24VDC
+24VDC
Unused
unused
Unused
Unused
L1-PSL-R2
L1-PSL-R2
+12VDC
+12VDC
L1-PSL-R2
L1-PSL-R2
+12VDC
+12VDC
+18VDC
-18VDC
+18VDC
-18VDC
+500VDC
+500VDC
L1-VDC-C6 Corner Station DC Power Rack Layout (D1200895) (S1105252)

## Slide 83: L1-VDC-C6 Cable Runs
<< L1-VDC-C6
L1-VDC-C6 Corner Station DC Cable Runs (D1200895) (S1105252)
L1-VDC-C6 S1105252 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-2 | 37 | L1-VDC-C6 | 08 | Top | U37-A (Left) | JQE 15V 6A |  | Plus | PTB-001 | L1-PSL-R2 |  | PSG-002
2 | CDS-2 | 37 | L1-VDC-C6 | 08 | Bottom | U37-B (Right) | JQE 15V 6A |  | Plus | PTG-001 | L1-OAF-C1 |  | PSG-001
3 | CDS-2 | 31 | L1-VDC-C6 | 02 | Top | U33-A (Left) | BHK 500V 0.4A | C72508 | Plus | PBX-001 | L1-PSL-R2 |  | 
4 | CDS-2 | 31 | L1-VDC-C6 | 02 | Bottom | U33-B (Right) | BHK 500V 0.4A | C72508 | Plus | PBX-001 | L1-PSL-R2 |  | 
5 | CDS-2 | 27 | L1-VDC-C6 | 09 | Top | U29-A (Left) | PCX 200V 0.1A |  | Plus | PBX-002 | L1-PSL-R2 |  | 
6 | CDS-2 | 27 | L1-VDC-C6 | 09 | Bottom | U29-B (Right) | PCX 200V 0.1A |  | Minus | PBX-002 | L1-PSL-R2 |  | 
7 | CDS-2 | 08 | L1-VDC-C6 | 03 | Top | U25-A (Left) | BHK 500V 80mA | A107262 | Plus | Spare | L1-TSC-XR1 |  | 
8 | CDS-2 | 08 | L1-VDC-C6 | 03 | Bottom | U25-B (Right) | BHK 500V 80mA | A107265 | Minus | Spare | L1-TSC-YR1 |  | 
9 | CDS-2 | 39 | L1-VDC-C6 | 10 | Top | U21-A (Left) | JQE 15V 12A | H114633 |  |  |  |  | 
10 | CDS-2 | 39 | L1-VDC-C6 | 10 | Bottom | U21-B (Right) | JQE 15V 12A | H114642 |  |  |  |  | 
11 | CDS-2 | 33 | L1-VDC-C6 | 04 | Top | U17-A (Left) | JQE 15V 12A | H114630 |  |  |  |  | 
12 | CDS-2 | 33 | L1-VDC-C6 | 04 | Bottom | U17-B (Right) | JQE 15V 12A | H114625 |  |  |  |  | 
13 | CDS-2 | 29 | L1-VDC-C6 | 11 | Top | U13-A (Left) | JQE 15V 12A | H114649 |  |  |  |  | 
14 | CDS-2 | 29 | L1-VDC-C6 | 11 | Bottom | U13-B (Right) | JQE 15V 12A | H114648 |  |  |  |  | 
15 | CDS-2 | 10 | L1-VDC-C6 | 05 | Top | U09-A (Left) |  |  |  |  |  |  | 
16 | CDS-2 | 10 | L1-VDC-C6 | 05 | Bottom | U09-B (Right) | JQE 150V 1.5A |  |  |  | L1-TSC-C1 |  | 
17 | CDS-2 | 41 | L1-VDC-C6 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236423 | Plus | PTO-012 | L1-OAF-C1 |  | 
18 | CDS-2 | 41 | L1-VDC-C6 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236413 | Minus | PTO-012 | L1-OAF-C1 |  | 
19 | CDS-2 | 35 | L1-VDC-C6 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236491 | Plus | PTY-055 | L1-TSC-C1 |  | 
20 | CDS-2 | 35 | L1-VDC-C6 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236472 | Plus | PTY-053 | L1-OAF-C1 |  | 
D1200895 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 84: L1-VDC-C7 Power Racks – Required Supplies
Cable Runs >>
<< CPR
L1-VDC-C7 Power Rack
B
A
L1-VDC-C7 Power Rack
A
B
L1-ISC-R5
L1-ISC-R5
+18VDC
-18VDC
L1-ISC-R5
L1-ISC-R5
-18VDC
+18VDC
L1-ISC-R2
L1-ISC-R2
+18VDC
-18VDC
L1-ISC-R2
L1-ISC-R2
-18VDC
+18VDC
L1-ISC-R3 L1-ISC-R5
L1-ISC-R3 L1-ISC-R5
+24VDC
-24VDC
L1-ISC-R3 L1-ISC-R5
L1-ISC-R3 L1-ISC-R5
-24VDC
+24VDC
L1-ISC-R4
L1-ISC-R4
+18VDC
-18VDC
L1-ISC-R4
L1-ISC-R4
-18VDC
+18VDC
L1-ISC-R1 L1-ISC-R2
L1-ISC-R4
L1-ISC-R1 L1-ISC-R2
L1-ISC-R4
+24VDC
-24VDC
L1-ISC-R1 L1-ISC-R2
L1-ISC-R4
L1-ISC-R1 L1-ISC-R2
L1-ISC-R4
-24VDC
+24VDC
L1-ISC-R3
L1-ISC-R3
+18VDC
-18VDC
L1-ISC-R3
L1-ISC-R3
-18VDC
+18VDC
L1-ISC-R1
L1-ISC-R1
-18VDC
+18VDC
L1-ISC-R1
L1-ISC-R1
+18VDC
-18VDC
L1-VDC-C7 Corner Station DC Power Rack Layout (D1200896) (S1105253)

## Slide 85: L1-VDC-C7 Cable Runs
<< L1-VDC-C7
L1-VDC-C7 Corner Station DC Cable Runs (D1200896) (S1105253)
L1-VDC-C7 S1105253 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack
1 | CDS-1 | 22 | L1-VDC-C7 | 07 | Top | U37-A (Left) |  |  |  |  | 
2 | CDS-1 | 22 | L1-VDC-C7 | 07 | Bottom | U37-B (Right) |  |  |  |  | 
3 | CDS-1 | 16 | L1-VDC-C7 | 01 | Top | U33-A (Left) | JQE 15V 12A | H114617 |  |  | 
4 | CDS-1 | 16 | L1-VDC-C7 | 01 | Bottom | U33-B (Right) | JQE 15V 12A | H114627 |  |  | 
5 | CDS-1 | 34 | L1-VDC-C7 | 08 | Top | U29-A (Left) | JQE 15V 12A | H114645 |  |  | 
6 | CDS-1 | 34 | L1-VDC-C7 | 08 | Bottom | U29-B (Right) | JQE 15V 12A | H114641 |  |  | 
7 | CDS-1 | 28 | L1-VDC-C7 | 02 | Top | U25-A (Left) | JQE 25V 20A | H236405 | Plus | L1-TB06 PTY-048 PTY-049 | L1-ISC-R1 L1-ISC-R2 L1-ISC-R4
8 | CDS-1 | 28 | L1-VDC-C7 | 02 | Bottom | U25-B (Right) | JQE 25V 20A | H236411 | Minus | L1-TB06 PTY-048 PTY-049 | L1-ISC-R1 L1-ISC-R2 L1-ISC-R4
9 | CDS-1 | 24 | L1-VDC-C7 | 09 | Top | U21-A (Left) | JQE 25V 20A | H236460 | Plus | PTY-050 PTY-051 | L1-ISC-R3 L1-ISC-R5
10 | CDS-1 | 24 | L1-VDC-C7 | 09 | Bottom | U21-B (Right) | JQE 25V 20A | H236433 | Minus | PTY-050 PTY-051 | L1-ISC-R3 L1-ISC-R5
11 | CDS-1 | 18 | L1-VDC-C7 | 03 | Top | U17-A (Left) | JQE 25V 20A | H236448 | Plus | PTO-061 | L1-ISC-R5
12 | CDS-1 | 18 | L1-VDC-C7 | 03 | Bottom | U17-B (Right) | JQE 25V 20A | H236446 | Minus | PTO-061 | L1-ISC-R5
13 | CDS-2 | 02 | L1-VDC-C7 | 10 | Top | U13-A (Left) | JQE 25V 20A | H236440 | Plus | PTO-060 | L1-ISC-R4
14 | CDS-2 | 02 | L1-VDC-C7 | 10 | Bottom | U13-B (Right) | JQE 25V 20A | H236485 | Minus | PTO-060 | L1-ISC-R4
15 | CDS-1 | 30 | L1-VDC-C7 | 04 | Top | U09-A (Left) | JQE 25V 20A | H236419 | Plus | PTO-062 | L1-ISC-R3
16 | CDS-1 | 30 | L1-VDC-C7 | 04 | Bottom | U09-B (Right) | JQE 25V 20A | H236412 | Minus | PTO-062 | L1-ISC-R3
17 | CDS-1 | 26 | L1-VDC-C7 | 11 | Top | U05-A (Left) | JQE 25V 20A | H236429 | Plus | PTO-059 | L1-ISC-R2
18 | CDS-1 | 26 | L1-VDC-C7 | 11 | Bottom | U05-B (Right) | JQE 25V 20A | H236462 | Minus | PTO-059 | L1-ISC-R2
19 | CDS-1 | 20 | L1-VDC-C7 | 05 | Top | U01-A (Left) | JQE 25V 20A | H236417 | Plus | PTO-058 | L1-ISC-R1
20 | CDS-1 | 20 | L1-VDC-C7 | 05 | Bottom | U01-B (Right) | JQE 25V 20A | H236421 | Minus | PTO-058 | L1-ISC-R1
D1200896 |  |  |  |  |  |  |  |  |  |  | 

## Slide 86: Subsystem: AOS / TCS (Auxiliary Optics)
<< LLO Racks by Subsystem
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-FAC-C1
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
Op Lev Docs : E1200031 and T1000097
D1200258
IO Diagram: D1100909
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
AOS
TCS

## Slide 87: L1-AOS-C1
AOS Rack Layout (D1201119) (S1202974)
<< CER
PTO-013
PTY-011
l1tcs0 I/O Extension Chassis
D1001715
+24VDC
S1103894
Anti-Image Chassis
D070081
±18VDC
SN:
Anti-Alias Chassis
D0902783
±18VDC
Sxxxxxx
Anti-Alias Chassis
D0902783
±18VDC
Sxxxxxx
Ring Heater Driver
D1003254
±18VDC
S1201846
Ring Heater Driver
D1003254
±18VDC
S1201844
TCS Beckhoff Chassis
D1102207
+24VDC
SN:
L1-AOS-C1 is part of E1100895
L1-AOS-C1 is part of D1200258

## Slide 88: L1-AOS-C1 Details
L1-AOS-C1 Details
<< L1-AOS-C1

## Slide 100: D070011 – S1107512
Timing Master (Fanout)
D070011
+12VDC
S1107512
D070011
Front
S1107512
Rear
x
x
x
<< L1-FAC-C1
x

## Slide 101: Fiber Patch Panel
Fiber Patch Panel
No Power
Sxxxxxxx
Dxxxxxxx
<< L1-FAC-C1

## Slide 102: SUA2200RMXL3U – JS1044009376 UPS
UPS1
SUA2200RMXL3U
120VAC, 20A
JS1044009376
<< L1-FAC-C1

## Slide 103: Subsystem: OAF (Online Adaptive Filtering)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
OAF
PEM DAQ

## Slide 104: L1-OAF-C1
l1oaf0 I/O Extension Chassis
D1001715
+24VDC
S1103894
Accelerometer Power Supply
Isotron 2973
110VAC
Sxxxxxxx
<< CER
PTO-012
PTY-012
L1-OAF-C1 Rack Layout (D1200941) (S1202404)
aLIGO AA Interface Chassis (32 BNC x10 Gain Version)
D1001421
±18VDC
S1001057
aLIGO 18 Bit AI Interface Chassis
D1101785
±18VDC
S1300252

## Slide 105: L1-OAF-C1 Details
L1-OAF-C1 Details
<< L1-OAF-C1

## Slide 106: Endevco Isotron 2793
Sxxxxxxx
Rear
Isotron 2973
Front
ACCX
ACCY
Unused
ACCZ
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
ACCZ
Unused
ACCY
ACCX
Accelerometer Power Supply
Isotron 2973
110VAC
Sxxxxxxx
<< L1-OAF-C1

## Slide 107: D1101785 – S1300252
aLIGO 18 Bit AI Interface Chassis
D1101785
±18VDC
S1300252
S1300252
Rear
From DAC
From DAC
<< L1-OAF-C1
D1101785
Front
Ch 0-3
Ch 0-3
Ch 4-7
Ch 4-7

## Slide 108: D1001421 – S1001057
S1001057
Rear
To ADC Adapter
To l1oaf0 Slot P1
To ADC Adapter
D1001421
Front
aLIGO AA Interface Chassis (32 BNC, x10 Gain Version)
D1001421
±18VDC
S1001057 :
MAG X
1
MAG Y
2
MAG Z
3
SEI X
4
SEI Y
5
SEI Z
6
Isotron 1
7
Isotron 2
8
Isotron 4
9
BSC4 MIC
10
BAY MIC
11
BSC4 TEMP
12
OPLEV 10
13
Unused
14
Unused
15
Unused
16
Unused
17
Unused
18
Unused
19
Unused
20
Unused
21
Unused
22
Unused
23
Unused
24
Unused
25
Unused
26
Unused
27
Unused
28
Unused
29
Unused
30
Unused
31
Unused
32
<< L1-OAF-C1

## Slide 109: L1 PEM Sensor Details
<< L1-OAF-C1
D1200615

## Slide 110: Current PEM (2008)
Accelerometers
  10-8 f-2 m Hz-1/2
  10-200Hz (256Hz, 16bit)
Seismometers
  3 x 10-10 f-2 m Hz-1/2
  0-10 Hz (256Hz, 16bit, 3 axis)
Microphones
  10 Pa Hz-1/2
  10-1000Hz (2048Hz, 16bit)
RF receivers
  10μV/m
  1.3GHz (2048Hz, 6x16bit)
Residual Gas in Vacuum System
Vacuum contamination Monitor
Weather Station
  T (1K), RH (10%), percipitation (10%), Wind (1mph)

## Slide 111: Current PEM (2008)
Tiltmeters
  2 x 10-9 f-2 rad Hz-1/2
  0-10Hz (256Hz, 16bit, 2 axis)
Dust Monitors
Muon (Charged Particle) Detector
  10-4μ/s/m2
  1 msec (2048Hz, 16bit)
Cosmic Rays
Magnetometer
  2 x 10-11 T.Hz-1/2
  1 kHz (2048Hz, 3x16bit)
Coil magnetometer
  2 x 10-12 T.Hz-1/2
  1 kHz (2048Hz, 16bit)
Scintillator detector
Power Line Monitor

## Slide 112: l1oaf0 - D1001715 – S1103894
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-03
Slot P10
S1103894
Rear
L1:FE-IO-03
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1oaf0 I/O Extension Chassis
D1001715
110VAC
S1103894
<< L1-OAF-C1
l1oaf0 – IO Chassis
+24VDC
PTY-011
DAC18 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx

## Slide 113: PCIe to Fiber Cable Adapter

## Slide 114: Accelerometers (1)
Isotron Power Supply Model 2793 has 16 channels
This model does NOT come with a DC option.
There is a 3-channel Power Supply that has a DC option, but it has many other features not desired.
It appears that a short (6”) 10-32 to BNC cable can be ordered, but care should be given to strain relief considerations.
Only Wilcoxon Accelerometers are used for PEM
Isotron Model 2793
DAQIC
Isotron Model 2793
DAQIC
Front
Rear
AC Powered
15VDC Powered
DB25 Cable “hardwired”
Accelerometer (in the field)
PSL X
PSL Y
PSL Z
ISCT1 X
ISCT1 Y
ISCT1 Z
HAM1 X
HAM1 Y aka HAM6 X
HAM1 Z
HAM2 X
HAM2 Y aka HAM6 Y
HAM2 Z
HAM3 X
HAM3 Y aka HAM6 Z
HAM3 Z
BSC1 X
BSC1 Y
BSC1 Z
BSC2 X
BSC2 Y
BSC2 Z
BSC3 X
BSC3 Y
BSC3 Z
HAM6 X
HAM6 Y
HAM6 Z
BSC4 X (VEAX)
BSC4 Y (VEAX)
BSC4 Z (VEAX)
BSC5 X (VEAY)
BSC5 Y (VEAY)
BSC5 Z (VEAY)
Accelerometer locations:
1X5
1X20
1Y20

## Slide 115: Accelerometers (2)

## Slide 116: Accelerometers (3)

## Slide 117: Accelerometers (3)

## Slide 118: Antennas
Converter?
AOR (Authority On Radio) AR5000 Radio Receiver
Doug Lormand?
There are two antennas of interest.
Roof Antenna
CDS High-bay Antenna
The Roof Antenna
Receiver is located in the MSR
219.84 MHz FM
Agilent E3610A DC Power Supply (8V, 3A; 16V, 1.5A)
12VDC Wall Wart
To Roof?
IF Output
AC Power
To where?

## Slide 119: Cameras (Video)
Mike Fyffe?

## Slide 120: Humidity (and Temperature) Sensors
(J.) David Barker says this is the Siemens System
Humidity sensor locations
Room 172 – LDR Changing Room

## Slide 121: Magnetometer (1)
12VDC Wall Wart
D070443
Magnetometer Filter
Magnetometer Power Supply
(MAG-03PSU)
Magnetometer
MAG-03MCES
X
Y
Z
X
Y
Z
Magnetometer: Bartington Instruments MAG-03MC
5 meter
X
Y
Z
D030574
Pin 1: +15VDC … Red/Blk RED
Pin 2: Ground … Red/Blk BLACK
Pin 3: -15VDC … Wht/Blk WHITE
Pin 4: Ground … Wht/Blk BLACK
T1100382
9-18VDC Power

## Slide 122: Magnetometers (2) Filter Schematic
D030574

## Slide 123: Magnetometers (3) Amplifier Sketch

## Slide 124: Microphones
The Manufacturer is Bruel & Kjaer
Microphone locations / Pair
PSL / ISCT1
ISCT1 / PSL
HAM1 / HAM3
HAM3 / HAM1
BSC2 (aka LVEA) / HAM6
BSC1 / BSC3
BSC3 / BSC1
HAM6 / LVEA
BSC4 (X) / not paired
BSC5 (Y)/ not paired
LSR (aka CDS High-bay) / not paired
VEAX Bay Mic / not paired
VEAY Bay Mic / not paired
2 meter cable
Extension cables are available – 3m, 10m, and 30m
Since the power supply handles two microphones, the microphones are ‘paired’ in certain places.

## Slide 125: Microphones – Power Adaptor Cable

## Slide 126: Particle Counters (Dust Monitors)
Dust Monitors are not on during Science Mode due to the acoustic noise.
This noise is the air pump. It is always on.
The manufacturer is Pacific Scientific
Old ones (being replaced) are MET One 227B. (9VDC)
New ones (replacements) are MET One GT-321. (9VDC, 2A)
These are scattered throughout the LVEA and usually two of them share a power supply via a cable to a junction box. They are powered from the serial interface port. Not sure if this is a homemade adaptation.
The Junction Box needs documentation.
9VDC Wall Wart
MET One 227B
MET One
GT-321
9VDC Wall Wart

## Slide 127: Comtrol DeviceMaster with DB9 Ports
Comtrol DeviceMaster 4 with DB9 Ports
3M Shell 3357-9209
3M Shell 3357-9209
2.1mm Socket
(Note polarity)

## Slide 128: Particle Counter Y-Cable – Comtrol End
This cable is configured to carry both DC Power and RS485 Signals. The 2.1mm Socket can come from a commercially available 2.1mm Cable Assembly. Note the center pin of the 2.1mm is NEGATIVE. And both shields are tied together and tied to both backshells.

## Slide 129: Particle Counter Y-Cable – Particle Counter End
This cable is configured to carry both DC Power and RS485 Signals. The 2.1mm Plug can come from a commercially available 2.1mm Cable Assembly. Note the center conductor of the 2.1mm is NEGATIVE. And both shields are tied together and are tied only to the backshell that connects to the cable. The backshell connected to the Particle Counter is NOT tied to the shields.

## Slide 130: Particle Counter Extension Cable
This cable is configured to carry both DC Power and RS485 Signals. Note that both shields are tied together and tied to both backshells.
It is 70’ from the L1-FAC-XC1 Rack to the knee of the waterfall in the VEAX.
It is 65’ from the L1-FAC-YC1 Rack to the knee of the waterfall in the VEAY.

## Slide 131: 3M Backshell Assembly
This is a sample drawing of the 3M backshell showing how the E-Ring is attached to the Lock Screw, and showing how the Cover Nut holds the backshell in place.

## Slide 132: Particle Counters (Met One 227B)
3M Shell 3357-9209
3M Shell 3357-9209

## Slide 133: Particle Counters (GT-321)

## Slide 134: Temperature Sensors
Temperature Sensor locations
BSC1 (LVEA) – one old, one new
BSC3 (LVEA)
BSC4 (VEAX)
BSC5 (VEAY)
Temperature Sensors include thermocouples:
Are there any read in the chiller lines? TCS, PSL?
There are thermocouples in the vacuum system for the N2 tanks.

## Slide 135: Temperature Sensors
T0900287
These cables can be replaced with standard +-18VDC

## Slide 136: Voltage Monitor (1)
PEM Voltage Monitor locations:
LVEA – Rack 1X5 – DAQIC2, BNC Port 13
VEAX – Rack 1X20 – DAQIC2, BNC Port ?
VEAY – Rack 1Y20 – DAQIC2, BNC Port 10
This monitor is labeled, “PEM Voltage Monitor No. CAS-Vxx.” The circuit board inside says, “LHO EE Power Monitor Board D0000TBD.” Documentation is scarce. This device is probably OK for monitoring the single balanced power into which it is plugged in Rack 1X5. It is intended to record the differential between the two phases of the balanced power. But if it is used on any ‘real’ AC circuit, it creates the potential for a ½ line voltage ground loop between neutral and ground, and another between hot and ground.
Additionally, even in the balanced power situation, NEUTRAL is the wrong designation, for none of the conductors is neutral in a balanced power circuit: it is the negative AC power.
The circuit ties all shields together, so current loops exist between 2 potentially different AC circuits.
And also the cable ties all shields together, creating the same problem.
And most ironic, the monitor in Rack 1X5 is NOT being read at all: there is no signal name, but it is plugged in. (This was NOT true in September 2009 when inventory of the DAQIC signals was last taken.)
At the Y-end, the AC cable has only three BNC connectors. Two are connected to the Voltage Monitor box.
At the X-end, the AC cable has all four BNC connectors, but they are cross-connected to the Voltage Monitor Box: Cable HOT1, NEU1, HOT2, NEU2 are connected to Box HOT2, NEU2, HOT1, NEU1 and I did not check the cable for accuracy. I did note it only has 2 wires coming into the CP4 port, however, but which two is not clear.
Comments as of 20100525
LHO EE
Power Monitor Board
D000TBD?

## Slide 137: Voltage Monitor (2)
Photos as of 20100525

## Slide 138: Voltage Monitor (3)
CP-4 Socket Pins:
Hot 1 – fused
Neutral 1
Hot 2 – fused
Neutral 2
R1,R3,R5,R7 = 1MΩ
R2,R4,R6,R8 = 1kΩ
Fuse1,2 = 250V, ¼A
R1
R2
R3
R5
R7
R4
R6
R8
Fuse 2
Fuse 1
J1 – Hot 1
J2 – Neutral 1
J4 – Neutral 2
J3 – Hot 2
PEM Voltage Monitor No. CAS-V11
J2 – Neutral 1
J1 – Hot 1
2 – Fuses – 250V ¼A
AC Power (input to monitor)
J4 – Neutral 2
J3 – Hot 2
Outputs
CP-4 Plug Pins:
Hot 1
Neutral 1
Hot
Ground
Neutral
Internal Design and Interfaces as of 20100525

## Slide 139: Voltage Monitor (4)
Lemo 4-Pin:
Neutral 1
Neutral 2
Hot 2 – fused
Hot 1 – fused
Shield
J1 – Hot 1
J2 – Neutral 1
J4 – Neutral 2
J3 – Hot 2
Cable: From 4 BNC connectors to 4-Pin Lemo on DAQIC-2
Cable design as of 20100525

## Slide 140: Wall Warts and Other Items Requiring Power
Lights
Vacuum Equipment
Rechargeable Flashlights
Computer Monitors
Optical Isolators
Trouble Lights
Warning Signs
Laser Hazard Status Signs
Laser Danger Signs
Loudspeakers
Telephones

## Slide 141: Weather Sensors
Weather Sensor locations
LLO network
LSU network

## Slide 142: Subsystem: ISC (Interferometer Sensing and Control)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-PSL-C1
CDS Electronics Room (CER)
L1-ISC-C4
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
ISC

## Slide 143: LLO ISC Equipment
CER
LDR
CPR
LVEA
MSR
CUR
VEAY
VEAX
D1000653
D1002803
D1002803
D1100909
IO Stuff

## Slide 144: L1-ISC-C1
TB-02
PTO-054
ISC LVEA Rack 1 Layout (D1200949) (S1201186)
OMC Piezo Driver
Dxxxxxxx
+?@1A
Sxxxxxx
ISC HAM-A Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1200607
<< CER
IO Diagram: D1100909
l1lsc0 I/O Extension Chassis
D1001715
+24VDC
S1106342
l1asc0 I/O Extension Chassis
D1001715
+24VDC
S1106300
ISC Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102779
ISC Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102768
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102780
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102708
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102771
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102775
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102769
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102767
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102772
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102773
Beam Diverter Controller
Dxxxxxxx
+?@1A
Sxxxxxx
Beam Diverter Controller
Dxxxxxxx
+?@1A
Sxxxxxx
ISC Anti-Image Chassis (ASC)
D070081
±18VDC
S1102756
ISC HAM-A Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1200610
ISC HAM-A Coil Driver (Tip/Tilt REFL)
D1100687
±18VDC
S1200604
ISC HAM-A Coil Driver (Tip/Tilt REFL)
D1100687
±18VDC
S1106047
ISC Anti-Image Chassis (ASC)
D070081
±18VDC
S1102757
Vertex ISC: D1100170
ISC-C1 is part of D1001427.
PTY-046

## Slide 145: L1-ISC-C1
<< CER
(D1100170)
ISC LVEA Rack 1 Layout (D1200949) (S1201186)
(D1001427)

## Slide 146: L1-ISC-C1 Details
L1-ISC-C1 Details
<< L1-ISC-C1
ISC-C1 is part of D1001427.

## Slide 147: D0902783 – S1102773
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102773
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102773
Rear

## Slide 148: D0902783 – S1102772
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102772
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102772
Rear

## Slide 149: D0902783 – S1102767
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102767
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102767
Rear

## Slide 150: D0902783 – S1102769
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102769
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102769
Rear

## Slide 151: D0902783 – S1102775
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102775
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102775
Rear

## Slide 152: D0902783 – S1102771
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102771
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102771
Rear

## Slide 153: D0902783 – S1102708
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102708
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102708
Rear

## Slide 154: D0902783 – S1102780
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102780
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102780
Rear

## Slide 155: D1100687 – S1106047
ISC HAM-A Coil Driver (Tip/Tilt REFL)
D1100687
±18VDC
S1106047
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1106047
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 156: D1100687 – S1100604
ISC HAM-A Coil Driver (Tip/Tilt REFL)
D1100687
±18VDC
S1200604 :
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200604
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 157: D1100687 – S1200610
ISC HAM-A Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1200610 :
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200610
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 158: D1100687 – S1200607
ISC HAM-A Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1200607
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200607
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 159: D070081 – S1102757
ISC Anti-Image Chassis (ASC)
D070081
±18VDC
S1102757
<< L1-ISC-C1
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
To DAC
To DAC
S1102757
Rear

## Slide 160: D070081 – S1102756
ISC Anti-Image Chassis (ASC)
D070081
±18VDC
S1102756
<< L1-ISC-C1
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
To DAC
To DAC
S1102756
Rear

## Slide 161: l1asc0 - D1001715 – S1106300
l1asc0 I/O Extension Chassis
D1001715
+24VDC
S1106300
<< L1-ISC-C1
D1001715
Front
Timing Link
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-02
Slot P10
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
S1106300
Rear
L1:FE-IO-02
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1asc0 – I/O Extender
+24VDC
TB-02
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx

## Slide 162: D0902783 – S1102768
ISC Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102768
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102768
Rear

## Slide 163: D0902783 – S1102779
ISC Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102779
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102779
Rear

## Slide 164: l1lsc0 - D1001715 – S1106342
<< L1-ISC-C1
l1lsc0 I/O Extension Chassis
D1001715
+24VDC
S1106342
D1001715
Front
Timing Link
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-01
Slot P10
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
S1106342
Rear
L1:FE-IO-01
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1lsc0 – I/O Extender
+24VDC
TB-02

## Slide 165: L1-ISC-C2
ISC LVEA Rack 2 Layout (D1200975) (S1201187)
<< CER
384 Channel Binary Output (R6 Whitening)
D1100251
+24VDC
S1203281
384 Channel Binary Output (R5 & R6 Whitening)
D1100251
+24VDC
S1201217
384 Channel Binary Output (R2 & R4 Whitening)
D1100251
+24VDC
S1201216
384 Channel Binary Output (R1 & R2 Whitening)
D1100251
+24VDC
S1201215
ISC Common Beckhoff Concentrator
(CM Servo, VCO, Delay Line)
D1102961
+24VDC
S1102617
Corner 1 Beckhoff Concentrator
(Picomotor, Serial Ports, Modbus)
D1100680
+24VDC
S1107446
Corner 2 Beckhoff Concentrator
(LSC Demod, VCO, Delay Line, RF Amps)
D1100681
+24VDC
S1107449
Beckhoff Concentrator
(ASC Demod)
D1101266
+24VDC
Sxxxxxxx
Beckhoff Concentrator
(Beam Diverters, Shutters, Aux Channels)
D1200132
+24VDC
Sxxxxxxx
Slow Controls Concentrator Serial Ports
D1100632
±18VDC
S1103476
Shelf
Shelf
Shelf
Shelf
Shelf
ISC-C2 is part of D1001427.
PTO-055
TB-07

## Slide 166: L1-ISC-C2
<< CER
(D1100170)
ISC LVEA Rack 2 Layout (D1001427) (S1201187)
(D1001427)

## Slide 167: L1-ISC-C2 Details
L1-ISC-C2 Details
<< L1-ISC-C2
ISC-C2 is part of D1001427.

## Slide 168: D1100632 – S1103476
D1100632
Front
<< L1-ISC-C2
Serial Port Concentrator for Timing
D1100632
±18VDC
S1103476
S1103476
Rear

## Slide 169: D1100251 – S1201215
<< L1-ISC-C2
384 Channel Binary Output (R1 & R2 Whitening)
D1100251
+24VDC
S1201215
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1201215
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 170: D1100251 – S1201216
384 Channel Binary Output (R2 & R4 Whitening)
D1100251
+24VDC
S1201216
<< L1-ISC-C2
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1201216
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 171: D1100251 – S1201217
384 Channel Binary Output (R5 & R6 Whitening)
D1100251
+24VDC
S1201217
<< L1-ISC-C2
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1201217
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 172: D1100251 – S1203281
384 Channel Binary Output (R6 Whitening)
D1100251
+24VDC
S1203281
<< L1-ISC-C2
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1203281
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 173: D1102961 – S1102617
ISC Common Beckhoff Concentrator
(CM Servo, VCO, Delay Line)
D1102961
Power
S1102617
S1102617
Rear
From DAC Adapter
D1102961
Front
<< L1-ISC-C2

## Slide 174: D1100680 – Sxxxxxxx
Corner 1 Beckhoff Concentrator
(Picomotor, Serial Ports, Modbus)
D1100680
Power
S1107446
S1107446
Rear
From DAC Adapter
D1100680
Front
<< L1-ISC-C2

## Slide 175: D1100681 – S1107449
Corner 2 Beckhoff Concentrator
(LSC Demod, VCO, Delay Line, RF Amps)
D1100681
Power
S1107449
S1107449
Rear
From DAC Adapter
D1100681
Front
<< L1-ISC-C2

## Slide 176: D1101266 – Sxxxxxxx
Sxxxxxxx
Rear
From DAC Adapter
D1101266
Front
<< L1-ISC-C2
Beckhoff Concentrator
(ASC Demod)
D1101266
Power
Sxxxxxxx

## Slide 177: D1200132 – Sxxxxxxx
Beckhoff Concentrator
(Beam Diverters, Shutters, Aux Channels)
D1200132
Power
Sxxxxxxx
Sxxxxxxx
Rear
From DAC Adapter
D1200132
Front
<< L1-ISC-C2

## Slide 178: L1-ISC-C3
ISC LVEA Rack 3 Layout (D1200976) (S1201188)
<< CER
RF Patch Panel 7
Dxxxxxxx
No Power
Sxxxxxxx
21.5 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000649
RF Amplifier Concentrator 1
D1100262
±18VDC
S1103461
RF Patch Panel 8
Dxxxxxxx
No Power
Sxxxxxxx
21.5 MHz RF Source
D080702
+12VDC, ±24VDC
S1000546
35.5 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000650
35.5 MHz RF Source
D080702
+12VDC, ±24VDC
S1000551
80 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000654
80 MHz RF Source
D080702
+12VDC, ±24VDC
S1000567
40 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
S1000751
40 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000655
10 MHz Frequency Divider
D1100974
±17VDC, ±24VDC
S1103488
10 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000671
Timing Comparator / Frequency Counter
D1001370
+12VDC
Sxxxxxxx
Timing Fanout Module
D070011
+12VDC
Sxxxxxxx
RF Amplifier Concentrator 2
D1100262
±18VDC
S1103460
RF Patch Panel 9
Dxxxxxxx
No Power
Sxxxxxxx
Sequencer
D1200757
S1202578
ISC-C3 is part of D1001427.
PTO-056
PTY-011
PTG-002

## Slide 179: L1-ISC-C3
<< CER
(D1100170)
ISC LVEA Rack 3 Layout (D1001427) (S1201188)
(D1001427)

## Slide 180: L1-ISC-C3 Details
L1-ISC-C3 Details
<< L1-ISC-C3
ISC-C3 is part of D1001427.

## Slide 181: RF Patch Panel 7
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 7
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C3

## Slide 182: RF Patch Panel 8
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 8
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C3

## Slide 183: RF Patch Panel 9
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 9
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C3

## Slide 184: D080702 – S1000546
<< L1-ISC-C3
21.5 MHz RF Source
D080702
+12VDC, ±24VDC
S1000546
S1000546
Rear
D080702
Front
Front
Output
Front
Lock
To …

## Slide 185: D1000124 – S1000649
<< L1-ISC-C3
21.5 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000649
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000649
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 186: D080702 – S1000551
S1000551
Rear
<< L1-ISC-C3
35.5 MHz RF Source
D080702
+12VDC, ±24VDC
S1000551
D080702
Front
Front
Output
Front
Lock
To …

## Slide 187: D1000124 – S1000650
<< L1-ISC-C3
35.5 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000650
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000650
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 188: D080702 – Sxxxxxxx
<< L1-ISC-C3
80 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
S1000551
Rear
D080702
Front
Front
Output
Front
Lock
To …

## Slide 189: D1000124 – Sxxxxxxx
<< L1-ISC-C3
80 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 190: D1002182 – Sxxxxxxx
D1002182
Front
Front
Out
Front
In
S1000650
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
Rear
Front
<< L1-ISC-C3
40 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
Sxxxxxxx

## Slide 191: D1000124 – Sxxxxxxx
<< L1-ISC-C3
40 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 192: D1100974 – Sxxxxxxx
<< L1-ISC-C3
10 MHz Frequency Divider
D1100974
±17VDC, ±24VDC
Sxxxxxxx
D1100974
Front
Front
Out
Front
In
S1000650
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
Rear
Front

## Slide 193: D1000124 – Sxxxxxxx
<< L1-ISC-C3
10 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 194: D1100262 – Sxxxxxxx
<< L1-ISC-C3
RF Amplifier Concentrator 1
D1100262
±18VDC
SN:
D1100262
Front
S1001232
Rear
1
Rear
Controls
5
Rear
9
Rear
2
Rear
6
Rear
10
Rear
3
Rear
7
Rear
11
Rear
4
Rear
8
Rear
12
Rear
Rear

## Slide 195: D1100262 – Sxxxxxxx
<< L1-ISC-C3
RF Amplifier Concentrator 2
D1100262
±18VDC
SN:
D1100262
Front
S1001232
Rear
1
Rear
Controls
5
Rear
9
Rear
2
Rear
6
Rear
10
Rear
3
Rear
7
Rear
11
Rear
4
Rear
8
Rear
12
Rear
Rear

## Slide 196: D1001370 – Sxxxxxxx
S1001232
Rear
D1001370
Front
<< L1-ISC-C3
Timing Comparator / Frequency Counter
D1001370
+12VDC
Sxxxxxxx

## Slide 197: D080534 – Sxxxxxxx
S1001232
Rear
D080534
Front
<< L1-ISC-C3
Timing Fanout Module
D080534
+12VDC (& +24VDC)
Sxxxxxxx
D070011
Master
Fanout

## Slide 198: L1-ISC-C4
ISC LVEA Rack 4 Layout (D1200977) (S1201189)
<< CER
RF Patch Panel 1
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 2
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 3
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 4
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 5
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 6
Dxxxxxxx
No Power
Sxxxxxxx
Aeroflex 2023A Diagnostics
Dxxxxxxx
Power
Sxxxxxxx
9.099 / 8.684 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
9.099 / 8.684 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
9.099 / 8.684 MHz Harmonic Generator
Dxxxxxxx
From D1002735
Sxxxxxxx
9.099 / 8.684 MHz Harmonic Power Supply
D1002735
±17VDC, ±24VDC
Sxxxxxxx
18 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
27 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
36 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
45 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
90 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
135 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
24.078 / 22.993 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
24.078 / 22.993 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
71 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
Sequencer
D1200757
S1202562
ISC-C4 is part of D1001427.
PTO-057
PTY-012
PTG-003

## Slide 199: L1-ISC-C4
<< CER
(D1100170)
Spectrum Microwave
ISC LVEA Rack 4 Layout (D1001427) (S1201189)
(D1001427)

## Slide 200: L1-ISC-C4 Details
L1-ISC-C4 Details
ISC-C4 is part of D1001427.
<< L1-ISC-C4

## Slide 201: RF Patch Panel 1
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 1
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C4

## Slide 202: RF Patch Panel 2
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 2
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C4

## Slide 203: RF Patch Panel 3
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 3
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C4

## Slide 204: RF Patch Panel 4
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 4
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C4

## Slide 205: RF Patch Panel 5
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 5
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C4

## Slide 206: RF Patch Panel 6
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 6
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-C4

## Slide 207: D080702 – Sxxxxxxx
S1001232
Rear
D080702
Front
9.099 / 8.684 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
<< L1-ISC-C4

## Slide 208: D1000124 – Sxxxxxxx
<< L1-ISC-C4
9.099 / 8.684 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 209: D1002735 – Sxxxxxxx
Sxxxxxxx
Rear
From DAC Adapter
D1002735
Front
<< L1-ISC-C4
9.099 / 8.684 MHz Harmonic Generator Power Supply
D1002735
±17VDC, ±24VDC
SN:

## Slide 210: D1000124 – Sxxxxxxx
<< L1-ISC-C4
18 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 211: D1000124 – Sxxxxxxx
<< L1-ISC-C4
27 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 212: D1000124 – Sxxxxxxx
<< L1-ISC-C4
36 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 213: D1000124 – Sxxxxxxx
<< L1-ISC-C4
45 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 214: D1000124 – Sxxxxxxx
<< L1-ISC-C4
90 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 215: D1000124 – Sxxxxxxx
<< L1-ISC-C4
135 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 216: D080702 – Sxxxxxxx
S1001232
Rear
D080702
Front
24.078 / 22.993 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
<< L1-ISC-C4

## Slide 217: D1000124 – Sxxxxxxx
<< L1-ISC-C4
24.078 / 22.993 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 218: D080702 – Sxxxxxxx
S1001232
Rear
D080702
Front
71 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
<< L1-ISC-C4

## Slide 219: D1000124 – Sxxxxxxx
<< L1-ISC-C4
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 220: Subsystem: PSL (Pre-Stabilized Laser)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
PSL Component List: LIGO-T0900633
PSL Table Layout: LIGO-T0900610
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
PSL

## Slide 221: L1-PSL-C1
PSL Rack 1 Layout (D1201118) (S1202977)
FSS Anti-Alias Chassis
D0902783
±18VDC
S1001245
ISS Anti-Image Chassis
D1003224
±18VDC
S1001231
l1psl0 I/O Extension Chassis
D1001715
+24VDC
S1001134
PMC Anti-Alias Chassis
D0902783
±18VDC
S1001246
FSS Anti-Image Chassis
D1003224
±18VDC
S1001232
PMC Anti-Image Chassis
D1003224
±18VDC
S1001229
ISS Anti-Alias Chassis
D0902783
±18VDC
S1001244
<< CER
Spare Anti-Image Chassis
D1003224
±18VDC
S1001233
DBB Anti-Image Chassis
D1001801
±18VDC
S1001224
DBB Anti Alias Chassis
D1001125
±18VDC
S1101683
Spare Anti-Alias Chassis
D0902783
±18VDC
S1001247
PTO-018
PTY-009
Spare Anti-Image Chassis
D1003224
±18VDC
S1001230
Spare Anti-Alias Chassis
D0902783
±18VDC
S1001248

## Slide 222: L1-PSL-C1 Details
L1-PSL-C1 Details
<< L1-PSL-C1

## Slide 223: D0902783 – S1001244
IN 1-4
ISS AA 1-4
IN 17-20
ISS AA 17-20
IN 5-8
ISS AA 5-8
IN 9-12
ISS AA 9-12
IN 13-16
ISS AA 13-16
IN 21-24
ISS AA 21-24
IN 25-28
ISS AA 25-28
IN 29-32
ISS AA 29-32
D0902783
Front
To ADC
l1psl0 Slot P1
S1001244
Rear
ISS Anti-Alias Chassis
D0902783
±18VDC
S1001244
<< L1-PSL-C1

## Slide 224: D1003224 – S1001231
ISS Anti-Image Chassis
D1003224
±18VDC
S1001231
S1001231
Rear
From DAC Adapter
D1003224
Front
CH 1-4
CH 5-8
CH 9-12
CH 13-16
aLIGO Anti-Image Module
D1003224
ISS AI 1-4
ISS AI 5-8
ISS AI 9-12
ISS AI 13-16
CH 13-16
CH 9-12
CH 5-8
CH 1-4
l1psl0 Slot P2
From DAC Adapter
<< L1-PSL-C1
D1102351
PSL DAQ DB9 Breakouts
S1201201
S1201199
S1201200
S1201205

## Slide 225: D0902783 – S1001245
FSS Anti-Alias Chassis
D0902783
±18VDC
S1001245
<< L1-PSL-C1
IN 1-4
FSS AA 1-4
IN 17-20
FSS AA 17-20
IN 5-8
FSS AA 5-8
IN 9-12
FSS AA 9-12
IN 13-16
FSS AA 13-16
IN 21-24
FSS AA 21-24
IN 25-28
FSS AA 25-28
IN 29-32
FSS AA 29-32
D0902783
Front
To ADC
l1psl0 Slot P3
S1001245
Rear

## Slide 226: D1003224 – S1001232
FSS Anti-Image Chassis
D1003224
±18VDC
S1001232
S1001232
Rear
From DAC Adapter
D1003224
CH 1-4
CH 5-8
CH 9-12
CH 13-16
aLIGO Anti-Image Module
D1003224
FSS AI 1-4
FSS AI 5-8
FSS AI 9-12
FSS AI 13-16
CH 13-16
CH 9-12
CH 5-8
CH 1-4
l1psl0 Slot P6
From DAC Adapter
Front
<< L1-PSL-C1

## Slide 227: D0902783 – S1001246
PMC Anti-Image Chassis
D0902783
±18VDC
S1001246
<< L1-PSL-C1
IN 1-4
PMC AA 1-4
IN 17-20
PMC AA 17-20
IN 5-8
PMC AA 5-8
IN 9-12
PMC AA 9-12
IN 13-16
PMC AA 13-16
IN 21-24
PMC AA 21-24
IN 25-28
PMC AA 25-28
IN 29-32
PMC AA 29-32
D0902783
Front
To ADC
l1psl0 Slot P4
S1001245
Rear

## Slide 228: D1003224 – S1001229
PMC Anti-Image Chassis
D1003224
±18VDC
S1001229
S1001229
Rear
From DAC Adapter
l1psl0 Slot P7
From DAC Adapter
D1003224
CH 1-4
CH 5-8
CH 9-12
CH 13-16
aLIGO Anti-Image Module
D1003224
PMC AI 1-4
PMC AI 5-8
PMC AI 9-12
PMC AI 13-16
CH 13-16
CH 9-12
CH 5-8
CH 1-4
Front
<< L1-PSL-C1
D1102351
PSL DAQ DB9 Breakouts
S1201202
S1201203
S1201204
S1201206

## Slide 229: D1001125 – S1101683
DBB Anti-Alias Chassis
D1001125
±18VDC
S1101683
S1101683
Rear
To ADC Adapter
l1psl0 Slot P5
To ADC Adapter
D1001125
AI Module aLIGO PSL DBB Assembly Drawing D1100292
Front
CHANNELS 9-16
aLIGO PSL DBB
D1001125
AA Module
CHANNELS 1-8
CHANNELS 25-32
CHANNELS 17-24
DBB AA 1-8
DBB AA 9-16
DBB AA 17-24
DBB AA 25-32
CHANNELS 25-32
CHANNELS 17-24
CHANNELS 9-16
CHANNELS 1-8
<< L1-PSL-C1

## Slide 230: D1001801 – S1001224
DBB Anti-Image Chassis
D1001801
±18VDC
S1001224
S1001224
Rear
From DAC Adapter
l1psl0 Slot P8
From DAC Adapter
D1001801
Front
AI Module aLIGO PSL DBB Assembly Drawing D1002103
CHANNELS 1-8
CHANNELS 9-16
aLIGO PSL DBB
D1001801
AI Module
DBB AI 1-8
DBB AI 9-16
CHANNELS 9-16
CHANNELS 1-8
<< L1-PSL-C1
S1201375
S1201374
D1200639
PSL DAQ DB25 Breakouts

## Slide 231: l1psl0 – D1001715 – S1001134
l1psl0 I/O Extension Chassis
D1001715
+24VDC
S1001134
D1001715
Front
L1:TIM-PSL-C1-A
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-19
Slot P10
DAC16 Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
S1001134
Rear
L1:FE-IO-19
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
S1001244
Slot P1
S1001231
Slot P2
S1001245
Slot P3
S1001246
Slot P4
S1101683
Slot P5
S1001232
Slot P6
S1001233
Slot P7
S1001224
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
<< L1-PSL-C1
l1psl0 – I/O Extender
+24VDC
PTY-009

## Slide 232: D0902783 – S1001248
Anti-Alias Chassis
D0902783
±18VDC
S1001248
<< L1-PSL-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001248
Rear
PSL SPARE

## Slide 233: D0902783 – S1001247
Anti-Alias Chassis
D0902783
±18VDC
S1001247
<< L1-PSL-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001247
Rear
PSL SPARE

## Slide 234: D1003224 – S1001233
Anti-Image Chassis
D1003224
±18VDC
S1001233
S1001229
Rear
From DAC Adapter
PSL SPARE
D1003224
Open
From DAC Adapter
CHANNELS 1-8
CHANNELS 9-16
aLIGO PSL DBB
D1001801
AI Module
Open
Open
CHANNELS 9-16
CHANNELS 1-8
Front
<< L1-PSL-C1

## Slide 235: D1003224 – S1001230
Anti-Image Chassis
D1003224
±18VDC
S1001230
S1001230
Rear
From DAC Adapter
Open
From DAC Adapter
D1003224
PSL SPARE
Front
Open
CH 1-4
Open
CH 5-8
CH 1-4
CH 5-8
Open
CH 9-12
Open
CH 13-16
CH 9-12
CH 13-16
aLIGO Anti-Image Module
D1003224
<< L1-PSL-C1

## Slide 236: PSL Racks(LIGO-G1000106-V1 – p.17)

## Slide 237: PSL Racks(Layout 20101006)

## Slide 238: PSL Racks(LIGO-G1000106-V1 – p.41)

## Slide 239: PSL Racks(LIGO-G1000106-V1 – p.41)

## Slide 240: PSL Racks – L1-PSL-01– ILS and PMC
Eurocard Crate
ECC-1 (ILS and PMC)
Control Box (CB)
NPRO Controller
D1000305 AI Chassis
D0902783 AA Chassis
D1000305 AI Chassis
D0902783 AA Chassis
Control Box (CB)
Eurocard Crate
ECC-1 (ILS and PMC)
NPRO Controller
D1000305 SYYYYYYYY
D0902783 SYYYYYYYY
D0902783 SYYYYYYYY
D1000305 SYYYYYYYY
D070011 Fanout Timing
D070011 Fanout Timing
Front
Rear
L1-PSL-01
L1-PSL-01
I/O Extension
2 ADC
2 DAC
DXXXXXXXX Delay Line Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 35.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 35.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY

## Slide 241: PSL Racks – L1-PSL-1-ECC-1 (ILS and PMC)
Eurocard Crate
ECC-1 (ILS and PMC)
Eurocard Crate
ECC-1 (ILS
and PMC)
Monitoring Field Box
T0900632
ILS Servo
TXXXXXXX
ILS Field Box
TXXXXXXX
PMC Field Box
TXXXXXXX
PMC Servo
TXXXXXXX
+5VDC
-5VDC
+15VDC
-15VDC
+24VDC
-24VDC

## Slide 242: PSL Racks – L1-PSL-02 (DBB, FSS, and ISS)
Eurocard Crate
ECC-2 (FSS and ISS)
Eurocard Crate
ECC-1 (DBB)
D1000305 AI Chassis
D1000305 SYYYYYYYY
D0902783 AA Chassis
D0902783 SYYYYYYYY
D1000305 AI Chassis
D0902783 AA Chassis
D0902783 SYYYYYYYY
D1000305 SYYYYYYYY
Eurocard Crate
ECC-2 (FSS and ISS)
Eurocard Crate
ECC-1 (DBB)
Frequency Stabilization Servo
Intensity Stabilization Servo
Diagnostic Breadboard
D070011 Fanout Timing
D070011 Fanout Timing
I/O Extension
2 ADC
2 DAC
Front
Rear
L1-PSL-02
L1-PSL-02
DXXXXXXXX Delay Line Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 21.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 21.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY

## Slide 243: L1-PSL-02-ECC-1 (DBB)
Eurocard Crate
ECC-1 (DBB)
Eurocard Crate
ECC-1 (DBB)
+5VDC
-5VDC
+15VDC
-15VDC
+24VDC
-24VDC
DBB Field Box
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX

## Slide 244: L1-PSL-02-ECC-2 (FSS and ISS)
Eurocard Crate
ECC-2 (FSS and ISS)
+5VDC
-5VDC
+15VDC
-15VDC
+24VDC
-24VDC
ISS Field Box
TXXXXXXX
FSS Field Box 1
TXXXXXXX
FSS LO
TXXXXXXX
FSS Field Box 2
TXXXXXXX
ISS Servo
TXXXXXXX
Eurocard Crate
ECC-1 (DBB)

## Slide 245
Eurocard Crate
ECC-2 (FSS and ISS)
Eurocard Crate
ECC-1 (DBB)
Eurocard Crate
ECC-2 (FSS and ISS)
Eurocard Crate
ECC-1 (DBB)
DXXXXXXXX Delay Line Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 21.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
Front
Rear
L1-PSL-01
L1-PSL-01
Eurocard Crate
ECC-3 (ILS and PMC
Eurocard Crate
ECC-3 (ILS and PMC
Control Box (CB)
NPRO Controller
DXXXXXXXX 21.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX Delay Line Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 35.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 35.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
Control Box (CB)
NPRO Controller

## Slide 246: PSL Table
T0900610

## Slide 247: L1-LDR-C1
LDR Rack 1 Layout (Dxxxxxxx)
<< LDR

## Slide 248: L1-LDR-C2
LDR Rack 2 Layout (Dxxxxxxx)
<< LDR

## Slide 249: L1-LDR-C3
LDR Rack 3 Layout (Dxxxxxxx)
<< LDR

## Slide 250: LDR Chiller
LDR Rack 4 Layout (Chillers) (Dxxxxxxx)
<< LDR

## Slide 251: Subsystem: SEI (Seismic Isolation)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-PSL-C1
CDS Electronics Room (CER)
L1-ISC-C4
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
SEI

## Slide 252: L1-SEI-C1
HAM1 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200975
SEI HAM1 HEPI and HAM6 ISI and HEPI Rack Layout (D1201112) (S1200743)
l1seiham16 I/O Extension Chassis
D1001715
+24VDC
S1001144
HAM6 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103331
HAM6 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103316
HAM1 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900290
HAM6 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900274
HAM6 ISI Anti-Image Chassis
D1100202
±18VDC
S1200954
HAM1 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200592
HAM6 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200952
HAM6 HEPI Binary Output Chassis
D1001728
+18VDC
S1101324
HAM6 HEPI Binary Input Chassis
D1001726
+18VDC
S1101290
<< CER
PTO-017
PTY-018
PTY-019
SEI-C1 is part of D1101584
HAM6 ISI Interface Chassis
D1000067
±18VDC
S1200667
HAM6 ISI Interface Chassis
D1000067
±18VDC
S1201745
HAM6 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200950
HAM6 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200949

## Slide 253: L1-SEI-C1 Details
L1-SEI-C1 Details
<< L1-SEI-C1
SEI-C1 is part of D1101584

## Slide 254: D1000067 – S1200667
HAM6 ISI Interface Chassis
D1000067
±18VDC
S1200667
<< L1-SEI-C1
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1200667
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 255: D1000067 – S1201745
HAM6 ISI Interface Chassis
D1000067
±18VDC
S1201745
<< L1-SEI-C1
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201745
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 256: D1000269 – S1200950
HAM6 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200950
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1200950
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C1

## Slide 257: D1000269 – S1200949
HAM6 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200949
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1200949
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C1

## Slide 258: D1100202 – S1200954
HAM6 ISI Anti-Image Chassis
D1100202
±18VDC
S1200954
<< L1-SEI-C1
To ADC Adapter
To ADC Adapter
S1200954
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 259: D0902744 – S1103331
HAM6 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103331
D0902744
Front
S1103331
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C1

## Slide 260: D0902744 – S1103316
HAM6 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103316
D0902744
Front
S1103316
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C1

## Slide 261: D1000272 – S1200975
HAM1 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200975
S1200975
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C1

## Slide 262: D1100202 – S1200592
HAM1 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200592
<< L1-SEI-C1
To ADC Adapter
To ADC Adapter
S1200592
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 263: D0900117 – S0900290
HAM1 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900290
<< L1-SEI-C1
S0900274
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
HAM1

## Slide 264: D1001726 – S1101290
S1101290
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM6 HEPI Binary Input Chassis
D1001726
+18VDC
S1101290
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C1

## Slide 265: D1001728 – S1101324
HAM6 HEPI Binary Output Chassis
D1001728
+18VDC
S1101324
<< L1-SEI-C1
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
S1101324
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63

## Slide 266: D1000272 – S1200952
HAM6 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200952
S1200952
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C1

## Slide 267: D0900117 – S0900274
HAM6 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900274
<< L1-SEI-C1
S0900274
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
HAM6

## Slide 268: l1seiham16 - D1001715 – S1001144
l1seiham16 I/O Extension Chassis
D1001715
+24VDC
S1001144
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-07
Slot P10
S1001144
Rear
L1:FE-IO-07
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seiham16 – I/O Extender
<< L1-SEI-C1
+24VDC
PTY-019
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx

## Slide 269: L1-SEI-C2
l1seiham23 I/O Extension Chassis
D1001715
+24VDC
S1001145
HAM3 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900291
SEI HAM2 ISI and HEPI and HAM3 ISI and HEPI Rack Layout (D1201113) (S1200744)
HAM3 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104632
HAM3 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104635
HAM2 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1104616
HAM3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1104615
HAM2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101286
HAM2/3 HEPI Binary Output Chassis
D1001728
+18VDC
S1101321
HAM2 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103300
HAM2 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103332
HAM3 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103306
HAM3 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103304
HAM3 HEPI Anti-Image Chassis
D1100202
±18VDC
S1104573
HAM2 HEPI Anti-Image Chassis
D1100202
±18VDC
S1104572
<< CER
PTO-016
PTY-017
PTY-020
SEI-C2 is part of D1101576
HAM2 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104621
HAM2 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104638
HAM2 ISI Interface Chassis
D1000067
±18VDC
S1107434
HAM2 ISI Interface Chassis
D1000067
±18VDC
S1107435
HAM3 ISI Interface Chassis
D1000067
±18VDC
S1107436
HAM3 ISI Interface Chassis
D1000067
±18VDC
S1200668
HAM2 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900275

## Slide 270: L1-SEI-C2 Details
L1-SEI-C2 Details
<< L1-SEI-C2
SEI-C2 is part of D1101576

## Slide 271: D1000067 – S1107434
HAM2 ISI Interface Chassis
D1000067
±18VDC
S1107434
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107434
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C2

## Slide 272: D1000067 – S1107435
HAM2 ISI Interface Chassis
D1000067
±18VDC
S1107435
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107435
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C2

## Slide 273: D1000269 – S1104621
HAM2 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104621
<< L1-SEI-C2
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1104621
Rear
To ADC Adapter
To ADC Adapter

## Slide 274: D1000269 – S1104638
HAM2 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104638
<< L1-SEI-C2
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1104638
Rear
To ADC Adapter
To ADC Adapter

## Slide 275: D1100202 – S1104572
<< L1-SEI-C2
HAM2 HEPI Anti-Image Chassis
D1100202
±18VDC
S1104572
To ADC Adapter
To ADC Adapter
S1104572
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 276: D0902744 – S1103300
<< L1-SEI-C2
HAM2 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103300
D0902744
Front
S1103300
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 277: D0902744 – S1103332
<< L1-SEI-C2
HAM2 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103332
D0902744
Front
S1103332
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 278: D1000067 – S1107436
HAM3 ISI Interface Chassis
D1000067
±18VDC
S1107436
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107436
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C2

## Slide 279: D1000067 – S1200668
HAM3 ISI Interface Chassis
D1000067
±18VDC
S1200668
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1200668
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C2

## Slide 280: D1000269 – S1104632
HAM3 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104632
<< L1-SEI-C2
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1104632
Rear
To ADC Adapter
To ADC Adapter

## Slide 281: D1000269 – S1104635
HAM3 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104635
<< L1-SEI-C2
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1104635
Rear
To ADC Adapter
To ADC Adapter

## Slide 282: D1100202 – S1104573
<< L1-SEI-C2
HAM3 HEPI Anti-Image Chassis
D1100202
±18VDC
S1104573
To ADC Adapter
To ADC Adapter
S1104573
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 283: D0902744 – S1103306
<< L1-SEI-C2
HAM3 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103306
D0902744
Front
S1103306
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 284: D0902744 – S1103304
<< L1-SEI-C2
HAM3 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103304
D0902744
Front
S1103304
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 285: D1000272 – S1104616
<< L1-SEI-C2
HAM3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1104616
S1104616
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26

## Slide 286: D0900117 – S0900275
HAM2 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900275
S0900275
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C2
HAM2

## Slide 287: D1001726 – S1101286
S1101286
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101286
<< L1-SEI-C2
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front

## Slide 288: D1001728 – S1101321
S1101321
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM2/3 HEPI Binary Output Chassis
D1001728
+18VDC
S1101321
<< L1-SEI-C2
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63

## Slide 289: D1000272 – S1104615
<< L1-SEI-C2
HAM3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1104615
S1104615
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26

## Slide 290: D0900117 – S0900291
HAM3 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900291
S0900291
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C2
HAM3

## Slide 291: l1seiham23 - D1001715 – S1001145
l1seiham23 – I/O Extension Chassis
D1001715
+24VDC
S1001145
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-08
Slot P10
S1001145
Rear
L1:FE-IO-08
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seiham23 – I/O Extender
<< L1-SEI-C2
+24VDC
PTY-020
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx

## Slide 292: L1-SEI-C3
l1seiham45 – I/O Extension Chassis
D1001715
+24VDC
S1001146
SEI HAM4 and HAM5 ISI and HEPI Rack Layout (D1201114) (S1200745)
HAM4 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103308
HAM4 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103325
<< CER
PTO-015
PTY-014
PTY-015
HAM4 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200313
HAM4 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107529
HAM4 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200319
SEI-C3 is part of D1000298
HAM4 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1107866
HAM4 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1107867
HAM4 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1107868
HAM5 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1107869
HAM5 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1107870
HAM5 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1107871
HAM5 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103326
HAM5 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103324
HAM5 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107530
HAM5 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107531
HAM5 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200318
HAM4 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200310
HAM4 HEPI Binary Input Chassis
D1001726
+18VDC
S1101288
HAM4/5 HEPI Binary Output Chassis
D1001728
+18VDC
S1101323
HAM4 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900266
HAM5 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200311
HAM5 HEPI Binary Input Chassis
D1001726
+18VDC
S1101289
HAM5 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900272

## Slide 293: L1-SEI-C3 Details
L1-SEI-C3 Details
<< L1-SEI-C3
SEI-C3 is part of D1000298

## Slide 294: D1002432 – S1107866
HAM4 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1107866
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107866
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 295: D1002432 – S1107867
HAM4 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1107867
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107867
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 296: D1002432 – S1107868
HAM4 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1107868
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107868
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 297: D1000269 – S1200313
HAM4 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200313
<< L1-SEI-C3
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1200313
Rear
To ADC Adapter
To ADC Adapter

## Slide 298: D1000269 – S1107529
HAM4 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107529
<< L1-SEI-C3
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1107529
Rear
To ADC Adapter
To ADC Adapter

## Slide 299: D1100202 – S1200319
HAM4 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200319
<< L1-SEI-C3
To ADC Adapter
To ADC Adapter
S1200319
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 300: D0902744 – S1103308
HAM4 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103308
D0902744
Front
S1103308
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C3

## Slide 301: D0902744 – S1103325
HAM4 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103325
D0902744
Front
S1103325
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C3

## Slide 302: D1002432 – S1107869
HAM5 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1107869
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107869
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 303: D1002432 – S1107870
HAM5 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1107870
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107870
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 304: D1002432 – S1107871
HAM5 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1107871
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107871
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 305: D1000269 – S1107530
HAM5 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107530
<< L1-SEI-C3
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1107530
Rear
To ADC Adapter
To ADC Adapter

## Slide 306: D1000269 – S1107531
HAM5 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107531
<< L1-SEI-C3
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1107531
Rear
To ADC Adapter
To ADC Adapter

## Slide 307: D1100202 – S1200318
HAM5 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200318
<< L1-SEI-C3
To ADC Adapter
To ADC Adapter
S1200318
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 308: D0902744 – S1103326
HAM5 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103326
D0902744
Front
S1103326
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C3

## Slide 309: D0902744 – S1103324
HAM5 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103324
D0902744
Front
S1103324
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C3

## Slide 310: D1000272 – S1200310
HAM4 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200310
S1200310
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C3

## Slide 311: D0900117 – S0900266
HAM4 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900266
S0900266
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C3
HAM4

## Slide 312: D1001726 – S1101288
S1101288
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM4 HEPI Binary Input Chassis
D1001726
+18VDC
S1101288
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C3

## Slide 313: D1001728 – S1101323
S1101323
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM4/5 HEPI Binary Output Chassis
D1001728
+18VDC
S1101323
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SEI-C3

## Slide 314: D1000272 – S1200311
HAM5 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200311
S1200311
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C3

## Slide 315: D0900117 – S0900272
HAM5 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900272
S0900272
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C3
HAM5

## Slide 316: D1001726 – S1101289
S1101289
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM5 HEPI Binary Input Chassis
D1001726
+18VDC
S1101289
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C3

## Slide 317: l1susham45 - D1001715 – S1001146
l1seiham45 – I/O Extension Chassis
D1001715
+24VDC
S1001146
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-09
Slot P10
S1001146
Rear
L1:FE-IO-09
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seiham45 – I/O Extender
<< L1-SEI-C3
+24VDC
PTY-015
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 318: L1-SEI-C4
l1seibsc1 – I/O Extension Chassis
D1001715
+24VDC
S1001147
SEI BSC1 ISI and HEPI Rack Layout (D1201115) (S1200746)
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203001
<< CER
PTO-014
PTY-013
PTY-016
SEI-C4 is part of D0901301
BSC1 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1201326
BSC1 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1201325
BSC1 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1201329
BSC1 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103311
BSC1 HEPI Anti-Image Chassis
D1100202
±18VDC
S1203003
BSC1 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200951
BSC1 HEPI Binary Input Chassis
D1001726
+18VDC
S1101295
BSC1 HEPI Binary Output Chassis
D1001728
+18VDC
S1101327
BSC1 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900279
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203000
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1202999
BSC1 HEPI Binary Input Chassis
D1001726
+18VDC
S1101296
BSC1 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103322
BSC1 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103328
BSC1 STS-2 Distribution Chassis
D0900351
±18VDC
S0900137
BSC1 STS-2 Interface Chassis
D080535
±18VDC
S0900097
BSC1 Anti-Image Chassis
D1000305
±18VDC
S1203007
BSC1 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1201402
BSC1 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1201391
BSC1 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1201386

## Slide 319: L1-SEI-C4 Details
L1-SEI-C4 Details
<< L1-SEI-C4
SEI-C4 is part of D0901301

## Slide 320: D1002432 – S1201326
BSC1 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1201326
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201326
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C4

## Slide 321: D1002432 – S1201325
BSC1 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1201325
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201325
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C4

## Slide 322: D1002432 – S1201329
BSC1 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1201329
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201329
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C4

## Slide 323: D1002693 – S1203001
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203001
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27
<< L1-SEI-C4
S1203001
Rear
To ADC Adapter
To ADC Adapter

## Slide 324: D1002693 – S1203000
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203000
<< L1-SEI-C4
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27
S1203000
Rear
To ADC Adapter
To ADC Adapter

## Slide 325: D1002693 – S1202999
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1202999
<< L1-SEI-C4
S1202999
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 326: D1000272 – S1200951
BSC1 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200951
S1200951
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C4

## Slide 327: D1100202 – S1203003
BSC1 HEPI Anti-Image Chassis
D1100202
±18VDC
S1203003
<< L1-SEI-C4
To ADC Adapter
To ADC Adapter
S1203003
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 328: D0900117 – S0900279
BSC1 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900279
S0900279
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C4
BSC1

## Slide 329: D1001726 – S1101295
S1101295
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC1 HEPI Binary Input Chassis
D1001726
+18VDC
S1101295
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C4

## Slide 330: D1001726 – S1101296
S1101296
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC1 HEPI Binary Input Chassis
D1001726
+18VDC
S1101296
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C4

## Slide 331: D1001728 – S1101327
S1101327
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC1 HEPI Binary Output Chassis
D1001728
+18VDC
S1101327
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SEI-C4

## Slide 332: D1002694 – S1201402
BSC1 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1201402
<< L1-SEI-C4
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201402
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 333: D1002694 – S1201391
BSC1 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1201391
<< L1-SEI-C4
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201391
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 334: D1002694 – S12011386
BSC1 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1201386
<< L1-SEI-C4
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201386
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 335: D0900351 – S0900137
BSC1 STS-2 Distribution Chassis
D0900351
±18VDC
S0900137
<< L1-SEI-C4
S0900137
Rear
From STS-2 Interface
From STS-2 Interface
To AA Chassis
To AA Chassis
From STS-2 Interface
To AA Chassis
Channel 1
Channel 1
D0900351
Front
Channel 2
Channel 2
Channel 3
Channel 3
Channel 4
Channel 4
Channel 5
Channel 5
Channel 6
Channel 6
Channel 7
Channel 7
Channel 8
Channel 8

## Slide 336: D080535 – S0900097
BSC1 STS-2 Interface Chassis
D080535
±18VDC
S0900097
<< L1-SEI-C4
S0900097
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 337: l1seibsc1 - D1001715 – S1001147
l1seibsc1 – I/O Extension Chassis
D1001715
+24VDC
S1001147
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-04
Slot P10
S1001147
Rear
L1:FE-IO-04
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seibsc1 – I/O Extender
<< L1-SEI-C4
+24VDC
PTY-016
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 338: D1000305 – S1203007
BSC1 Anti-Image Chassis
D1000305
±18VDC
S1203007
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1203007
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SEI-C4

## Slide 339: D0902744 – S1103328
BSC1 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103328
D0902744
Front
S1103328
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C4

## Slide 340: D0902744 – S1103322
BSC1 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103322
D0902744
Front
S1103322
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C4

## Slide 341: D0902744 – S1103311
BSC1 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103311
D0902744
Front
S1103311
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C4

## Slide 342: L1-SEI-C5
l1seibsc2 – I/O Extension Chassis
D1001715
+24VDC
S1001148
SEI BSC2 ISI and HEPI Rack Layout (D1201116) (S1200747)
<< CER
PTO-020
PTY-022
PTY-023
SEI-C5 is part of D0901301
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200947
BSC2 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1106357
BSC2 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1200666
BSC2 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1200665
BSC2 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103353
BSC2 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200953
BSC2 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200312
BSC2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101291
BSC2 HEPI Binary Output Chassis
D1001728
+18VDC
S1101325
BSC2 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900285
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200946
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200948
BSC2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101292
BSC2 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103337
BSC2 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103305
BSC2 STS-2 Distribution Chassis
D0900351
±18VDC
S0900132
BSC2 Anti-Image Chassis
D1000305
±18VDC
S1200955
BSC2 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1104427
BSC2 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1104425
BSC2 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1104421
BSC2 STS-2 Interface Chassis
D080535
±18VDC
S0900094

## Slide 343: L1-SEI-C5 Details
L1-SEI-C5 Details
<< L1-SEI-C5
SEI-C5 is part of D0901301

## Slide 344: D1002432 – S1106357
BSC2 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1106357
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1106357
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C5

## Slide 345: D1002432 – S1200666
BSC2 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1200666
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1200666
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C5

## Slide 346: D1002432 – S1200665
BSC2 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1200665
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1200665
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C5

## Slide 347: D1002693 – S1200947
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200947
S1200947
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C5
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 348: D1002693 – S1200946
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200946
S1200946
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C5
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 349: D1002693 – S1200948
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200948
S1200948
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C5
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 350: D1000272 – S1200312
BSC2 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200312
S1200312
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C5

## Slide 351: D1100202 – S1200953
BSC2 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200953
<< L1-SEI-C5
To ADC Adapter
To ADC Adapter
S1200953
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 352: D0900117 – S0900285
BSC2 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900285
S0900285
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C5
BSC2

## Slide 353: D1001726 – S1101291
S1101291
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101291
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C5

## Slide 354: D1001726 – S1101292
S1101292
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101292
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C5

## Slide 355: D1001728 – S1101325
S1101325
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC2 HEPI Binary Output Chassis
D1001728
+18VDC
S1101325
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SEI-C5

## Slide 356: D1002694 – S1104427
BSC2 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1104427
<< L1-SEI-C5
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104427
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 357: D1002694 – S1104425
BSC2 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1104425
<< L1-SEI-C5
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104425
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 358: D1002694 – S1104421
BSC2 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1104421
<< L1-SEI-C5
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104421
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 359: D0900351 – S0900132
BSC2 STS-2 Distribution Chassis
D0900351
±18VDC
S0900132
S0900132
Rear
From STS-2 Interface
From STS-2 Interface
To AA Chassis
To AA Chassis
From STS-2 Interface
To AA Chassis
Channel 1
Channel 1
D0900351
Front
Channel 2
Channel 2
Channel 3
Channel 3
Channel 4
Channel 4
Channel 5
Channel 5
Channel 6
Channel 6
Channel 7
Channel 7
Channel 8
Channel 8
<< L1-SEI-C5

## Slide 360: D080535 – S0900094
BSC2 STS-2 Interface Chassis
D080535
±18VDC
S0900094
<< L1-SEI-C5
S0900094
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 361: l1seibsc2 - D1001715 – S1001148
l1seibsc2 – I/O Extension Chassis
D1001715
+24VDC
S1001148
<< L1-SEI-C5
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-20
Slot P10
S1001148
Rear
L1:FE-IO-20
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seibsc2 – I/O Extender
+24VDC
PTY-023
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 362: D1000305 – S1200955
BSC2 Anti-Image Chassis
D1000305
±18VDC
S1200955
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200955
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SEI-C5

## Slide 363: D0902744 – S1103305
BSC2 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103305
D0902744
Front
S1103305
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C5

## Slide 364: D0902744 – S1103337
BSC2 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103337
D0902744
Front
S1103337
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C5

## Slide 365: D0902744 – S1103353
BSC2 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103353
D0902744
Front
S1103353
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C5

## Slide 366: L1-SEI-C6
SEI BSC3 ISI and HEPI Rack Layout (D1201117) (S1200748)
<< CER
PTO-019
PTY-021
PTY-024
SEI-C6 is part of D0901301
l1seibsc3 – I/O Extension Chassis
D1001715
+24VDC
S1100946
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203102
BSC3 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1201323
BSC3 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1201322
BSC3 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1201327
BSC3 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103329
BSC3 HEPI Anti-Image Chassis
D1100202
±18VDC
S1203132
BSC3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1203002
BSC3 HEPI Binary Input Chassis
D1001726
+18VDC
S1101299
BSC3 HEPI Binary Output Chassis
D1001728
+18VDC
S1101328
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203101
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203100
BSC3 HEPI Binary Input Chassis
D1001726
+18VDC
S1101298
BSC3 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103315
BSC3 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103565
BSC3 STS-2 Distribution Chassis
D0900351
±18VDC
S0900130
BSC3 Anti-Image Chassis
D1000305
±18VDC
S1203269
BSC3 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1201892
BSC3 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1104429
BSC3 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1104428
BSC3 STS-2 Interface Chassis
D080535
±24VDC
S0900092
BSC3 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900280

## Slide 367: L1-SEI-C6 Details
L1-SEI-C6 Details
<< L1-SEI-C6
SEI-C6 is part of D0901301

## Slide 368: D1002432 – S1201323
BSC3 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1201323
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201323
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C6

## Slide 369: D1002432 – S1201322
BSC3 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1201322
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201322
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C6

## Slide 370: D1002432 – S1201327
BSC3 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1201327
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201327
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C6

## Slide 371: D1002693 – S1203102
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203102
S1203102
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C6
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 372: D1002693 – S1203101
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203101
S1203101
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C6
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 373: D1002693 – S1203100
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203100
S1203100
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C6
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 374: D1000272 – S1203002
BSC3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1203002
S1203002
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C6

## Slide 375: D1100202 – S1203132
BSC3 HEPI Anti-Image Chassis
D1100202
±18VDC
S1203132
<< L1-SEI-C6
To ADC Adapter
To ADC Adapter
S1203132
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 376: D0900117 – S0900280
BSC3 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900280
S0900280
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C6
BSC3

## Slide 377: D1001726 – S1101299
S1101299
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC3 HEPI Binary Input Chassis
D1001726
+18VDC
S1101299
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C6

## Slide 378: D1001726 – S1101298
S1101298
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC3 HEPI Binary Input Chassis
D1001726
+18VDC
S1101298
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C6

## Slide 379: D1001728 – S1101328
S1101328
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC3 HEPI Binary Output Chassis
D1001728
+18VDC
S1101328
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SEI-C6

## Slide 380: D1002694 – S1201892
BSC3 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1201892
<< L1-SEI-C6
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201892
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 381: D1002694 – S1104429
BSC3 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1104429
<< L1-SEI-C6
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104429
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 382: D1002694 – S1104428
BSC3 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1104428
<< L1-SEI-C6
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104428
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 383: D0900351 – S0900130
BSC3 STS-2 Distribution Chassis
D0900351
±18VDC
S0900130
S0900130
Rear
From STS-2 Interface
From STS-2 Interface
To AA Chassis
To AA Chassis
From STS-2 Interface
To AA Chassis
Channel 1
Channel 1
D0900351
Front
Channel 2
Channel 2
Channel 3
Channel 3
Channel 4
Channel 4
Channel 5
Channel 5
Channel 6
Channel 6
Channel 7
Channel 7
Channel 8
Channel 8
<< L1-SEI-C6

## Slide 384: D080535 – S0900092
BSC3 STS-2 Interface Chassis
D080535
±18VDC
S0900092
<< L1-SEI-C6
S0900092
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 385: l1seibsc3 - D1001715 – S1100946
l1seibsc3 – I/O Extension Chassis
D1001715
+24VDC
S1100946
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-23
Slot P10
S1100946
Rear
L1:FE-IO-23
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seibsc3 – I/O Extender
<< L1-SEI-C6
+24VDC
PTY-024
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 386: D1000305 – S1203269
BSC3 Anti-Image Chassis
D1000305
±18VDC
S1203269
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1203269
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SEI-C6

## Slide 387: D0902744 – S1103565
BSC3 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103565
D0902744
Front
S1103565
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C6

## Slide 388: D0902744 – S1103315
BSC3 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103315
D0902744
Front
S1103315
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C6

## Slide 389: D0902744 – S1103329
BSC3 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103329
D0902744
Front
S1103329
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C6

## Slide 390: Subsystem: SUS (Suspensions)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
SUS

## Slide 391: L1-SUS-C1 – S1104062
SUS HAM3 and HAM4 Rack 1 (of 2) Layout (D1000599) (S1104062)
PR2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000349
MC2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000348
MC2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000347
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000260
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000264
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000721
SR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000722
SR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000273
SR2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001188
SR2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001187
PR2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001186
FE DAC4, FE DAC5 Anti-Image Chassis
D1000305
±18VDC
S1101815
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1001198
FE DAC0, FE DAC1 Anti-Image Chassis
D1000305
±18VDC
S1001197
BIO2 Binary Input Chassis
D1000726
±18VDC
S1101802
BIO2 Binary Output Chassis
D1000725
±18VDC
S1101782
BIO1 Binary Output Chassis
D1000725
±18VDC
S1101781
BIO1 Binary Input Chassis
D1000726
±18VDC
S1101805
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100327
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1001157
<< CER
PTO-008

## Slide 392: L1-SUS-C1 Details
L1-SUS-C1 Details
<< L1-SUS-C1

## Slide 393: D1001242 – S1000260
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000260
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
<< L1-SUS-C1
S1000260
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 394: D1001242 – S1000264
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000264
<< L1-SUS-C1
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000264
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 395: D1001242 – S1000721
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000721
<< L1-SUS-C1
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000721
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 396: D1001242 – S1000722
SR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000722
<< L1-SUS-C1
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000722
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 397: D1001242 – S1000273
SR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000273
<< L1-SUS-C1
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000273
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 398: D0902783 – S1001157
<< L1-SUS-C1
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1001157
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001157
Rear

## Slide 399: D0902783 – S1100327
<< L1-SUS-C1
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100327
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100327
Rear

## Slide 400: D1000305 – S1001197
<< L1-SUS-C1
FE DAC0, FE DAC1 Anti-Image Chassis
D1000305
±18VDC
S1001197
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1001197
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 401: D1000305 – S1001198
<< L1-SUS-C1
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1001198
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1001198
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 402: D0900006 – S1000347
MC2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000347
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000347
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 403: D0900006 – S1000348
MC2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000348
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000348
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 404: D0900006 – S1000349
PR2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000349
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000349
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 405: D1000305 – S1001815
<< L1-SUS-C1
FE DAC4, FE DAC5 Anti-Image Chassis
D1000305
±18VDC
S1101815
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101815
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 406: D0900006 – S1001186
PR2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001186
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001186
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 407: D0900006 – S1001187
SR2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001187
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001187
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 408: D0900006 – S1001188
SR2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001188
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001188
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 409: D1000725 – S1101781
<< L1-SUS-C1
BIO1 Binary Output Chassis
D1000725
±18VDC
S1101781
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101781
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31

## Slide 410: D1000726 – S1101805
<< L1-SUS-C1
BIO1 Binary Input Chassis
D1000726
±18VDC
S1101805
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101805
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31

## Slide 411: D1000725 – S1101782
<< L1-SUS-C1
BIO2 Binary Output Chassis
D1000725
±18VDC
S1101782
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101782
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31

## Slide 412: D1000726 – S1101802
<< L1-SUS-C1
BIO2 Binary Input Chassis
D1000726
±18VDC
S1101802
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101802
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31

## Slide 413: L1-SUS-C2 – S1104356
SUS HAM3 and HAM4 Rack 2 (of 2) Layout (D1000599) (S1104356)
MON ADC2 Anti-Alias Chassis
D0902783
±18VDC
S1105148
MON ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105149
MON ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1105129
l1susham34 I/O Extension Chassis
D1001715
+24VDC
S1001140
l1susauxham34 I/O Extension Chassis
D1001715
+24VDC
S1001141
MON ADC3 Anti-Alias Chassis
D0902783
±18VDC
S1105147
MON ADC4 Anti-Alias Chassis
D0902783
±18VDC
S1105146
MON ADC5 Anti-Alias Chassis
D0902783
±18VDC
S1105145
<< CER
PTO-007
TB-03

## Slide 414: L1-SUS-C2 Details
L1-SUS-C2 Details
<< L1-SUS-C2

## Slide 415: D0902783 – S1105129
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105129
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105129
Rear

## Slide 416: D0902783 – S1105149
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105149
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105149
Rear

## Slide 417: D0902783 – S1105148
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105148
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105148
Rear

## Slide 418: D0902783 – S1105147
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105147
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105147
Rear

## Slide 419: D0902783 – S1105146
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105146
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105146
Rear

## Slide 420: D0902783 – S1105145
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105145
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105145
Rear

## Slide 421: l1susauxham34 - D1001715 – S1001141
<< L1-SUS-C2
l1susauxham34 I/O Extension Chassis
D1001715
+24VDC
S1001141
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-17
Slot P10
S1001141
Rear
L1:FE-IO-17
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxham34 – I/O Extender
+24VDC
TB-03
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx

## Slide 422: l1susham34 - D1001715 – S1001140
l1susham34 I/O Extension Chassis
D1001715
+24VDC
S1001140
<< L1-SUS-C2
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-13
Slot P10
S1001140
Rear
L1:FE-IO-13
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susham34 – I/O Extender
+24VDC
TB-03
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 423: L1-SUS-C3 – S1104357
SUS HAM2 Rack 1 (of 2) Layout (D0902810) (S1104357)
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1105290
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1105289
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1105265
MON ADC6 Anti-Alias Chassis
D1000721
±18VDC
S1105294
MON ADC5 Anti-Alias Chassis
D1000721
±18VDC
S1105293
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1105292
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1105291
l1susham2b I/O Extension Chassis
D1001715
+24VDC
S1001139
l1susham2a I/O Extension Chassis
D1001715
+24VDC
S1001133
l1susauxham2 I/O Extension Chassis
D1001715
+24VDC
S1103891
MON ADC7 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100335
FE1 BIO2 Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101772
FE1 BIO2 Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101283
FE1 BIO1 Binary Output Chassis
D1000725
±18VDC
S1104841
FE1 BIO1 Binary Input Chassis
D1000726
±18VDC
S1104457
FE1 BIO0 Binary Output Chassis
D1000725
±18VDC
S1104838
FE1 BIO0 Binary Input Chassis
D1000726
±18VDC
S1104460
<< CER
PTO-006
TB-04
FE2 BIO0 Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101773
FE2 BIO0 Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101315
PTY-005

## Slide 424: L1-SUS-C3 Details
L1-SUS-C3 Details
<< L1-SUS-C3

## Slide 425: D1000721 – S1105265
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1105265
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105265
Rear
<< L1-SUS-C3

## Slide 426: D1000721 – S1105289
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1105289
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105289
Rear
<< L1-SUS-C3

## Slide 427: D1000721 – S1105290
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1105290
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105290
Rear
<< L1-SUS-C3

## Slide 428: D1000721 – S1105291
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1105291
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105291
Rear
<< L1-SUS-C3

## Slide 429: D1000721 – S1105292
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1105292
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105292
Rear
<< L1-SUS-C3

## Slide 430: D1000721 – S1105293
MON ADC5 Anti-Alias Chassis
D1000721
±18VDC
S1105293
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105293
Rear
<< L1-SUS-C3

## Slide 431: D1000721 – S1105294
MON ADC6 Anti-Alias Chassis
D1000721
±18VDC
S1105294
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105294
Rear
<< L1-SUS-C3

## Slide 432: D0902783 – S1100335
MON ADC7 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100335
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100335
Rear
<< L1-SUS-C3

## Slide 433: l1susauxham2 - D1001715 – S1003891
l1susauxham2 I/O Extension Chassis
D1001715
+24VDC
S1003891
<< L1-SUS-C3
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-16
Slot P10
S1003891
Rear
L1:FE-IO-16
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxham2 – I/O Extender
+24VDC
PTY-005
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx

## Slide 434: l1susham2a - D1001715 – S1001133
<< L1-SUS-C3
l1susham2a IO Extension Chassis
D1001715
+24VDC
S1001133
l1susham2a – I/O Extender
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-11
Slot P10
S1001133
Rear
L1:FE-IO-11
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susham2a – I/O Extender
+24VDC
TB-04
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 435: l1susham2b - D1001715 – S1001139
l1susham2b IO Extension Chassis
D1001715
+24VDC
S1001139
l1susham2b – I/O Extender
<< L1-SUS-C3
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-12
Slot P10
S1001139
Rear
L1:FE-IO-12
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susham2b – I/O Extender
+24VDC
TB-04
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 436: D1000725 – S1104838
FE1 BIO0 Binary Output Chassis
D1000725
±18VDC
S1104838
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1104838
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C3

## Slide 437: D1000726 – S1104460
FE1 BIO0 Binary Input Chassis
D1000726
±18VDC
S1104460
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1104460
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C3

## Slide 438: D1000725 – S1104841
FE1 BIO1 Binary Output Chassis
D1000725
±18VDC
S1104841
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1104841
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C3

## Slide 439: D1000726 – S1104457
FE1 BIO1 Binary Input Chassis
D1000726
±18VDC
S1104457
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1104457
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C3

## Slide 440: D1002593 – S1101772
FE1 BIO2 Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101772
S1101772
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1002593
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SUS-C3

## Slide 441: D1001726 – S1101283
FE1 BIO2 Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101283
S1101283
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SUS-C3

## Slide 442: D1002593 – S1101773
FE2 BIO0 Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101773
S1101773
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1002593
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SUS-C3

## Slide 443: D1001726 – S1101315
FE2 BIO0 Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101315
S1101315
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SUS-C3

## Slide 444: L1-SUS-C4 – S1104058
SUS HAM2 Rack 2 (of 2) Layout (D0902810) (S1104358)
FE1 ADC0 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100332
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000253
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000261
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000262
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000257
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000726
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000723
FE1 ADC1 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100333
FE1 DAC0, FE1 DAC1 Anti-Image Chassis
D1000305
±18VDC
S1105313
MC3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000353
MC1 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000352
MC1 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001112
MC3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000354
FE1 DAC6 Anti-Image Chassis
D1000305
±18VDC
S1101806
PR3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001192
PRM Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001191
PRM Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001103
PR3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001193
FE1 DAC2, FE1 DAC3 Anti-Image Chassis
D1000305
±18VDC
S1001200
FE1 DAC4, FE1 DAC5 Anti-Image Chassis
D1000305
±18VDC
S1104363
FE2 ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1200818
FE2 DAC0 Anti-Image Chassis
D1000305
±18VDC
S1101807
SM1 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200590
SM2 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200589
<< CER
PTO-005
PTO-022
PMMT1 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200585
PMMT2 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200617

## Slide 445: L1-SUS-C4 Details
L1-SUS-C4 Details
<< L1-SUS-C4

## Slide 446: D1001242 – S1000253
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000253
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000253
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 447: D1001242 – S1000261
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000261
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000261
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 448: D1001242 – S1000262
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000262
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000262
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 449: D1001242 – S1000257
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000257
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000257
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 450: D1001242 – S1000726
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000726
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000726
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 451: D1001242 – S1000723
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000723
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000723
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 452: D0902783 – S1100332
FE1 ADC0 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100332
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100332
Rear
<< L1-SUS-C4

## Slide 453: D0902783 – S1100333
FE1 ADC1 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100333
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100333
Rear
<< L1-SUS-C4

## Slide 454: D1000305 – S1105313
FE1 DAC0, FE1 DAC1 Anti-Image Chassis
D1000305
±18VDC
S1105313
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1105313
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 455: D1000305 – S1001200
FE1 DAC2, FE1 DAC3 Anti-Image Chassis
D1000305
±18VDC
S1001200
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1001200
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 456: D0900006 – S1001112
MC1 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000347
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001112
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 457: D0900006 – S1000352
MC1 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000352
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000352
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 458: D0900006 – S1000353
MC3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000353
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000353
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 459: D0900006 – S1000354
MC3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000354
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000354
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 460: D1000305 – S1104363
FE1 DAC4, FE1 DAC5 Anti-Image Chassis
D1000305
±18VDC
S1104363
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1104363
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 461: D1000305 – S1101806
FE1 DAC6 Anti-Image Chassis
D1000305
±18VDC
S1101806
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101806
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 462: D0900006 – S1001103
PRM Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001103
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001103
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 463: D0900006 – S1001191
PRM Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001191
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001191
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 464: D0900006 – S1001192
PR3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001192
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001192
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 465: D0900006 – S1001193
PR3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001193
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001193
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 466: D1100687 – S1200590
SM1 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200590
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200590
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp
<< L1-SUS-C4

## Slide 467: D1100687 – S1200589
SM2 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200589
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200589
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp
<< L1-SUS-C4

## Slide 468: D0902783 – S1200818
FE2 ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1200818
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1200818
Rear
<< L1-SUS-C4

## Slide 469: D1000305 – S1101807
FE2 DAC0 Anti-Image Chassis
D1000305
±18VDC
S1101807
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101807
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 470: D1100687 – S1200585
PMMT1 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200585
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200585
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp
<< L1-SUS-C4

## Slide 471: D1100687 – S1200617
PMMT2 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200617
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200617
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp
<< L1-SUS-C4

## Slide 472: L1-SUS-C5 – S1105375
SUS ITMX, ITMY, and BS Rack 1 (of 2) Layout (D1100022) (S1105375)
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000435
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000380
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000372
BS Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000265
BS Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000258
BS Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001110
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000377
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000379
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000370
l1susauxbsc123 I/O Extension Chassis
D1001715
+24VDC
S1103888
l1susbsc123 I/O Extension Chassis
D1001715
+24VDC
S1001143
ITMY UIM Coil Driver Chassis
D0902668
±18VDC
S0900313
ITMX UIM Coil Driver Chassis
D0902668
±18VDC
S0900311
ITMY PUM Coil Driver Chassis
D1100303
±18VDC
S1101562
ITMX PUM Coil Driver Chassis
D1100303
±18VDC
S1101561
<< CER
PTO-004
PTY-002
TB-01

## Slide 473: L1-SUS-C5 Details
L1-SUS-C5 Details
<< L1-SUS-C5

## Slide 474: D1001782 – S1000435
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000435
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000435
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 475: D1001782 – S1000380
<< L1-SUS-C5
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000380
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000380
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 476: D1001782 – S1000372
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000372
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000372
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 477: D1001782 – S1000377
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000377
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000377
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 478: D1001782 – S1000379
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000379
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000379
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 479: D1001782 – S1000370
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000370
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000370
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 480: D0902668 – S0900313
D070481
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
AdL PP UIM Coil Driver
University of Birmingham
S0900313
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
ITMY UIM Coil Driver Chassis
D0902668
±18VDC
S0900313
<< L1-SUS-C5

## Slide 481: D0902668 – S0900311
ITMX UIM Coil Driver Chassis
D0902668
±18VDC
S0900311
<< L1-SUS-C5
D070481
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
AdL PP UIM Coil Driver
University of Birmingham
S0900311
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat

## Slide 482: D1100303 – S1101562
D070483
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
PUM Coil Driver
University of Birmingham
S1101562
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
ITMY PUM Coil Driver Chassis
D1100303
±18VDC
S1101562
<< L1-SUS-C5

## Slide 483: D1100303 – S1101561
ITMX PUM Coil Driver Chassis
D1100303
±18VDC
S1101561
<< L1-SUS-C5
D070483
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
PUM Coil Driver
University of Birmingham
S1101561
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat

## Slide 484: D1001242 – S1000265
BS Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000265
<< L1-SUS-C5
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000265
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 485: D1001242 – S1000258
BS Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000258
<< L1-SUS-C5
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000258
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 486: D0900006 –S1001110
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001110
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
BS Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001110
This number is actually correct. The DocDB part number is erroneously D090006 because it got assigned before the Wizards decided there would be 5 digits, and they won’t fix if. I’ve asked.
<< L1-SUS-C5
Monitor Board: D070480
Driver Board: D0901047

## Slide 487: l1susbsc123 - D1001715 – S1001143
l1susbsc123 I/O Extension Chassis
D1001715
+24VDC
S1001143
<< L1-SUS-C5
l1susham56 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-10
Slot P10
S1001143
Rear
L1:FE-IO-10
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susbsc123 – I/O Extender
+24VDC
TB-01
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 488: l1susauxbsc123 - D1001715 – S1103888
l1susauxbsc123 I/O Extension Chassis
D1001715
+24VDC
S1103888
l1susauxbsc123 I/O Extender
<< L1-SUS-C5
l1susauxham56 I/O Extender
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-21
Slot P10
S1103888
Rear
L1:FE-IO-21
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxbsc123 – I/O Extender
+24VDC
PTY-002
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx

## Slide 489: L1-SUS-C6 – S1105376
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100330
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1107600
FE DAC4, FE DAC5 Anti-Image Chassis
D1000305
±18VDC
S1101810
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1101809
FE DAC0, FE DAC1 Anti-Image Chassis
D1000305
±18VDC
S1101808
SUS ITMX, ITMY, and BS Rack 2 (of 2) Layout (D1100022) (S1105376)
FE DAC6, FE DAC7 Anti-Image Chassis
D1100815
±18VDC
S1103828
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1107501
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1107502
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1107499
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1107463
MON ADC5 Anti-Alias Chassis
D1000721
±18VDC
S1107504
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1107498
MON ADC6 Anti-Alias Chassis
D1000721
±18VDC
S1107497
<< CER
PTO-003
PTO-021
FE2 ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1201132
Laser Power Monitor Marshaling Chassis
Dxxxxxxx
±18VDC
Sxxxxxxx
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101754
Binary Input Chassis (4*DB9, 2*DB37)
D1001269
±18VDC
S1101791
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101751
Binary Input Chassis (4*DB9, 2*DB37)
D1001269
±18VDC
S1101793
Binary Output Chassis
D1000725
±18VDC
S1101783
Binary Input Chassis
D1000726
±18VDC
S1101803

## Slide 490: L1-SUS-C6 Details
L1-SUS-C6 Details
<< L1-SUS-C6

## Slide 491: D0902783 – S1107600
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1107600
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1107600
Rear
<< L1-SUS-C6

## Slide 492: D0902783 – S1100330
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100330
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100330
Rear
<< L1-SUS-C6

## Slide 493: D1000305 – S1101808
FE1 DAC0, FE1 DAC1 Anti-Image Chassis
D1000305
±18VDC
S1101808
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101808
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C6

## Slide 494: D1000305 – S1101809
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1101809
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101809
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C6

## Slide 495: D1000305 – S1101810
FE DAC4, FE DAC5 Anti-Image Chassis
D1000305
±18VDC
S1101810
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101810
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C6

## Slide 496: D1001270 – S1101754
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101754
S1101754
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1001270
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
<< L1-SUS-C6

## Slide 497: D1001269 – S1101791
Binary Input Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101791
S1101791
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
D1001270
Front
<< L1-SUS-C6

## Slide 498: D1001270 – S1101751
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101751
S1101751
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1001270
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
<< L1-SUS-C6

## Slide 499: D1001269 – S1101793
Binary Input Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101793
S1101793
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
D1001270
Front
<< L1-SUS-C6

## Slide 500: D1000725 – S1101783
Binary Output Chassis
D1000725
±18VDC
S1101783
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101783
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C6

## Slide 501: D1000726 – S1101803
Binary Input Chassis
D1000726
±18VDC
S1101803
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101803
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C6

## Slide 502: D1100815 – S1103825
FE DAC6, FE DAC7 Anti-Image Chassis
D1100815
±18VDC
S1103828
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
S1103828
Rear
D1100815 is an AI, which means it has OUTPUTS, not INPUTS. The labels are incorrect.
OUT 13-16
OUT 13-16
OUT 7-12
OUT 7-12
OUT 1-6
OUT 1-6
D1100815
Front
OUT 13-16
OUT 7-12
OUT 1-6
<< L1-SUS-C6

## Slide 503: D1000721 – S1107502
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1107502
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107502
Rear
<< L1-SUS-C6

## Slide 504: D1000721 – S1107501
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1107501
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107501
Rear
<< L1-SUS-C6

## Slide 505: D1000721 – S1107463
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1107463
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107463
Rear
<< L1-SUS-C6

## Slide 506: D1000721 – S1107499
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1107499
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107499
Rear
<< L1-SUS-C6

## Slide 507: D1000721 – S1107498
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1107498
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107498
Rear
<< L1-SUS-C6

## Slide 508: D1000721 – S1107504
MON ADC5 Anti-Alias Chassis
D1000721
±18VDC
S1107504
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107504
Rear
<< L1-SUS-C6

## Slide 509: D1000721 – S1107497
MON ADC6 Anti-Alias Chassis
D1000721
±18VDC
S1107497
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107497
Rear
<< L1-SUS-C6

## Slide 510: D1000721 – S1201132
FE2 ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1201132
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201132
Rear
<< L1-SUS-C6

## Slide 511: L1-SUS-C7 – S1105377
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1001149
SR3-SRM Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000255
SR3-SRM Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000268
SR3-SRM Triple Top Coil Driver Chassis
D1001242
±18VDC
S1100254
OMC Triple Top Coil Driver Chassis
D1100304
±18VDC
S1101565
OMC Triple Top Coil Driver Chassis
D1100304
±18VDC
S1101567
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100328
FE DAC0, FE DAC1 Anti-Image Chassis
D1000305
±18VDC
S1101812
SRM Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001189
SR3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001105
SR3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001190
FE DAC4 Anti-Image Chassis
D1000305
±18VDC
S1101814
SRM Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001106
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1101813
SUS HAM5 and HAM6 Rack 1 (of 2) Layout (D1002740) (S1105377)
<< CER
PTO-002
Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101774
Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101316
Binary Output Chassis
D1000725
±18VDC
S1201244
Binary Input Chassis
D1000726
±18VDC
S1201497

## Slide 512: L1-SUS-C7 Details
L1-SUS-C7 Details
<< L1-SUS-C7

## Slide 513: D1001242 – S1000255
SR3-SRM Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000255
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000255
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480
<< L1-SUS-C7

## Slide 514: D1001242 – S1000268
SR3-SRM Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000268
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000268
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480
<< L1-SUS-C7

## Slide 515: D1001242 – S1100254
SR3-SRM Triple Top Coil Driver Chassis
D1001242
±18VDC
S1100254
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1100254
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480
<< L1-SUS-C7

## Slide 516: D1100304 – S1101565
OMC Triple Top Coil Driver Chassis
D1100304
±18VDC
S1101565
D1100304
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1101565
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480
<< L1-SUS-C7

## Slide 517: D1100304 – S1101567
OMC Triple Top Coil Driver Chassis
D1100304
±18VDC
S1101567
D1100304
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1101567
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480
<< L1-SUS-C7

## Slide 518: D0902783 – S1001149
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1001149
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001149
Rear
<< L1-SUS-C7

## Slide 519: D0902783 – S1100328
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100328
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100328
Rear
<< L1-SUS-C7

## Slide 520: D1000305 – S1101812
FE1 DAC0, FE1 DAC1 Anti-Image Chassis
D1000305
±18VDC
S1101812
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101812
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C7

## Slide 521: D1000305 – S1101813
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1101813
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101813
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C7

## Slide 522: D0900006 – S1001190
SR3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001190
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001190
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C7

## Slide 523: D0900006 – S1001105
SR3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001105
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001105
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C7

## Slide 524: D0900006 – S1001189
SRM Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001189
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001189
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C7

## Slide 525: D1000305 – S1101814
FE DAC4 Anti-Image Chassis
D1000305
±18VDC
S1101814
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101814
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C7

## Slide 526: D0900006 – S1001106
SRM Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001106
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001106
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C7

## Slide 527: D1000725 – S1201244
Binary Output Chassis
D1000725
±18VDC
S1201244
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1201244
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C7

## Slide 528: D1000726 – S1201497
Binary Input Chassis
D1000726
±18VDC
S1201497
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1201497
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C7

## Slide 529: D1002593 – S1101774
Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101774
S1101774
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1002593
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SUS-C7

## Slide 530: D1001726 – S1101316
Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101316
S1101316
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SUS-C7

## Slide 531: L1-SUS-C8 – S1105378
SUS HAM5 and HAM6 Rack 2 (of 2) Layout (D1002740) (S1105378)
l1susham56 I/O Extension Chassis
D1001715
+24VDC
S1001142
l1susauxham56 I/O Extension Chassis
D1001715
+24VDC
S1103889
<< CER
PTO-001
PTY-001
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1107506
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1107507
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1107505
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1107503
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1107500

## Slide 532: L1-SUS-C8 Details
L1-SUS-C8 Details
<< L1-SUS-C8

## Slide 533: D1000721 – S1107503
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1107503
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107503
Rear
<< L1-SUS-C8

## Slide 534: D1000721 – S1107500
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1107500
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107500
Rear
<< L1-SUS-C8

## Slide 535: D1000721 – S1107505
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1107505
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107505
Rear
<< L1-SUS-C8

## Slide 536: D1000721 – S1107506
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1107506
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107506
Rear
<< L1-SUS-C8

## Slide 537: D1000721 – S1107507
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1107507
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107507
Rear
<< L1-SUS-C8

## Slide 538: D1001715 – S1103889
<< L1-SUS-C8
l1susauxham56 I/O Extension Chassis
D1001715
+24VDC
S1103889
l1susauxham56 I/O Extender
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-18
Slot P10
S1103889
Rear
L1:FE-IO-18
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxham56 – I/O Extender
+24VDC
PTY-001
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx

## Slide 539: D1001715 – S1001142
l1susham56 I/O Extension Chassis
D1001715
+24VDC
S1001142
l1susham56 I/O Extender
<< L1-SUS-C8
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-14
Slot P10
S1001142
Rear
L1:FE-IO-14
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susham56 – I/O Extender
+24VDC
PTY-001
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 540: LVEA
LVEA
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station
17 Field Racks are in the LVEA, including the Vacuum Racks. See D1003141) at LLO and D1002704 at LHO.

## Slide 541: LVEA Access Points

## Slide 542: PSL / LDR Laser Hazard Zones
LAE Cargo Doors
LAE Airlock Entrance Door
PSL-HAM1 Shutter
LDR Entrance Door
LDR Cargo Doors
LVEA Control Box
LDR Interlock Box
Laser Area Enclosure (LAE)
Laser Diode Room (LDR)
Armoured Fiber Optics Cable

## Slide 543: LVEA Racks
L1-PSL-R1
L1-PSL-R2
L1-ISC-R1
L1-ISC-R2
L1-ISC-R5
L1-SUS-R4
L1-SUS-R1
L1-SUS-R2
L1-TCS-R2
L1-TCS-R1
L1-SUS-R5
L1-SUS-R6
L1-VAC-R1
L1-VAC-R3
L1-VAC-R2
L1-ISC-R4
<< LLO Corner Station
18 Field Racks are in the LVEA, including the Vacuum Racks. See D1003141) at LLO and D1002704 at LHO.
L1-ISC-R3
L1-SUS-R3

## Slide 544: LVEA Racks
PSL Rack 1
(L1-PSL-R1)
SUS Rack 5
(L1-SUS-R5)
ISC IMC/ALS Rack
(L1-ISC-R1)
SUS Rack 2
(L1-SUS-R2)
PSL Rack 2
(L1-PSL-R2)
SUS Rack 1
(L1-SUS-R1)
SUS Rack 3
(L1-SUS-R3)
SUS Rack 4
(L1-SUS-R4)
ISC HAM1 and HAM3 Rack
(L1-ISC-R2)
TCS Rack 1 (X)
(L1-TCS-R1)
TCS Rack 1 (Y)
(L1-TCS-R2)
ISC HAM6 Rack
(L1-ISC-R3)
SUS Rack 6
(L1-SUS-R6)
LVEA X-End VAC
(L1-VAC-R1)
LVEA Y-End VAC
(L1-VAC-R2)
LVEA Mech VAC
(L1-VAC-R3)
<< LLO Racks by AREA
ISC Rack
(L1-ISC-R4)
ISC Rack
(L1-ISC-R5)
<< LLO Racks by Subsystems

## Slide 545: LVEA Tables
TCSY
TCSX
<< LLO Corner Station
18 Field Racks are in the LVEA, including the Vacuum Racks. See D1003141) at LLO and D1002704 at LHO.
Tables are named in E1200808.
Tables Patch Panels are listed in E1200613.
IOHT2L
ISCHT1L
IOHT2R
ISCHT6R
TCSHT4R
PSL Table

## Slide 546: LVEA Tables
ISC (ISCHT1L)
ISC (ISCHT6R)
TCS (TCSHT4R)
TCS (TCSX)
<< LLO Racks by AREA
PSL (PSL Table)
IO (IOHT2L)
IO (IOHT2R)
TCS (TCSY)
4’ X 8’ Table Layout (D1201022)
3’ X 5’ Table Layout (D1200973)

## Slide 547: L1-PSL-R1
PSL Rack 1 Layout (Dxxxxxxx)
UPS1
SUA3000RMXL3U
120VAC, 30A
JS1030009365
<< LVEA Racks
110VAC 20A
UPS1 – UPS Power Strip
Dxxxxxxx
ISS, TTFSS, and VCO VME Crate
Sxxxxxxx
+24VDC
Dxxxxxxx
ILS and PMC VME Crate
Sxxxxxxx
+24VDC
Delay Line Phase Shifter
D0900128
+15VDC
S1103558
CCD Breakout Panel
Dxxxxxxx
±12VDC
S1103562
Delay Line Phase Shifter
D0900128
+15VDC
S1103561
Dxxxxxxx
PSL Control Box
S1103746
+24VDC
Digi-pak 270 Physical Electronics
Innolight (Spare 2)
Shelf
TB-05
PTO-026

## Slide 548: L1-PSL-R1 Details
L1-PSL-R1 Details
<< L1-PSL-R1

## Slide 549: ISS, TTFSS, and VCO VME Crate
VME Crate
VME Crate
Front
TTFSS Field Box
S1103554
D1100367
Monitoring Field Box Module
S1103263
D1002292
PSL VCO Field Box
S1103555
D1100369
Dxxxxxxx
ISS, TTFSS, and VCO VME Crate
Sxxxxxxx
+24VDC
<< L1-PSL-R1
Intensity Stabilization Servo Module
S1103557
D1001985

## Slide 550: D0900128 – S1103558
<< L1-PSL-R1
Delay Line Phase Shifter
D0900128
+15VDC
S1103558
S1103558
Rear
D0900128
Front
Controls
Controls
Controls
Controls

## Slide 551: D1100115 – S1103562
CCD Breakout Panel
D1100115
±12VDC
S1103562
<< L1-PSL-R1
S1103562
Rear
D1100115
Front
±12VDC

## Slide 552: D0900128 – S1103561
<< L1-PSL-R1
Delay Line Phase Shifter
D0900128
+15VDC
S1103561
S1103561
Rear
D0900128
Front
Controls
Controls
Controls
Controls

## Slide 553: ILS and PMC VME Crate
Dxxxxxxx
ILS and PMC VME Crate
Sxxxxxxx
+24VDC
<< L1-PSL-R1
ILS and PMC VME Crate
ILS and PMC VME Crate
Front
Injection Locking and PMC Locking Field Box
S1103541
D1001619
Injection Locking and PMC Locking Servo Module
S1103536
D1001618
Monitoring Field Box Module
S1102960
D1002292
Injection Locking and PMC Locking Servo Module
S1103538
D1001618
Injection Locking and PMC Locking Field Box
S1103540
D1001619

## Slide 554: Dxxxxxx – S1103746
Dxxxxxxx
PSL Control Box
S1103746
+24VDC
<< L1-PSL-R1
PSL Control Box
S1103746
Front

## Slide 555: SUA3000RMXL3U – JS1030009365 UPS
<< L1-PSL-R1
UPS1
SUA3000RMXL3U
120VAC, 30A
JS1030009365

## Slide 556: L1-PSL-R2
PSL Rack 2 Layout (Dxxxxxxx)
<< LVEA Racks
Dxxxxxxx
Diagnostics Breadboard (DBB) 0208 Crate
Sxxxxxxx
+-19VDC, +-9VDC
Shelf
Shelf
Shelf
Shelf
Diagnostics Breadboard (DBB) 0208
Comtrol
IFR 2023A Signal Generator
IFR 2023A Signal Generator
Stanford Research DS345
Agilent E4400B Signal Generator
35.5MHz, 14.6dBm
80MHz, 32dBm
Panasonic 990 – LVEA1
Panasonic 990 – LVEA2
Tektronix TDS220
Camera Power Supplies …
CP5 Connector:
Pin 1: -19VDC
Pin 2: -9VDC
Pin 3: Ground
Pin 4: +9VDC
Pin 5 +19VDC
PTY-025
PTO-025
PTB-001

## Slide 557: VME Crate
<< L1-PSL-R2
Diagnostics Breadboard (DBB) VME Crate
Diagnostics Breadboard
(DBB) VME Crate
Front
Dxxxxxxx
Diagnostics Breadboard (DBB) VME Crate
Sxxxxxxx
+24VDC
PSL Diagnostics Breadboard High Voltage Module
S1103544
D1101102
PSL Diagnostics Breadboard Field Box
S1103546
D1101102
PSL Diagnostics Breadboard Demodulator Module
S1103548
D1101104
PSL Diagnostics Breadboard Miscellaneous Module
S1103550
D1101105
PSL Diagnostics Breadboard Calibration Module
S1103551
D1101103

## Slide 558: L1-IOHT2L Table Layout
IOHT2L Table Layout (D1201531) (Sxxxxxxx)
<< LVEA Tables
IOHT2L is part of E1201099.

## Slide 559: L1-IOHT2L Panel Layout
IOHT2L Panel Layout (D1201529)
<< LVEA Tables

## Slide 560: L1-IOHT2R Table Layout
IOHT2R Table Layout (D1201532) (Sxxxxxxx)
<< LVEA Tables
IOHT2R is part of E1201099.

## Slide 561: L1-IOHT2R Panel Layout
IOHT2R Panel Layout (D1201530)
<< LVEA Tables

## Slide 562: L1-ISCHT1L Table Layout
ISCHT1L Table Layout (D1201499) (Sxxxxxxx)
<< LVEA Tables
ISCHT1L is part of E1201099.

## Slide 563: L1-ISCHT1L Panel Layout
ISCHT1L Panel Layout (D1201331)
<< LVEA Tables

## Slide 564: L1-ISCHT6R Table Layout
<< LVEA Tables
ISCHT6R Table Layout (D1201500) (Sxxxxxxx)
ISCHT6R is part of E1201099.

## Slide 565: L1-ISCHT6R Panel Layout
ISCHT6R Panel Layout (D1201496)
<< LVEA Tables

## Slide 566: L1-ISCBT4R Table Layout
<< LVEA Tables
ISCHT6R Table Layout (D1201498) (Sxxxxxxx)
ISCHT6R is part of E1201099.

## Slide 567: L1-ISCBT4R Panel Layout
ISCBT4R Panel Layout (D1201495)
<< LVEA Tables

## Slide 568: L1-ISCBT5L Table Layout
<< LVEA Tables
ISCHT6R Table Layout (D1201497) (Sxxxxxxx)
ISCHT6R is part of E1201099.

## Slide 569: L1-ISCBT5L Panel Layout
ISCBT5L Panel Layout (D1101126)
<< LVEA Tables

## Slide 570: L1-PSL Table Layout
<< LVEA Tables
PSL Table Layout (D1201497) (Sxxxxxxx)
PSL Table

## Slide 571: Enclosure (Table) Blank Panels
Enclosure (Table) Blank Panels (D1200705)
<< LVEA Tables
Single Blank Panel
D1101138
Undecuple Blank Panel
D1100443
End Blank Panel
D1100441
Double Blank Panel
D1101139
Quintuple Blank Panel
D1100442

## Slide 572: Enclosure (Table) Panels – 1
Enclosure (Table) Panels (E1200613)
<< LVEA Tables
D1101923
DC Power Patch Panel
D1101924
LC Duplex Patch Panel
D1101919
Flipper Mirrors, Sensor Patch Panel
D1101949
RTD Sensors Patch Panel

## Slide 573: Enclosure (Table) Panels – Picomotor Feedthru
Enclosure (Table) Panels (E1200362)
<< LVEA Tables
Picomotor
Breakout Front
D1101691
Picomotor
Breakout Rear
D1101692
Picomotor
Breakout Side
D1101693
Delrin Insert
for DB25
D1101690
Delrin Insert
for 2 X DB9
D1101669

## Slide 574: Enclosure (Table) Panels – Templates
Enclosure (Table) Panels (E1200909)
<< LVEA Tables
Delrin Insert
for DB25
D1101690
Delrin Insert
for 2 X DB9(V)
D1101669
D1101699
Delrin Insert
for 2 X DB9(H)

## Slide 575: D1102312 – Sxxxxxxx
<< LVEA Racks
Shutter Logic
D1102312
+24VDC
Sxxxxxxx
Sxxxxxxx
Rear
D1102312
Front

## Slide 576: D1200136 – Sxxxxxxx
<< LVEA Racks
ALS Fiber Distribution Chassis
D1200136
+-17VDC, +-24VDC
Sxxxxxxx
Sxxxxxxx
Rear
D1200136
Front

## Slide 577: L1-ISC-R1
ISC IMC/ALS Rack Layout (D1001460)
<< LVEA Racks
24.078 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000673
RF Patch Panel 10
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 11
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 12
Dxxxxxxx
No Power
Sxxxxxxx
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200576
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200575
79.4 MHz VCO (PSL)
D0900605
±17VDC, ±24VDC
S1200580
158.8 MHz Frequency Doubler
D1002178
±17VDC, ±24VDC
S1000740
158.8 / 79.4 MHz 2-Channel PF Discriminator
D1002476
±17VDC, ±24VDC
S1000766
158.8 MHz Frequency Doubler
D1002178
±17VDC, ±24VDC
S1000739
24.078 MHz Dual Delay Line
D0900128
+15VDC
S1103423
24.078 MHz 2-Channel Demodulator
D1000181
±17VDC, ±24VDC
S1000788
Mode Cleaner Servo
D0901781
±17VDC, ±24VDC
S1102629
LSC Demod Concentrator 1
D1100691
±18VDC
S1104005
ASC Demod Concentrator 1
D1100696
No Power
S1103984
LSC RFPD Interface
D1102079
±18VDC
S1200449
WFS RFPD Interface
D1101906
±15VDC
S1200429
ISC Whitening Chassis (ASC IMC WFS_A 24MHz)
D1002559
±15VDC
S1101612
WFS I/Q Demodulator (ASC IMC WFS_A 24MHz)
D0902796
±15VDC
S1000991
WFS I/Q Demodulator (ASC IMC WFS_B 24MHz)
D0902796
±15VDC
S1001024
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
ISC Whitening Chassis (ASC IMC WFS_A 24MHz)
D1002559
±15VDC
S1101571
Differential to Single-Ended Receiver
D1100482
±15VDC
S1202844
Dual DSUB Breakout Panel
D1201450
±15VDC
Sxxxxxxx
Sequencer
D1200757
S1202564
TB-06
PTO-058

## Slide 578: L1-ISC-R1 Details
L1-ISC-R1 Details

## Slide 579: RF Patch Panel 10
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 10
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-R1

## Slide 580: RF Patch Panel 11
Dxxxxxxx
Front
RF Power Splitter for PSL VCO: E1200894
Sxxxxxxx
Rear
RF Patch Panel 11
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-R1

## Slide 581: D1000124 – S1000673
<< L1-ISC-R1
24.078 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000673
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000673
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 582: D0900605 – S1200576
<< L1-ISC-R1
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200576
S1200576
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
D0900605
Front
Out1
Out2
Ref
Div
VCO
VCO
Div
Ref
Out1
Out2

## Slide 583: D1201450 – Sxxxxxxx
<< L1-ISC-R1
Dual DSUB Breakout Panel
D1201450
±17VDC, ±24VDC
Sxxxxxxx
Sxxxxxxx
Rear
D1201450
Front
Gender Changer
Gender Changer

## Slide 584: D1002178 – S1000740
<< L1-ISC-R1
24.078 MHz Distribution Amplifier
D1002178
±17VDC, ±24VDC
S1000740
S1000740
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
D1002178
Front
OUT
OUT
IN
IN

## Slide 585: D1002476 – S1000766
D1002476
Front
<< L1-ISC-R1
158.8 / 79.4 MHz 2-Channel PF Discriminator
D1002476
±17VDC, ±24VDC
S1000766
S1000766
Rear
Controls
Controls

## Slide 586: D0900605 – S1200575
<< L1-ISC-R1
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200575
S1200575
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
D0900605
Front
Out1
Out2
Ref
Div
VCO
VCO
Div
Ref
Out1
Out2

## Slide 587: D0900605 – S1200580
<< L1-ISC-R1
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200580
S1200580
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
D0900605
Front
Out1
Out2
Ref
Div
VCO
VCO
Div
Ref
Out1
Out2

## Slide 588: D1002178 – S1000739
<< L1-ISC-R1
24.078 MHz Distribution Amplifier
D1002178
±17VDC, ±24VDC
S1000739
S1000739
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
D1002178
Front
OUT
OUT
IN
IN

## Slide 589: D0900128 – S1103423
24.078 MHz Dual Delay Line
D0900128
+15VDC
S1103423
S1103423
Rear
D0900128
Front
<< L1-ISC-R1
Controls
Controls
Controls
Controls

## Slide 590: D1000181 – S1000788
24.078 MHz 2-Channel Demodulator
D1000181
±17VDC, ±24VDC
S1000788
<< L1-ISC-R1
S1000788
Rear
Controls
Controls
D1000181
Front

## Slide 591: D0901781 – S1102629
Mode Cleaner Servo
D0901781
±17VDC, ±24VDC
S1102629
<< L1-ISC-R1
S1102629
Rear
Controls 1
Controls 1
Controls 2
Controls 2
D0901781
Front
Monitor
Monitor

## Slide 592: D1100691 – S1104005
LSC Demod Concentrator 1
D1100691
±18VDC
S1104005
<< L1-ISC-R1
D1100691
Front
S1104005
Rear
Controls
Controls
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 3
Demodulator 3
Demodulator 3
Demodulator 3

## Slide 593: D1100696 – S1103984
ASC Demod Concentrator 1
D1100696
No Power
S1103984
<< L1-ISC-R1
D1100696
Front
S1103984
Rear
Controls B
Controls B
1B
1B
2B
2B
3B
3B
4B
4B
1A
1A
2A
2A
3A
3A
4A
4A
Controls A
Controls A

## Slide 594: D1102079 – Sxxxxxxx
LSC RFPD Interface
D1102079
±18VDC
Sxxxxxxx
Sxxxxxxx
Rear
D1102079
Front
<< L1-ISC-R1

## Slide 595: D1101906 – Sxxxxxxx
WFS RFPD Interface
D1101906
±15VDC
Sxxxxxxx
Sxxxxxxx
Rear
D1101906
Front
<< L1-ISC-R1
D1101905
D1101908

## Slide 596: D1002559 – S1101612
ISC Whitening Chassis (ASC IMC WFS_A 24MHz)
D1002559
±15VDC
S1101612
<< L1-ISC-R1
S1101612
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input

## Slide 597: D0902796 – S1000991
ISC Whitening Chassis (ASC IMC WFS_A 24MHz)
D0902796
±15VDC
S1000991
<< L1-ISC-R1
Sxxxxxxx
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
D0902796
Front
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
Sxxxxxxx
Rear

## Slide 598: D1100905 – Sxxxxxxx
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
<< L1-ISC-R1
D1100905
Front
Sxxxxxxx
Rear

## Slide 599: D0902796 – S1001024
ISC Whitening Chassis (ASC IMC WFS_B 24MHz)
D0902796
±15VDC
S1001024
<< L1-ISC-R1
Sxxxxxxx
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
D0902796
Front
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
Sxxxxxxx
Rear

## Slide 600: D1002559 – S1101571
ISC Whitening Chassis (ASC IMC WFS_A 24MHz)
D1002559
±15VDC
S1101571
<< L1-ISC-R1
S1101571
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input

## Slide 601: D1100482 – S1202844
Differential to Single-Ended Receiver
D1100482
±15VDC
S1202844
<< L1-ISC-R1
S1202844
Rear
Diff Inputs
Diff Inputs
D1100482
Front

## Slide 602: L1-ISC-R2
ISC HAM1 and HAM3 Rack Layout (D1001425)
<< LVEA Racks
45 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000665
RF Patch Panel 13
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 14
Dxxxxxxx
No Power
Sxxxxxxx
9.099/8.684 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000658
9.099/8.684 MHz Dual Delay Line
D0900128
+15VDC
S1103416
9.099/8.684 MHz 2-Channel Demodulator
D1000181
±17VDC, ±24VDC
S1000784
ISC Whitening (LSC POPAIR A 9&45, LSC REFLAIR A 45)
D1002559
±15VDC
S1101620
LSC I/Q Demodulator (LSC POPAIR A 9&45, LSC REFLAIR A 45)
D0902796
±15VDC
S1001004
LSC Demodulator Patch Panel
D1100956
No Power
Sxxxxxxx
LSC I/Q Demodulator (LSC POPAIR B 18&90, LSC REFLAIR B 27&135)
D0902796
±15VDC
S1001007
ISC Whitening (LSC POPAIR B 18&90, LSC REFLAIR B 27&135)
D1002559
±15VDC
S1101624
LSC I/Q Demodulator (LSC POP, LSC REFL)
D0902796
±15VDC
S1001012
LSC Demodulator Patch Panel
D1100956
No Power
Sxxxxxxx
ISC Whitening (LSC POP, LSC REFL)
D1002559
±15VDC
S1101625
ISC Whitening (ASC REFLAIR A 9MHz)
D1002559
±15VDC
S1101596
WFS I/Q Demodulator (ASC REFLAIR A 9MHz)
D0902796
±15VDC
S1001030
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
WFS I/Q Demodulator (ASC REFLAIR A 45MHz)
D0902796
±15VDC
S1000986
ISC Whitening (ASC REFLAIR A 45MHz)
D1002559
±15VDC
S1101623
ISC Whitening (ASC REFLAIR B 9MHz)
D1002559
±15VDC
S1101621
WFS I/Q Demodulator (ASC REFLAIR B 9MHz)
D0902796
±15VDC
S1001010
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
WFS I/Q Demodulator (ASC REFLAIR B 45MHz)
D0902796
±15VDC
S1001006
ISC Whitening (ASC REFLAIR B 45MHz)
D1002559
±15VDC
S1101609
WFS I/Q Demodulator (Spare AIR to VAC)
D0902796
±15VDC
S1001019
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
ISC Whitening (Spare AIR to VAC)
D1002559
±15VDC
S1101597
Sequencer
D1200757
S1202569
PTY-048
PTO-059

## Slide 603: L1-ISC-R2 Details
L1-ISC-R2 Details

## Slide 604: RF Patch Panel 13
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 13
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-R2

## Slide 605: RF Patch Panel 14
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 14
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-R2

## Slide 606: D1000124 – S1000665
<< L1-ISC-R2
45 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000665
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000665
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 607: D1000124 – S1000658
<< L1-ISC-R2
9.099/8.684 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000658
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000658
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 608: D0900128 – S1103416
9.099/8.684 MHz Dual Delay Line
D0900128
+15VDC
S1103416
S1103416
Rear
D0900128
Front
Controls
Controls
Controls
Controls
<< L1-ISC-R2

## Slide 609: D1000181 – S1000784
9.099/8.684 MHz 2-Channel Demodulator
D1000181
±17VDC, ±24VDC
S1000784
S1000784
Rear
Controls
Controls
D1000181
Front
<< L1-ISC-R2

## Slide 610: D1002559 – S1101620
ISC Whitening (LSC POPAIR A 9&45, LSC REFLAIR A 45)
D1002559
±15VDC
S1101620
S1101620
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R2

## Slide 611: D0902796 – S1001004
LSC I/Q Demodulator (LSC POPAIR A 9&45, LSC REFLAIR A 45)
D0902796
±15VDC
S1001004
D0902796
Front
<< L1-ISC-R2
S1001004
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs

## Slide 612: D1100956 – Sxxxxxxx
LSC Demodulator Patch Panel
D1100956
No Power
Sxxxxxxx
D1100956
Front
Sxxxxxxx
Rear
<< L1-ISC-R2

## Slide 613: D0902796 – S1001007
LSC I/Q Demodulator (LSC POPAIR B 18&90, LSC REFLAIR B 27&135)
D0902796
±15VDC
S1001007
S1001007
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
D0902796
Front
<< L1-ISC-R2

## Slide 614: D1002559 – S1101624
ISC Whitening (LSC POPAIR B 18&90, LSC REFLAIR B 27&135)
D1002559
±15VDC
S1101624
S1101624
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R2

## Slide 615: D0902796 – S1001012
LSC I/Q Demodulator (LSC POP, LSC REFL)
D0902796
±15VDC
S1001012
D0902796
Front
<< L1-ISC-R2
S1001012
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs

## Slide 616: D1100956 – Sxxxxxxx
LSC Demodulator Patch Panel
D1100956
No Power
Sxxxxxxx
D1100956
Front
Sxxxxxxx
Rear
<< L1-ISC-R2

## Slide 617: D1002559 – S1101625
ISC Whitening (LSC POP, LSC REFL)
D1002559
±15VDC
S1101625
S1101625
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R2

## Slide 618: D1002559 – S1101596
ISC Whitening (ASC REFLAIR A 9MHz)
D1002559
±15VDC
S1101596
S1101596
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R2

## Slide 619: D0902796 – S1001030
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1001030
Rear
WFS I/Q Demodulator (ASC REFLAIR A 9MHz)
D0902796
±15VDC
S1001030
D0902796
Front
<< L1-ISC-R2

## Slide 620: D1100905 – Sxxxxxxx
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
D1100905
Front
Sxxxxxxx
Rear
<< L1-ISC-R2

## Slide 621: D0902796 – S1000986
WFS I/Q Demodulator (ASC REFLAIR A 45MHz)
D0902796
±15VDC
S1000986
D0902796
Front
<< L1-ISC-R2
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1000986
Rear

## Slide 622: D1002559 – S1101623
ISC Whitening (ASC REFLAIR A 45MHz)
D1002559
±15VDC
S1101623
S1101623
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R2

## Slide 623: D1002559 – S1101621
ISC Whitening (ASC REFLAIR B 9MHz)
D1002559
±15VDC
S1101621
S1101621
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R2

## Slide 624: D0902796 – S1001010
WFS I/Q Demodulator (ASC REFLAIR B 9MHz)
D0902796
±15VDC
S1001010
D0902796
Front
<< L1-ISC-R2
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1001010
Rear

## Slide 625: D1100905 – Sxxxxxxx
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
D1100905
Front
Sxxxxxxx
Rear
<< L1-ISC-R2

## Slide 626: D0902796 – S1001006
WFS I/Q Demodulator (ASC REFLAIR B 45MHz)
D0902796
±15VDC
S1001006
D0902796
Front
<< L1-ISC-R2
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1001006
Rear

## Slide 627: D1002559 – S1101609
ISC Whitening (ASC REFLAIR B 45MHz)
D1002559
±15VDC
S1101609
S1101609
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R2

## Slide 628: D0902796 – S1001019
WFS I/Q Demodulator (Spare AIR to VAC)
D0902796
±15VDC
S1001019
D0902796
Front
<< L1-ISC-R2
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1001019
Rear

## Slide 629: D1100905 – Sxxxxxxx
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
D1100905
Front
Sxxxxxxx
Rear
<< L1-ISC-R2

## Slide 630: D1002559 – S1101597
ISC Whitening (Spare AIR to VAC)
D1002559
±15VDC
S1101597
S1101597
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R2

## Slide 631: L1-ISC-R3
ISC HAM6 Rack Layout (D1001426)
<< LVEA Racks
Sequencer
D1200757
S1202561
PTY-048
PTO-059
9.099/8.684 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000659
RF Patch Panel 15
Dxxxxxxx
No Power
Sxxxxxxx
RF Patch Panel 16
Dxxxxxxx
No Power
Sxxxxxxx
36 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000663
45 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000666
ISC Whitening (ASC ASAIR A 36MHz)
D1002559
±15VDC
S1101588
WFS I/Q Demodulator (ASC ASAIR A 36MHz)
D0902796
±15VDC
S1001033
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
WFS I/Q Demodulator (ASC ASAIR A 45MHz)
D0902796
±15VDC
S1001027
ISC Whitening (ASC ASAIR A 45MHz)
D1002559
±15VDC
S1101575
ISC Whitening (Spare AIR to VAC)
D1002559
±15VDC
S1101589
WFS I/Q Demodulator (Spare AIR to VAC)
D0902796
±15VDC
S1000983
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
ISC Whitening (ASC ASAIR B 36MHz)
D1002559
±15VDC
S1101598
WFS I/Q Demodulator (ASC ASAIR B 36MHz)
D0902796
±15VDC
S1000988
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
WFS I/Q Demodulator (ASC ASAIR B 45MHz)
D0902796
±15VDC
S1000973
ISC Whitening (ASC ASAIR B 45MHz)
D1002559
±15VDC
S1101610
ISC Whitening (LSC ASAIR A 45, B 18, B 90MHz)
D1002559
±15VDC
Sxxxxxxx
LSC I/Q Demodulator (LSC ASAIR A 45, B 18, B 90MHz)
D0902796
±15VDC
S1001001
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx

## Slide 632: L1-ISC-R3 Details
L1-ISC-R3 Details
<< L1-ISC-R3

## Slide 633: RF Patch Panel 15
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 15
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-R3

## Slide 634: RF Patch Panel 16
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 16
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-R3

## Slide 635: D1000124 – S1000659
9.099/8.684 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000659
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000659
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
<< L1-ISC-R3

## Slide 636: D1000124 – S1000663
36 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000663
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000663
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
<< L1-ISC-R3

## Slide 637: D1000124 – S1000666
45 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000666
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000666
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
<< L1-ISC-R3

## Slide 638: D1002559 – S1101588
ISC Whitening (ASC ASAIR A 36MHz)
D1002559
±15VDC
S1101588
S1101588
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R3

## Slide 639: D0902796 – S1001033
WFS I/Q Demodulator (ASC ASAIR A 36MHz)
D0902796
±15VDC
S1001033
D0902796
Front
S1001033
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
<< L1-ISC-R3

## Slide 640: D1100905 – Sxxxxxxx
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
D1100905
Front
Sxxxxxxx
Rear
<< L1-ISC-R3

## Slide 641: D0902796 – S1001027
WFS I/Q Demodulator (ASC ASAIR A 45MHz)
D0902796
±15VDC
S1001027
D0902796
Front
S1001027
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
<< L1-ISC-R3

## Slide 642: D1002559 – S1101575
ISC Whitening (ASC ASAIR A 45MHz)
D1002559
±15VDC
S1101575
S1101575
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R3

## Slide 643: D1002559 – S1101589
ISC Whitening (Spare AIR to VAC)
D1002559
±15VDC
S1101589
S1101589
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R3

## Slide 644: D0902796 – S1000983
WFS I/Q Demodulator (Spare AIR to VAC)
D0902796
±15VDC
S1000983
D0902796
Front
S1000983
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
<< L1-ISC-R3

## Slide 645: D1100905 – Sxxxxxxx
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
D1100905
Front
Sxxxxxxx
Rear
<< L1-ISC-R3

## Slide 646: D1002559 – S1101598
ISC Whitening (ASC ASAIR B 36MHz)
D1002559
±15VDC
S1101598
S1101598
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R3

## Slide 647: D0902796 – S1000988
WFS I/Q Demodulator (ASC ASAIR B 36MHz)
D0902796
±15VDC
S1000988
D0902796
Front
S1000988
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
<< L1-ISC-R3

## Slide 648: D1100905 – Sxxxxxxx
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
D1100905
Front
Sxxxxxxx
Rear
<< L1-ISC-R3

## Slide 649: D0902796 – S1000973
WFS I/Q Demodulator (ASC ASAIR B 45MHz)
D0902796
±15VDC
S1000973
D0902796
Front
S1000973
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
<< L1-ISC-R3

## Slide 650: D1002559 – S1101610
ISC Whitening (ASC ASAIR B 45MHz)
D1002559
±15VDC
S1101610
S1101610
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R3

## Slide 651: D1002559 – Sxxxxxxx
ISC Whitening (LSC ASAIR A 45, B 18, B 90MHz)
D1002559
±15VDC
Sxxxxxxx
Sxxxxxxx
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R3

## Slide 652: D0902796 – S1001001
LSC I/Q Demodulator (LSC ASAIR A 45, B 18, B 90MHz)
D0902796
±15VDC
S1001001
D0902796
Front
S1001001
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
<< L1-ISC-R3

## Slide 653: D1100905 – Sxxxxxxx
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
D1100905
Front
Sxxxxxxx
Rear
<< L1-ISC-R3

## Slide 654: L1-ISC-R4
ISC HAM1 and HAM3 Rack Layout (D1101904)
<< LVEA Racks
Sequencer
D1200757
S1202544
PTY-049
PTO-060
LSC Demod Concentrator 2
D1100691
±18VDC
S1104007
ASC Demod Concentrator 2
D1100696
No Power
S1103987
LSC Demod Concentrator 3
D1100691
±18VDC
S1104006
ASC Demod Concentrator 3
D1100696
No Power
S1103985
LSC RFPD Interface
D1102079
±18VDC
S1200323
WFS RFPD Interface
D1101906
±15VDC
S1200428
ISC Whitening Chassis (IM4 TRANS/ISS QPD)
D1002559
±15VDC
S1101599
ISC Whitening Chassis (MC2 TRANS/-)
D1002559
±15VDC
S1101611
ISC Whitening Chassis (POP_A/POP_B)
D1002559
±15VDC
S1101586
ALS Fiber Distribution
D1200136
±17VDC, ±24VDC
S1202531
Dual QPD Transimpedance Amp (IM4 TRANS/ISS QPD)
D1002481
??
S1102824
Dual QPD Transimpedance Amp (MC2 TRANS/-
D1002481
??
S1102812
Dual QPD Transimpedance Amp (POP_A/POP_B)
D1002481
??
S1102814
SUS Satellite Amp (HAM1 Tip/Tilt)
D1002818
??
S1200172
Auxiliary Signals Concentrator 1
D1102065
±17VDC
S1200550
Common Mode Servo
D0901781
±17VDC, ±24VDC
S1102623
Auxiliary Signals Concentrator 3
D1102065
±17VDC
S1200549
ISC Whitening Filter Controller
D1101741
??
S1201333

## Slide 655: L1-ISC-R4 Details
L1-ISC-R4 Details
<< L1-ISC-R4

## Slide 656: D1100691 – S1104007
LSC Demod Concentrator 2
D1100691
±18VDC
S1104007
<< L1-ISC-R4
D1100691
Front
S1104007
Rear
Controls
Controls
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 3
Demodulator 3
Demodulator 3
Demodulator 3

## Slide 657: D1100691 – S1104006
LSC Demod Concentrator 3
D1100691
±18VDC
S1104006
D1100691
Front
S1104006
Rear
Controls
Controls
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 3
Demodulator 3
Demodulator 3
Demodulator 3
<< L1-ISC-R4

## Slide 658: D1100696 – S1103987
ASC Demod Concentrator 2
D1100696
No Power
S1103987
D1100696
Front
S1103987
Rear
Controls B
Controls B
1B
1B
2B
2B
3B
3B
4B
4B
1A
1A
2A
2A
3A
3A
4A
4A
Controls A
Controls A
<< L1-ISC-R4

## Slide 659: D1100696 – S1103985
ASC Demod Concentrator 3
D1100696
No Power
S1103985
D1100696
Front
S1103985
Rear
Controls B
Controls B
1B
1B
2B
2B
3B
3B
4B
4B
1A
1A
2A
2A
3A
3A
4A
4A
Controls A
Controls A
<< L1-ISC-R4

## Slide 660: D1102079 – S1200323
LSC RFPD Interface
D1102079
±18VDC
S1200323
S1200323
Rear
D1102079
Front
<< L1-ISC-R4

## Slide 661: D1101906 – S1200428
WFS RFPD Interface
D1101906
±15VDC
S1200428
S1200428
Rear
D1101906
Front
D1101905
D1101908
<< L1-ISC-R4

## Slide 662: D1002559 – S1101599
ISC Whitening Chassis (IM4 TRANS/ISS QPD)
D1002559
±15VDC
S1101599
S1101599
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R4

## Slide 663: D1002559 – S1101611
ISC Whitening Chassis (MC2 TRANS/-)
D1002559
±15VDC
S1101611
S1101611
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R4

## Slide 664: D1002559 – S1101586
ISC Whitening Chassis (POP_A/POP_B)
D1002559
±15VDC
S1101586
S1101586
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R4

## Slide 665: D1102065 – S1200550
Auxiliary Signals Concentrator 1
D1102065
±17VDC
S1200550
S1200550
Rear
Controls
Controls
D1102065
Front
<< L1-ISC-R4

## Slide 666: D1102065 – S1200549
Auxiliary Signals Concentrator 3
D1102065
±17VDC
S1200549
S1200549
Rear
Controls
Controls
D1102065
Front
<< L1-ISC-R4

## Slide 667: D0901781 – S1102623
Common Mode Servo
D0901781
±17VDC, ±24VDC
S1102623
S1102623
Rear
Controls 1
Controls 1
Controls 2
Controls 2
D0901781
Front
Monitor
Monitor
<< L1-ISC-R4

## Slide 668: L1-ISC-R5
ISC HAM6 Rack Layout (D1200196)
<< LVEA Racks
Sequencer
D1200757
S1202556
PTY-049
PTO-060
ASC Demod Concentrator 4
D1100696
No Power
S1103983
LSC Demod Concentrator 4
D1100691
±18VDC
S1104008
ASC Demod Concentrator 5
D1100696
No Power
S1103986
WFS RFPD Interface
D1101906
±15VDC
S1200443
ISC Whitening Chassis (ASC OMCR A&B)
D1002559
±15VDC
S1101608
Dual QPD Transimpedance Amp (ASC OMCR A&B)
D1002481
??
S1102830
SUS Satellite Amp (HAM1 Tip/Tilt)
D1002818
??
S1105381
LSC RFPD Interface
D1102079
±18VDC
S1200463
SUS Satellite Amp (HAM1 Tip/Tilt)
D1002818
??
S1200168
ISC Whitening Chassis (ASC AS C)
D1002559
±15VDC
S1101164
Dual QPD Transimpedance Amp (ASC AS C)
D1002481
??
S1102834
Perforated Shelf

## Slide 669: L1-ISC-R5 Details
L1-ISC-R5 Details
<< L1-ISC-R5

## Slide 670: D1100691 – S1104008
LSC Demod Concentrator 4
D1100691
±18VDC
S1104008
D1100691
Front
S1104008
Rear
Controls
Controls
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 3
Demodulator 3
Demodulator 3
Demodulator 3
<< L1-ISC-R5

## Slide 671: D1100696 – S1103987
ASC Demod Concentrator 4
D1100696
No Power
S1103983
D1100696
Front
S1103983
Rear
Controls B
Controls B
1B
1B
2B
2B
3B
3B
4B
4B
1A
1A
2A
2A
3A
3A
4A
4A
Controls A
Controls A
<< L1-ISC-R5

## Slide 672: D1100696 – S1103986
ASC Demod Concentrator 5
D1100696
No Power
S1103986
D1100696
Front
S1103986
Rear
Controls B
Controls B
1B
1B
2B
2B
3B
3B
4B
4B
1A
1A
2A
2A
3A
3A
4A
4A
Controls A
Controls A
<< L1-ISC-R5

## Slide 673: D1102079 – S1200463
LSC RFPD Interface
D1102079
±18VDC
S1200463
S1200463
Rear
D1102079
Front
<< L1-ISC-R5

## Slide 674: D1101906 – S1200443
WFS RFPD Interface
D1101906
±15VDC
S1200443
S1200443
Rear
D1101906
Front
D1101905
D1101908
<< L1-ISC-R5

## Slide 675: D1002559 – S1101608
ISC Whitening Chassis (ASC OMCR A&B)
D1002559
±15VDC
S1101608
S1101608
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R5

## Slide 676: D1002559 – S1101614
ISC Whitening Chassis (ASC AS C)
D1002559
±15VDC
S1101164
S1101164
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-R5

## Slide 677: L1-SUS-R1
Oplev 8 Channel Whitening Filter Chassis
D1100013
±18VDC
S1101545
<< LVEA Racks
L1-SUS-R1 (ITMY) Field Rack Layout (D1200879) (S1200749)
SUS-R1 is part of D1100022
Solid Shelf
Perforated Shelf
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
D0901284
D0901284
D0901284
D0901284
S1000850
Sxxxxxxx
S1000452
Sxxxxxxx
Satellite Amplifier Shelf
No Power
Perforated Shelf
PTO-023

## Slide 678: D0901284 Shelf
D0901284
D0901284
D0901284
D0901284
S1000850
Sxxxxxxx
S1000452
Sxxxxxxx
Satellite Amplifier Shelf
No Power
<< L1-SUS-R1
Rear
Front
S1000850
S1000850
S1000850
S1000850
D0901284

## Slide 679: D1100013–S1101545
Oplev 8 Channel Whitening Filter Chassis
D1100013
?@?A
S1101545
S1101545
Rear
D1100013
Front
<< L1-SUS-R1

## Slide 680: L1-SUS-R2
<< LVEA Racks
L1-SUS-R2 (BS) Field Rack Layout (D1200880) (S1200750)
SUS-R2 is part of D1100022
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Oplev 8 Channel Whitening Filter Chassis
D1100013
±18VDC
S1101546
Solid Shelf
Perforated Shelf

## Slide 681: D1100013–S1101545
Oplev 8 Channel Whitening Filter Chassis
D1100013
?@?A
S1101546
S1101546
Rear
D1100013
Front
<< L1-SUS-R1

## Slide 682: L1-SUS-R3
<< LVEA Racks
L1-SUS-R3 (ITMX) Field Rack Layout (D1200883) (S1202300)
SUS-R3 is part of D1100022
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power

## Slide 683: L1-SUS-R4
<< LVEA Racks
L1-SUS-R4 (ITMX) Field Rack Layout (D1201134) (S1202995)
SUS-R4 is part of D1100022
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power

## Slide 684: L1-SUS-R5
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
<< LVEA Racks
L1-SUS-R5 (ITMX and FMX) Field Rack Layout (D1201135) (S1202996)
SUS-R5 is part of D1001725
SUS-R5 is part of D1100022
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power

## Slide 685: L1-SUS-R6
L1-SUS-R6 (ITMY, FMY, and BS) Field Rack Layout (D1201136) (S1202997)
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
Satellite Amplifier
Dxxxxxxx
?@?A
SN:
<< LVEA Racks
SUS-R6 is part of D1001725
SUS-R6 is part of D1100022
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Dxxxxxxx
Satellite Amplifier Shelf
No Power

## Slide 686: L1-TCS-R1
<< LVEA Racks
ITM: Hartmann Sensor Power Supply
D1102206
?@?A
SN:
SLED Controller
D1000892
?@?A
SN:
TCS: ITM HWS Table EtherCAT Interface Box
D1102206
?@?A
SN:
QUAD Driver
D1101655
?@?A
SN:
Shaker Driver
Dxxxxxxx
?@?A
SN:
Intensity Stabilization System
D080351
?@?A
SN:
TCS: CO2P EtherCAT Interface Box
Dxxxxxxx
?@?A
SN:
TCS: CO2P Power Supply Distribution
Dxxxxxxx
?@?A
SN:
CO2 Interlock
D1101931
?@?A
SN:
RS232 to Ethernet Interface
Dxxxxxxx
?@?A
SN:
Thorlabs PM 100
XXXXXXX
?@?A
XXXXXXX
Newport SMC-100-CC
SMC-100-CC
?@?A
XXXXXXX
RF Oscillator
XXXXXXX
?@?A
XXXXXXX
AOM Driver
Dxxxxxxx
?@?A
SN:
L1-TCS-R1 (LVEA X Direction) Field Rack Layout (D1201122) (S1202975)
TCS-R1 is part of D1200258
TCS-R1 is part of E1100892

## Slide 687: L1-TCS-R2
L1-TCS-R2 (LVEA Y Direction) Field Rack Layout (D1201123) (S1202976)
<< LVEA Racks
QUAD Driver
D1101655
?@?A
SN:
Shaker Driver
Dxxxxxxx
?@?A
SN:
Intensity Stabilization System
D080351
?@?A
SN:
TCS: CO2P EtherCAT Interface Box
Dxxxxxxx
?@?A
SN:
TCS: CO2P Power Supply Distribution
Dxxxxxxx
?@?A
SN:
CO2 Interlock
D1101931
?@?A
SN:
RS232 to Ethernet Interface
Dxxxxxxx
?@?A
SN:
Thorlabs PM 100
XXXXXXX
?@?A
XXXXXXX
Newport SMC-100-CC
SMC-100-CC
?@?A
XXXXXXX
RF Oscillator
XXXXXXX
?@?A
XXXXXXX
AOM Driver
Dxxxxxxx
?@?A
SN:
TCS-R2 is part of D1200258
TCS-R2 is part of E1100892

## Slide 688: L1-VAC-R1
<< LVEA Racks
L1-VAC-R1 LVEA – Y-End Vacuum Rack Layout (Dxxxxxxx)
Marway MPD100 Power Distribution
MPD-100
UPS
Sorensen DCS33-33E Switching DC Power Supply
DCS33-33E
110VAC
SN:
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009231
110VAC
9811400054AD3C1
S3140R
SOLA 3000 UPS
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:

## Slide 689: L1-VAC-R2
<< LVEA Racks
L1-VAC-R2 LVEA – Y-End Vacuum Rack Layout (Dxxxxxxx)
110VAC
9811400052AD3C1
S3140R
SOLA 3000 UPS
Marway MPD100 Power Distribution
MPD-100
UPS
Sorensen DCS33-33E Switching DC Power Supply
DCS33-33E
110VAC
SN:
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009234
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:

## Slide 690: L1-VAC-R3
L1-VAC-R3 Mechanical Room Vacuum Rack Layout (Dxxxxxxx)
<< LVEA Racks
UPS & 110VAC
FL34044533
X448
Foundary FastIron Edge X448
110VAC
9811400034AD3C1
S3140R
SOLA 3000 UPS
Marway MPD100 Power Distribution
MPD-100
UPS
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009232
Description
Dxxxxxxx
Power
SN:

## Slide 691: VEAX
VEAX
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station
<< VEAX Fiber Patch Panel

## Slide 692: X-End Station Rack Layout
<< CERX
<< LLO Corner Station
<< VEAX

## Slide 693: X-End Station Rack Layout
<< CERX
<< LLO Corner Station
<< VEAX
X-End – D0901465

## Slide 694: X-End Racks
Facilities Rack
(L1-FAC-XC1)
DAQ Rack
(L1-DAQ-XC1)
ISC Rack
(L1-ISC-XC1)
SUS Rack 2
(L1-SUS-XC2)
SUS Rack 1
(L1-SUS-XC1)
SUS Field Rack
(L1-SUS-XR1)
TCS Rack
(L1-TCS-XC1)
DC Power Rack 1
(L1-VDC-XC1)
DC Power Rack 2 (L1-VDC-XC2)
SEI Rack
(L1-SEI-XC1)
Vacuum Field Rack
(L1-VAC-XR1)
ISC Field Rack
(L1-ISC-XR1)
<< LLO Racks by AREA
<< LLO Racks by Subsystems

## Slide 695: CDS Electronics Room X-End (CERX) Rack Layout
<< X-End Racks
Signals and Fiber
It is 70’ from the L1-FAC-XC1 Rack to the knee of the waterfall in the VEAX.
(L1-FAC-XC1)
CERX
(L1-VDC-XC1)
(L1-VDC-XC2)
(L1-DAQ-XC1)
(L1-SEI-XC1)
(L1-SUS-XC1)
(L1-SUS-XC2)
(L1-TCS-XC1)
(L1-ISC-XC1)
DC Power and Fiber
AC Power

## Slide 696: Corning WCH-06P Fiber Panel
5.75”
13.5” x 16.062” x 5.125”
120”
4”
21.75”
21.25”
X”
CCH-CP12-15T (ST)
x 2

## Slide 697: VEAX Fiber Patch Panel
VEAX Fiber Patch Panel
Patch Panel
No Power
Patch Panel
A - ST Connectors
B - ST Connectors
C - NO Connectors
D - NO Connectors
E - NO Connectors
F - NO Connectors
A
B
C
D
E
F
3/22/2013 |  | X-End Fiber Patch |  | 
Port | Type | Fiber | Designation | Description
A1 | FC | X-Fiber-15 | l1netfedaqx Port 21F | IP - 10.199.0.87 Netgear GSM7244 Port 21F
A2 | FC | Empty |  | 
A3 | FC | X-Fiber-16 | l1netfedaqx Port 21F | IP - 10.199.0.87 Netgear GSM7244 Port 21F
A4 | FC | X-Fiber-04 | FACILITIES COMMUNICATIONS | S711DR
A5 | FC | X-Fiber-02 | Phone OUT | Extension 401
A6 | FC | X-Fiber-10 | l1fedaqx Port 6 | ACC 5595 Port 6
A7 | FC | X-Fiber-01 | Phone IN | Extension 401
A8 | FC | X-Fiber-09 | l1fedaqx Port 6 | ACC 5595 Port 6
A9 | FC | Empty |  | 
A10 | FC | A12 | Looped | Looped to A12
A11 | FC | X-Fiber-03 | Security Cameras | VT7430 Optical In/Out
A12 | FC | A10 | Looped | Looped to A10
Port | Type |  |  | 
B1 | FC | X-Fiber-11 | GC 2402 Port 25F | IP - 197.168.253.20 GC 2402 Port 25F
B2 | FC | Empty |  | 
B3 | FC | X-Fiber-12 | GC 2402 Port 25F | IP - 197.168.253.20 GC 2402 Port 25F
B4 | FC | Empty |  | 
B5 | FC | X-Fiber-07 | l1lanfex Port 21F | IP - 10.199.0.13 Netgear GSM7224 Port 21F
B6 | FC | X-Fiber-13 | D070011 INPUT Port | L1-TCS-XC1 D070011 INPUT Port
B7 | FC | X-Fiber-08 | l1lanfex Port 21F | IP - 10.199.0.13 Netgear GSM7224 Port 21F
B8 | FC | S-Fiber-14 | D070011 INPUT Port | L1-TCS-XC1 D070011 INPUT Port
B9 | FC | Empty |  | 
B10 | FC | X-Fiber-06 | CDS GS624P Port 1F | IP - 10.199.0.20 GS624P Port 1F
B11 | FC | X-Fiber-05 | CDS GS624P Port 1F | IP - 10.199.0.20 GS624P Port 1F
B12 | FC | Empty |  | 
VEAY Fiber Patch Panel

## Slide 698: L1-VDC-XC1 Power Racks – VEAX Field Supplies
Cable Runs >>
L1-VDC-XC1 Power Rack
B
A
L1-VDC-XC1 Power Rack
A
B
L1-ISC-XR1
L1-ISC-XR1
L1-ISC-XR1
L1-ISC-XR1
Unused
Unused
Unused
L1-ISC-XR1
L1-ISC-XR1
L1-ISC-XR1
L1-ISC-XR1
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
<< CERX Racks
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
L1-VDC-XC1 X-End Station DC Power Rack Layout (D1200897) (S1202311)
L1-AOS
L1-AOS
L1-AOS
L1-AOS
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Notes: For a JQE Style25-20M: AC power calculations:
125 VAC * 10.5 (A/PS) => 1312.5 (W/PS)
24 (PS/Rack)* 1312.5 (W/PS) => 31500 (W/Rack)
24 (PS/Rack) * 10.5 (A/PS) => 252 (A/Rack)

## Slide 699: L1-VDC-XC1 Cable Runs
<< L1-VDC-XC1
L1-VDC-XC1 X-End Station DC Cable Runs (D1200897) (S1202311)
L1-VDC-XC1 S1202311 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-X |  | L1-VDC-XC1 | 8 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-X |  | L1-VDC-XC1 | 8 | Bottom | U37-B (Right) |  |  |  |  |  |  | 
3 | CDS-X |  | L1-VDC-XC1 | 2 | Top | U33-A (Left) |  |  |  |  |  |  | 
4 | CDS-X |  | L1-VDC-XC1 | 2 | Bottom | U33-B (Right) |  |  |  |  |  |  | 
5 | CDS-X |  | L1-VDC-XC1 | 9 | Top | U29-A (Left) | BHK 500V 80mA | A107266 | Plus | PBX-003 | L1-AOS |  | 
6 | CDS-X |  | L1-VDC-XC1 | 9 | Bottom | U29-B (Right) | BHK 500V 80mA | A107260 | Minus | PBX-003 | L1-AOS |  | 
7 | CDS-X |  | L1-VDC-XC1 | 3 | Top | U25-A (Left) | JQE 25V 20A | H236461 | Plus | PTO-064 | L1-ISC-XR1 | 60 | PSO-xxx
8 | CDS-X |  | L1-VDC-XC1 | 3 | Bottom | U25-B (Right) | JQE 25V 20A | H236389 | Minus | PTO-064 | L1-ISC-XR1 | 60 | PSO-xxx
9 | CDS-X |  | L1-VDC-XC1 | 10 | Top | U21-A (Left) | JQE 25V 10A | H222052 | Plus | PTY-057 | L1-ISC-XR1 | 60 | PSY-xxx
10 | CDS-X |  | L1-VDC-XC1 | 10 | Bottom | U21-B (Right) | JQE 25V 10A | H192369 | Minus | PTY-057 | L1-ISC-XR1 | 60 | PSY-xxx
11 | CDS-X |  | L1-VDC-XC1 | 4 | Top | U17-A (Left) | JQE 25V 20A |  |  |  |  |  | 
12 | CDS-X |  | L1-VDC-XC1 | 4 | Bottom | U17-B (Right) | JQE 25V 20A |  |  |  |  |  | 
13 | CDS-X |  | L1-VDC-XC1 | 11 | Top | U13-A (Left) | JQE 25V 20A |  |  |  |  |  | 
14 | CDS-X |  | L1-VDC-XC1 | 11 | Bottom | U13-B (Right) | JQE 25V 20A |  |  |  |  |  | 
15 | CDS-X |  | L1-VDC-XC1 | 5 | Top | U09-A (Left) | JQE 25V 20A |  |  |  |  |  | 
16 | CDS-X |  | L1-VDC-XC1 | 5 | Bottom | U09-B (Right) | JQE 25V 20A |  |  |  |  |  | 
17 | CDS-X |  | L1-VDC-XC1 | 12 | Top | U05-A (Left) | JQE 25V 20A |  |  |  |  |  | 
18 | CDS-X |  | L1-VDC-XC1 | 12 | Bottom | U05-B (Right) | JQE 25V 20A |  |  |  |  |  | 
19 | CDS-X |  | L1-VDC-XC1 | 6 | Top | U01-A (Left) | JQE 25V 20A |  |  |  |  |  | 
20 | CDS-X |  | L1-VDC-XC1 | 6 | Bottom | U01-B (Right) | JQE 25V 20A |  |  |  |  |  | 
D1200897 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 700: L1-VDC-XC2 Power Racks – VEAX Supplies
L1-SUS-XC1
L1-SUS-XC2
L1-SUS-XC2
L1-SUS-XC1
L1-ISC-XC1
L1-ISC-XC1
Cable Runs >>
L1-VDC-XC2 Power Rack
B
A
L1-VDC-XC2 Power Rack
A
B
L1-SEI-XC1
L1-SEI-XC1
L1-SEI-XC1
L1-SEI-XC1
L1-SUS-XC1
L1-SUS-XC1
L1-SUS-XC2
L1-SUS-XC2
Unused
Unused
Unused
L1-SEI-XC1
L1-SEI-XC1
L1-SEI-XC1
L1-SEI-XC1
L1-SEI-XC1
L1-SUS-XC1
L1-SUS-XC1
L1-SUS-XC2
L1-SUS-XC2
Unused
Unused
Unused
L1-SEI-XC1
L1-ISC-XC1
L1-ISC-XC1
L1-ISC-XC1
L1-ISC-XC1
L1-ISC-XC1
L1-ISC-XC1
L1-ISC-XC1
L1-ISC-XC1
<< CERX Racks
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
L1-VDC-XC2 X-End Station DC Power Rack Layout (D1200898) (S1202312)
Unused
Unused
Unused
L1-ISC-XC1
L1-ISC-XC1
L1-ISC-XC1
L1-ISC-XC1
+/-12VDC
+24VDC
+24VDC
-/+12VDC
Notes: For a JQE Style25-20M: AC power calculations:
125 VAC * 10.5 (A/PS) => 1312.5 (W/PS)
24 (PS/Rack)* 1312.5 (W/PS) => 31500 (W/Rack)
24 (PS/Rack) * 10.5 (A/PS) => 252 (A/Rack)

## Slide 701: L1-VDC-XC2 Cable Runs
<< L1-VDC-XC2
L1-VDC-XC2 X-End Station DC Cable Runs (D1200898) (S1202312)
L1-VDC-XC2 S1202312 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-X |  | L1-VDC-XC2 | 8 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-X |  | L1-VDC-XC2 | 8 | Bottom | U37-B (Right) |  |  |  |  |  |  | 
3 | CDS-X |  | L1-VDC-XC2 | 2 | Top | U33-A (Left) | JQE 25V 10A | H222053 | Plus | PTY-053 | L1-ISC-XC1 | 30 | PSY-xxx
4 | CDS-X |  | L1-VDC-XC2 | 2 | Bottom | U33-B (Right) | JQE 15V 6A JQE 15V 6A | H214514 H214461 | Plus Minus | PTG-005 | L1-ISC-XC1 | 30 | PSG-006
5 | CDS-X |  | L1-VDC-XC2 | 9 | Top | U29-A (Left) | JQE 25V 20A | H236497 | Plus | PTO-042 | L1-SUS-XC2 | 30 | PSO-042
6 | CDS-X |  | L1-VDC-XC2 | 9 | Bottom | U29-B (Right) | JQE 25V 20A | H236515 | Minus | PTO-042 | L1-SUS-XC2 | 30 | PSO-042
7 | CDS-X |  | L1-VDC-XC2 | 3 | Top | U25-A (Left) | JQE 25V 20A | H236501 | Plus | PTO-043 | L1-SUS-XC1 | 32 | PSO-043
8 | CDS-X |  | L1-VDC-XC2 | 3 | Bottom | U25-B (Right) | JQE 25V 20A | H236473 | Minus | PTO-043 | L1-SUS-XC1 | 32 | PSO-043
9 | CDS-X |  | L1-VDC-XC2 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236510 | Plus | PTO-044 | L1-ISC-XC1 | 28 | PSO-044
10 | CDS-X |  | L1-VDC-XC2 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236511 | Minus | PTO-044 | L1-ISC-XC1 | 28 | PSO-044
11 | CDS-X |  | L1-VDC-XC2 | 4 | Top | U17-A (Left) | JQE 25V 20A | H236493 | Plus | PTY-031 | L1-ISC-XC1 | 28 | PSY-031
12 | CDS-X |  | L1-VDC-XC2 | 4 | Bottom | U17-B (Right) | JQE 25V 20A | H236517 | Minus | PTY-031 | L1-ISC-XC1 | 28 | PSY-031
13 | CDS-X |  | L1-VDC-XC2 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236505 | Plus | PTO-045 | L1-SEI-XC1 | 22 | PSO-045
14 | CDS-X |  | L1-VDC-XC2 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236494 | Minus | PTO-045 | L1-SEI-XC1 | 22 | PSO-045
15 | CDS-X |  | L1-VDC-XC2 | 5 | Top | U09-A (Left) | JQE 25V 20A | H236509 | Plus | PTY-032 | L1-SEI-XC1 | 22 | PSY-032
16 | CDS-X |  | L1-VDC-XC2 | 5 | Bottom | U09-B (Right) | JQE 25V 20A | H236492 | Minus | PTY-032 | L1-SEI-XC1 | 22 | PSY-032
17 | CDS-X |  | L1-VDC-XC2 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236482 | Plus | PTY-033 | L1-ISC-XC1 | 30 | PSY-033
18 | CDS-X |  | L1-VDC-XC2 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236481 | Plus | PTY-034 | L1-SEI-XC1 | 22 | PSY-034
19 | CDS-X |  | L1-VDC-XC2 | 6 | Top | U01-A (Left) | JQE 25V 20A | H236498 | Plus | PTY-035 | L1-SUS-XC2 | 32 | PSY-035
20 | CDS-X |  | L1-VDC-XC2 | 6 | Bottom | U01-B (Right) | JQE 25V 20A | H236514 | Plus | PTY-036 | L1-SUS-XC1 | 32 | PSY-036
D1200898 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 702: L1-DAQ-XC1
L1-DAQ-XC1 X-End Station Remote Rack Layout (D1201085) (S1202949)
ATEN KVM Switch
CL1016M
UPS1
SN:
l1lanfex 10.199.0.13
GSM7224
UPS1
2B62045700143
l1netfedaqx 10.199.0.87
GSM7224
UPS1
2B62045600150
ACC 5595 Reflective Memory Hub
ACC 5595
UPS1
36100694
<< CERX Racks
Timing IRIG-B Interface Chassis
D0900301
+12VDC
S1107510
l1iscex Front End Computer
Dxxxxxxx
UPS1 & 110VAC
SN:
l1seiex Front End Computer
Dxxxxxxx
UPS1 & 110VAC
SN:
l1susex Front End Computer
Dxxxxxxx
UPS1 & 110VAC
SN:
l1susauxex Front End Computer
Dxxxxxxx
UPS1 & 110VAC
SN:
110VAC 20A
UPS1 – UPS Power Strip
110VAC 20A
Non-UPS Power Strip
Dxxxxxxx
l1ecatx1 Beckhoff Host Computer
UPS1 & 110VAC
SN:
Perforated Shelf
Solid Shelf
Hartmann Sensor Computer
T1000702
UPS1 & 110VAC
SN:
Dolphin RFM Switch
DXS410
UPS2
AD053708012
UPS Group 1 and Group 2
APC SMT2000RMLV2U
110VAC
J51048019433
110VAC 20A
UPS2 – UPS Power Strip
Serial Concentrator Chassis
D1100632
+24@5.0A
SN:
Serial to Internet Converter
Lantronix
SDS2101, UDS2100
SN: 00204AD7A3CC
+12V Wall Wart
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1103497

## Slide 703: L1-DAQ-XC1 Details
L1-DAQ-XC1 Details
<< L1-DAQ-XC1

## Slide 704: Dolphin RFM Switch DS5410 – AD053708012
Dolphin RFM Switch
DXS410
UPS2
AD053708012
To l1lanfey port 5
ACC 5595
Front
AD053708012
Rear
<< L1-DAQ-XC1

## Slide 705: VMIACC-5595-224 – 36106691
36100694
Rear
ACC 5595
Front
Reflective Memory Hub
ACC 5595
110VAC
36100694
To UPS Power Strip
To l1lanfey port 5
To 1X23 A3,A4
To l1pemex PCIE 5565RC
<< L1-DAQ-XC1

## Slide 706: l1netfedaqy – GSM7224
GSM7224
Front
2B62045600150
Rear
C0:3F:0E:86:88:E0
l1netfedaqy 10.199.0.87
GSM7224
110VAC
2B62045600150
3 – To FE NET Port
21F – To 1X23 PP B1,B2
To UPS Power Strip
<< L1-DAQ-XC1

## Slide 707: l1lanfex – GSM7224
GSM7224
Front
2B62045700143
Rear
C0:3F:0E:86:88:AC
l1lanfey 10.199.0.13
GSM7224
110VAC
2B62045700143
3 – To FE LAN Port
21F – To 1X23 PP E3,E4
5 – To 5595 LAN 10BaseT
To UPS Power Strip
<< L1-DAQ-XC1

## Slide 708: D0900301 – S1107510
Timing IRIG-B Interface Chassis
D0900301
+12VDC
S1107510
D0900301
Front
S1107510
Rear
<< L1-DAQ-XC1

## Slide 709: D1100632 – Sxxxxxxx
D1100632
Front
Serial Port Concentrator for Timing
D1100632
±18VDC
Sxxxxxxx
<< L1-DAQ-XC1
Sxxxxxxx
Rear

## Slide 710: D1002961 – S1103497
D1002961
Front: D0902553
S1103497
Rear: D0902554
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1103497
Name: D1002962
<< L1-DAQ-XC1

## Slide 711: ATEN KVM Switch CL1016M
ATEN KVM Switch
CL1016M
110VAC
Z8A6Y132ANQ0010
Z8A6Y132ANQ0010
Rear
CL1016M
Front
To l1pemex Front End
To UPS Power Strip
<< L1-DAQ-XC1

## Slide 712: l1susauxex Front End
l1susauxex Front End Computer
Front End
110VAC
SN:
<< L1-DAQ-XC1

## Slide 713: l1susex Front End
l1susex Front End Computer
Front End
110VAC
SN:
<< L1-DAQ-XC1

## Slide 714: l1seiex Front End
l1seiex Front End Computer
Front End
110VAC
SN:
<< L1-DAQ-XC1

## Slide 715: l1iscex Front End
l1iscex Front End Computer
Front End
110VAC
SN:
<< L1-DAQ-XC1

## Slide 716: l1ecatx1 Front End
l1ecatx1 Beckhoff Host Computer
Front End
110VAC
SN:
<< L1-DAQ-XC1

## Slide 717: Hartmann Sensor Computer Front End
Hartmann Sensor Front End Computer
T1000702
110VAC
SN:
<< L1-DAQ-XC1

## Slide 718: APC SMX2000RMLV2U
UPS
APC SMX2000RMLV2U
110VAC
JS1048019433
To UPS Power Strip
APC SMX2000RMLV2U
Front
JS1048019433
Rear
<< L1-DAQ-XC1

## Slide 719: L1-FAC-XC1
L1-FAC-XC1 Facilities X-End Station Remote Rack Layout (D1201086) (S1202950)
UPS1
FB00001705
2402
2402 Network Switch
Security Cameras
IFO Cameras
UPS1
APC SMT1500RM2U
110VAC
A51051111991
UPS & 110VAC
N62538F19R
GS624P
Brocade FastIron Edge GS624P
<< CERX Racks
KEPCO Power Supplies
UPS1
110VAC 15A
UPS1 – UPS Power Strip
110VAC 15A
Non-UPS Power Strip
Kantech
xxxxxxxx
+12VDC
SN:
Solid Shelf
Solid Shelf
Perforated Shelf
PSY-XXX
PSG-XXX
Perforated Shelf
Comtrol
5002111
-12VDC
9445009189
+12VDC
-12VDC
+24VDC
H207953
H214494
H214524
X-End Phone
xxxxxxxx
+12VDC
SN:

## Slide 720: L1-FAC-XC1 Details
L1-FAC-XC1 Details
<< L1-FAC-XC1

## Slide 721: GS624P
UPS & 110VAC
N62538F19R
GS624P
Brocade FastIron Edge GS624P
N62538F19R
Rear
<< L1-FAC-XC1
C0:3F:0E:86:88:E0
GSM7224
Front
3 – To FE NET Port
21F – To 1X23 PP B1,B2
To UPS Power Strip
To 110 Power Strip

## Slide 722: 2402 – Network Switch
2402 Network Switch
2402
110VAC
FB00001705
G12038
192.168.253.20
Empty
01
Kantech???
02
Empty
03
Empty
04
Empty
05
Empty
06
Empty
07
Empty
08
Empty
09
Empty
10
Empty
11
Empty
12
Empty
13
To Seimens
14
Empty
15
Empty
16
Empty
17
Empty
18
Empty
19
Empty
20
Empty
21
Empty
22
Empty
23
Empty
24
Empty
25C
Empty
26C
To Special Cable CSR1
25F
To 1X23 PP E1,E2
26F
PS1
To UPS Power Strip
<< L1-FAC-XC1

## Slide 723: X-End Phone
TR3030WDM
GE Security
Optical In/Out: To 1X23 PP B3,B4
Phone: Copper to VEA
Power: 12VDC
Powered from Wall Wart from Tripp-Lite UPS
Model BC320
9834DY0BC614000661 To 6-Outlet Power Strip in Non-isolated wall socket
Phone
<< L1-FAC-XC1

## Slide 724: X-End – Kantech Interface
Fiber Options 7711-R (501R)
Optical In/Out:
To 1Y23 PP D2
Power: 13.5VDC from Wall Wart
Blue CAT5: 1=O/W and B/W, 4=O, 7=B
Powered from Wall Wart from Isolated Power
Kantech
To Siemens Racks
To
To Kantech Racks
To
<< L1-FAC-XC1

## Slide 725: X-End – Comtrol Interface
Comtrol
5002111
-12VDC
9445009189
<< L1-FAC-XC1
Comtrol DeviceMaster 4 with DB9 Ports
3M Shell 3357-9209
3M Shell 3357-9209
2.1mm Socket
(Note polarity)
MAC Address:
00-C0-4E-07-3F-5D
IP Address:
10/110.60.??

## Slide 726: KEPCO Power Supplies
Rear
JQE
Front
<< L1-FAC-XC1
KEPCO JQE 25-10
H207953
KEPCO JQE 15-6
H214524
KEPCO JQE 15-6
H214494
KEPCO JQE 25-10
+24VDC
KEPCO JQE 15-6
+12VDC
KEPCO JQE 15-6
-12VDC
KEPCO Power Supplies
UPS1
+12VDC
-12VDC
+24VDC
H207953
H214494
H214524

## Slide 727: APC SMT1500RM2U
UPS
APC SMT1500RM2U
110VAC
A51051111991
APC SMT1500RM2U
Front
A51051111991
Rear
To X448 PS1
To 2402 PS1
To UPS Power Strip
<< L1-FAC-XC1

## Slide 728: 1X23 – D070443 – LH02
Powered from 12VDC DIN rails
Powered from 15VDC DIN rails
D070443
Magnetometer Filter
LH02
Magnetometer Power Supply
(MAG-03PSU)
0539
Magnetometer
MAG-03MCES
X
Y
Z
X
Y
Z
Magnetometer: Bartington Instruments MAG-03MC
5 meter
X
Y
Z
On/Off
D030574
Black – G/W … Ground
Stria – Y/W … +12VDC
–
+
Charger … 9 to 18 VDC
Pin 1: +15VDC … Red/Blk RED
Pin 2: Ground … Red/Blk BLACK
Pin 3: -15VDC … Wht/Blk WHITE
Pin 4: Ground … Wht/Blk BLACK
<< L1-FAC-XC1

## Slide 729: Security Cameras
VT7430-2DRDT
Optical In/Out:
To 1X23 PP B6
Power: 12VDC
Output: Ch1, Ch2, Ch3 BNCs to Cameras
Video Master Power Supply
Model RT24/16500
Outputs to Cameras 1,2,3
Note: 6 LEDs are on.
Powered from Wall Wart from Isolated Power
AC Powered from Isolated Power
Security Cameras
<< L1-FAC-XC1

## Slide 730: L1-ISC-XC1
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000652
Anti-Alias Chassis
D0902783
±18VDC
Sxxxxxxx
Anti-Alias Chassis
D0902783
±18VDC
Sxxxxxxx
Anti-Image Chassis
D070081
±18VDC
Sxxxxxxx
<< CERX Racks
l1iscex I/O Extension Chassis
D1001715
+24V@5A
S1000536
L1-ISC-XC1 X-End Remote Rack Layout (D1201084) (S1202948)
ISC-XC1 is part of D1001459
RF Distribution Panel 22
Dxxxxxxx
No Power
SN:
71 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000561
RF Distribution Panel 23
Dxxxxxxx
No Power
SN:
24.4 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000583
24.4 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000669
RF Amplifier Concentrator 3
D1100262
±18VDC
S1106463
Perforated Shelf
Perforated Shelf
Aeroflex Diagnostics
2023A
110VAC
SN:
384 Channel Binary Output
D1100251
+24VDC
S1203283
Sequencer
D1200757
S1202548
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1102618
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
Sxxxxxxx
PTY-031
PTY-033
PTO-044
PTG-005
PTY-053

## Slide 731: L1-ISC-XC1 Details
L1-ISC-XC1 Details
<< L1-ISC-XC1

## Slide 732: RF Patch Panel 22
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 22
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-XC1

## Slide 733: RF Patch Panel 23
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 23
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-XC1

## Slide 734: D080702 – S1000561
71 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000561
S1000561
Rear
D080702
Front
Front
Output
Front
Lock
To …
<< L1-ISC-XC1

## Slide 735: D1000124 – S1000652
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000652
<< L1-ISC-XC1
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000652
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 736: D080702 – S1000583
24.4 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000583
S1000583
Rear
D080702
Front
Front
Output
Front
Lock
To …
<< L1-ISC-XC1

## Slide 737: D1000124 – S1000669
24.4 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000669
<< L1-ISC-XC1
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000669
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 738: D1100262 – S1106463
RF Amplifier Concentrator 1
D1100262
±18VDC
S1106463
D1100262
Front
S1106463
Rear
1
Rear
Controls
5
Rear
9
Rear
2
Rear
6
Rear
10
Rear
3
Rear
7
Rear
11
Rear
4
Rear
8
Rear
12
Rear
Rear
<< L1-ISC-XC1

## Slide 739: D1100251 – S1203283
384 Channel Binary Output
D1100251
+24VDC
S1203283
<< L1-ISC-XC1
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1203283
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 740: D1002961 – S1102618
D1002961
Front: D0902553
S1102618
Rear: D0902554
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1102618
Name: D1002962
<< L1-ISC-XC1

## Slide 741: D1100682 – Sxxxxxxx
D1100682
Front: D0902553
Sxxxxxxx
Rear: D1101977
Name: D1101978
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
Sxxxxxxx
<< L1-ISC-XC1

## Slide 742: l1iscex – D1001715 – S1000536
l1iscex I/O Extension Chassis
D1001715
110VAC
S1000536
<< L1-ISC-XC1
D1001715
Front
L1:ISCEX
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-33
Slot P10
S1000536
Rear
L1:FE-IO-33
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1iscex – I/O Extender
+24VDC
PTY-033
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 743: L1-SEI-XC1
BSC4 8 Channel Valve Driver
D0900117
Power
S0900289
l1seiex I/O Extension Chassis
D1001715
+24VDC
S1201774
<< CERX Racks
L1-SEI-XC1 (BSC4) X-End Remote Rack 1 Layout (D1201081) (S1202945)
SEI-XC1 is part of D0901301
PTY-034
PTY-034
PTO-045
BSC4 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103336
BSC4 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103314
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1300612
BSC4 ISI AA Chassis
D1002693
Power
S1203106
BSC4 ISI AA Chassis
D1002693
Power
S1203107
BSC4 ISI AA Chassis
D1002693
Power
S1203109
BCS4 HEPI AA Chassis
D1000272
Power
S1203333
BCS4 HEPI AI Chassis
D1100202
Power
S1203137
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101306
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101307
64 Channel Binary Output Chassis (8*DB9)
D1001728
±18VDC
S1101321
Trillium 240 Interface Chassis Pod 1
D1002964
±18VDC
S1201405
Trillium 240 Interface Chassis Pod 2
D1002964
±18VDC
S1201406
Trillium 240 Interface Chassis Pod 3
D1002964
±18VDC
S1201407
STS-2 Distribution Chassis
D0900351
±18VDC
S0900133
STS-2 Interface Chassis
D080535
±18VDC
S0900105
BSC4 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103362
BSC4 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1203884
BSC4 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1203885
BSC4 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1203886

## Slide 744: L1-SEI-XC1 Details
L1-SEI-XC1 Details
<< L1-SEI-XC1

## Slide 745: D1002432 – S1203884
BSC4 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1203884
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
<< L1-SEI-XC1
S1203884
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 746: D1002432 – S1203885
BSC4 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1203885
<< L1-SEI-XC1
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1203885
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 747: D1002432 – S1203886
BSC4 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1203886
<< L1-SEI-XC1
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1203886
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 748: D1002693 – S1203106
<< L1-SEI-XC1
BSC4 ISI AA Chassis Pod 3
D1002693
Power
S1203106
S1203106
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 749: D1002693 – S1203107
<< L1-SEI-XC1
BSC4 ISI AA Chassis Pod 3
D1002693
Power
S1203107
S1203107
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 750: D1002693 – S1203109
<< L1-SEI-XC1
BSC4 ISI AA Chassis Pod 3
D1002693
Power
S1203109
S1203109
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 751: D1000272 – S1203333
<< L1-SEI-XC1
BSC4 HEPI AA Chassis Pod 3
D1000272
Power
S1203333
S1203333
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26

## Slide 752: D1100202 – S1203137
<< L1-SEI-XC1
BSC4 HEPI AI Chassis
D1100202
Power
S1203137
To ADC Adapter
To ADC Adapter
S1203137
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 753: D0900117 – S0900289
<< L1-SEI-XC1
BSC4
BSC4 8 Channel Valve Driver
D0900117
Power
S0900289
S0900289
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8

## Slide 754: D1001726 – S1101306
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101306
S1101306
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-XC1

## Slide 755: D1001726 – S1101307
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101307
S1101307
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-XC1

## Slide 756: D1001728 – S1101321
64 Channel Binary Output Chassis (8*DB9)
D1001728
±18VDC
S1101321
Open
Ch 16-23
Open
Ch 48-55
Open
Ch 0-7
Open
Ch 8-15
Open
Ch 40-47
Open
Ch 32-39
D1001728
Front
Open
Ch 23-31
Open
Ch 56-63
<< L1-SEI-XC1
S1101321
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63

## Slide 757: D1002964 – S1201405
Trillium 240 Interface Chassis Pod 1
D1002964
±18VDC
S1201405
<< L1-SEI-XC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201405
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 758: D1002964 – S1201406
Trillium 240 Interface Chassis Pod 2
D1002964
±18VDC
S1201406
<< L1-SEI-XC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201406
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 759: D1002964 – S1201407
Trillium 240 Interface Chassis Pod 3
D1002964
±18VDC
S1201407
<< L1-SEI-XC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201407
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 760: D0900351 – S0900133
STS-2 Distribution Chassis
D0900351
±18VDC
S0900133
<< L1-SEI-XC1
Channel 1
Channel 1
D0900351
Front
Channel 2
Channel 2
Channel 3
Channel 3
Channel 4
Channel 4
Channel 5
Channel 5
Channel 6
Channel 6
Channel 7
Channel 7
Channel 8
Channel 8
S0900133
Rear
From STS-2 Interface
From STS-2 Interface
To AA Chassis
To AA Chassis
From STS-2 Interface
To AA Chassis

## Slide 761: D080535 – S0900105
STS-2 Interface Chassis
D080535
±18VDC
S0900105
<< L1-SEI-XC1
S0900105
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 762: l1seiex D1001715 – S1201774
l1seiex I/O Extension Chassis
D1001715
+24VDC
S1201774
D1001715
Front
L1:SEIEX
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-30
Slot P10
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
S1201774
Rear
L1:FE-IO-30
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
<< L1-SEI-XC1
l1seiex – I/O Extender
+24VDC
PTY-034

## Slide 763: D1000305 – S1300612
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1300612
<< L1-SEI-XC1
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1300612
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 764: D0902744 – S1103314
BSC4 ISI Coil Driver Pod 1
D0902744
+24V@1.2A, -24V@0.8A
S1103314
D0902744
Front
S1103314
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-XC1

## Slide 765: D0902744 – S1103336
BSC4 ISI Coil Driver Pod 2
D0902744
+24V@1.2A, -24V@0.8A
S1103336
D0902744
Front
S1103336
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-XC1

## Slide 766: D0902744 – S1103362
BSC4 ISI Coil Driver Pod 3
D0902744
+24V@1.2A, -24V@0.8A
S1103362
D0902744
Front
S1103362
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-XC1

## Slide 767: L1-SUS-XC1
Anti-Image Chassis (2*DB15, 1*DB9)
D1100815
±18VDC
S1103825
Transmon Coil Driver Chassis
D1100301
±18VDC
S1001559
Transmon Coil Driver Chassis
D1100301
±18VDC
S1001556
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1001157
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1004364
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1004365
Anti-Alias Chassis (2*DB15, 5*DB9)
D1100809
±18VDC
S1104073
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106208
Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1103096
L1-SUS-XC1 (ETM) X-End Remote Rack 1 (of 2) Layout (D1201082) (S1202946)
Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1103225
Binary Input Chassis (4*DB9, 2*DB37)
D1001269
±18VDC
S1106115
PTO-043
<< CERX Racks
Drawer
Drawer
Drawer
No Power

## Slide 768: L1-SUS-XC1 Details
L1-SUS-XC1 Details
<< L1-SUS-XC1

## Slide 769: D1100301 – S1001559
Transmon Coil Driver Chassis
D1100301
±18VDC
S1001559
D1100301
Front
S1001559
Rear
<< L1-SUS-XC1

## Slide 770: D1100301 – S1001556
Transmon Coil Driver Chassis
D1100301
±18VDC
S1001556
D1100301
Front
S1001556
Rear
<< L1-SUS-XC1

## Slide 771: D0902783 – S1001157
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1001157
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001157
Rear
<< L1-SUS-XC1

## Slide 772: D1000305 – S1004364
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1004364
<< L1-SUS-XC1
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1004364
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 773: D1000305 – S1004365
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1004365
<< L1-SUS-XC1
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1004365
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 774: D1100815 – S1103825
Anti-Image Chassis (2*DB15, 1*DB9)
D1100815
±18VDC
S1103825
<< L1-SUS-XC1
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
S1103825
Rear
D1100815 is an AI, which means it has OUTPUTS, not INPUTS. The labels are incorrect.
OUT 13-16
OUT 13-16
OUT 7-12
OUT 7-12
OUT 1-6
OUT 1-6
D1100815
Front
OUT 13-16
OUT 7-12
OUT 1-6

## Slide 775: D1100809 – S1104073
Anti-Alias Chassis (2*DB15, 5*DB9)
D1100809
±18VDC
S1104073
IN 17-20
IN 17-20
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D1100809
Front
To ADC
To ADC Adapter
S1104073
Rear
<< L1-SUS-XC1
IN 13-16
IN 13-16
IN 7-12
IN 7-12
IN 1-6
IN 1-6

## Slide 776: D1001270 – S1106208
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106208
<< L1-SUS-XC1
S1106208
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1001270
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63

## Slide 777: D1001269 – S1106115
Binary Input Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106115
<< L1-SUS-XC1
S1106115
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
D1001270
Front

## Slide 778: D1002593 – S1103225
Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1103225
<< L1-SUS-XC1
S1103225
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1002593
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63

## Slide 779: D1001726 – S1103096
Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1103096
<< L1-SUS-XC1
S1103096
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front

## Slide 780: L1-SUS-XC2
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201127
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201126
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201130
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201131
PTY-035
PTO-042
<< CERX Racks
L1-SUS-XC1 (ETM) X-End Remote Rack 1 (of 2) Layout (D1201083) (S1202947)
l1susex I/O Extension Chassis
D1001715
+24V@5A
S1103367
l1susauxex I/O Extension Chassis
D1001715
+24V@5A
S1201779
PTY-036

## Slide 781: L1-SUS-XC2 Details
L1-SUS-XC2 Details
<< L1-SUS-XC2

## Slide 782: D1000721 – S1201130
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201130
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201130
Rear
<< L1-SUS-XC2

## Slide 783: D1000721 – S1201131
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201131
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201131
Rear
<< L1-SUS-XC2

## Slide 784: D1000721 – S1201127
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201127
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201127
Rear
<< L1-SUS-XC2

## Slide 785: D1000721 – S1201126
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201126
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201126
Rear
<< L1-SUS-XC2

## Slide 786: l1susauxex – D1001715 – S11201779
l1susauxex I/O Extension Chassis
D1001715
110VAC
S1201779
<< L1-SUS-XC2
D1001715
Front
L1:SUSAUXEX
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-32
Slot P10
S1201779
Rear
L1:FE-IO-32
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxex – I/O Extender
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
+24VDC
PTY-036

## Slide 787: l1susex – D1001715 – S1103367
D1001715
Front
L1:SUSEX
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-31
Slot P10
S1103367
Rear
L1:FE-IO-31
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susex I/O Extension Chassis
D1001715
110VAC
S1103367
l1susex – I/O Extender
<< L1-SUS-XC2
+24VDC
PTY-035
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 788: L1-TCS-XC1
L1-TCS-XC1 X-End Remote Rack Layout (D1201129) (S1202980)
<< CERX Racks
TCS-XC1 is part of D1200258
Hartmann Sensor Power Supply
D1102206
±18VDC
Sxxxxxxx
Accelerometer Power Supply
Isotron 2973
110VAC
SN:
BNC AA Interface Chassis (PEM)
D1001421
±18VDC
S1001056
Perforated Shelf
Perforated Shelf
Timing Comparator
D1001370
+12VDC
S1201891
Timing Master (Fanout)
D070011
+12VDC
S1104773
TCS-XC1 is part of E1100894
aLIGO 18 Bit AI Interface Chassis
D1101785
±18VDC
S1300253
Ring Heater Driver
D1003254
±18VDC
S1201845

## Slide 789: L1-TCS-XC1 Details
L1-TCS-XC1 Details
<< L1-TCS-XC1

## Slide 790: D070011 – S1107511
Timing Master (Fanout)
D070011
+12VDC
S1107511
D070011
Front
S1107511
Rear
To 1X23 PP B4, B5
To l1pemex IO Front Panel
To D070124 Green Cable
<< L1-TCS-XC1

## Slide 791: D1001370 – S1201891
D1001370
Front
S1201891
Rear
Timing Comparator
D1001370
+12VDC
S1201891
<< L1-TCS-XC1

## Slide 792: D1003254 – S1201845
D1003254
Front
Ring Heater Driver
D1003254
±18VDC
S1201845
S1201845
Rear
D1003254
Front
This is an early revision of the front panel. It now has one DB37M connector.
20121205 dlk
Label
Cable to Ring Heater
Label
Description
D1003254
White label
20121205 dlk
<< L1-TCS-XC1

## Slide 793: D1102206 – Sxxxxxxx
D1102206
Front
Hartmann Sensor Power Supply
D1102206
+12VDC
Sxxxxxxx
<< L1-TCS-XC1
Sxxxxxxx
Rear

## Slide 794: Endevco Isotron 2793
Accelerometer Power Supply
Isotron 2973
110VAC
SN:
Sxxxxxxx
Rear
Isotron 2973
Front
ACC X
ACC Y
Unused
ACC Z
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
ACC Z
Unused
ACC Y
ACC X
<< L1-TCS-XC1

## Slide 795: D1101785 – S1300253
aLIGO 18 Bit AI Interface Chassis
D1101785
Power
S1300253
<< L1-TCS-XC1
S1300253
Rear
From DAC
From DAC
D1101785
Front
Ch 0-3
Ch 0-3
Ch 4-7
Ch 4-7

## Slide 796: D1001421 – Sxxxxxxx
SN:
Rear
D1001421
Front
aLIGO AA Interface Chassis (32 BNC, x10 Gain Version)
D1001421
Power
SN:
MAG X
1
MAG Y
2
MAG Z
3
SEI X
4
SEI Y
5
SEI Z
6
Isotron 1
7
Isotron 2
8
Isotron 4
9
BSC4 MIC
10
BAY MIC
11
BSC4 TEMP
12
OPLEV 10
13
Unused
14
Unused
15
Unused
16
Unused
17
Unused
18
Unused
19
Unused
20
Unused
21
Unused
22
Unused
23
Unused
24
Unused
25
Unused
26
Unused
27
Unused
28
Unused
29
Unused
30
Unused
31
Unused
32
<< L1-TCS-XC1

## Slide 797: D1101363 – Sxxxxxxx
SN:
Rear
D1101363
Front
aLIGO Accelerometer Interface Chassis
D1101363
Power
SN:
Unused
1
Unused
1
Unused
2
Unused
2
Unused
3
Unused
3
Unused
4
Unused
4
Unused
5
Unused
5
Unused
6
Unused
6
Unused
7
Unused
7
Unused
8
Unused
8
Unused
9
Unused
9
Unused
10
Unused
10
Unused
11
Unused
11
Unused
12
Unused
12
Unused
13
Unused
13
Unused
14
Unused
14
Unused
15
Unused
15
Unused
16
Unused
16
OUTPUT
INPUT
<< L1-TCS-XC1

## Slide 798: L1-ISC-XR1
L1-ISC-XR1 X-End Station Field Rack Layout (D1201087) (S1202951)
<< VEAX Racks
ISC-XR1 is part of D1001423
RF Distribution Panel 24
Dxxxxxxx
No Power
SN:
24.5 MHz Delay Line Phase Shifter
D0900128
+15VDC
S1103433
Sequencer
D1200757
S1202568
RF Distribution Panel 25
Dxxxxxxx
No Power
SN:
2 Channel RFPD I/Q Demod (RC & ALS)
D1000181
±17VDC, ±24VDC
S1000785
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200577
39.7 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
S1000752
RF Preamplifier
D1201294
??
S1203937
39.7 MHz 2 Channel Phase/Freq Discriminator
D1002476
±17VDC, ±24VDC
S1000767
Common Mode Servo (ALS Laser Locking)
D0901781
±17VDC, ±24VDC
S1102643
Common Mode Servo (ALS Cavity Locking)
D0901781
±17VDC, ±24VDC
S1102639
LSC Demod Concentrator 5
D1100691
±18VDC
S1104009
ASC Demod Concentrator 6
D1100696
No Power
S1103988
Auxiliary Signals Concentrator 2
D1102045
±17VDC
S1200534
Auxiliary Signals Concentrator 1
D1102065
±17VDC
S1200551
Auxiliary Signals Concentrator 5
D1102065
±17VDC
Sxxxxxxx
Differential to Single-Ended Converter
D1100482
±15VDC
S1203309
Dual QPD Transimpedance Amplifier
D1002481
±18V
Sxxxxxxx
Dual QPD Transimpedance Amplifier
D1002481
±18V
Sxxxxxxx
ISC Whitening Chassis
D1002559
±15VDC
Sxxxxxxx
ISC Whitening Chassis
D1002559
±15VDC
Sxxxxxxx
PTY-057
PTO-064
QUAD I&Q Demodulator Module
D0902796
±15VDC
Sxxxxxxx

## Slide 799: L1-ISC-XR1 Details
L1-ISC-XR1 Details
<< L1-ISC-XR1

## Slide 800: RF Patch Panel 24
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 24
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-XR1

## Slide 801: RF Patch Panel 25
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 25
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-XR1

## Slide 802: D0900128 – S1103433
Delay Line Phase Shifter
D0900128
+15VDC
S1103433
S1103433
Rear
D0900128
Front
<< L1-ISC-XR1
Controls
Controls
Controls
Controls
Controls
Controls

## Slide 803: D1000181 – S1000785
2 Channel RFPD I/Q Demod (RC & ALS)
D1000181
±17VDC, ±24VDC
S1000785
<< L1-ISC-XR1
S1000785
Rear
Controls
Controls
D1000181
Front

## Slide 804: D1100905 – Sxxxxxxx
<< L1-ISC-XR1
WFS Demodulator Patch Panel
D1100905
No Power
Sxxxxxxx
D1100905
Front
Sxxxxxxx
Rear

## Slide 805: D0900605 – S1200577
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200577
<< L1-ISC-XR1
S1200577
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
D0900605
Front
Out1
Out2
Ref
Div
VCO
VCO
Div
Ref
Out1
Out2

## Slide 806: D1002182 – S1000752
D1002182
Front
Front
Out
Front
In
S1000752
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
Rear
Front
39.7 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
S1000752
<< L1-ISC-XR1

## Slide 807: D1201294 – S1203937
RF Preamplifier
D1201294
±18V
S1203937
D1002182
Front
S1203937
Rear
Rear
Front
<< L1-ISC-XR1

## Slide 808: D1002476 – S1000767
D1002476
Front
39.7 MHz 2 Channel Phase/Freq Discriminator
D1002476
±17VDC, ±24VDC
S1000767
<< L1-ISC-XR1
S1000767
Rear
Controls
Controls

## Slide 809: D0901781 – S1102643
Common Mode Servo (ALS Laser Locking)
D0901781
±17VDC, ±24VDC
S1102643
S1102643
Rear
Controls 1
Controls 1
Controls 2
Controls 2
D0901781
Front
Monitor
Monitor
<< L1-ISC-XR1

## Slide 810: D0901781 – S1102639
Common Mode Servo (ALS Cavity Locking)
D0901781
±17VDC, ±24VDC
S1102639
S1102639
Rear
Controls 1
Controls 1
Controls 2
Controls 2
D0901781
Front
Monitor
Monitor
<< L1-ISC-XR1

## Slide 811: D1100691 – S1104009
LSC Demod Concentrator 5
D1100691
±18VDC
S1104009
D1100691
Front
S1104009
Rear
Controls
Controls
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 3
Demodulator 3
Demodulator 3
Demodulator 3
<< L1-ISC-XR1

## Slide 812: D1100696 – S1103988
ASC Demod Concentrator 6
D1100696
No Power
S1103988
D1100696
Front
S1103988
Rear
Controls B
Controls B
1B
1B
2B
2B
3B
3B
4B
4B
1A
1A
2A
2A
3A
3A
4A
4A
Controls A
Controls A
<< L1-ISC-XR1

## Slide 813: D1102045 – S1200534
Auxiliary Signals Concentrator 2
D1102045
±17VDC
S1200534
<< L1-ISC-XR1
S1200534
Rear
Pd DC 5-8 Out
Pd DC 5-8 Out
Pd DC 5-8 In
Pd DC 5-8 In
Pd DC 1-4 Out
Pd DC 1-4 Out
Pd DC 1-4 In
Pd DC 1-4 In
Controls
Controls
D1102045
Front

## Slide 814: D1102065 – S1200551
Auxiliary Signals Concentrator 5
D1102065
±17VDC
S1200551
S1200551
Rear
Controls
Controls
D1102065
Front
<< L1-ISC-XR1

## Slide 815: D1102065 – S1200551
Auxiliary Signals Concentrator 5
D1102065
±17VDC
S1200551
S1200551
Rear
Controls
Controls
D1102065
Front
<< L1-ISC-XR1

## Slide 816: D0902796 – S1000991
QUAD I&Q Demodulator Module
D0902796
±15VDC
Sxxxxxxx
Sxxxxxxx
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
D0902796
Front
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
Sxxxxxxx
Rear
<< L1-ISC-XR1

## Slide 817: D1100482 – S1203309
Differential to Single-Ended Receiver
D1100482
±15VDC
S1203309
S1203309
Rear
Diff Inputs
Diff Inputs
D1100482
Front
<< L1-ISC-XR1

## Slide 818: D1002559 – Sxxxxxxx
ISC Whitening Chassis
D1002559
±15VDC
Sxxxxxxx
Sxxxxxxx
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-XR1

## Slide 819: D1002559 – Sxxxxxxx
ISC Whitening Chassis
D1002559
±15VDC
Sxxxxxxx
Sxxxxxxx
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-XR1

## Slide 820: L1-SUS-XR1
<< VEAX Racks
L1-SUS-XR1 X-End Station Field Rack Layout (D1201131) (S1202993)
Electrostatic Driver
+-18VDC@0.4A
+-430VDC@15mA
E3074
SN:

## Slide 821: L1-SUS-XR1 Details
L1-SUS-XR1 Details
<< L1-SUS-XR1

## Slide 822: E3074
E3074
Front
S???????
Rear
<< L1-SUS-XR1
Electrostatic Driver
+-18VDC@0.4A
+-430VDC@15mA
E3074
SN:

## Slide 823: L1-VAC-XR1
L1-VAC-XR1 X-End Vacuum Rack Layout (Dxxxxxxx)
<< VEAX Racks
Description
Dxxxxxxx
Power
SN:
110VAC
JS0801005639
S3140R
APC 3000XL
Marway MPD100 Power Distribution
MPD-100
UPS
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009235
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009262

## Slide 824: L1-VAC-XR1 Details
L1-VAC-XR1 Details
<< L1-VAC-XR1

## Slide 825: L1-VAC-XR1
<< L1-VAC-XR1
Marway MPD100 Power Distribution
MPD-100
UPS

## Slide 826: L1-VAC-XR1
<< L1-VAC-XR1
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009262

## Slide 827: L1-VAC-XR1
<< L1-VAC-XR1
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009235

## Slide 828: L1-VAC-XR1
<< L1-VAC-XR1
Description
Dxxxxxxx
Power
SN:
CentreCom 210TS
Grey CAT5 Cable to CDS Network Switch Port 17

## Slide 829: L1-VAC-XR1
<< L1-VAC-XR1
110VAC
JS0801005639
S3140R
APC 3000XL

## Slide 830: L1-VAC-XR1
<< L1-VAC-XR1
Particle Counter
- Located in Mechanical Room
- +24VDC comes from Power-Ten 1009235
- 485-25E – Telebyte – Cat5 – 162-262 Port 3
Telebyte
485-25E
Particle Counter
Power Supply
Port 3
+24VDC
Grey Cable to Mechanical Room
Monitors PURGE AIR?
Port 3 on MVE 162-262
CAT5 Cable

## Slide 831: VEAY
VEAY
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station
<< VEAY Fiber Patch Panel

## Slide 832: Y-End Station Rack Layout
<< CERY
<< LLO Corner Station
<< VEAY

## Slide 833: Y-End Station Rack Layout
<< CERY
<< LLO Corner Station
<< VEAY
Y-End – D0901464

## Slide 834: Y-End Racks
DAQ Rack
(L1-DAQ-YC1)
ISC Rack
(L1-ISC-YC1)
SUS Rack 2
(L1-SUS-YC2)
SUS Rack 1
(L1-SUS-YC1)
SUS Field Rack
(L1-SUS-YR1)
TCS Rack
(L1-TCS-YC1)
DC Power Rack 1 (L1-VDC-YC1)
DC Power Rack 2 (L1-VDC-YC2)
SEI Rack
(L1-SEI-YC1)
Facilities Rack
(L1-FAC-YC1)
Vacuum Field Rack
(L1-VAC-YR1)
ISC Field Rack
(L1-ISC-YR1)
<< LLO Racks by AREA
<< LLO Racks by Subsystems

## Slide 835: Corning WCH-06P Fiber Panel
5.75”
13.5” x 16.062” x 5.125”
120”
4”
21.75”
21.25”
X”
CCH-CP12-15T (ST)
CCH-CP12-11 (FC)
x 1
x 2

## Slide 836: VEAY Fiber Patch Panel
VEAY Fiber Patch Panel
Patch Panel
No Power
Patch Panel
A - FC Connectors
B – FC Connectors
C - NO Connectors
D – ST Connectors
E - NO Connectors
F – LC Connectors
A
B
C
D
E
F
3/22/2013 |  | Y-End Fiber Patch |  | 
Port | Type | Fiber | Designation | Description
A1 | FC | Empty |  | 
A2 | FC | Y-Fiber-05 | l1lanfey Port 21F | IP - 10.199.0.88 Netgear GSM7224 Port 21F
A3 | FC | Y-Fiber-01 | Phone In/Out | TR3030WDM - Extension 151
A4 | FC | Y-Fiber-06 | l1lanfey Port 21F | IP - 10.199.0.88 Netgear GSM7224 Port 21F
A5 | FC | Empty |  | 
A6 | FC | Y-Fiber-10 | CDS GS624P Port 1F | IP - 10.199.0.21 GS624P Port 1F
A7 | FC | Empty |  | 
A8 | FC | Y-Fiber-09 | CDS GS624P Port 1F | IP - 10.199.0.21 GS624P Port 1F
A9 | FC | A11 | Looped | Looped to A11
A10 | FC | Y-Fiber-15 | l1fedaqy Port 6 | ACC 5595 Port 6
A11 | FC | A09 | Looped | Looped to A09
A12 | FC | Y-Fiber-16 | l1fedaqy Port 6 | ACC 5595 Port 6
Port | Type | Fiber | Designation | 
B1 | FC | Y-Fiber-08 | l1netfedaqy Port 21F | IP - 10.199.0.14 Netgear GSM7224 Port 21F
B2 | FC | Y-Fiber-02 | Security Cameras | 
B3 | FC | Y-Fiber-07 | l1netfedaqy Port 21F | IP - 10.199.0.14 Netgear GSM7224 Port 21F
B4 | FC | Y-Fiber-03 | Kantech | Fiber Options Enclosure 501R
B5 | FC | Y-Fiber-17 | GC 2402 Port 26F | IP - 197.168.253.30 GC 2402 Port 26F
B6 | FC | Y-Fiber-18 | GC 2402 Port 26F | IP - 197.168.253.30 GC 2402 Port 26F
B7 | FC | Empty |  | 
B8 | FC | Empty |  | 
B9 | FC | B11 | Looped | Looped to B11
B10 | FC | Y-Fiber-13 | D070011 INPUT Port | L1-TCS-XC1 D070011 INPUT Port
B11 | FC | B09 | Looped | Looped to B09
B12 | FC | Y-Fiber-14 | D070011 INPUT Port | L1-TCS-XC1 D070011 INPUT Port
Port | Type | Fiber | Designation | 
D1 | ST | 1X9-7 | Trinet Converter | GC 2402 P9
D2 | ST | 1X9-7 | Trinet Converter | GC 2402 P9
D3 | ST | Empty |  | 
D4 | ST | Fibox | Fibox | FIBOX
D5 | ST | Empty |  | 
D6 | ST | Empty |  | 
D7 | ST | 1X7-14 | Trinet Converter | GC 2402 P11
D8 | ST | 1X7-14 | Trinet Converter | GC 2402 P11
D9 | ST | Empty |  | 
D10 | ST | Empty |  | 
D11 | ST | Empty |  | 
D12 | ST | Empty |  | 
Port | Type | Fiber | Designation | 
F1 | LC | Y-Fiber-19, 20 | GC 2402 Port 25F | GC 2402 Port 25F
F2 | LC | Empty |  | 
F3 | LC | Empty |  | 
F4 | None | Empty |  | 
F5 | None | Empty |  | 
F6 | None | Empty |  | 
VEAX Fiber Patch Panel

## Slide 837: CDS Electronics Room Y-End (CERY) Rack Layout
CERY
(L1-VDC-YC1)
(L1-VDC-YC2)
(L1-DAQ-YC1)
(L1-SEI-YC1)
(L1-SUS-YC1)
(L1-SUS-YC2)
(L1-TCS-YC1)
(L1-FAC-YC1)
<< Y-End Racks
AC Power
Signals and Fiber
It is 65’ from the L1-FAC-YC1 Rack to the knee of the waterfall in the VEAY.
(L1-ISC-YC1)
DC Power and Fiber

## Slide 838: LLO Y-End Cable Tray Layout
6” x 4” Tray
Fibers and DC Cables
Signal Cables On Top
CERY
96”
12” x 4” Tray
AC Cable Tray (On Wall)

## Slide 839: L1-VDC-YC1 Power Racks – VEAY Field Supplies
L1-VDC-YC1 Power Rack
B
A
L1-VDC-YC1 Power Rack
A
B
Unused
Unused
Unused
Unused
Unused
Unused
<< CERY Racks
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Cable Runs >>
L1-VDC-YC1 Y-End Station DC Power Rack Layout (D1200899) (S1202313)
L1-AOS
L1-AOS
L1-AOS
L1-AOS
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
Notes: For a JQE Style25-20M: AC power calculations:
125 VAC * 10.5 (A/PS) => 1312.5 (W/PS)
24 (PS/Rack)* 1312.5 (W/PS) => 31500 (W/Rack)
24 (PS/Rack) * 10.5 (A/PS) => 252 (A/Rack)

## Slide 840: L1-VDC-YC1 Cable Runs
<< L1-VDC-YC1
L1-VDC-YC1 Y-End Station DC Cable Runs (D1200899) (S1202313)
L1-VDC-YC1 S1202313 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-Y |  | L1-VDC-YC1 | 8 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-Y |  | L1-VDC-YC1 | 8 | Bottom | U37-B (Right) |  |  |  |  |  |  | 
3 | CDS-Y |  | L1-VDC-YC1 | 2 | Top | U33-A (Left) |  |  |  |  |  |  | 
4 | CDS-Y |  | L1-VDC-YC1 | 2 | Bottom | U33-B (Right) |  |  |  |  |  |  | 
5 | CDS-Y |  | L1-VDC-YC1 | 9 | Top | U29-A (Left) | BHK 500V 80mA | A107268 | Plus | PBX-004 | L1-AOS |  | 
6 | CDS-Y |  | L1-VDC-YC1 | 9 | Bottom | U29-B (Right) | BHK 500V 80mA | A107263 | Minus | PBX-004 | L1-AOS |  | 
7 | CDS-Y |  | L1-VDC-YC1 | 3 | Top | U25-A (Left) | JQE 25V 20A | H236441 | Plus | PTO-063 | L1-ISC-YR1 | 50 | PSO-xxx
8 | CDS-Y |  | L1-VDC-YC1 | 3 | Bottom | U25-B (Right) | JQE 25V 20A | H236428 | Minus | PTO-063 | L1-ISC-YR1 | 50 | PSO-xxx
9 | CDS-Y |  | L1-VDC-YC1 | 10 | Top | U21-A (Left) | JQE 25V 10A | H207939 | Plus | PTY-056 | L1-ISC-YR1 | 50 | PSY-xxx
10 | CDS-Y |  | L1-VDC-YC1 | 10 | Bottom | U21-B (Right) | JQE 25V 10A | H207941 | Minus | PTY-056 | L1-ISC-YR1 | 50 | PSY-xxx
11 | CDS-Y |  | L1-VDC-YC1 | 4 | Top | U17-A (Left) | JQE 25V 20A |  |  |  |  |  | 
12 | CDS-Y |  | L1-VDC-YC1 | 4 | Bottom | U17-B (Right) | JQE 25V 20A |  |  |  |  |  | 
13 | CDS-Y |  | L1-VDC-YC1 | 11 | Top | U13-A (Left) | JQE 25V 20A |  |  |  |  |  | 
14 | CDS-Y |  | L1-VDC-YC1 | 11 | Bottom | U13-B (Right) | JQE 25V 20A |  |  |  |  |  | 
15 | CDS-Y |  | L1-VDC-YC1 | 5 | Top | U09-A (Left) | JQE 25V 20A |  |  |  |  |  | 
16 | CDS-Y |  | L1-VDC-YC1 | 5 | Bottom | U09-B (Right) | JQE 25V 20A |  |  |  |  |  | 
17 | CDS-Y |  | L1-VDC-YC1 | 12 | Top | U05-A (Left) | JQE 25V 20A |  |  |  |  |  | 
18 | CDS-Y |  | L1-VDC-YC1 | 12 | Bottom | U05-B (Right) | JQE 25V 20A |  |  |  |  |  | 
19 | CDS-Y |  | L1-VDC-YC1 | 6 | Top | U01-A (Left) | JQE 25V 20A |  |  |  |  |  | 
20 | CDS-Y |  | L1-VDC-YC1 | 6 | Bottom | U01-B (Right) | JQE 25V 20A |  |  |  |  |  | 
D1200899 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 841: L1-VDC-YC2 Power Racks – VEAY Supplies
L1-SUS-YC1
L1-SUS-YC2
L1-SUS-YC2
L1-SUS-YC1
L1-ISC-YC1
L1-ISC-YC1
Cable Runs >>
L1-VDC-YC2 Power Rack
B
A
L1-VDC-YC2 Power Rack
A
B
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SUS-YC1
L1-SUS-YC1
L1-SUS-YC2
L1-SUS-YC2
Unused
Unused
Unused
Unused
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SUS-YC1
L1-SUS-YC1
L1-SUS-YC2
L1-SUS-YC2
Unused
Unused
Unused
Unused
Unused
L1-SEI-YC1
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
<< CERY Racks
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
L1-VDC-YC2 Y-End Station DC Power Rack Layout (D1200900) (S1202314)
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
+/-12VDC
+24VDC
+24VDC
-/+12VDC
Notes: For a JQE Style25-20M: AC power calculations:
125 VAC * 10.5 (A/PS) => 1312.5 (W/PS)
24 (PS/Rack)* 1312.5 (W/PS) => 31500 (W/Rack)
24 (PS/Rack) * 10.5 (A/PS) => 252 (A/Rack)

## Slide 842: L1-VDC-YC2 Cable Runs
<< L1-VDC-YC2
L1-VDC-YC2 Y-End Station DC Cable Runs (D1200900) (S1202314)
L1-VDC-YC2 S1202314 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-Y |  | L1-VDC-YC2 | 8 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-Y |  | L1-VDC-YC2 | 8 | Bottom | U37-B (Right) |  |  |  |  |  |  | 
3 | CDS-Y |  | L1-VDC-YC2 | 2 | Top | U33-A (Left) | JQE 25V 10A | H222056 | Minus | PTY-052 | L1-ISC-YC1 | 30 | PSY-xxx
4 | CDS-Y |  | L1-VDC-YC2 | 2 | Bottom | U33-B (Right) | JQE 15V 6A JQE 15V 6A | H214466 H214326 | Plus Minus | PTG-004 | L1-ISC-YC1 | 30 | PSG-005
5 | CDS-Y |  | L1-VDC-YC2 | 9 | Top | U29-A (Left) | JQE 25V 20A | H236414 | Plus | PTO-050 | L1-SUS-YC2 | 30 | PSO-050
6 | CDS-Y |  | L1-VDC-YC2 | 9 | Bottom | U29-B (Right) | JQE 25V 20A | H236422 | Minus | PTO-050 | L1-SUS-YC2 | 30 | PSO-050
7 | CDS-Y |  | L1-VDC-YC2 | 3 | Top | U25-A (Left) | JQE 25V 20A | H236504 | Plus | PTO-051 | L1-SUS-YC1 | 32 | PSO-051
8 | CDS-Y |  | L1-VDC-YC2 | 3 | Bottom | U25-B (Right) | JQE 25V 20A | H236513 | Minus | PTO-051 | L1-SUS-YC1 | 32 | PSO-051
9 | CDS-Y |  | L1-VDC-YC2 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236508 | Plus | PTO-052 | L1-ISC-YC1 | 28 | PSO-052
10 | CDS-Y |  | L1-VDC-YC2 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236516 | Minus | PTO-052 | L1-ISC-YC1 | 28 | PSO-052
11 | CDS-Y |  | L1-VDC-YC2 | 4 | Top | U17-A (Left) | JQE 25V 20A | H236503 | Plus | PTY-040 | L1-ISC-YC1 | 28 | PSY-040
12 | CDS-Y |  | L1-VDC-YC2 | 4 | Bottom | U17-B (Right) | JQE 25V 20A | H236488 | Minus | PTY-040 | L1-ISC-YC1 | 28 | PSY-040
13 | CDS-Y |  | L1-VDC-YC2 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236500 | Plus | PTO-053 | L1-SEI-YC1 | 22 | PSO-053
14 | CDS-Y |  | L1-VDC-YC2 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236520 | Minus | PTO-053 | L1-SEI-YC1 | 22 | PSO-053
15 | CDS-Y |  | L1-VDC-YC2 | 5 | Top | U09-A (Left) | JQE 25V 20A | H236519 | Plus | PTY-041 | L1-SEI-YC1 | 22 | PSY-041
16 | CDS-Y |  | L1-VDC-YC2 | 5 | Bottom | U09-B (Right) | JQE 25V 20A | H236487 | Minus | PTY-041 | L1-SEI-YC1 | 22 | PSY-041
17 | CDS-Y |  | L1-VDC-YC2 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236502 | Plus | PTY-042 | L1-ISC-YC1 | 30 | PSY-042
18 | CDS-Y |  | L1-VDC-YC2 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236518 | Plus | PTY-043 | L1-SEI-YC1 | 22 | PSY-043
19 | CDS-Y |  | L1-VDC-YC2 | 6 | Top | U01-A (Left) | JQE 25V 20A | H236521 | Plus | PTY-044 | L1-SUS-YC2 | 32 | PSY-044
20 | CDS-Y |  | L1-VDC-YC2 | 6 | Bottom | U01-B (Right) | JQE 25V 20A | H236507 | Plus | PTY-045 | L1-SUS-YC1 | 32 | PSY-045
D1200900 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 843: L1-DAQ-YC1
l1iscey Front End Computer
Dxxxxxxx
UPS1 & 110VAC
SN:
Dolphin RFM Switch
DXS410
UPS2
AD053708007
ATEN KVM Switch
CL1016M
UPS2
SN:
l1lanfey 10.199.0.14
GSM7224
UPS2
2B62045K0015D
l1netfedaqy 10.199.0.88
GSM7224
UPS2
2B62045400019
l1seiey Front End Computer
Dxxxxxxx
UPS1 & 110VAC
SN:
l1susey Front End Computer
Dxxxxxxx
UPS1 & 110VAC
SN:
l1susauxey Front End Computer
Dxxxxxxx
UPS1 & 110VAC
SN:
110VAC 20A
UPS1 – UPS Power Strip
110VAC 20A
Non-UPS Power Strip
UPS Group 1 and Group 2
APC SMT2000RMLV2U
110VAC
J51048023241
<< CERY Racks
Timing IRIG-B Interface Chassis
D0900301
+12VDC (from FAC)
S1202408
L1-DAQ-YC1 Y-End Station Remote Rack Layout (D1201092) (S1202956)
Dxxxxxxx
l1ecaty1 Beckhoff Host Computer
UPS1 & 110VAC
SN:
Solid Shelf
Hartmann Sensor Computer
T1000702
UPS1 & 110VAC
SN:
Perforated Shelf
ACC 5595 Reflective Memory Hub
ACC 5595
UPS2
36106691
110VAC 20A
UPS2 – UPS Power Strip
Serial Concentrator Chassis
D1100632
±18VDC
Sxxxxxxx
Serial to Internet Converter
10.110.140.58
10.110.140.57
10.110.140.56
10.110.140.55
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1103498
Notes: The +12VDC and the +24VDC come from supplies in FAC-C1.
Where will the +18VDC come from?

## Slide 844: L1-DAQ-YC1 Details
L1-DAQ-YC1 Details
<< L1-DAQ-YC1

## Slide 845: Dolphin RFM Switch DS5410 – AD053708007
Dolphin RFM Switch
DXS410
UPS2
AD053708007
To l1lanfey port 5
<< L1-DAQ-YC1
ACC 5595
Front
AD053708007
Rear

## Slide 846: VMIACC-5595-224 – 36106691
36106691
Rear
ACC 5595
Front
ACC 5595 Reflective Memory Hub
ACC 5595
110VAC
36106691
To UPS Power Strip
To l1lanfey port 5
<< L1-DAQ-YC1

## Slide 847: l1netfedaqy – GSM7224
GSM7224
Front
2B62045400019
Rear
C0:3F:0E:86:84:04
l1netfedaqy 10.199.0.88
GSM7224
110VAC
2B62045400019
2 – To FE NET Port
21F – To 1Y23 PP E1, E2
To UPS Power Strip
<< L1-DAQ-YC1

## Slide 848: l1lanfey – GSM7224
GSM7224
Front
2B62045K0015D
Rear
C0:3F:0E:86:89:14
l1lanfey 10.199.0.14
GSM7224
110VAC
2B62045K0015D
2 – To FE LAN Port
21F – To 1Y23 PP A1, A2
5 – To 5595 LAN 10BaseT
To UPS Power Strip
<< L1-DAQ-YC1

## Slide 849: D0900301 – S1202408
Timing IRIG-B Interface Chassis
D0900301
Power
S1202408
D0900301
Front
S1202408
Rear
<< L1-DAQ-YC1

## Slide 850: D1100632 – Sxxxxxxx
D1100632
Front
Serial Port Concentrator for Timing
D1100632
±18VDC
Sxxxxxxx
Sxxxxxxx
Rear
<< L1-DAQ-YC1

## Slide 851: D1002961 – S1103498
D1002961
Front: D0902553
S1103498
Rear: D0902554
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1103498
Name: D1002962
<< L1-DAQ-YC1

## Slide 852: ATEN KVM Switch CL1016M
ATEN KVM Switch
CL1016M
110VAC
SN:
SN:
Rear
CL1016M
Front
To l1pemey Front End
To UPS Power Strip
<< L1-DAQ-YC1

## Slide 853: l1susauxey Front End
l1susauxey Front End Computer
Front End
110VAC
SN:
<< L1-DAQ-YC1

## Slide 854: l1susey Front End
l1susey Front End Computer
Front End
110VAC
SN:
<< L1-DAQ-YC1

## Slide 855: l1seiey Front End
l1seiey Front End Computer
Front End
110VAC
SN:
<< L1-DAQ-YC1

## Slide 856: l1iscey Front End
l1iscey Front End Computer
Front End
110VAC
SN:
<< L1-DAQ-YC1

## Slide 857: l1ecaty1 Front End
l1ecaty1 Beckhoff Host Computer
Front End
110VAC
SN:
<< L1-DAQ-YC1

## Slide 858: Hartmann Sensor Computer Front End
Hartmann Sensor Front End Computer
T1000702
110VAC
SN:
<< L1-DAQ-YC1

## Slide 859: APC SMX2000RMLV2U
UPS
APC SMX2000RMLV2U
110VAC
J51048023241
To UPS Power Strip
APC SMX2000RMLV2U
Front
J51048023241
Rear
<< L1-DAQ-YC1

## Slide 860: L1-FAC-YC1
110VAC 15A
UPS1 – UPS Power Strip
110VAC 15A
Non-UPS Power Strip
UPS1 & 110VAC
N62538F19R
GS624P
Brocade FastIron Edge GS624P
UPS1
FB00001705
2402
2402 Network Switch
Kantech
xxxxxxxx
+12VDC
SN:
Trinet Fibox
xxxxxxxx
+12VDC
SN:
Phone
Security Cameras
IFO Cameras
Solid Shelf
Solid Shelf
Perforated Shelf
UPS1
APC SMT1500RM2U
110VAC
AS10J1111987
<< CERY Racks
L1-FAC-YC1 Facilities Y-End Station Remote Rack Layout (D1201093) (S1202957)
PSY-XXX
PSG-XXX
KEPCO Power Supplies
UPS1
Perforated Shelf
+12VDC
-12VDC
+24VDC
Comtrol
5002111
-12VDC
9445009003
H222050
H214494
H214524

## Slide 861: L1-FAC-YC1 Details
L1-FAC-YC1 Details
<< L1-FAC-YC1

## Slide 862: Brocade FastIron Edge GS624P
UPS & 110VAC
N62538F1A3
GS624P
Brocade FastIron Edge GS624P
N62538F1A3
Rear
C0:3F:0E:86:88:E0
GSM7224
Front
3 – To FE NET Port
21F – To 1Y23 PP B1,B2
To UPS Power Strip
To 110 Power Strip
<< L1-FAC-YC1

## Slide 863: 2402 – Network Switch
2402 Network Switch
2402
110VAC
FB00001705
G12039
192.168.253.30
Empty
01
Empty
02
Empty
03
Empty
04
Empty
05
Empty
06
To Camera on Reel
07
Empty
08
To Trinet/Trinet
09
Empty
10
To Trinet/Trinet
11
Empty
12
Empty
13
To Seimens
14
Empty
15
Empty
16
Empty
17
Empty
18
Empty
19
Empty
20
To Weather Station ???
21
Empty
22
Empty
23
Empty
24
Empty
25C
Empty
26C
To Special Cable CSR1
25F
To 1Y23 PP D3, E3
26F
PS1
To UPS
<< L1-FAC-YC1

## Slide 864: Y-End – Kantech Interface
Fiber Options 7711-R (501R)
Optical In/Out:
To 1Y23 PP D2
Power: 13.5VDC from Wall Wart
Blue CAT5: 1=O/W and B/W, 4=O, 7=B
Powered from Wall Wart from Isolated Power
Kantech
To Siemens Racks
To 1Y23 PP D2
To Kantech Racks
To MSR PP H2
<< L1-FAC-YC1

## Slide 865: Y-End – Comtrol Inteface
<< L1-FAC-YC1
Comtrol
5002111
-12VDC
9445009003
Comtrol DeviceMaster 4 with DB9 Ports
3M Shell 3357-9209
3M Shell 3357-9209
2.1mm Socket
(Note polarity)
MAC Address:
00-C0-4E-07-6E-3A
IP Address:
10.110.60.54

## Slide 866: Trinet FIBOX Panel
Trinet FIBOX Panel
Trinet FIBOX Panel
12VDC
Trinet Panel
Empty
1
Trinet Z
2
Trinet Y
3
Trinet X
4
FBAO-SL
FBAO-M
To 0X57682890001 Port 3
12VDC IN
G/W – Center – COM – A2
Y/W – Shield – +12V – A1
<< L1-FAC-YC1

## Slide 867: 1Y23 – D070443 – LH09
Powered from 12VDC DIN rails
Powered from 15VDC DIN rails
D070443
Magnetometer Filter
LH09
Magnetometer Power Supply
(MAG-03PSU)
656
Magnetometer
MAG-03MCES
X
Y
Z
X
Y
Z
Magnetometer: Bartington Instruments MAG-03MC
5 meter
X
Y
Z
On/Off
D030574
Pin 1 – Red
Pin 2 – Black
Pin 3 – White
Pin 4 – Black
Black – G/W … Ground
Stria – Y/W … +12VDC
–
+
Charger … 9 to 18 VDC
<< L1-FAC-YC1

## Slide 868: 1Y23 – Stuff
VT5030 IFS
International Fiber Systems, Inc.
IFS.com
Optical Out:
To 1Y23 PP B6
Power: 12VDC
Video Input:
Camera 1
Camera 2
VT7430-2DRDT
Optical In/Out:
To 1Y23 PP D1
Power: 12VDC
Output: Ch1, Ch2, Ch3 BNCs to Cameras
TR3030WDM
GE Security
Optical In/Out: To 1Y23 PP B2
Phone: Copper to VEA
Power: 12VDC
Fiber Options 7711-R (501R)
Optical In/Out:
To 1Y23 PP D2
Power: 13.5VDC from Wall Wart
Blue CAT5: 1=O/W and B/W, 4=O, 7=B
Powered from DIN rails
Powered from Wall Wart from Isolated Power
Powered from Wall Wart from Tripp-Lite UPS
Model BC320
9834DY0BC614000661 To 6-Outlet Power Strip in Non-isolated wall socket
AC Powered from Isolated Power
Powered from Wall Wart from Isolated Power
J/E-CF-01
TriNet Converter
CAT5:
To 2402 P9
TX:
To 0X57… P1
RX:
To 0X57… P2
Power: 12VDC
Powered from DIN rails
Powered from DIN rails
J/E-CF-01
TriNet Converter
CAT5:
To 2402 P11
TX:
To 0X57… P8
RX:
To 0X57… P7
Power: 12VDC
Phone
Seismic Vault
Revere Video Master Power Supply Model RT24/16500
Outputs to Cameras 1,2,3
*LEDs on with bad fuse
Note: 8 LEDs are on.
Kantech
Security Cameras
IFO Cameras
<< L1-FAC-YC1

## Slide 869: Y-End – Security Cameras
Revere Video Master Power Supply Model RT24/16500
Outputs to Cameras 1,2,3
*LEDs on with bad fuse
Note: 8 LEDs are on.
AC Powered from Isolated Power
VAC
Security Cameras
<< L1-FAC-YC1

## Slide 870: Y-End – Security Cameras
VT7430-2DRDT
Optical In/Out:
To 1Y23 PP D1
Power: 12VDC
Output: Ch1, Ch2, Ch3 BNCs to Cameras
Powered from Wall Wart from Isolated Power
Security Cameras
<< L1-FAC-YC1

## Slide 871: 1Y23 – Stuff
VT5030 IFS
International Fiber Systems, Inc.
IFS.com
Optical Out:
To 1Y23 PP B6
Power: 12VDC
Video Input:
Camera 1
Camera 2
Powered from DIN rails
To 1Y23 PP B6
Cameras
<< L1-FAC-YC1

## Slide 872: Y-End – Trinet
J/E-CF-01
TriNet Converter
CAT5:
To 2402 P9
TX:
To 0X57… P1
RX:
To 0X57… P2
Power: 12VDC
Powered from DIN rails
Powered from DIN rails
J/E-CF-01
TriNet Converter
CAT5:
To 2402 P11
TX:
To 0X57… P8
RX:
To 0X57… P7
Power: 12VDC
Seismic Vault
To 2402 P9
To 2402 P11
To 0X57… P1
To 0X57… P2
To 0X57… P8
To 0X57… P7
<< L1-FAC-YC1

## Slide 873: Y-End – Phone
TR3030WDM
GE Security
Optical In/Out: To 1Y23 PP B2
Phone: Copper to VEA
Power: 12VDC
Powered from Wall Wart from Tripp-Lite UPS
Model BC320
9834DY0BC614000661 To 6-Outlet Power Strip in Non-isolated wall socket
Phone
<< L1-FAC-YC1

## Slide 874: KEPCO Power Supplies
<< L1-FAC-YC1
Rear
Front
KEPCO JQE 25-10
H222050
KEPCO JQE 15-6
H214524
KEPCO JQE 15-6
H214494
KEPCO JQE 25-10
+24VDC
KEPCO JQE 15-6
+12VDC
KEPCO JQE 15-6
-12VDC
KEPCO Power Supplies
UPS1
+12VDC
-12VDC
+24VDC
H222050
H214494
H214524

## Slide 875: APC SMT1500RM2U
UPS
APC SMT1500RM2U
110VAC
A51051111987
APC SMT1500RM2U
Front
A51051111987
Rear
To X448 PS1
To 2402 PS1
<< L1-FAC-YC1

## Slide 876: L1-ISC-YC1
ISC-YC1 Y-End Station Remote Rack Layout (D1201091) (S1202955)
<< CERY Racks
Sequencer
D1200757
S1202547
ISC-YC1 is part of D1001459
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000653
Anti-Alias Chassis
D0902783
±18VDC
SN:
Anti-Alias Chassis
D0902783
±18VDC
SN:
Anti-Image Chassis
D070081
±18VDC
SN:
l1pemey I/O Extension Chassis
D1001715
+24V@5A
S1000528
RF Distribution Panel 26
Dxxxxxxx
No Power
SN:
71 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000562
RF Distribution Panel 27
Dxxxxxxx
No Power
SN:
24.4 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000577
24.4 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000670
RF Amplifier Concentrator 3
D1100262
±18VDC
S1103463
Perforated Shelf
384 Channel Binary Output
D1100251
+24VDC
S1203282
Perforated Shelf
Aeroflex Diagnostics
2023A
110VAC
Sxxxxxxx
PSY-040
PSY-042
PSO-052
PSG-004
PSY-052
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
Sxxxxxxx
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
Sxxxxxxx

## Slide 877: L1-ISC-YC1 Details
L1-ISC-YC1 Details
<< L1-ISC-YC1

## Slide 878: RF Patch Panel 26
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 26
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-YC1

## Slide 879: RF Patch Panel 27
Dxxxxxxx
Front
Sxxxxxxx
Rear
RF Patch Panel 27
Dxxxxxxx
No Power
Sxxxxxxx
<< L1-ISC-YC1

## Slide 880: D080702 – S1000562
71 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000562
S1000562
Rear
D080702
Front
Front
Output
Front
Lock
To …
<< L1-ISC-YC1

## Slide 881: D1000124 – S1000653
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000653
<< L1-ISC-YC1
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000653
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 882: D080702 – S1000577
24.4 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000577
S1000577
Rear
D080702
Front
Front
Output
Front
Lock
To …
<< L1-ISC-YC1

## Slide 883: D1000124 – S1000670
24.4 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000670
<< L1-ISC-YC1
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000670
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 884: D1100262 – S1103463
RF Amplifier Concentrator 1
D1100262
±18VDC
S1103463
D1100262
Front
S1103463
Rear
1
Rear
Controls
5
Rear
9
Rear
2
Rear
6
Rear
10
Rear
3
Rear
7
Rear
11
Rear
4
Rear
8
Rear
12
Rear
Rear
<< L1-ISC-YC1

## Slide 1000: Rack Template
D070124 Rack Input
Power Box (RU 34-36)

## Slide 1001: Rack Template
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
-
-
-
-
Description
Dxxxxxxx
Power
SN:
Power
SN:
Dxxxxxxx
Description
Description
Dxxxxxxx
Power
SN:
Shelf
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:

## Slide 1002: Connectors – bmp
DA-15
DB-25
DC-37
DD-50
DE-9
SCSI-68
Conec
3W3S
3W3P
CP-4
LEMO 4-Pin
LEMO 2-Pin
BNC

## Slide 1003: Connectors – bmp
Conec
3W3S
3W3P
CP-4
LEMO 4-Pin
LEMO 2-Pin
2W2CS
2W2CP
3W3CS
3W3CP
3W3S
3W3P
LEMO 1-Pin

## Slide 1004: +V –V Layouts
Power
+V .
-V .
+14 .
-14 .
Coil Driver Inputs

## Slide 1005: +V –V Layouts
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Open
Slot P3
Open
Slot P3
Open
Slot P3
Binary IO Card
Sxxxxxxx
Slot E3
DAC16 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Open
Slot E3

## Slide 1006: +V –V Layouts

## Slide 1007: Security Cameras Layout
24VAC Power To Camera
Signals To Camera
75 Ohm Signal from Camera
A1 = Black
A2 = White(Y) Red(X)
1 =
2 =
3 =
4 =
5 =
6 =
7 =
8 =
9 =
50 Ohm Bullet?
Transformer
110VAC
24VAC
Interface
12VDC
Type N
BNC
TNC
SMA

## Slide 1008: Fiber Optics Connector Types

## Slide 1009: How Rack Documents Relate
S# of Rack
E1200331
D# of Rack
D1200881
S# of Chassis
S# of Chassis
S# of Chassis
D# of Chassis
D# of Chassis
D# of Chassis
Related to
Related to
Related to
Related to
Related to
Related to
Related to
Related to
Related to

## Slide 1010: D1100619 – End Link
D1100619
Front: D0902553
S1000519
Name: D1200133
Beckhoff Slow Controls
End Link
D1100619
+24VDC
SN:
Rear: D0902554

## Slide 1011: D1100682 – End Station 2
D1100682
Front: D0902553
S1000519
Rear: D1101977
Name: D1101978
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
SN:

## Slide 1012: D1100680 – Corner 2
D1100680
Front: D1102322
S1000519
Rear: D1102268
Name: D1102269
Beckhoff Slow Controls
Corner 2
D1100680
+24VDC
SN:

## Slide 1013: D1100681 – Corner 3
D1100681
Front: D0902553
SN:
Rear: D0902554
Beckhoff Slow Controls
Corner 3
D1100681
+24VDC
SN:
Name: D1102434

## Slide 1014: D1101266 – Corner 4
D1101266
Front: D0902553
SN:
Rear: D0902554
Beckhoff Slow Controls
Corner 4
D1101266
+24VDC
SN:
Name: D1102435

## Slide 1015: D1200132 – Corner 5
D1200132
Front: D0902553
S1000519
Rear: D1201340
Name: D1200133
Beckhoff Slow Controls
Corner 5
D1200132
+24VDC
SN:

## Slide 1016: D1100618 – Corner MSR
D1100618
Front: D0902553
SN:
Rear: D0902554
Beckhoff Slow Controls
Corner MSR
D1100618
+24VDC
SN:
Name: D1100666

## Slide 1017: D1002961 – ISC Common
D1002961
Front: D0902553
SN:
Rear: D0902554
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
SN:
Name: D1002962

## Slide 1018: D0902552 – Empty
D0902552
Front: D0902553
SN:
Rear: D0902554
Name: None
Beckhoff Slow Controls
Empty
D0902552
+24VDC
SN: