## Slide 1: LLO Electronics Racks - Start
Search by
AREA
Search by SUBSYSTEM
This document provides details about the LLO electronics racks. It may be examined through four separate but interconnected methods: racks may be found searching MAPS of the observatory, or for AREAS in which they reside, or by searching SUBSYSTEMS that they service., or through the DocDB references to their D-numbers or S-numbers.
Search by
LOCATION
Search by
DocDB
Search by
Chamber
Search by Aerial Photo

## Slide 2: LLO Site – Aerial
YEND – D0901464
XEND – D0901465
Corner Station – D0901466
YMID
XMID
<< Start
Y-2-E (TriNet)

## Slide 3: Corner - Aerial
N2 #1
Weather Station Vertex
N2 #2
Vertex
VPW
Staging Building
Science Education Center
Maintenance Building
<< LLO Site
Guard Shack

## Slide 4: XMID - Aerial
XMID
Opposite Side Door
<< LLO Site

## Slide 5: XEND - Aerial
XEND Index
N2 #4
Weather Station X
Chiller Yard X
<< LLO Site

## Slide 10: VPW and Maintenance Building
<< Corner
VPW
Maintenance Building

## Slide 11: Guard Shack and Gates
Guard Shack
MAIN Gate
SIDE Gate
<< Corner

## Slide 12: Locations
XEND – D0901465
YARM
YEND – D0901464
Corner Station – D0901466
Staging Building – D000294
SEC - Science Education Center - D000294
XARM
Y-2-E (TriNet)
HPLF - High Power Laser Facility
Guard Shack
Maintenance Building
VPW - Vacuum Preparation Warehouse
YMID Station
XMID Station
<< Start

## Slide 13: Staging Building, SEC As Built
D000294
<< Locations

## Slide 14: LLO Racks by AREA
Mass Storage
Room (MSR)
Operator Control
Room (OCR)
CDS Electronics
Room (CER)
Laser Diode
Room (LDR)
CDS Power
Room (CPR)
LVEA Racks
(LVEA Racks)
XEND Racks
(XEND Racks)
XEND Tables
(XEND Tables)
Computer User Room (CUR)
Electronics Test Racks (ETR)
LLO electronics racks are installed in a variety of LOCATIONS. Generally speaking, each location houses a specific type of rack. Front-end computers are housed in the MSR. Electronics racks with IO chasses are housed in the CER. Other electronics racks that interface to chambers are located in the LVEA, XEND and YEND areas. Power supplies are housed in the CPR. And finally, test racks for electronics are spread throughout the facility, housed wherever they are required.
Other Areas
(Other)
LVEA Tables
(LVEA Tables)
YEND Racks
(YEND Racks)
YEND Tables
(YEND Tables)
Mechanical Room Racks
(Mech Racks)
<< Start

## Slide 15: LLO Racks by Subsystem
Auxiliary Optics
CER:(AOS / TCS)
LVEA:(AOS / TCS)
CERX:(AOS / TCS)
VEAX:(AOS / TCS)
CERY:(AOS / TCS)
VEAY:(AOS / TCS)
MECH:(AOS / TCS)
Data Acquisition
CER:(DAQ / PEM / OAF)
LVEA:(DAQ / PEM / OAF)
CERX:(DAQ / PEM / OAF)
VEAX:(DAQ / PEM / OAF)
CERY:(DAQ / PEM / OAF)
VEAY:(DAQ / PEM / OAF)
PEM Categories
Interferometer Sensing and Control
CER:(ISC)
LVEA:(ISC)
CERX:(ISC)
VEAX:(ISC)
CERY:(ISC)
VEAY:(ISC)
Pre-stabilized Laser CER:(PSL)
LVEA:(PSL)
CERX:(PSL)
VEAX:(PSL)
CERY:(PSL)
VEAY:(PSL)
Seismic Isolation
CER:(SEI)
LVEA:(SEI)
CERX:(SEI)
VEAX:(SEI)
CERY:(SEI)
VEAY:(SEI)
Suspensions
CER:(SUS)
LVEA:(SUS)
CERX:(SUS)
VEAX:(SUS)
CERY:(SUS)
VEAY:(SUS)
IFO Subsystems are another way to view the racks that are installed in a variety of locations. Generally speaking, each subsystem has racks that are positioned in several physical locations. The subsystems are: AOS, DAQ, ISC, PSL, SEI, SUS, VAC, and VDC. TCS is a part of AOS. PEM and OAF are part of DAQ. HEPI is part of SEI.
Vacuum
CER:(VAC)
LVEA:(VAC)
CERX:(VAC)
VEAX:(VAC)
CERY:(VAC)
VEAY:(VAC)
MECH:(VAC)
DC Power
CER:(VDC)
LVEA:(VDC)
CERX:(VDC)
VEAX:(VDC)
CERY:(VDC)
VEAY:(VDC)
Facilities
CER:(FAC)
LVEA:(FAC)
CERX:(FAC)
VEAX:(FAC)
CERY:(FAC)
VEAY:(FAC)
<< Start

## Slide 16: Chambers
<< Start
<< LLO Corner Station
1
2
3
4
HAM1
1
2
3
4
HAM2
1
2
3
4
HAM3
1
2
3
4
BSC1
1
2
3
4
BSC2
1
2
3
4
HAM4
1
2
3
4
HAM5
1
2
3
4
HAM6
1
2
3
4
BSC5
1
2
3
4
BSC3
1
2
3
4
BSC4
XARM
YARM
XMID
YMID
LAE

## Slide 17: Chambers
<< Start
<< LLO Corner Station
Chamber Flanges are named in D1002892
Flange Types are also named in D1101775
HAM1 Flange Layout - L1 Horizontal Access Module1 D1002884
HAM2 Flange Layout - L1 Horizontal Access Module 2 D1002885
HAM3 Flange Layout - L1 Horizontal Access Module 3 D1002886
HAM4 Flange Layout - L1 Horizontal Access Module 4 D1002887
HAM5 Flange Layout - L1 Horizontal Access Module 5 D1002888
HAM6 Flange Layout - L1 Horizontal Access Module 6 D1002890
BSC1 Flange Layout - L1 Beam Splitter Chamber 1 (ITMY) D1003088
BSC2 Flange Layout - L1 Beam Splitter Chamber 2 (BS) D1003089
BSC3 Flange Layout - L1 Beam Splitter Chamber 3 (ITMX) D1003090
BSC4 Flange Layout - L1 Beam Splitter Chamber 4 (ETMX) D1003091
BSC5 Flange Layout - L1 Beam Splitter Chamber 5 (ETMY) D1003092
Viewports are named in T1000746
Flanges are indexed in E1200755
Flanges are also documented in D1002870
Feedthroughs are documented in D1101775

## Slide 18: LLO Rack Naming Scheme
CDS racks are named according to site, IFO designation, subsystem use, station (location) and sequence. (See G1001030)
Site | Description | IFO | Subsystem | Description | Station | Description | Rack Number
L | Livingston | 1 | AOS | Auxiliary Optics | C | [Corner] Common | 1
H | Hanford | 2 | DAQ | Data Acquisition | MS | Mass Storage | 2
M | MIT |  | ETR | Electronics Test Rack | R | [Corner] Remote (Field) | 3
C | CIT |  | FAC | Facilities and Infrastructure | XC | ENDX Common | 4
 |  |  | ISC | IFO Sensing and Control | XR | ENDX Remote [Field] | 5
 |  |  | LDR | Laser Diode Room | YC | ENDY Common | 6
 |  |  | OAF | Online Adaptive Filtering | YR | ENDY Remote [Field] | 7
 |  |  | PEM | Physical Environment Monitoring |  |  | 8
 |  |  | PSL | Pre-stabilized Laser |  |  | 9
 |  |  | SEI | Seismic Isolation |  |  | 10
 |  |  | SUS | Suspensions |  |  | 11
 |  |  | TCS | Thermal Compensation System |  |  | 12
 |  |  | VAC | Vacuum |  |  | etc.
 |  |  | VDC | Voltage – DC |  |  | 
<< Start

## Slide 19: LLO CDS Electronics Rack Names
Rack | Rack Designator | Subsystem | Location | Comment | Rack Type | Dxxxxxxx | Sxxxxxxx
1 | L1-AOS-C1 | AOS | CER |  | Standard | D1201119 | S1202974
2 | L1-TCS-R1 | AOS | LVEA |  | Standard | D1201122 | S1202975
3 | L1-TCS-R2 | AOS | LVEA |  | Standard | D1201123 | S1202976
4 | L1-TCS-XC1 | AOS | CERX |  | Standard | D1201129 | S1202980
5 | L1-TCS-YC1 | AOS | CERY |  | Standard | D1201130 | S1202981
6 | L1-OAF-C1 | DAQ | CER | OAF/PEM | Standard | D1200941 | S1202404
7 | L1-DAQ-XC1 | DAQ | CERX |  | Standard | D1201085 | S1202949
8 | L1-DAQ-YC1 | DAQ | CERY |  | Standard | D1201092 | S1202956
9 | L1-ISC-C1 | ISC | CER |  | Standard | D1200949 | S1201186
10 | L1-ISC-C2 | ISC | CER |  | Standard | D1200975 | S1201187
11 | L1-ISC-C3 | ISC | CER |  | Standard | D1200976 | S1201188
12 | L1-ISC-C4 | ISC | CER |  | Standard | D1200977 | S1201189
13 | L1-ISC-R1 | ISC | LVEA |  | Standard | D1001460 | S1201192
14 | L1-ISC-R2 | ISC | LVEA |  | Standard | D1001425 | S1201193
15 | L1-ISC-R3 | ISC | LVEA |  | Standard | D1001426 | S1201194
16 | L1-ISC-R4 | ISC | LVEA |  | Standard | D1101904 | S1201195
17 | L1-ISC-R5 | ISC | LVEA |  | Standard | D1200196 | S1201196
18 | L1-ISC-XC1 | ISC | CERX |  | Standard | D1201084 | S1202948
19 | L1-ISC-YC1 | ISC | CERY |  | Standard | D1201091 | S1202955
20 | L1-ISC-XR1 | ISC | VEAX |  | Standard | D1201087 | S1202951
21 | L1-ISC-YR1 | ISC | VEAY |  | Standard | D1201094 | S1202958
22 | L1-ETR-04 | OPTICS | Test Rack | Optics Electronics Lab Rack | 11U |  | 
23 | L1-LDR-C1 | PSL | LDR |  | Vendor |  | 
24 | L1-LDR-C2 | PSL | LDR |  | Vendor |  | 
25 | L1-PSL-C1 | PSL | CER |  | Standard | D1201118 | S1202977
26 | L1-PSL-R1 | PSL | LVEA |  | Standard | D1201120 | S1202978
27 | L1-PSL-R2 | PSL | LVEA |  | Standard | D1201121 | S1202979
28 | L1-SEI-C1 | SEI | CER | SEI HAM 1 and HAM 6 | Standard | D1201112 | S1200743
29 | L1-SEI-C2 | SEI | CER | SEI HAM 2 and HAM 3 | Standard | D1201113 | S1200744
30 | L1-SEI-C3 | SEI | CER | SEI HAM 4 and HAM 5 | Standard | D1201114 | S1200745
31 | L1-SEI-C4 | SEI | CER | SEI BCS1 | Standard | D1201115 | S1200746
32 | L1-SEI-C5 | SEI | CER | SEI BCS2 | Standard | D1201116 | S1200747
33 | L1-SEI-C6 | SEI | CER | SEI BCS3 | Standard | D1201117 | S1200748
34 | L1-SEI-XC1 | SEI | CERX | SEI BCS4 | Standard | D1201081 | S1202945
35 | L1-SEI-YC1 | SEI | CERY | SEI BCS5 | Standard | D1201088 | S1202952
36 | L1-ETR-05 | SEI | Test Rack | HAM ISI Electronics Test Rack |  |  | 
37 | L1-ETR-07 | SEI | Test Rack | Triple Electronics Test Rack |  |  | 
38 | L1-SUS-C1 | SUS | CER | SUS ITM, FM, and BS (1 of 2) | Standard | D1200856 | S1104062
39 | L1-SUS-C2 | SUS | CER | SUS ITM, FM, and BS (2 of 2) | Standard | D1200859 | S1104356
40 | L1-SUS-C3 | SUS | CER | SUS HAM 2 (1 of 2) | Standard | D1200864 | S1104357
41 | L1-SUS-C4 | SUS | CER | SUS HAM 2 (2 of 2) | Standard | D1200867 | S1104358
42 | L1-SUS-C5 | SUS | CER | SUS ITMX, ITMY, and BS (1 of 2) | Standard | D1200874 | S1105375
43 | L1-SUS-C6 | SUS | CER | SUS ITMX, ITMY, and BS (2 of 2) | Standard | D1200875 | S1105376
44 | L1-SUS-C7 | SUS | CER | SUS HAM 5 and HAM 6 (1 of 2) | Standard | D1200876 | S1105377
45 | L1-SUS-C8 | SUS | CER | SUS HAM 5 and HAM 6 (2 of 2) | Standard | D1200877 | S1105378
46 | L1-SUS-R1 | SUS | LVEA |  | Standard | D1200879 | S1200749
47 | L1-SUS-R2 | SUS | LVEA |  | Standard | D1200880 | S1200750
48 | L1-SUS-R3 | SUS | LVEA |  | Standard | D1200883 | S1202300
49 | L1-SUS-R4 | SUS | LVEA |  | Standard | D1201134 | S1202995
50 | L1-SUS-R5 | SUS | LVEA |  | Standard | D1201135 | S1202996
51 | L1-SUS-R6 | SUS | LVEA |  | Standard | D1201136 | S1202997
52 | L1-SUS-XC1 | SUS | CERX |  | Standard | D1201082 | S1202946
53 | L1-SUS-XC2 | SUS | CERX |  | Standard | D1201083 | S1202947
54 | L1-SUS-XR1 | SUS | VEAX |  | Standard | D1201131 | S1202993
55 | L1-SUS-YC1 | SUS | CERY |  | Standard | D1201089 | S1202953
56 | L1-SUS-YC2 | SUS | CERY |  | Standard | D1201090 | S1202954
57 | L1-SUS-YR1 | SUS | VEAY |  | Standard | D1201132 | S1202994
58 | L1-ETR-02 | SUS | Test Rack | BSC Electronics Test Rack |  |  | 
59 | L1-ETR-03 | SUS | Test Rack | RM Electronics Test Rack |  |  | 
60 | L1-ETR-06 | SUS | Test Rack | STS Huddle Electronics Test Rack |  |  | 
61 | L1-VAC-R1 | VAC | LVEA | Vacuum Rack – X Arm | Knurr |  | 
62 | L1-VAC-R2 | VAC | LVEA | Vacuum Rack – Y Arm | Knurr |  | 
63 | L1-VAC-R3 | VAC | Mechanical Room | Vacuum Rack – Mechanical Room | Knurr |  | 
64 | L1-VAC-XR1 | VAC | VEAX | Vacuum Rack – X End | Knurr |  | 
65 | L1-VAC-YR1 | VAC | VEAY | Vacuum Rack – Y End | Knurr |  | 
66 | L1-VDC-C1 | VDC | CPR |  | DC | D1200890 | S1105247
67 | L1-VDC-C2 | VDC | CPR |  | DC | D1200891 | S1105248
68 | L1-VDC-C3 | VDC | CPR |  | DC | D1200892 | S1105249
69 | L1-VDC-C4 | VDC | CPR |  | DC | D1200893 | S1105250
70 | L1-VDC-C5 | VDC | CPR |  | DC | D1200894 | S1105251
71 | L1-VDC-C6 | VDC | CPR |  | DC | D1200895 | S1105252
72 | L1-VDC-C7 | VDC | CPR |  | DC | D1200896 | S1105253
73 | L1-VDC-C8 | VDC | CPR | Planned | DC | D1201137 | S1202998
74 | L1-VDC-XC1 | VDC | CERX |  | DC | D1200897 | S1202311
75 | L1-VDC-XC2 | VDC | CERX |  | DC | D1200898 | S1202312
76 | L1-VDC-YC1 | VDC | CERY |  | DC | D1200899 | S1202313
77 | L1-VDC-YC2 | VDC | CERY |  | DC | D1200900 | S1202314
78 | L1-MSR-01 | CDS | MSR | Atomic Clock | Knurr | D1201372 | S1203487
79 | L1-MSR-02 | CDS | MSR | Fiber Patch | Knurr | D1201373 | S1203488
80 | L1-MSR-03 | CDS | MSR | EPICS | Knurr | D1201374 | S1203489
81 | L1-MSR-04 | CDS | MSR | EPICS | Knurr | D1201375 | S1203490
82 | L1-MSR-05 | CDS | MSR | Backup Tape | Knurr | D1201376 | S1203491
83 | L1-MSR-06 | CDS | MSR | Video | Knurr | D1201377 | S1203492
84 | L1-MSR-07 | CDS | MSR | IFO Front End Computers | Standard | D1201378 | S1203493
85 | L1-MSR-08 | CDS | MSR | IFO Front End Computers | Standard | D1201379 | S1203494
86 | L1-MSR-09 | CDS | MSR | CDS Computers | Standard | D1201380 | S1203495
87 | L1-MSR-10 | CDS | MSR | CDS Computers | Standard | D1201381 | S1203496
88 | L1-MSR-11 | CDS | MSR | General Computing | Standard | D1201382 | S1203497
89 | L1-MSR-12 | CDS | MSR | DAQ Electronics Test Rack | Standard | D1201383 | S1203498
90 | L1-MSR-13 | CDS | MSR | UPS for IFO and CDS Computers | Linier | D1201384 | S1203499
91 | L1-FAC-C1 | FAC | CER |  | Standard | D1200940 | S1202403
92 | L1-FAC-XC1 | FAC | CERX |  | Standard | D1201086 | S1202950
93 | L1-FAC-YC1 | FAC | CERY |  | Standard | D1201093 | S1202957
94 | L1-UNK-C1 |  | CER |  | Standard | D1201356 | S1203450
95 | L1-UNK-C2 |  | CER |  | Standard | D1201357 | S1203451
96 | L1-UNK-C3 |  | CER |  | Standard | D1201358 | S1203452
CDS racks are named according to site, IFO designation, subsystem use, station (location) and sequence. (See G1001030)
<< Start

## Slide 20: LLO CDS Components
Front End Computer
Front End Computer
Timing Master
18VDC
I/O Extension
Timing Fanout
24VDC
Chassis
Chassis
Chassis
Chassis
Chassis
Chassis
DC Power
DC Power
DC Power
DC Power
DC Power
DC Power
AC Voltage
Chassis
Chassis
Chassis
Chassis
Chassis
Chassis
Mass
Storage
Room (MSR)
Operator
Control
Room (OCR)
CDS
Electronics
Room (CER)
Laser
Diode
Room (LDR)
CDS
Power
Room (CPR)
Field
I/O
Cables
Timing
Distribution
Cables
DC
Power
Racks
Field Satellite
Racks
Subsystem
Electronics
Racks
Front
End
Racks
Fiber
Optic
Cables
DC
Extension
Cables
Field
DC
Extension
Cords
Computer Users Room (CUR)
Racks and Rooms (RAR)
LVEA Racks
(LVEA)
XEND Racks
(XEND)
YEND Racks (YEND)
Electronics Test Racks (ETR)
<< Start

## Slide 21: Corner Station – D0901490
CER
LDR
CPR
LVEA – Chambers
LVEA – Racks
LVEA – Tables
D0901466
MSR
CUR
YEND – D0901464
XEND – D0901465
OCR
D0901490
Staging Building – D000294
<< Locations
Maintenance Building - Dxxxxxxx
EEL
Mechanical Room
Vacuum Prep Warehouse - Dxxxxxxx
LAE

## Slide 22: LAE (Laser Area Enclosure)
LAE
LAE Documentation
<< LLO Corner Station
<< Chambers

## Slide 23: OCR (Operations Control Room)
OCR
<< LLO Racks by AREA
OCR Documentation
<< LLO CDS Components
<< LLO Corner Station

## Slide 24: OCR Front (South) Wall
T60LL
T60LR
B60LL
B60LR
T60RL
T60RR
B60RL
B60RR
T80
B80
24
6
6
11
11
6
6
24
54.5
54.5
54.5
54.5
81
1
33.5
33.5
1
1
48
48
1
144
386
14.5
Item | Center X (From Left Wall) | Center Y (From Ceiling) | Circuit
T60LL | 57.375 | 32.250 | Q:CS175-RP-01:13
T60LR | 118.125 | 32.250 | Q:CS175-RP-01:15
T80 | 192.000 | 25.000 | D:CS175-RP-01:25
T60RL | 265.875 | 32.250 | Q:CS175-RP-01:8
T60RR | 326.625 | 32.250 | Q:CS175-RP-01:10
B60LL | 57.375 | 66.750 | D:CS175-RP-01:13
B60LR | 118.125 | 66.750 | D:CS175-RP-01:15
B80 | 192.000 | 74.000 | D:CS175-RP-01:25
B60RL | 265.875 | 66.750 | D:CS175-RP-01:8
B60RR | 326.625 | 66.750 | D:CS175-RP-01:10
<< OCR

## Slide 25: OCR Front (South) Wall
T60LL
T60LR
B60LL
B60LR
T60RL
T60RR
B60RL
B60RR
T80
B80
1
<< OCR
Unistrut is used to reinforce the front wall.
Two lengths of unistrut are used to support each monitor. They are bolted to the wall from the crawl space between the front wall and the LVEA wall.
Beam Clamps and Allthread are used as a brace.
On one of the unistruts (see diagram) allthread and beam clamps are evenly positioned and clamped to the I-beam structure of the building. This is to provide stability for the front wall.
Unistrut
Clamps are attached to this unistrut

## Slide 26: OCR Rear (North) Wall Layout
144.5”
58.5”
97.375”
7.25”
42”
21.5”
2 @ 4.5 x 6.5
6.5”
52”
34”
52”
3.75 x 15.5
32 x 54
<< OCR
48”
8”
Window

## Slide 27: OCR West Side Wall Layout
<< OCR
T60LL
T60LR
B60LL
B60LR
T60RL
T60RR
B60RL
B60RR
T90
B90
24
6
6
6
6
6
6
24
54.5
54.5
54.5
54.5
81
1
33.5
33.5
1
1
48
48
1
144
386

## Slide 28: OCR Floor Layout
<< OCR

## Slide 29: CUR (Computer User’s Room)
CUR
CUR Documentation
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station

## Slide 30: EEL (EE Lab)
EEL
EEL Documentation
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station

## Slide 31: EEL (EE Lab) Layout
<< EEL
AC Power to the benches:
Twelve 12) new circuits from RP2 power the Orange, White, Green, and Red benches.
Under the floor:
Provide two locations of four (4) circuits in one Quad ‘D’:
1) Each Socket is a 15A 110VAC circuit.
2) Each circuit serves a power strip on a bench.
Provide two locations of two (2) circuits each in a Single ‘D’:
1) Each Single outlet is a 20A 110VAC circuit.
2) Each circuit serves a Double-Double ‘D’ mounted to a bench.
Attached to the benches:
1) Attached to each bench is a Double-Double ‘D’ mounted on the far right underside of the work surface (facing the bench from the front). This box is on a flexible cord that plugs in beneath the floor and is long enough to allow some freedom of movement of the bench.
RP2
RP1
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
RP2 CKT xx
Double
Double ‘D’
Double
Double ‘D’
Red Bench
Green Bench
Orange Bench
White Bench
Double
Double ‘D’
Double
Double ‘D’

## Slide 32: L1-EEL-1
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
MAIN CKT 24
<< EEL Layout
L1-EEL-1 Test Rack (Dxxxxxxx) (Sxxxxxxx)
Sequencer
D1200757
S1202545

## Slide 33: MSR (Mass Storage Room)
MSR
MSR Documentation
MSR Layout
IO Extenders Index
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station

## Slide 34: MSR (Mass Storage Room) Layout
<< LLO Corner Station
<< LLO Racks by AREA
<< LLO CDS Components
Y
|
V
1
2
3
4
5
6
7
<-X
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
L1-MS1
UPS1
L1-MS7
L1-MS8
L1-MS9
L1-MS2
L1-MS3
L1-MS4
L1-MS5
L1-MS6
L1-MS10
L1-MS11
L1-MS12
L1-MS13
UPS0
MAINS
UPS0-01
UPS0-03
UPS0-05
UPS0-07
UPS0-09
UPS0-11
UPS0-13
UPS0-15
UPS0-17
UPS0-19
UPS0-02
UPS0-04
UPS0-06
UPS0-08
UPS0-10
UPS0-12
UPS0-14
UPS0-16
MAIN-01
MAIN-03
MAIN-05
MAIN-07
MAIN-09
MAIN-11
MAIN-13
MAIN-15
MAIN-17
MAIN-19
MAIN-02
MAIN-25
MAIN-08
MAIN-10
MAIN-12
MAIN-14
MAIN-20
MAIN-22
MAIN-21
MAIN-23
MAIN-29
MAIN-04
MAIN-06
MAIN-16
MAIN-18
MAIN-24
MAIN-26
MAIN-27
MAIN-28
MAIN-30
CUR UPS
UPS0-18
UPS0-20
OCR UPS
UPS1
BM1
MBS
BDS
Junction 1
Junction 2
Access System

## Slide 35: MSR – Kantech Controllers (G1200383)
ESTOP Box
KT-NCC
KT-200-02.xx
Boxes S01-S08 Staging Building
MSR Corner Station
KT-200-01.12
Box 01
Spare
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
24VAC
Server
KT-200-01.01
D030594
Box 05
LVEA
KT-200-01.02
D030595
Box 09
PSL
KT-200-01.03
D030596
Box 13
KEYBOX
KT-200-01.04
D030597
Box 06
IOHT2R
KT-200-01.05
D030598
Box 10
ISCHT1L
KT-200-01.06
D030599
Box 07
IOHT2L
KT-200-01.07
D030600
Box 11
ISCHT6R
KT-200-01.08
D030601
Box 15
TCSHT4R (Hartmann)
KT-200-02.13
D1300444
Box 02
LDR
KT-200-02.14
D1300445
Box 03
Optics Lab
KT-200-02.15
D1300450
Box 04
AIRLOCK
KT-200-01.16
D1300443
Box 08
TCSBT1R (TCS-Y)
KT-200-01.15
D1300442
Box 12
TCSBT3L (TCS-X)
KT-200-01.13
D030628
Box 16
FRONT
KT-200-01.17
D1300452
Box 14 SIDE
(DOCK)
16VAC
(NCC)
KT-400-04.01
Box V01
VPW
KT-400-03.01 D030655
Box G01
GUARD SHACK
IP (VPW) – 192.168.200.4
IP (X-End) – 192.168.200.5
IP (Y-End) – 192.168.200.6
KT-200-05.xx
X-End Station
KT-200-06.xx
Y-End Station
IP (NCC ETHO1) – 192.168.200.4
IP - Primary – 208.69.130.63
IP - Secondary – 192.168.200.1
Staging Building
IP (NCC ETHO2) – 192.168.200.3
MSR Rack 11
<< MSR Layout

## Slide 36: MSR Power Panels
Battery
Module
Battery
Disconnect
Switch
UPS0
Module
Maintenance
Bypass
Switch
To MAINS
Floor
<< MSR Layout
UPS0
Panel
MAINS
Panel
LCS175-RP-01
CKT 14, 16
208V 60A
To MAINS
Spare #8 Cable (THWN)
To Old UPS near MS1 (Removed)

## Slide 37: UPS0 Power Panel
<< MSR Power Panels
Panel | Circuit | Circuit Voltage | Breaker Amperage | Outlet Box Label | Type | Outlet Amperage | Outlet Color | Outlet Strip | Rack
UPS Panel | 1 | 110 | 20 | UPS CKT 1 | DD 5-20R | 110VAC 20A | Orange | Open | Open
UPS Panel | 2 | 110 | 20 | UPS CKT 2 | DD 5-20R | 110VAC 20A | Orange | 20A-009 | MS4-2
UPS Panel | 3 | 110 | 20 | UPS CKT 3 | DD 5-20R | 110VAC 20A | Orange | Open | Open
UPS Panel | 4 | 110 | 20 | UPS CKT 4 | DD 5-20R | 110VAC 20A | Orange | 20A-011 | MS4-1
UPS Panel | 5 | 110 | 20 | UPS CKT 5 | DD 5-20R | 110VAC 20A | Orange | 20A-028 | MS11-1
UPS Panel | 6 | 110 | 20 | UPS CKT 6 | DD 5-20R | 110VAC 20A | Orange | 20A-004 | MS3-1
UPS Panel | 7 | 110 | 20 | UPS CKT 7 | DD 5-20R | 110VAC 20A | Orange | 20A-045 | MS11-2
UPS Panel | 8 | 110 | 20 | UPS CKT 8 | DD 5-20R | 110VAC 20A | Orange | 20A-003 | MS3-2
UPS Panel | 9 | 110 | 20 | UPS CKT 9 | DD 5-20R | 110VAC 20A | Orange | 20A-047 | MS10-2
UPS Panel | 10 | 110 | 20 | UPS CKT 10 | DD 5-20R | 110VAC 20A | Orange | 20A-002 | MS2-1
UPS Panel | 11 | 110 | 20 | UPS CKT 11 | DD 5-20R | 110VAC 20A | Orange | 20A-048 | MS10-1
UPS Panel | 12 | 110 | 20 | UPS CKT 12 | DD 5-20R | 110VAC 20A | Orange | 20A-001 | MS2-2
UPS Panel | 13 | 110 | 20 | UPS CKT 13 | DD 5-20R | 110VAC 20A | Orange | 15A-001 | MS6-1
UPS Panel | 14 | 110 | 20 | UPS CKT 14 | DD 5-20R | 110VAC 20A | Orange | Open | Open
UPS Panel | 15 | 110 | 20 | UPS CKT 15 | DD 5-20R | 110VAC 20A | Orange | Open | Open
UPS Panel | 16 | 110 | 20 | UPS CKT 16 | DD 5-20R | 110VAC 20A | Orange | 20A-007 | MS1-1
UPS Panel | 17 | 110 | 20 | UPS CKT 17 | DD 5-20R | 110VAC 20A | Orange | 20A-005 | MS5-1
UPS Panel | 18 | 110 | 20 | UPS CKT 18 | DD 5-20R | 110VAC 20A | Orange | Operator Desk | OCR X11Y2
UPS Panel | 19 | 110 | 20 | UPS CKT 19 | DD 5-20R | 110VAC 20A | Orange | 20A-008 | MS5-2
UPS Panel | 20 | 110 | 20 | UPS CKT 20 | DD 5-20R | 110VAC 20A | Orange | Operator Desk | OCR X11Y2
 |  |  |  |  |  |  |  |  | As of 4/9/2013

## Slide 38: MAINS Power Panel
<< MSR Power Panels
Panel | Circuit | Circuit Voltage | Breaker Amperage | Outlet Box Label | Type | Outlet Amperage | Outlet Color | Outlet Strip | Destination
MAINS | 01 | 110 | 20 | MAIN CKT 1 | DD 5-20R | 110VAC 20A | White | 15A-005 | MS12-2
MAINS | 02 | 110 | 20 | MAIN CKT 2 | DD 5-20R | 110VAC 20A | White | 20A-050 | MS7-3
MAINS | 03 | 110 | 20 | MAIN CKT 3 | DD 5-20R | 110VAC 20A | White | 15A-006 | MS12-1
MAINS | 04 | 110 | 20 | MAIN CKT 4 | DD 5-20R | 110VAC 20A | White | 20A-014 | MS5-1
MAINS | 05 | 110 | 20 | MAIN CKT 5 | DD 5-20R | 110VAC 20A | White | 20A-027 | MS11-1
MAINS | 06 | 110 | 20 | MAIN CKT 6 | DD 5-20R | 110VAC 20A | White | 20A-015 | MS5-2
MAINS | 07 | 110 | 20 | MAIN CKT 7 | DD 5-20R | 110VAC 20A | White | 20A-046 | MS11-2
MAINS | 08 | 110 | 20 | MAIN CKT 8 | DD 5-20R | 110VAC 20A | White | 20A-029 | MS4-2
MAINS | 09 | 110 | 20 | MAIN CKT 9 | DD 5-20R | 110VAC 20A | White | 20A-044 | MS10-2
MAINS | 10 | 110 | 20 | MAIN CKT 10 | DD 5-20R | 110VAC 20A | White | 20A-010 | MS4-1
MAINS | 11 | 110 | 20 | MAIN CKT 11 | DD 5-20R | 110VAC 20A | White | 20A-043 | MS10-1
MAINS | 12 | 110 | 20 | MAIN CKT 12 | DD 5-20R | 110VAC 20A | White | 20A-016 | MS3-2
MAINS | 13 | 110 | 20 | MAIN CKT 13 | DD 5-20R | 110VAC 20A | White | 20A-025 | MS9-2
MAINS | 14 | 110 | 20 | MAIN CKT 14 | DD 5-20R | 110VAC 20A | White | 20A-012 | MS3-1
MAINS | 15 | 110 | 20 | MAIN CKT 15 | DD 5-20R | 110VAC 20A | White | 20A-026 | MS9-1
MAINS | 16 | 110 | 20 | MAIN CKT 16 | DD 5-20R | 110VAC 20A | White | 20A-013 | MS2-1
MAINS | 17 | 110 | 20 | MAIN CKT 17 | DD 5-20R | 110VAC 20A | White | 20A-024 | MS8-1
MAINS | 18 | 110 | 20 | MAIN CKT 18 | DD 5-20R | 110VAC 20A | White | 20A-017 | MS2-2
MAINS | 19 | 110 | 20 | MAIN CKT 19 | DD 5-20R | 110VAC 20A | White | 20A-018 | MS8-2
MAINS | 20 | 110 | 20 | MAIN CKT 20 | DD 5-20R | 110VAC 20A | White | Open | Open
MAINS | 21 | 110 | 20 | MAIN CKT 21 | DD 5-20R | 110VAC 20A | White | 20A-019 | MS7-2
MAINS | 22 | 110 | 20 | MAIN CKT 22 | DD 5-20R | 110VAC 20A | White | 20A-038 | MS1-1
MAINS | 23 | 110 | 20 | MAIN CKT 23 | DD 5-20R | 110VAC 20A | White | 20A-020 | MS7-1
MAINS | 24 | 110 | 30 | MAIN CKT 24 | L6-30R | 110VAC 30A | Brown | Single Outlet | Open
MAINS | 25 | 110 | 20 | MAIN CKT 25 | DD 5-20R | 110VAC 20A | White | 15A-002 | MS6-1
MAINS | 26 | 110 | 30 | MAIN CKT 26 | L6-30R | 110VAC 30A | Brown | Single Outlet | CUR-UPS 1
MAINS | 27 | 110 | 30 | MAIN CKT 27 | L6-30R | 110VAC 30A | Brown | Single Outlet | CUR-UPS 2
MAINS | 28 | 110 | 30 | MAIN CKT 28 | L6-30R | 110VAC 30A | Brown | Single Outlet | CUR-UPS 4
MAINS | 29 | 110 | 20 | MAIN CKT 29 | DD 5-20R | 110VAC 20A | White | 20A-055 | MS9-3
MAINS | 30 | 110 | 30 | MAIN CKT 30 | L6-30R | 110VAC 30A | Brown | Single Outlet | CUR-UPS 3
MAINS | 31/32/33 |  | 100 |  |  |  |  |  | As of 4/9/2013

## Slide 39: Battery Module
30 each NPX-150R
<< MSR Layout

## Slide 40: UPS ACP XXXX
1
2
3
4
5
6
7
8
Input: 120VAC 30A
<< MSR Layout

## Slide 41: UPS ACP 2200
1
2
3
4
5
6
7
8
Input: 120VAC 20A
<< MSR Layout

## Slide 42: UPS ACP 2200XL
Input: 120VAC 20A
1
2
3
4
5
6
7
8
9
10
11
<< MSR Layout
UPS
UPS APC 2200XL
110VAC
SN:

## Slide 43: UPS ACP 3000XL
Input: 120VAC 30A
1
2
3
4
5
6
7
8
9
10
11
<< MSR Layout

## Slide 44: UPS1 ACP 10000XL
Input: 208VAC 30A
1
2
3
4
5
6
7
8
9
10
11
12
Input: 208VAC 30A
1
2
3
4
5
6
7
8
9
10
11
12
Input: 208VAC 30A
1
2
3
4
<< MSR Layout
Input: 208VAC 30A
1
2
3
4
5
6
7
8
9
10
11
12
Description
Dxxxxxxx
Power
SN:
Input: 208VAC 30A
1
2
3
4

## Slide 45: UPS0 Battery Module Switch Box
<< MSR Layout

## Slide 46: UPS0 Maintenance Bypass Switch Box
<< MSR Layout

## Slide 47: Mains and UPS Subfloor Distribution Boxes
<< MSR Layout
MAINS and UPS0 Subfloor Distribution Junction 1
MAINS and UPS0 Subfloor Distribution Junction 2
MAINS Floor Penetration

## Slide 48: L1-MSR-01
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
MAIN CKT 24
<< MSR Layout
L1-MSR-01 Atomic Clock Rack Layout (D1201372) (S1203487)

## Slide 49: D070011 – S1000876
S1000876
Rear
Master
Timing Master Module
D070011
+12VDC
S1000876
<< L1-MS1
D070011
Front
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x

## Slide 50: L1-MSR-02
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC 20A
UPS Power Strip
110VAC 20A
Non-UPS Power Strip
<< MSR Layout
L1-MSR-02 Fiber Patch Rack Layout (D1201373) (S1203488)
Unknown Fiber Patch
Dxxxxxxx
No Power
SN:
Polarization Control
Dxxxxxxx
110VAC
SN:
Network Switch
FCX648S
UPS and 110VAC
BCX2216G0EV
End Stations SM Fiber Patch
Dxxxxxxx
No Power
SN:
Network Switch
FCX648S
UPS and 110VAC
BCX2216G17N
Network Switch
FCX648S
UPS and 110VAC
BCX2216G0Y7
SN:
SN:
End Station Telephone WDMs
No Power
Dxxxxxxx
Dxxxxxxx
DIN Rail for ESTOP Communication
Dxxxxxxx
UPS
SN:
Staging Building SM Fiber Patch
Dxxxxxxx
No Power
SN:
Staging Building MM Fiber Patch
Dxxxxxxx
No Power
SN:
Mid Stations Fiber Patch
Dxxxxxxx
No Power
SN:

## Slide 51: MSR to Staging Building MM Fiber Patch
<< L1-MSR-02
Staging Building MM Fiber Patch
Dxxxxxxx
No Power
SN:

## Slide 52: MSR to Staging Building SM Fiber Patch
2MMF
Lanscape Corning
<< L1-MSR-02
Staging Building SM Fiber Patch
Dxxxxxxx
No Power
SN:

## Slide 53: Network Switch
Network Switch
FCX648S
110VAC MAINS and UPS
BCX2216G0EV
<< L1-MSR-02
FID: de2HHGLiFgx

## Slide 54: Network Switch
Network Switch
FCX648S
110VAC MAINS and UPS
BCX2216G17N
<< L1-MSR-02
FID: de2HHGLiGMp

## Slide 55: Network Switch
<< L1-MSR-02
Network Switch
FCX648S
110VAC MAINS and UPS
BCX2216G0Y7
FID: de2HHGKiFaM

## Slide 56: DIN Rail for ESTOP Communication
DIN Rail for ESTOP Communication
Dxxxxxxx
UPS
SN:
<< L1-MSR-02

## Slide 57: ESTOP System Overview
RX
PS
TX
RX
TX
RX
PS
TX
RX
PS
TX
MSR to YEND
RX to F5 to A09 to F33 to TX
TX to G2 to B04 to F32 to RX
MSR to XEND
RX to C6 to B12 to F22 to TX
TX to A2 to A04 to F23 to RX
Rack: MSR-02
Rack: FAC-YC1
Rack: FAC-XC1
MSR ESTOP – Kantech Wall
YEND ESTOP – Kantech Wall
XEND ESTOP – Kantech Wall
RESET Signal (MSR to XEND)
TEST Signal (MSR to XEND)
MSR ESTOP Latch (MSR to XEND)
XEND ESTOP Latch (XEND to MSR)
RESET Signal (MSR to YEND)
TEST Signal (MSR to YEND)
MSR ESTOP Latch (MSR to YEND)
YEND ESTOP Latch (YEND to MSR)
ISCBT5R ESTOP and Interlock
PCALY ESTOP and Interlock
VEAY ESTOP
ISCBT4L ESTOP and Interlock
PCALX ESTOP and Interlock
VEAX ESTOP
TABLE ESTOPS and Interlocks
ENTRANCE ESTOPS
<< L1-MSR-02
See LIGO-G1200383

## Slide 58: MSR to Mid Stations ?M Fiber Patch
Mid Stations Fiber Patch
Dxxxxxxx
No Power
SN:
<< L1-MSR-02
1-12 SM to X MIDX
13-24 SM to Y MID

## Slide 100: KEPCO JQE25-20MVPY27274
<< DC Power Supplies
Acceptance Testing: LIGO-T1100478
Picture: Front Panel
Picture: Rear Panel
Specifications
Inventory of Serial Numbers / Dates received / scheduled maintenance / assigned use / etc.

## Slide 101: KEPCO JQE36-30
<< DC Power Supplies
Acceptance Testing: LIGO-Txxxxxxx
Picture: Front Panel
Picture: Rear Panel
Specifications
Inventory of Serial Numbers / Dates received / scheduled maintenance / assigned use / etc.

## Slide 102: DC Power Rack – Required VDC
A Standard Bank (SB) of power supplies consists of 4 supplies, and services 1 Electronics Rack. The 4 supplies are:
+18V@20A, -18V@20A, +24V@20A, and -24V@20A.
Each Standard Bank of DC Power Supplies provides
18V * 20A => 360W
360W * 2 PS => 720W
24V * 20A => 480W
480W * 2 PS => 960W
720W + 960W => 1680W
There are 5 SB (20 PS) / Power Rack. Each Power Rack therefore provides 8400W
Each Power Rack services 5 Electronics Racks.
There are roughly 22 racks per interferometer.
Therefore 5 DC Power Racks are required and will provide for a total of 42,000 W.
10 x 4U => 40U
5 Standard Banks per Rack
DC Power Rack
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
<< CPR
Notes: For a JQE25-20M: AC power calculations:
125 VAC * 10.5 A => 1312.5 W/PS
20 PS/Rack * 1312.5 W/PS => 26,250 W/Rack
7 Racks * 26,250 W/Rack => 183,750 W
20 PS/Rack * 10.5 A/PS => 210 A/Rack
7 Racks * 210A/Rack => 1470 A

## Slide 103: DC Power Rack – Required VAC
A Standard Bank (SB) of power supplies consists of 4 supplies, and services 1 Electronics Rack. The 4 supplies are:
+18V@20A, -18V@20A, +24V@20A, and -24V@20A.
Each (~JQE25-20M) DC Power Supply requires 10.5A @ 125VAC
Each Standard Bank of DC Power Supplies requires 42A @ 125VAC
There are 5 SB (20 PS) / Power Rack. Each Power Rack therefore requires 210A @ 125VAC.
10 – 125V@20A circuits per Power Rack should suffice.
Each Power Rack services 5 Electronics Racks.
There are roughly 22 racks per interferometer.
70 – 125V @20A circuits are required for a total of 183,750W.
Therefore 2 – 480VAC * 200A circuits would provide 192,000W
10 x 4U => 40U
5 Standard Banks per Rack
DC Power Rack
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
<< CPR
Notes: 125 VAC * 10.5 A => 1312.5 W/PS
20 PS/Rack * 1312.5 W/PS => 26,250 W/Rack
7 Racks * 26,250 W/Rack => 183,750 W
20 PS/Rack * 10.5 A/PS => 210 A/Rack
7 Racks * 210A/Rack => 1470 A

## Slide 104: DC Power Rack – VAC Wiring
12 @ 125V, 20A Circuits per Rack
Rear
Outlet 7
Outlet 8
Outlet 9
Outlet 10
Outlet 11
Outlet 12
Outlet 1
Outlet 2
Outlet 3
Outlet 4
Outlet 5
Outlet 6
DC Power Rack
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
±XVDC @ 20A
Kepco JQE
A
B
A
B
<< CPR
Notes: 12 @ 125V, 20A Circuits

## Slide 105: L1-VDC-C1 Power Racks – Required Supplies
Cable Runs >>
L1-VDC-C1 Power Rack
B
A
L1-VDC-C1 Power Rack
A
B
L1-SUS-C2
L1-SUS-C2
L1-SUS-C3
L1-SUS-C3
L1-SUS-C4
L1-SUS-C4
L1-SUS-C4
L1-SUS-C4
L1-SUS-C5
L1-SUS-C5
L1-SUS-C6
L1-SUS-C6
L1-SUS-C6
L1-SUS-C6
L1-SUS-C7
L1-SUS-C7
L1-SUS-C8
L1-SUS-C8
L1-SUS-C1
L1-SUS-C1
L1-SUS-C2
L1-SUS-C2
L1-SUS-C3
L1-SUS-C3
L1-SUS-C4
L1-SUS-C4
L1-SUS-C4
L1-SUS-C4
L1-SUS-C5
L1-SUS-C5
L1-SUS-C6
L1-SUS-C6
L1-SUS-C6
L1-SUS-C6
L1-SUS-C7
L1-SUS-C7
L1-SUS-C8
L1-SUS-C8
L1-SUS-C1
L1-SUS-C1
<< CPR
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
-18VDC
+18VDC
L1-VDC-C1 Corner Station DC Power Rack Layout (D1200890) (S1105247)

## Slide 106: L1-VDC-C1 Cable Runs
<< L1-VDC-C1
L1-VDC-C1 Corner Station DC Cable Runs (D1200890) (S1105247)
L1-VDC-C1 S1105247 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | DC Power Strip
1 | CDS-1 | 06 | L1-VDC-C1 | 08 | Top | U37-A (Left) | JQE 25V 20A | H236464 | Plus | PTO-001 | L1-SUS-C8 | PSO-001
2 | CDS-1 | 06 | L1-VDC-C1 | 08 | Bottom | U37-B (Right) | JQE 25V 20A | H236467 | Minus | PTO-001 | L1-SUS-C8 | PSO-001
3 | CDS-1 | 27 | L1-VDC-C1 | 02 | Top | U33-A (Left) | JQE 25V 20A | H236434 | Plus | PTO-002 | L1-SUS-C7 | PSO-002
4 | CDS-1 | 27 | L1-VDC-C1 | 02 | Bottom | U33-B (Right) | JQE 25V 20A | H236427 | Minus | PTO-002 | L1-SUS-C7 | PSO-002
5 | CDS-1 | 08 | L1-VDC-C1 | 09 | Top | U29-A (Left) | JQE 25V 20A | H236468 | Plus | PTO-021 | L1-SUS-C6A | PSO-003
6 | CDS-1 | 08 | L1-VDC-C1 | 09 | Bottom | U29-B (Right) | JQE 25V 20A | H236372-R1 | Minus | PTO-021 | L1-SUS-C6A | PSO-003
7 | CDS-1 | 29 | L1-VDC-C1 | 03 | Top | U25-A (Left) | JQE 25V 20A | H236447 | Plus | PTO-003 | L1-SUS-C6B | PSO-021
8 | CDS-1 | 29 | L1-VDC-C1 | 03 | Bottom | U25-B (Right) | JQE 25V 20A | H236463 | Minus | PTO-003 | L1-SUS-C6B | PSO-021
9 | CDS-1 | 10 | L1-VDC-C1 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236388 | Plus | PTO-004 | L1-SUS-C5 | PSO-004
10 | CDS-1 | 10 | L1-VDC-C1 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236406 | Minus | PTO-004 | L1-SUS-C5 | PSO-004
11 | CDS-1 | 31 | L1-VDC-C1 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236396 | Plus | PTO-005 | L1-SUS-C4A | PSO-005
12 | CDS-1 | 31 | L1-VDC-C1 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236404 | Minus | PTO-005 | L1-SUS-C4A | PSO-005
13 | CDS-1 | 12 | L1-VDC-C1 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236418 | Plus | PTO-022 | L1-SUS-C4B | PSO-022
14 | CDS-1 | 12 | L1-VDC-C1 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236424 | Minus | PTO-022 | L1-SUS-C4B | PSO-022
15 | CDS-1 | 33 | L1-VDC-C1 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236469 | Plus | PTO-006 | L1-SUS-C3 | PSO-006
16 | CDS-1 | 33 | L1-VDC-C1 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236443 | Minus | PTO-006 | L1-SUS-C3 | PSO-006
17 | CDS-1 | 14 | L1-VDC-C1 | 12 | Top | U05-A (Left) | JQE 25V 20A | H210616 | Plus | PTO-007 | L1-SUS-C2 | PSO-007
18 | CDS-1 | 14 | L1-VDC-C1 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H210622 | Minus | PTO-007 | L1-SUS-C2 | PSO-007
19 | CDS-1 | 02 | L1-VDC-C1 | 06 | Top | U01-A (Left) | JQE 25V 20A | H210617 | Plus | PTO-008 | L1-SUS-C1 | PSO-008
20 | CDS-1 | 02 | L1-VDC-C1 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H210619 | Minus | PTO-008 | L1-SUS-C1 | PSO-008
D1200890 |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 107: L1-VDC-C2 Power Racks – Required Supplies
Cable Runs >>
L1-VDC-C2 Power Rack
B
A
L1-VDC-C2 Power Rack
A
B
L1-ISC-C1
L1-ISC-C1
L1-ISC-C2A
L1-ISC-C2B
L1-ISC-C3
L1-ISC-C3
L1-ISC-C3
L1-ISC-C3
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C3
L1-ISC-C4
L1-ISC-C1
Unused
L1-ISC-C1
L1-ISC-C1
L1-ISC-C2B
L1-ISC-C2A
L1-ISC-C3
L1-ISC-C3
L1-ISC-C3
L1-ISC-C3
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C4
L1-ISC-C3
Unused
L1-ISC-C1
<< CPR
+24VDC
-24VDC
+12VDC
+12VDC
+12VDC
+12VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
Unused
Unused
+24VDC
L1-VDC-C2 Corner Station DC Power Rack Layout (D1200891) (S1105248)
L1-TCS-R1
L1-TCS-R2
L1-TCS-R1
L1-TCS-R2
L1-TCS-R1
L1-TCS-R2
L1-TCS-R1
L1-TCS-R2
L1-TCS-R1
L1-TCS-R2
L1-TCS-R1
L1-TCS-R2
L1-TCS-R1
L1-TCS-R2
L1-TCS-R1
L1-TCS-R2

## Slide 108: L1-VDC-C2 Cable Runs
<< L1-VDC-C2
L1-VDC-C2 Corner Station DC Cable Runs (D1200891) (S1105248)
L1-VDC-C2 S1105248 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-1 | 15 | L1-VDC-C2 | 08 | Top | U37-A (Left) | JQE 15V 6A |  | Plus | PTG-002 | L1-ISC-C3 |  | PSG-003
2 | CDS-1 | 15 | L1-VDC-C2 | 08 | Bottom | U37-B (Right) | JQE 15V 6A |  | Plus | PTG-003 | L1-ISC-C4 |  | PSG-004
3 | CDS-1 | 03 | L1-VDC-C2 | 02 | Top | U33-A (Left) | JQE 25V 20A | H236408 | Plus | PTY-012 | L1-ISC-C4 |  | 
4 | CDS-1 | 03 | L1-VDC-C2 | 02 | Bottom | U33-B (Right) | JQE 25V 20A | H236466 | Minus | PTY-012 | L1-ISC-C4 |  | 
5 | CDS-1 | 17 | L1-VDC-C2 | 09 | Top | U29-A (Left) | JQE 25V 20A | H236426 | Plus | PTO-057 | L1-ISC-C4 |  | 
6 | CDS-1 | 17 | L1-VDC-C2 | 09 | Bottom | U29-B (Right) | JQE 25V 20A | H236439 | Minus | PTO-057 | L1-ISC-C4 |  | 
7 | CDS-1 | 05 | L1-VDC-C2 | 03 | Top | U25-A (Left) | JQE 25V 20A | H236437 | Plus | PTY-011 | L1-ISC-C3 |  | 
8 | CDS-1 | 05 | L1-VDC-C2 | 03 | Bottom | U25-B (Right) | JQE 25V 20A | H236425 | Minus | PTY-011 | L1-ISC-C3 |  | 
9 | CDS-1 | 19 | L1-VDC-C2 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236444 | Plus | PTO-056 | L1-ISC-C3 |  | 
10 | CDS-1 | 19 | L1-VDC-C2 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236471 | Minus | PTO-056 | L1-ISC-C3 |  | 
11 | CDS-1 | 07 | L1-VDC-C2 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236449 | Plus | PTY-037 PTY-038 | L1-TCS-R1 L1-TCS-R2 |  | 
12 | CDS-1 | 07 | L1-VDC-C2 | 04 | Bottom | U17-B (Right) | JQE 25V 10A | H192374 | Minus | PTY-037 PTY-038 | L1-TCS-R1 L1-TCS-R2 |  | 
13 | CDS-1 | 21 | L1-VDC-C2 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236430 | Plus | L1-TB07 | L1-ISC-C2A |  | 
14 | CDS-1 | 21 | L1-VDC-C2 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236445 | Minus | PTY-047 | L1-ISC-C2B |  | 
15 | CDS-1 | 09 | L1-VDC-C2 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236395 | Plus | PTO-037 PTO-038 | L1-TCS-R1 L1-TCS-R2 |  | 
16 | CDS-1 | 09 | L1-VDC-C2 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236438 | Minus | PTO-037 PTO-038 | L1-TCS-R1 L1-TCS-R2 |  | 
17 | CDS-1 | 23 | L1-VDC-C2 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236475 | Plus | PTO-054 | L1-ISC-C1 |  | 
18 | CDS-1 | 23 | L1-VDC-C2 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236455 | Minus | PTO-054 | L1-ISC-C1 |  | 
19 | CDS-1 | 06 | L1-VDC-C2 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236399 | Plus | L1-TB02 | L1-ISC-C1 |  | 
20 | CDS-1 | 06 | L1-VDC-C2 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236407 | Plus |  | L1-ISC-C2 |  | 
D1200891 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 109: L1-VDC-C3 Power Racks – Required Supplies
Cable Runs >>
L1-VDC-C3 Power Rack
B
A
L1-VDC-C3 Power Rack
A
B
L1-SEI-C1
L1-SEI-C1
L1-SEI-C1
L1-SEI-C1
L1-SEI-C2
L1-SEI-C2
L1-SEI-C2
L1-SEI-C2
L1-SEI-C3
L1-SEI-C4
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C4
L1-SEI-C4
L1-SEI-C4
L1-SEI-C4
L1-SEI-C1
L1-SEI-C2
L1-SEI-C1
L1-SEI-C1
L1-SEI-C1
L1-SEI-C1
L1-SEI-C2
L1-SEI-C2
L1-SEI-C2
L1-SEI-C2
L1-SEI-C4
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C3
L1-SEI-C4
L1-SEI-C4
L1-SEI-C4
L1-SEI-C4
L1-SEI-C2
L1-SEI-C1
<< CPR
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
L1-VDC-C3 Corner Station DC Power Rack Layout (D1200892) (S1105249)

## Slide 110: L1-VDC-C3 Cable Runs
<< L1-VDC-C3
L1-VDC-C3 Corner Station DC Cable Runs (D1200892) (S1105249)
L1-VDC-C3 S1105249 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-2 | 15 | L1-VDC-C3 | 08 | Top | U37-A (Left) | JQE 25V 20A | H236457 | Plus | PTO-014 | L1-SEI-C4 |  | PSO-014
2 | CDS-2 | 15 | L1-VDC-C3 | 08 | Bottom | U37-B (Right) | JQE 25V 20A | H236456 | Minus | PTO-014 | L1-SEI-C4 |  | PSO-014
3 | CDS-2 | 03 | L1-VDC-C3 | 02 | Top | U33-A (Left) | JQE 25V 20A | H236450 | Plus | PTY-013 | L1-SEI-C4 |  | PSY-013
4 | CDS-2 | 03 | L1-VDC-C3 | 02 | Bottom | U33-B (Right) | JQE 25V 20A | H236454 | Minus | PTY-013 | L1-SEI-C4 |  | PSY-013
5 | CDS-2 | 17 | L1-VDC-C3 | 09 | Top | U29-A (Left) | JQE 25V 20A | H236452 | Plus | PTO-015 | L1-SEI-C3 |  | PSO-015
6 | CDS-2 | 17 | L1-VDC-C3 | 09 | Bottom | U29-B (Right) | JQE 25V 20A | H236451 | Minus | PTO-015 | L1-SEI-C3 |  | PSO-015
7 | CDS-2 | 05 | L1-VDC-C3 | 03 | Top | U25-A (Left) | JQE 25V 20A | H236458 | Plus | PTY-014 | L1-SEI-C3 |  | PSY-014
8 | CDS-2 | 05 | L1-VDC-C3 | 03 | Bottom | U25-B (Right) | JQE 25V 20A | H236432 | Minus | PTY-014 | L1-SEI-C3 |  | PSY-014
9 | CDS-2 | 19 | L1-VDC-C3 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236435 | Plus | PTY-015 | L1-SEI-C3 |  | PSY-015
10 | CDS-2 | 19 | L1-VDC-C3 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236436 | Plus | PTY-016 | L1-SEI-C4 |  | PSY-016
11 | CDS-2 | 07 | L1-VDC-C3 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236402 | Plus | PTO-016 | L1-SEI-C2 |  | PSO-016
12 | CDS-2 | 07 | L1-VDC-C3 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236477 | Minus | PTO-016 | L1-SEI-C2 |  | PSO-016
13 | CDS-2 | 21 | L1-VDC-C3 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236384 | Plus | PTY-017 | L1-SEI-C2 |  | PSY-017
14 | CDS-2 | 21 | L1-VDC-C3 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236390 | Minus | PTY-017 | L1-SEI-C2 |  | PSY-017
15 | CDS-2 | 09 | L1-VDC-C3 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236383 | Plus | PTO-017 | L1-SEI-C1 |  | PSO-017
16 | CDS-2 | 09 | L1-VDC-C3 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236391 | Minus | PTO-017 | L1-SEI-C1 |  | PSO-017
17 | CDS-2 | 23 | L1-VDC-C3 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236372-R2 | Plus | PTY-018 | L1-SEI-C1 |  | PSY-018
18 | CDS-2 | 23 | L1-VDC-C3 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236377 | Minus | PTY-018 | L1-SEI-C1 |  | PSY-018
19 | CDS-2 | 11 | L1-VDC-C3 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236401 | Plus | PTY-019 | L1-SEI-C1 |  | PSY-019
20 | CDS-2 | 11 | L1-VDC-C3 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236392 | Plus | PTY-020 | L1-SEI-C2 |  | PSY-020
D1200892 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 111: L1-VDC-C4 Power Racks – Required Supplies
Cable Runs >>
L1-VDC-C4 Power Rack
B
A
L1-VDC-C4 Power Rack
A
B
L1-SEI-C5
L1-SEI-C5
L1-SEI-C5
L1-SEI-C5
L1-SEI-C6
L1-SEI-C6
L1-SEI-C6
L1-SEI-C6
L1-SUS-C5B
L1-SUS-C8
L1-SUS-C2
L1-SUS-C3B
L1-PSL-C1
L1-PSL-C1
L1-SEI-C5
L1-SEI-C6
L1-SEI-C5
L1-SEI-C5
L1-SEI-C5
L1-SEI-C5
L1-SEI-C6
L1-SEI-C6
L1-SEI-C6
L1-SEI-C6
L1-SUS-C8
L1-SUS-C5B
L1-SUS-C3B
L1-SUS-C2
L1-PSL-C1
L1-PSL-C1
L1-SEI-C6
L1-SEI-C5
<< CPR
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
-24VDC
-24VDC
+24VDC
L1-SUS-C5A
L1-SUS-C3A
+24VDC
+24VDC
Unused
L1-PSL-C1
Unused
+24VDC
L1-SUS-C5A
L1-SUS-C3A
+24VDC
+24VDC
L1-PSL-C1
Unused
+24VDC
Unused
L1-VDC-C4 Corner Station DC Power Rack Layout (D1200893) (S1105250)

## Slide 112: L1-VDC-C4 Cable Runs
<< L1-VDC-C4
L1-VDC-C4 Corner Station DC Cable Runs (D1200893) (S1105250)
L1-VDC-C4 S1105250 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-2 | 26 | L1-VDC-C4 | 08 | Top | U37-A (Left) | JQE 25V 20A | H236442 | Plus | PTO-018 | L1-PSL-C1 |  | PSO-018
2 | CDS-2 | 26 | L1-VDC-C4 | 08 | Bottom | U37-B (Right) | JQE 25V 20A | H236416 | Minus | PTO-018 | L1-PSL-C1 |  | PSO-018
3 | CDS-2 | 14 | L1-VDC-C4 | 02 | Top | U33-A (Left) | JQE 25V 20A |  |  |  |  |  | 
4 | CDS-2 | 14 | L1-VDC-C4 | 02 | Bottom | U33-B (Right) | JQE 25V 20A | H236453 | Plus | PTY-009 | L1-PSL-C1 |  | PSY-009
5 | CDS-2 | 28 | L1-VDC-C4 | 09 | Top | U29-A (Left) | JQE 25V 20A | H236495 | Plus | PTY-002 | L1-SUS-C5A |  | None
6 | CDS-2 | 28 | L1-VDC-C4 | 09 | Bottom | U29-B (Right) | JQE 25V 20A | H236375 | Plus | PTY-005 | L1-SUS-C3A |  | PSY-027
7 | CDS-2 | 16 | L1-VDC-C4 | 03 | Top | U25-A (Left) | JQE 25V 20A | H210621 | Plus | L1-TB03 | L1-SUS-C2 |  | PSY-004
8 | CDS-2 | 16 | L1-VDC-C4 | 03 | Bottom | U25-B (Right) | JQE 25V 20A | H210620 | Plus | L1-TB04 | L1-SUS-C3B |  | PSY-005
9 | CDS-2 | 30 | L1-VDC-C4 | 10 | Top | U21-A (Left) | JQE 25V 20A | H210618 | Plus | L1-TB01 | L1-SUS-C5B |  | PSY-002
10 | CDS-2 | 30 | L1-VDC-C4 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236386 | Plus | PTY-001 | L1-SUS-C8 |  | PSY-001
11 | CDS-2 | 18 | L1-VDC-C4 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236374 | Plus | PTO-019 | L1-SEI-C6 |  | PSO-019
12 | CDS-2 | 18 | L1-VDC-C4 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236382 | Minus | PTO-019 | L1-SEI-C6 |  | PSO-019
13 | CDS-2 | 32 | L1-VDC-C4 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236373 | Plus | PTY-021 | L1-SEI-C6 |  | PSY-021
14 | CDS-2 | 32 | L1-VDC-C4 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236387 | Minus | PTY-021 | L1-SEI-C6 |  | PSY-021
15 | CDS-2 | 20 | L1-VDC-C4 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236376 | Plus | PTO-020 | L1-SEI-C5 |  | PSO-020
16 | CDS-2 | 20 | L1-VDC-C4 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236379 | Minus | PTO-020 | L1-SEI-C5 |  | PSO-020
17 | CDS-2 | 34 | L1-VDC-C4 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236381 | Plus | PTY-022 | L1-SEI-C5 |  | PSY-022
18 | CDS-2 | 34 | L1-VDC-C4 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236385 | Minus | PTY-022 | L1-SEI-C5 |  | PSY-022
19 | CDS-2 | 22 | L1-VDC-C4 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236415 | Plus | PTY-023 | L1-SEI-C5 |  | PSY-023
20 | CDS-2 | 22 | L1-VDC-C4 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236403 | Plus | PTY-024 | L1-SEI-C6 |  | PSY-024
D1200893 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 113: L1-VDC-C5 Power Racks – Required Supplies
Cable Runs >>
<< CPR
L1-VDC-C5 Power Rack
B
A
L1-VDC-C5 Power Rack
A
B
L1-PSL-R1
L1-PSL-R1
L1-PSL-R2
L1-PSL-R2
L1-PSL-R2
L1-PSL-R2
L1-SUS-R1
L1-SUS-R2
L1-SUS-R1
L1-SUS-R2
L1-SUS-R3
L1-SUS-R4
L1-SUS-R5
L1-SUS-R6
L1-SUS-R3
L1-SUS-R4
L1-SUS-R5
L1-SUS-R6
L1-PSL-R1
L1-PSL-R1
L1-PSL-R1
L1-PSL-R1
L1-PSL-R2
L1-PSL-R2
L1-PSL-R2
L1-PSL-R2
L1-SUS-R1
L1-SUS-R2
L1-SUS-R1
L1-SUS-R2
L1-SUS-R3
L1-SUS-R4
L1-SUS-R5
L1-SUS-R6
L1-SUS-R3
L1-SUS-R4
L1-SUS-R5
L1-SUS-R6
L1-PSL-R1
L1-PSL-R1
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
L1-VDC-C5 Corner Station DC Power Rack Layout (D1200894) (S1105251)
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
+300VDC
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
nused
Unused
Unused
Unused
Unused
Unused
L1-ISC-R5
L1-ISC-R5
+300VDC

## Slide 114: L1-VDC-C5 Cable Runs
<< L1-VDC-C5
L1-VDC-C5 Corner Station DC Cable Runs (D1200894) (S1105251)
L1-VDC-C5 S1105251 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-1 | 25 | L1-VDC-C5 | 08 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-1 | 25 | L1-VDC-C5 | 08 | Bottom | U37-B (Right) | PCX 100-0.2MAT PCS 40-0.5MAT |  |  |  |  |  | 
3 | CDS-2 | 13 | L1-VDC-C5 | 02 | Top | U33-A (Left) | JQE 25V 4A JQE 25V 4A |  |  |  |  |  | 
4 | CDS-2 | 13 | L1-VDC-C5 | 02 | Bottom | U33-B (Right) | PCX 100-0.2MAT PCS 40-0.5MAT |  |  |  |  |  | 
5 | CDS-1 | 13 | L1-VDC-C5 | 09 | Top | U29-A (Left) | BHK 300V 130mA | A107948 | Plus |  | L1-ISC-R5 |  | 
6 | CDS-1 | 13 | L1-VDC-C5 | 09 | Bottom | U29-B (Right) | BHK 300V 130mA | A100472 | Plus | PBX-005 | L1-ISC-R5 |  | 
7 | CDS-2 | 38 | L1-VDC-C5 | 03 | Top | U25-A (Left) | JQE 150V 3.5A | H179839 |  |  |  |  | 
8 | CDS-2 | 38 | L1-VDC-C5 | 03 | Bottom | U25-B (Right) | JQE 150V 3.5A | H179837 |  |  |  |  | 
9 | CDS-1 | 01 | L1-VDC-C5 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236420 | Plus | PTO-027 PTO-028 PTO-029 PTO-030 | L1-SUS-R3 L1-SUS-R4 L1-SUS-R5 L1-SUS-R6 |  | PSO-027 PSO-028 PSO-029 PSO-030
10 | CDS-1 | 01 | L1-VDC-C5 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236378 | Minus | PTO-027 PTO-028 PTO-029 PTO-030 | L1-SUS-R3 L1-SUS-R4 L1-SUS-R5 L1-SUS-R6 |  | PSO-027 PSO-028 PSO-029 PSO-030
11 | CDS-2 | 12 | L1-VDC-C5 | 04 | Top | U17-A (Left) | JQE 25V 20A | H236409 | Plus | PTO-023 PTO-024 | L1-SUS-R1 L1-SUS-R2 |  | PSO-023 PSO-024
12 | CDS-2 | 12 | L1-VDC-C5 | 04 | Bottom | U17-B (Right) | JQE 25V 20A | H236410 | Minus | PTO-023 PTO-024 | L1-SUS-R1 L1-SUS-R2 |  | PSO-023 PSO-024
13 | CDS-1 | 04 | L1-VDC-C5 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236380 | Plus | PTO-025 | L1-PSL-R2 |  | PSO-025
14 | CDS-1 | 04 | L1-VDC-C5 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236465 | Minus | PTO-025 | L1-PSL-R2 |  | PSO-025
15 | CDS-2 | 24 | L1-VDC-C5 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236459 | Plus | PTY-025 | L1-PSL-R2 |  | PSY-025
16 | CDS-2 | 24 | L1-VDC-C5 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236394 | Minus | PTY-025 | L1-PSL-R2 |  | PSY-025
17 | CDS-2 | 01 | L1-VDC-C5 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236397 | Plus | PTO-026 | L1-PSL-R1 |  | PSO-026
18 | CDS-2 | 01 | L1-VDC-C5 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236400 | Minus | PTO-026 | L1-PSL-R1 |  | PSO-026
19 | CDS-2 | 36 | L1-VDC-C5 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236393 | Plus | L1-TB05 | L1-PSL-R1 |  | PSY-026
20 | CDS-2 | 36 | L1-VDC-C5 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236398 | Minus | L1-TB05 | L1-PSL-R1 |  | PSY-026
D1200894 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 115: L1-VDC-C6 Power Racks – Required Supplies
Cable Runs >>
<< CPR
L1-VDC-C6 Power Rack
B
A
L1-VDC-C6 Power Rack
A
B
L1-OAF-C1
L1-OAF-C1
L1-AOS-C1
L1-AOS-C1
Unused
Unused
Unused
Unused
L1-PSL-R2
L1-PSL-R2
L1-AOS-C1
L1-OAF-C1
L1-OAF-C1
L1-OAF-C1
L1-AOS-C1
L1-AOS-C1
Unused
Unused
L1-PSL-R2
L1-PSL-R2
L1-OAF-C1
L1-AOS-C1
Unused
Unused
Unused
L1-PSL-R2
L1-FAC-C1
Unused
Unused
Unused
L1-FAC-C1
L1-PSL-R2
Unused
Unused
+160VDC
-160VDC
-160VDC
+160VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
+24VDC
+24VDC
+24VDC
Unused
unused
Unused
Unused
L1-PSL-R2
L1-PSL-R2
+12VDC
+12VDC
L1-PSL-R2
L1-PSL-R2
+12VDC
+12VDC
+500VDC
+500VDC
L1-VDC-C6 Corner Station DC Power Rack Layout (D1200895) (S1105252)
Unused
Unused
Unused
unused
Unused
Unused
Unused
unused
Unused
Unused
Unused
unused
Unused
Unused
Unused
unused
+12VDC
Unused
Unused
L1-SUS-R3
+12VDC
Unused
Unused
L1-SUS-R3

## Slide 116: L1-VDC-C6 Cable Runs
<< L1-VDC-C6
L1-VDC-C6 Corner Station DC Cable Runs (D1200895) (S1105252)
L1-VDC-C6 S1105252 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-2 | 37 | L1-VDC-C6 | 08 | Top | U37-A (Left) | JQE 15V 6A |  | Plus | PTB-001 | L1-PSL-R2 |  | PSG-002
2 | CDS-2 | 37 | L1-VDC-C6 | 08 | Bottom | U37-B (Right) | JQE 15V 6A |  | Plus | PTG-001 | L1-FAC-C1 |  | PSG-001
3 | CDS-2 | 31 | L1-VDC-C6 | 02 | Top | U33-A (Left) | BHK 500V 0.4A | C72508 | Plus | PBX-001 | L1-PSL-R2 |  | 
4 | CDS-2 | 31 | L1-VDC-C6 | 02 | Bottom | U33-B (Right) | BHK 500V 0.4A | C72508 | Plus | PBX-001 | L1-PSL-R2 |  | 
5 | CDS-2 | 27 | L1-VDC-C6 | 09 | Top | U29-A (Left) | PCX 200V 0.1A |  | Plus | PBX-002 | L1-PSL-R2 |  | 
6 | CDS-2 | 27 | L1-VDC-C6 | 09 | Bottom | U29-B (Right) | PCX 200V 0.1A |  | Minus | PBX-002 | L1-PSL-R2 |  | 
7 | CDS-2 | 08 | L1-VDC-C6 | 03 | Top | U25-A (Left) | BHK 500V 80mA | A107262 | Plus | Spare | L1-TSC-XR1 |  | 
8 | CDS-2 | 08 | L1-VDC-C6 | 03 | Bottom | U25-B (Right) | BHK 500V 80mA | A107265 | Minus | Spare | L1-TSC-YR1 |  | 
9 | CDS-2 | 39 | L1-VDC-C6 | 10 | Top | U21-A (Left) | JQE 15V 12A | H114633 | Plus | PTG-006 | L1-SUS-R3 |  | 
10 | CDS-2 | 39 | L1-VDC-C6 | 10 | Bottom | U21-B (Right) | JQE 15V 12A | H114642 |  |  |  |  | 
11 | CDS-2 | 33 | L1-VDC-C6 | 04 | Top | U17-A (Left) | JQE 15V 12A | H114630 |  |  |  |  | 
12 | CDS-2 | 33 | L1-VDC-C6 | 04 | Bottom | U17-B (Right) | JQE 15V 12A | H114625 |  |  |  |  | 
13 | CDS-2 | 29 | L1-VDC-C6 | 11 | Top | U13-A (Left) | JQE 25V 20A | H210611 |  |  |  |  | 
14 | CDS-2 | 29 | L1-VDC-C6 | 11 | Bottom | U13-B (Right) | JQE 150V 1.5A | H193672 |  |  |  |  | 
15 | CDS-2 | 10 | L1-VDC-C6 | 05 | Top | U09-A (Left) | JQE 25V 20A | H236431 | Plus | PTO-013 | L1-AOS-C1 |  | 
16 | CDS-2 | 10 | L1-VDC-C6 | 05 | Bottom | U09-B (Right) | JQE 25V 20A | H236470 | Minus | PTO-013 | L1-AOS-C1 |  | 
17 | CDS-2 | 41 | L1-VDC-C6 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236423 | Plus | PTO-013 | L1-OAF-C1 |  | 
18 | CDS-2 | 41 | L1-VDC-C6 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236413 | Minus | PTO-013 | L1-OAF-C1 |  | 
19 | CDS-2 | 35 | L1-VDC-C6 | 06 | Top | U01-A (Left) | JQE 25V 20A | H236491 | Plus | PTY-055 | L1-AOS-C1 |  | 
20 | CDS-2 | 35 | L1-VDC-C6 | 06 | Bottom | U01-B (Right) | JQE 25V 20A | H236472 | Plus | PTY-053 | L1-OAF-C1 |  | 
D1200895 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 117: L1-VDC-C7 Power Racks – Required Supplies
Cable Runs >>
<< CPR
L1-VDC-C7 Power Rack
B
A
L1-VDC-C7 Power Rack
A
B
L1-ISC-R5
L1-ISC-R5
+18VDC
-18VDC
L1-ISC-R5
L1-ISC-R5
-18VDC
+18VDC
L1-ISC-R2
L1-ISC-R2
+18VDC
-18VDC
L1-ISC-R2
L1-ISC-R2
-18VDC
+18VDC
L1-ISC-R3 L1-ISC-R5
L1-ISC-R3 L1-ISC-R5
+24VDC
-24VDC
L1-ISC-R3 L1-ISC-R5
L1-ISC-R3 L1-ISC-R5
-24VDC
+24VDC
L1-ISC-R4
L1-ISC-R4
+18VDC
-18VDC
L1-ISC-R4
L1-ISC-R4
-18VDC
+18VDC
L1-ISC-R1 L1-ISC-R2
L1-ISC-R4
L1-ISC-R1 L1-ISC-R2
L1-ISC-R4
+24VDC
-24VDC
L1-ISC-R1 L1-ISC-R2
L1-ISC-R4
L1-ISC-R1 L1-ISC-R2
L1-ISC-R4
-24VDC
+24VDC
L1-ISC-R3
L1-ISC-R3
+18VDC
-18VDC
L1-ISC-R3
L1-ISC-R3
-18VDC
+18VDC
L1-ISC-R1
L1-ISC-R1
-18VDC
+18VDC
L1-ISC-R1
L1-ISC-R1
+18VDC
-18VDC
L1-VDC-C7 Corner Station DC Power Rack Layout (D1200896) (S1105253)

## Slide 118: L1-VDC-C7 Cable Runs
<< L1-VDC-C7
L1-VDC-C7 Corner Station DC Cable Runs (D1200896) (S1105253)
L1-VDC-C7 S1105253 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-1 | 22 | L1-VDC-C7 | 07 | Top | U37-A (Left) | JQE 15V 12A | H114649 |  |  |  |  | 
2 | CDS-1 | 22 | L1-VDC-C7 | 07 | Bottom | U37-B (Right) | JQE 15V 12A | H114648 |  |  |  |  | 
3 | CDS-1 | 16 | L1-VDC-C7 | 01 | Top | U33-A (Left) |  |  |  |  |  |  | 
4 | CDS-1 | 16 | L1-VDC-C7 | 01 | Bottom | U33-B (Right) |  |  |  |  |  |  | 
5 | CDS-1 | 34 | L1-VDC-C7 | 08 | Top | U29-A (Left) |  |  |  |  |  |  | 
6 | CDS-1 | 34 | L1-VDC-C7 | 08 | Bottom | U29-B (Right) |  |  |  |  |  |  | 
7 | CDS-1 | 28 | L1-VDC-C7 | 02 | Top | U25-A (Left) | JQE 25V 20A | H236405 | Plus | L1-TB06 PTY-048 PTY-049 | L1-ISC-R1 L1-ISC-R2 L1-ISC-R4 |  | 
8 | CDS-1 | 28 | L1-VDC-C7 | 02 | Bottom | U25-B (Right) | JQE 25V 20A | H236411 | Minus | L1-TB06 PTY-048 PTY-049 | L1-ISC-R1 L1-ISC-R2 L1-ISC-R4 |  | 
9 | CDS-1 | 24 | L1-VDC-C7 | 09 | Top | U21-A (Left) | JQE 25V 20A | H236460 | Plus | PTY-050 PTY-051 | L1-ISC-R3 L1-ISC-R5 |  | 
10 | CDS-1 | 24 | L1-VDC-C7 | 09 | Bottom | U21-B (Right) | JQE 25V 20A | H236433 | Minus | PTY-050 PTY-051 | L1-ISC-R3 L1-ISC-R5 |  | 
11 | CDS-1 | 18 | L1-VDC-C7 | 03 | Top | U17-A (Left) | JQE 25V 20A | H236448 | Plus | PTO-061 | L1-ISC-R5 |  | 
12 | CDS-1 | 18 | L1-VDC-C7 | 03 | Bottom | U17-B (Right) | JQE 25V 20A | H236446 | Minus | PTO-061 | L1-ISC-R5 |  | 
13 | CDS-2 | 02 | L1-VDC-C7 | 10 | Top | U13-A (Left) | JQE 25V 20A | H236440 | Plus | PTO-060 | L1-ISC-R4 |  | 
14 | CDS-2 | 02 | L1-VDC-C7 | 10 | Bottom | U13-B (Right) | JQE 25V 20A | H236485 | Minus | PTO-060 | L1-ISC-R4 |  | 
15 | CDS-1 | 30 | L1-VDC-C7 | 04 | Top | U09-A (Left) | JQE 25V 20A | H236419 | Plus | PTO-062 | L1-ISC-R3 |  | 
16 | CDS-1 | 30 | L1-VDC-C7 | 04 | Bottom | U09-B (Right) | JQE 25V 20A | H236412 | Minus | PTO-062 | L1-ISC-R3 |  | 
17 | CDS-1 | 26 | L1-VDC-C7 | 11 | Top | U05-A (Left) | JQE 25V 20A | H236429 | Plus | PTO-059 | L1-ISC-R2 |  | 
18 | CDS-1 | 26 | L1-VDC-C7 | 11 | Bottom | U05-B (Right) | JQE 25V 20A | H236462 | Minus | PTO-059 | L1-ISC-R2 |  | 
19 | CDS-1 | 20 | L1-VDC-C7 | 05 | Top | U01-A (Left) | JQE 25V 20A | H236417 | Plus | PTO-058 | L1-ISC-R1 |  | 
20 | CDS-1 | 20 | L1-VDC-C7 | 05 | Bottom | U01-B (Right) | JQE 25V 20A | H236421 | Minus | PTO-058 | L1-ISC-R1 |  | 
D1200896 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 119: L1-VDC-C8 Power Racks – Required Supplies
Cable Runs >>
<< CPR
L1-VDC-C8 Power Rack
B
A
L1-VDC-C8 Power Rack
A
B
L1-VDC-C8 Corner Station DC Power Rack Layout (D1201137) (S1202998)

## Slide 120: L1-VDC-C8 Cable Runs
<< L1-VDC-C8
L1-VDC-C8 Corner Station DC Cable Runs (D1201137) (S1202998)
L1-VDC-C8 S1202998 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-1 | 36 | L1-VDC-C8 | 08 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-1 | 36 | L1-VDC-C8 | 08 | Bottom | U37-B (Right) |  |  |  |  |  |  | 
3 | CDS-1 | 35 | L1-VDC-C8 | 02 | Top | U33-A (Left) |  |  |  |  |  |  | 
4 | CDS-1 | 35 | L1-VDC-C8 | 02 | Bottom | U33-B (Right) |  |  |  |  |  |  | 
5 | CDS-1 | 38 | L1-VDC-C8 | 09 | Top | U29-A (Left) |  |  |  |  |  |  | 
6 | CDS-1 | 38 | L1-VDC-C8 | 09 | Bottom | U29-B (Right) |  |  |  |  |  |  | 
7 | CDS-1 | 37 | L1-VDC-C8 | 03 | Top | U25-A (Left) |  |  |  |  |  |  | 
8 | CDS-1 | 37 | L1-VDC-C8 | 03 | Bottom | U25-B (Right) |  |  |  |  |  |  | 
9 | CDS-1 | 40 | L1-VDC-C8 | 10 | Top | U21-A (Left) |  |  |  |  |  |  | 
10 | CDS-1 | 40 | L1-VDC-C8 | 10 | Bottom | U21-B (Right) |  |  |  |  |  |  | 
11 | CDS-1 | 39 | L1-VDC-C8 | 04 | Top | U17-A (Left) |  |  |  |  |  |  | 
12 | CDS-1 | 39 | L1-VDC-C8 | 04 | Bottom | U17-B (Right) |  |  |  |  |  |  | 
13 | CDS-2 | 42 | L1-VDC-C8 | 11 | Top | U13-A (Left) |  |  |  |  |  |  | 
14 | CDS-2 | 42 | L1-VDC-C8 | 11 | Bottom | U13-B (Right) |  |  |  |  |  |  | 
15 | CDS-1 | 41 | L1-VDC-C8 | 05 | Top | U09-A (Left) |  |  |  |  |  |  | 
16 | CDS-1 | 41 | L1-VDC-C8 | 05 | Bottom | U09-B (Right) |  |  |  |  |  |  | 
17 | CDS-2 | 40 | L1-VDC-C8 | 12 | Top | U05-A (Left) |  |  |  |  |  |  | 
18 | CDS-2 | 40 | L1-VDC-C8 | 12 | Bottom | U05-B (Right) |  |  |  |  |  |  | 
19 | CDS-2 | 42 | L1-VDC-C8 | 06 | Top | U01-A (Left) |  |  |  |  |  |  | 
20 | CDS-2 | 42 | L1-VDC-C8 | 06 | Bottom | U01-B (Right) |  |  |  |  |  |  | 
D1201137 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 121: Other KEPCOs
<< L1-VDC-C7
KEPCO Power Supplies
UPS1
+12VDC
-12VDC
+24VDC
H222050
H214494
H214524
KEPCO Power Supplies
UPS1
+12VDC
-12VDC
+24VDC
H207953
H214494
H214524

## Slide 122: Subsystem: AOS / TCS (Auxiliary Optics)
<< LLO Racks by Subsystem
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-FAC-C1
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
Op Lev Docs : E1200031 and T1000097
D1200258
IO Diagram: D1100909
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
AOS
TCS

## Slide 123: L1-AOS-C1
AOS Rack Layout (D1201119) (S1202974)
<< CER
PTY-055
l1tcs0 I/O Extension Chassis
D1001715
+24VDC
S1103894
Anti-Image Chassis
D070081
±18VDC
S1000252
Anti-Alias Chassis
D1300282
±18VDC
S1301165
Anti-Alias Chassis
D1300282
±18VDC
S1301167
Ring Heater Driver
D1003254
±18VDC
S1201846
Ring Heater Driver
D1003254
±18VDC
S1201844
TCS Beckhoff Chassis
D1102207
+24VDC
S1300862
L1-AOS-C1 is part of E1100895
L1-AOS-C1 is part of D1200258
PTO-012

## Slide 124: L1-AOS-C1 Details
L1-AOS-C1 Details
<< L1-AOS-C1

## Slide 125: D1003254–S1201844
S1201844
Rear
D1003254
Front
<< L1-AOS-C1
Ring Heater Driver
D1003254
±18VDC
S1201844
This is an early revision of the front panel. It now has one DB37M connector.
20121205 dlk
D1003254
White label
20121205 dlk
Label
Cable to Ring Heater
Label
Description

## Slide 126: D1003254–S1201846
D1003254
Front
<< L1-AOS-C1
Ring Heater Driver
D1003254
±18VDC
S1201846
S1201846
Rear
D1003254
Front
This is an early revision of the front panel. It now has one DB37M connector.
20121205 dlk
Label
Cable to Ring Heater
Label
Description
D1003254
White label
20121205 dlk

## Slide 127: D070081 – S1000252
Anti-Image Chassis
D070081
±18VDC
S1000252
<< L1-AOS-C1
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
To DAC
To DAC
S1000252
Rear

## Slide 128: D1300282 – S1301165
Anti-Alias Chassis
D1300282
±18VDC
S1301165
<< L1-AOS-C1
To ADC
To ADC Adapter
S1301165
Rear
D1300282
Front
IN 19-22
IN 19-22
IN 23-26
IN 23-26
IN 27-30
IN 27-30
IN 31-32
IN 31-32
IN 1-18
IN 1-18

## Slide 129: D1300282 – S1301167
<< L1-AOS-C1
Anti-Alias Chassis
D1300282
±18VDC
S1301167
To ADC
To ADC Adapter
S1301167
Rear
D1300282
Front
IN 19-22
IN 19-22
IN 23-26
IN 23-26
IN 27-30
IN 27-30
IN 31-32
IN 31-32
IN 1-18
IN 1-18

## Slide 130: l1tcs0 - D1001715 – S1103894
D1001715
Front
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
Slot P10
S1103894
Rear
L1:FE-IO-22
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1tcs0 I/O Extension Chassis
D1001715
+24VDC
S1103894
l1tcs0 – IO Chassis
<< L1-AOS-C1
+24VDC
PTY-011
Timing Link
L1:FE-IO-22
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx

## Slide 131: D1102207 – S1300862
TCS Beckhoff Chassis
D1102207
+24VDC
S1300862
S1300862
Rear
D1102207
Front
<< L1-AOS-C1

## Slide 132: Mechanical Room Racks
TCS Rack 1 (HV)
(L1-TCS-M1)
LVEA Mech VAC
(L1-VAC-R3)
<< LLO Racks by AREA
<< LLO Racks by Subsystems
Vacuum ION PUMP Controllers
(L1-PNL-600)
QDP80
(link)
Kobelco
(link)
Chillers
(link)
HEPI Pumps
(link)
PMB
(link)

## Slide 133: Commissioning Needs Operations

## Slide 134: L1-TCS-M1 – TCS Power Supplies and Chillers
110VAC 20A
Non-UPS Power Strip
110VAC 20A
Non-UPS Power Strip
110VAC
DC Power Supplies
Instek PSW80-40.5
Sxxxxxxxxxx
Solid Shelf
110VAC
RF Signal Generators
Solid Shelf
110VAC
Chiller 1
Chiller 2
110VAC
<< Mechanical Room Racks
L1-TCS-M1 (Mechanical Room) Rack Layout (D1201356) (S1203450)
TCS CO2 Laser Power Supply Interlock Box
110VAC
D1400238
Sxxxxxxx
D1400238
Sxxxxxxx
Solid Shelf
TCS Power Supply Splitter
No Power
D1300680
Sxxxxxxx
TCS Power Supply Splitter
D1300680
No Power
Sxxxxxxx

## Slide 135: D1400238-Sxxxxxxx
Sxxxxxxx
Rear
D1400238
Front
<< L1-TCS-M1
TCS CO2 Laser Power Supply Interlock Box
±24VDC
D1400238
Sxxxxxxx
D1400238 - TCS CO2 Laser Input Power Interlock Box
Digi-Key HM1193-ND 8.74 x 5.75 x 4.14 Black Box
Mouser 651—2963802 Phoenix Contact Safety Relay
Digi-Key 277-9822-ND AC/DC CONVERTER 24V 2.5A 60W
DB9 F bulkhead mount + 2 pins
3.75” DIN rail
2 – 8-32*3/8 Screws
2 – 8-32 Nylon filled nuts
2 - #10 Flat washers
2 - Grommets
1 – 16/3 3-prong extension cord – 6’

## Slide 136: D1300680 - Sxxxxxxx
TCS Power Supply Splitter
No Power
TCS Power Supply Splitter
D1300680
No Power
Sxxxxxxx
D1300680
Front
To Interlock
To Interlock
To AA Chassis
To AA Chassis
D1300680
Rear
This device is NOT removable because signals cross pins. And Pin 7 is called out as Ground, but is not connected.
In addition, the drawings for the cable pin-outs are wrong.
<< L1-TCS-M1
To Interlock
1
2
3
4
5
6
7
8
9
To AA Chassis
1
2
3
4
5
6
7
8
9
From Power Supply
1
2
3
4
5
6
7
8
9
From Power Supply
From Power Supply
Gender Changer
“To Interlock” cable is NOT present. The actual Interlock Cable comes from the D1400238 Box.

## Slide 137: D1300680 - Sxxxxxxx
D1300680
Front
To Interlock
To Interlock
To AA Chassis
To AA Chassis
D1300680
Rear
This device is NOT removable because signals cross pins. And Pin 7 is called out as Ground, but is not connected.
In addition, the drawings for the cable pin-outs are wrong.
<< L1-TCS-M1
To Interlock
1
2
3
4
5
6
7
8
9
To AA Chassis
1
2
3
4
5
6
7
8
9
From Power Supply
1
2
3
4
5
6
7
8
9
From Power Supply
From Power Supply
Gender Changer
“To Interlock” cable is NOT present. The actual Interlock Cable comes from the D1400238 Box.
TCS Power Supply Splitter
No Power
D1300680
Sxxxxxxx
TCS Power Supply Splitter
No Power

## Slide 138: TCS Chiller UPS Calculations
115VAC x 14.6A = 1679VA
Per chiller (2 per site)
<< L1-TCS-M1

## Slide 139: Thermoflex 1400 Chiller
<< L1-TCS-M1

## Slide 140: Subsystem: FAC (Facilities)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
FAC

## Slide 141: L1-FAC-C1
L1-FAC-C1 Rack Layout (D1200940) (S1202403)
<< CER
Fiber Patch Panel
Dxxxxxxx
No Power
Sxxxxxxx
Timing Fanout Module
D070011
+12VDC
S1107512
Fiber Patch Panel
No Power
Sxxxxxxx
Dxxxxxxx
Shelf
Shelf
Shelf
UPS1
SUA2200RMXL3U
120VAC, 20A
JS1044009376
UPS & 110VAC
Sxxxxxxx
GS624P
Brocade FastIron Edge GS624 POE
Comtrol
5002111
-12VDC
9445005343
UPS & 110VAC
FL34044533
X448
Foundary FastIron Edge X448
UPS & 110VAC
FW27040301
4802
Foundary FastIron Edge 4802
PTG-001
110VAC 20A
UPS Power Strip

## Slide 142: L1-FAC-C1 Details
L1-FAC-C1 Details
<< L1-FAC-C1

## Slide 143: Dxxxxxxx – Sxxxxxxx
Fiber Patch Panel
Dxxxxxxx
No Power
Sxxxxxxx
Dxxxxxxx
Front
Sxxxxxxxx
Rear
<< L1-FAC-C1
Fibercables.com

## Slide 144: D070011 – S1107512
Timing Fanout Module
D070011
+12VDC
S1107512
<< L1-FAC-C1
Fanout
S1107512
Rear
D070011
Front
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x

## Slide 145: Fiber Patch Panel
Fiber Patch Panel
No Power
Sxxxxxxx
Dxxxxxxx
<< L1-FAC-C1

## Slide 146: SUA2200RMXL3U – JS1044009376 UPS
UPS1
SUA2200RMXL3U
120VAC, 20A
JS1044009376
<< L1-FAC-C1

## Slide 147: Subsystem: OAF (Online Adaptive Filtering)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
OAF
PEM DAQ
PEM Sensor Locations >>
PEM Website >>
PEM Categories >>

## Slide 148: L1-OAF-C1 (Online Adaptive Filtering)
l1oaf0 I/O Extension Chassis
D1001715
+24VDC
S1103894
Accelerometer Power Supply
Isotron 2973
110VAC
Sxxxxxxx
<< CER
PTO-013
PTY-053
L1-OAF-C1 Rack Layout (D1200941) (S1202404)
aLIGO AA Interface Chassis (32 BNC x10 Gain Version)
D1001421
±18VDC
S1001057
aLIGO 18 Bit AI Interface Chassis
D1101785
±18VDC
S1300252
Accelerometer Power Supply
Isotron 2973
110VAC
Sxxxxxxx
aLIGO AA Interface Chassis (32 BNC x10 Gain Version)
D1001421
±18VDC
S1001057
110VAC 20A
Non-UPS Power Strip
PTB-xxx
Microphones Only (0-18-36)
PEM Sensor Locations >>
BNC Patch Panel C1-4
PPD32-BNCB50IS
No Power
Sxxxxxxx
BNC Patch Panel C1-3
PPD32-BNCB50IS
No Power
Sxxxxxxx
BNC Patch Panel C1-2
PPD32-BNCB50IS
No Power
Sxxxxxxx
BNC Patch Panel C1-1
PPD32-BNCB50IS
No Power
Sxxxxxxx
Perforated Shelf

## Slide 149: L1-OAF-C1 Details
L1-OAF-C1 Details
<< L1-OAF-C1

## Slide 150: BNC Patch Panel C1-1
BNC Patch Panel C1-1
PPD32-BNCB50IS
No Power
Sxxxxxxx
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
<< L1-OAF-C1
PPD32-BNCB50IS
Front
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused

## Slide 151: BNC Patch Panel C1-2
BNC Patch Panel C1-2
PPD32-BNCB50IS
No Power
Sxxxxxxx
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
<< L1-OAF-C1
PPD32-BNCB50IS
Front
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused

## Slide 152: BNC Patch Panel C1-3
BNC Patch Panel C1-3
PPD32-BNCB50IS
No Power
Sxxxxxxx
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
<< L1-OAF-C1
PPD32-BNCB50IS
Front
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused

## Slide 153: BNC Patch Panel C1-4
BNC Patch Panel C1-4
PPD32-BNCB50IS
No Power
Sxxxxxxx
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
<< L1-OAF-C1
PPD32-BNCB50IS
Front
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused

## Slide 154: Endevco Isotron 2793
Sxxxxxxx
Rear
Isotron 2973
Front
ACCX
ACCY
Unused
ACCZ
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
ACCZ
Unused
ACCY
ACCX
Accelerometer Power Supply
Isotron 2973
110VAC
Sxxxxxxx
<< L1-OAF-C1

## Slide 155: D1001421 – S1001057
S1001057
Rear
To ADC Adapter
To l1oaf0 Slot P1
To ADC Adapter
D1001421
Front
aLIGO AA Interface Chassis (32 BNC, x10 Gain Version)
D1001421
±18VDC
S1001057 :
MAG X
1
MAG Y
2
MAG Z
3
SEI X
4
SEI Y
5
SEI Z
6
Isotron 1
7
Isotron 2
8
Isotron 4
9
BSC4 MIC
10
BAY MIC
11
BSC4 TEMP
12
OPLEV 10
13
Unused
14
Unused
15
Unused
16
Unused
17
Unused
18
Unused
19
Unused
20
Unused
21
Unused
22
Unused
23
Unused
24
Unused
25
Unused
26
Unused
27
Unused
28
Unused
29
Unused
30
Unused
31
Unused
32
<< L1-OAF-C1
D1300774

## Slide 156: Endevco Isotron 2793
Sxxxxxxx
Rear
Isotron 2973
Front
ACCX
ACCY
Unused
ACCZ
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
ACCZ
Unused
ACCY
ACCX
Accelerometer Power Supply
Isotron 2973
110VAC
Sxxxxxxx
<< L1-OAF-C1

## Slide 157: D1001421 – S1001057
S1001057
Rear
To ADC Adapter
To l1oaf0 Slot P1
To ADC Adapter
D1001421
Front
aLIGO AA Interface Chassis (32 BNC, x10 Gain Version)
D1001421
±18VDC
S1001057 :
MAG X
1
MAG Y
2
MAG Z
3
SEI X
4
SEI Y
5
SEI Z
6
Isotron 1
7
Isotron 2
8
Isotron 4
9
BSC4 MIC
10
BAY MIC
11
BSC4 TEMP
12
OPLEV 10
13
Unused
14
Unused
15
Unused
16
Unused
17
Unused
18
Unused
19
Unused
20
Unused
21
Unused
22
Unused
23
Unused
24
Unused
25
Unused
26
Unused
27
Unused
28
Unused
29
Unused
30
Unused
31
Unused
32
<< L1-OAF-C1
D1300774

## Slide 158: D1101785 – S1300252
aLIGO 18 Bit AI Interface Chassis
D1101785
±18VDC
S1300252
S1300252
Rear
From DAC
From DAC
<< L1-OAF-C1
D1101785
Front
Ch 0-3
Ch 0-3
Ch 4-7
Ch 4-7

## Slide 159: l1oaf0 - D1001715 – S1103894
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-03
Slot P10
S1103894
Rear
L1:FE-IO-03
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1oaf0 I/O Extension Chassis
D1001715
110VAC
S1103894
<< L1-OAF-C1
l1oaf0 – IO Chassis
+24VDC
PTY-011
DAC18 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx

## Slide 160: LLO PEM Sensor Locations
<< L1-OAF-C1
D1200615
PEM Website
PEM Categories
20140922

## Slide 161: PEM Categories
Accelerometers
Antennae (Radio Receivers)
Coil Magnetometer
Cosmic Ray Detector
Magnetometer
Microphones
Muon (Charged Particle) Detector
Particle Counters (Dust Monitors)
Power Line (Voltage) Monitor
Residual Gas in Vacuum System
Scintillator Detector
Seismometers
Temperature Sensors
Tiltmeters
Vacuum Contamination Monitor
Weather Stations
<< PEM Sensor Locations

## Slide 162: Current PEM (2008)
Accelerometers
  10-8 f-2 m Hz-1/2
  10-200Hz (256Hz, 16bit)
Seismometers
  3 x 10-10 f-2 m Hz-1/2
  0-10 Hz (256Hz, 16bit, 3 axis)
Microphones
  10 Pa Hz-1/2
  10-1000Hz (2048Hz, 16bit)
RF receivers
  10μV/m
  1.3GHz (2048Hz, 6x16bit)
Residual Gas in Vacuum System
Vacuum contamination Monitor
Weather Station
  T (1K), RH (10%), precipitation (10%), Wind (1mph)

## Slide 163: Current PEM (2008)
Tiltmeters
  2 x 10-9 f-2 rad Hz-1/2
  0-10Hz (256Hz, 16bit, 2 axis)
Dust Monitors
Muon (Charged Particle) Detector
  10-4μ/s/m2
  1 msec (2048Hz, 16bit)
Cosmic Rays
Magnetometer
  2 x 10-11 T.Hz-1/2
  1 kHz (2048Hz, 3x16bit)
Coil magnetometer
  2 x 10-12 T.Hz-1/2
  1 kHz (2048Hz, 16bit)
Scintillator detector
Power Line Monitor

## Slide 164: PCIe to Fiber Cable Adapter

## Slide 165: Accelerometers (1)
Isotron Power Supply Model 2793 has 16 channels
This model does NOT come with a DC option.
There is a 3-channel Power Supply that has a DC option, but it has many other features not desired.
It appears that a short (6”) 10-32 to BNC cable can be ordered, but care should be given to strain relief considerations.
Only Wilcoxon Accelerometers are used for PEM
Isotron Model 2793
DAQIC
Isotron Model 2793
DAQIC
Front
Rear
AC Powered
15VDC Powered
DB25 Cable “hardwired”
Accelerometer (in the field)
PSL X
PSL Y
PSL Z
ISCT1 X
ISCT1 Y
ISCT1 Z
HAM1 X
HAM1 Y aka HAM6 X
HAM1 Z
HAM2 X
HAM2 Y aka HAM6 Y
HAM2 Z
HAM3 X
HAM3 Y aka HAM6 Z
HAM3 Z
BSC1 X
BSC1 Y
BSC1 Z
BSC2 X
BSC2 Y
BSC2 Z
BSC3 X
BSC3 Y
BSC3 Z
HAM6 X
HAM6 Y
HAM6 Z
BSC4 X (VEAX)
BSC4 Y (VEAX)
BSC4 Z (VEAX)
BSC5 X (VEAY)
BSC5 Y (VEAY)
BSC5 Z (VEAY)
Accelerometer locations:
1X5
1X20
1Y20
<< PEM Categories

## Slide 166: Accelerometers (2)

## Slide 167: Accelerometers (3)

## Slide 168: Accelerometers (4)

## Slide 169: Antennae
Converter?
AOR (Authority On Radio) AR5000 Radio Receiver
Doug Lormand?
There are two antennae of interest.
Roof Antenna
CDS High-bay Antenna
The Roof Antenna
Receiver is located in the MSR
219.84 MHz FM
Agilent E3610A DC Power Supply (8V, 3A; 16V, 1.5A)
12VDC Wall Wart
To Roof?
IF Output
AC Power
To where?
<< PEM Categories

## Slide 170: Humidity (and Temperature) Sensors
(J.) David Barker says this is the Siemens System
Humidity sensor locations
Room 172 – LDR Changing Room
<< PEM Categories

## Slide 171: Magnetometer (1)
12VDC Wall Wart
D070443
Magnetometer Filter
Magnetometer Power Supply
(MAG-03PSU)
Magnetometer
MAG-03MCES
X
Y
Z
X
Y
Z
Magnetometer: Bartington Instruments MAG-03MC
5 meter
X
Y
Z
D030574
Pin 1: +15VDC … Red/Blk RED
Pin 2: Ground … Red/Blk BLACK
Pin 3: -15VDC … Wht/Blk WHITE
Pin 4: Ground … Wht/Blk BLACK
T1100382
9-18VDC Power
<< PEM Categories

## Slide 172: Magnetometers (2) Filter Schematic
D030574

## Slide 173: Magnetometers (3) Amplifier Sketch

## Slide 174: LVEA PEM Sensors (No-Fly Zone)
SEISMIC
Seismometer
Infrasound Microphone
PEM
Tiltmeter
PEM
Magnetometer
PEM
Seismometer

## Slide 175: VEAX PEM Sensors (No-Fly Zone)
SEISMIC
Seismometer
Infrasound Microphone
PEM
Seismometer
PEM
Tiltmeter
PEM
Magnetometer

## Slide 176: VEAY PEM Sensors (No-Fly Zone)
SEISMIC
Seismometer
Infrasound Microphone
PEM
Seismometer
PEM
Tiltmeter
PEM
Magnetometer

## Slide 177: Microphones
The Manufacturer is Bruel & Kjaer
Microphone locations
LVEA (PSL)
LVEA (Input Optics (HAM2))
LVEA (BCS3)
LVEA (CRYO-X)
LVEA (CRYO-Y)
LVEA (Output Optics (HAM6))
CER (EBAY)
VEAX (BSC4)
VEAY (BSC5)
CERX (XBAY)
CERY (YBAY)
2 meter cable
Extension cables are available – 3m, 10m, and 30m
Since the power supply handles two microphones, the microphones are ‘paired’ in certain places.
<< PEM Categories

## Slide 178: Microphones

## Slide 179: Microphones

## Slide 180: Microphones

## Slide 181: Microphones

## Slide 182: Microphone Locations (Vertex)
PSL-R2
SUS-R4
TCS-R1
CRYO-X
CRYO-Y
OAF-C1
BSC2
HAM5
HAM2
PSL

## Slide 183: Microphone Locations (X-End)
SUS-XR1
BSC4
TCS-XC1

## Slide 184: Microphone Locations (Y-End)
SUS-YR1
BSC5
TCS-YC1

## Slide 185: Microphones
The 2810 was originally powered by 4 (four) 9V batteries. They were self-contained and would not interfere with any other device.
But somebody modified them to take DC power from power supplies because perpetually replacing batteries is onerous.
So - due to internal 2810 circuitry that puts the return voltage on the shield of the BNC signal cables, the power supplies that replace the batteries must be configured with a common NEGATIVE pole, and all permanently modified 2810s must be exclusively powered from these supplies.

## Slide 186: Microphones

## Slide 187: Microphones – Power Adaptor Cable

## Slide 188: Particle Counters (Dust Monitors)
Dust Monitors are not on during Science Mode due to the acoustic noise.
This noise is the air pump. It is always on.
The manufacturer is Pacific Scientific
Old ones (being replaced) are MET One 227B. (9VDC)
New ones (replacements) are MET One GT-321. (9VDC, 2A)
These are scattered throughout the LVEA and usually two of them share a power supply via a cable to a junction box. They are powered from the serial interface port. Not sure if this is a homemade adaptation.
The Junction Box needs documentation.
9VDC Wall Wart
MET One 227B
MET One
GT-321
9VDC Wall Wart
<< PEM Categories

## Slide 189: Comtrol DeviceMaster with DB9 Ports
Comtrol DeviceMaster 4 with DB9 Ports
3M Shell 3357-9209
3M Shell 3357-9209
2.1mm Socket
(Note polarity)

## Slide 190: Particle Counter Y-Cable – Comtrol End
This cable is configured to carry both DC Power and RS485 Signals. The 2.1mm Socket can come from a commercially available 2.1mm Cable Assembly. Note the center pin of the 2.1mm is NEGATIVE. And both shields are tied together and tied to both backshells.

## Slide 191: Particle Counter Y-Cable – Particle Counter End
This cable is configured to carry both DC Power and RS485 Signals. The 2.1mm Plug can come from a commercially available 2.1mm Cable Assembly. Note the center conductor of the 2.1mm is NEGATIVE. And both shields are tied together and are tied only to the backshell that connects to the cable. The backshell connected to the Particle Counter is NOT tied to the shields.

## Slide 192: Particle Counter Extension Cable
This cable is configured to carry both DC Power and RS485 Signals. Note that both shields are tied together and tied to both backshells.
It is 70’ from the L1-FAC-XC1 Rack to the knee of the waterfall in the VEAX.
It is 65’ from the L1-FAC-YC1 Rack to the knee of the waterfall in the VEAY.

## Slide 193: 3M Backshell Assembly
This is a sample drawing of the 3M backshell showing how the E-Ring is attached to the Lock Screw, and showing how the Cover Nut holds the backshell in place.

## Slide 194: Particle Counters (Met One 227B)
3M Shell 3357-9209
3M Shell 3357-9209

## Slide 195: Particle Counters (GT-321)

## Slide 196: Seismometers
Seismometer locations
BSC1 (LVEA) –
BSC4 (VEAX) – Guralp CMG-40T
BSC5 (VEAY) – Guralp CMG-40T
EELAB (SPARE) – Guralp CMG-40T
PT06E-16-26S(SR)-ND
CONN PLUG 26 POS
STRAIGHT W/SCKT

## Slide 197: Seismometers
To PEM ADC
SIGNAL PT06E-16-26S COLOR DB9M DB9F BNC-FEMALE
X+ E WHITE 1 1 BNC1 CENTER
X- F BLACK 6 6 BNC1 SHIELD
Y+ C RED 2 2 BNC2 CENTER
Y- D GREEN 7 7 BNC2 SHIELD
Z+ A BLUE 3 3 BNC3 CENTER
Z- B BROWN 8 8 BNC3 SHIELD
To DC POWER
SIGNAL PT06E-12-10S COLOR 3W3
-12VDC H GREEN A3
RETURN A BLACK A2
+12VDC B WHITE A1
To SEISMOMETER
PT06E-16-26S
PT06E-16-26S
PT06E-16-26S
PT06E-12-10S

## Slide 198: Seismometers
PT06E-16-26S(SR)-ND
CONN PLUG 26 POS
STRAIGHT W/SCKT
PT06A-14-15P(SR)-ND
CONN PLUG 15 POS
STRAIGHT W/PINS
PT06E-12-10S(470)-ND
CONN PLUG 10 POS
STRAIGHT W/SCKT
PT06A-14-15S(SR)-ND
CONN PLUG 15 POS
STRAIGHT W/SCKT
501-1030-ND
BREAKOUT BNC FEMALE-20AWG LEADS

## Slide 199: Temperature Sensors
Temperature Sensor locations
BSC1 (LVEA) – one old, one new
BSC3 (LVEA)
BSC4 (VEAX)
BSC5 (VEAY)
Temperature Sensors include thermocouples:
Are there any read in the chiller lines? TCS, PSL?
There are thermocouples in the vacuum system for the N2 tanks.
https://dcc.ligo.org/G1401168-v1
<< PEM Categories

## Slide 200: Temperature Sensors
T0900287
These cables can be replaced with standard +-18VDC
<< PEM Categories

## Slide 201: Temperature Sensor Locations
G1401168
<< PEM Categories

## Slide 202: Tiltmeters
<< PEM Categories
PT06E-16-26S(SR)-ND
CONN PLUG 26 POS
STRAIGHT W/SCKT

## Slide 203: Voltage Monitor (1)
PEM Voltage Monitor locations:
LVEA – Rack 1X5 – DAQIC2, BNC Port 13
VEAX – Rack 1X20 – DAQIC2, BNC Port ?
VEAY – Rack 1Y20 – DAQIC2, BNC Port 10
This monitor is labeled, “PEM Voltage Monitor No. CAS-Vxx.” The circuit board inside says, “LHO EE Power Monitor Board D0000TBD.” Documentation is scarce. This device is probably OK for monitoring the single balanced power into which it is plugged in Rack 1X5. It is intended to record the differential between the two phases of the balanced power. But if it is used on any ‘real’ AC circuit, it creates the potential for a ½ line voltage ground loop between neutral and ground, and another between hot and ground.
Additionally, even in the balanced power situation, NEUTRAL is the wrong designation, for none of the conductors is neutral in a balanced power circuit: it is the negative AC power.
The circuit ties all shields together, so current loops exist between 2 potentially different AC circuits.
And also the cable ties all shields together, creating the same problem.
And most ironic, the monitor in Rack 1X5 is NOT being read at all: there is no signal name, but it is plugged in. (This was NOT true in September 2009 when inventory of the DAQIC signals was last taken.)
At the YEND, the AC cable has only three BNC connectors. Two are connected to the Voltage Monitor box.
At the XEND, the AC cable has all four BNC connectors, but they are cross-connected to the Voltage Monitor Box: Cable HOT1, NEU1, HOT2, NEU2 are connected to Box HOT2, NEU2, HOT1, NEU1 and I did not check the cable for accuracy. I did note it only has 2 wires coming into the CP4 port, however, but which two is not clear.
Comments as of 20100525
LHO EE
Power Monitor Board
D000TBD?
<< PEM Categories

## Slide 204: Voltage Monitor (2)
Photos as of 20100525

## Slide 205: Voltage Monitor (3)
CP-4 Socket Pins:
Hot 1 – fused
Neutral 1
Hot 2 – fused
Neutral 2
R1,R3,R5,R7 = 1MΩ
R2,R4,R6,R8 = 1kΩ
Fuse1,2 = 250V, ¼A
R1
R2
R3
R5
R7
R4
R6
R8
Fuse 2
Fuse 1
J1 – Hot 1
J2 – Neutral 1
J4 – Neutral 2
J3 – Hot 2
PEM Voltage Monitor No. CAS-V11
J2 – Neutral 1
J1 – Hot 1
2 – Fuses – 250V ¼A
AC Power (input to monitor)
J4 – Neutral 2
J3 – Hot 2
Outputs
CP-4 Plug Pins:
Hot 1
Neutral 1
Hot
Ground
Neutral
Internal Design and Interfaces as of 20100525

## Slide 206: Voltage Monitor (4)
Lemo 4-Pin:
Neutral 1
Neutral 2
Hot 2 – fused
Hot 1 – fused
Shield
J1 – Hot 1
J2 – Neutral 1
J4 – Neutral 2
J3 – Hot 2
Cable: From 4 BNC connectors to 4-Pin Lemo on DAQIC-2
Cable design as of 20100525

## Slide 207: Weather Sensors
Weather Sensor locations
LLO network
LSU network
<< PEM Categories

## Slide 208: Wall Warts and Other Items Requiring Power
Cameras
Computer Monitors
Lights
Vacuum Equipment
Rechargeable Flashlights
Optical Isolators
Trouble Lights
Warning Signs
Laser Hazard Status Signs
Laser Danger Signs
Loudspeaker
Telephones

## Slide 209: Cameras (Video)
Mike Fyffe?

## Slide 210: OPLEVS – Optical Levers
Pin A –
Pin B –
Pin C -
3-Pin Power Connector

## Slide 211: Subsystem: ISC (Interferometer Sensing and Control)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-PSL-C1
CDS Electronics Room (CER)
L1-ISC-C4
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
ISC

## Slide 212: LLO ISC Equipment
CER
LDR
CPR
LVEA
MSR
CUR
VEAY
VEAX
D1000653
D1100670
D1100670
D1100909
IO Stuff
D1000313
D1000339
D1000484
D1000342
D1000484
D1201103

## Slide 213: L1-ISC-C1
TB-02
PTO-054
ISC LVEA Rack 1 Layout (D1200949) (S1201186)
4 Channel Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1200603
<< CER
IO Diagram: D1100909
l1lsc0 I/O Extension Chassis
D1001715
+24VDC
S1106342
l1asc0 I/O Extension Chassis
D1001715
+24VDC
S1106300
Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102779
Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102768
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102780
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102708
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102771
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102775
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102769
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102767
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102772
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102778
Anti-Image Chassis (ASC)
D070081
±18VDC
S1102756
4 Channel Coil Driver (Tip/Tilt REFL)
D1100687
±18VDC
S1200616
4 Channel Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1200604
4 Channel Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1106047
Anti-Image Chassis (ASC)
D070081
±18VDC
S1102757
Vertex ISC: D1100170
ISC-C1 is part of D1001427.
PTY-046
4 Channel Coil Driver (Tip/Tilt REFL)
D1100687
±18VDC
S1200615
Anti-Image Chassis (LSC)
D070081
±18VDC
S1102758
Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102773

## Slide 214: L1-ISC-C1
<< CER
(D1100170)
ISC LVEA Rack 1 Layout (D1200949) (S1201186)
(D1001427)

## Slide 215: L1-ISC-C1 Details
L1-ISC-C1 Details
<< L1-ISC-C1
ISC-C1 is part of D1001427.

## Slide 216: D0902783 – S1102778 (ADC0)
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102778
<< L1-ISC-C1
IN 1-4
CAB_4:ISC_14
IMC WFS A
IN 17-20
CAB_4:ISC_22
IMC WFS A DC
IN 5-8
CAB_4:ISC_15
IMC WFS A
IN 9-12
CAB_4:ISC_16
IMC WFS B
IN 13-16
CAB_4:ISC_17
IMC WFS B
IN 21-24
CAB_4:ISC_23
IMC WFS B DC
IN 25-28
CAB_4:ISC_250
ADC0
IN 29-32
No Cable
D0902783
Front
To ADC
L1:ISC-279
S1102778
Rear

## Slide 217: CAB_4:ISC_14 (IMC WFS A)
<< D0902783 – S1102778
>> Thing
Pins D0902783-S1102778 Other End
1
2
3
4
5
6
7
8
9

## Slide 218: L1:ISC-279 (To ADC)
Pins D0902783-S1102778 D1001715-S1106300
1
2
3
4
5
6
7
8
9
10
11
12
13
14
<< D0902783 – S1102778
>> D1001715 – S1106300

## Slide 219: D0902783 – S1102772 (ADC1)
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102772
<< L1-ISC-C1
IN 1-4
CAB_4:ISC_247
IM4 TRANS QPD
IN 17-20
CAB_4:ISC_272
IOT2 PDS
IN 5-8
CAB_4:ISC_249
MC2 TRANS QPD
IN 9-12
CAB_4:ISC_268
PSL IO PDS
IN 13-16
CAB_4:ISC_270
IOT1 PDS
IN 21-24
N/A
IN 25-28
N/A
IN 29-32
N/A
D0902783
Front
To ADC
L1:ISC-280
S1102772
Rear

## Slide 220: L1:ISC-280 (To ADC)
Pins D0902783-S1102772 D1001715-S1106300
1
2
3
4
5
6
7
8
9
10
11
12
13
14
<< D0902783 – S1102772
>> D1001715 – S1106300

## Slide 221: D0902783 – S1102767
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102767
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102767
Rear

## Slide 222: D0902783 – S1102769
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102769
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102769
Rear

## Slide 223: D0902783 – S1102775
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102775
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102775
Rear

## Slide 224: D0902783 – S1102771
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102771
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102771
Rear

## Slide 225: D0902783 – S1102708
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102708
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102708
Rear

## Slide 226: D0902783 – S1102780
Anti-Alias Chassis (ASC)
D0902783
±18VDC
S1102780
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102780
Rear

## Slide 227: D1100687 – S1200615
4 Channel Coil Driver (Tip/Tilt REFL)
D1100687
±18VDC
S1200615 :
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200615
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 228: D1100687 – S1200616
4 Channel Coil Driver (Tip/Tilt REFL)
D1100687
±18VDC
S1200616 :
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200616
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 229: D1100687 – S1106047
4 Channel Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1106047
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1106047
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 230: D1100687 – S1200604
4 Channel Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1200604 :
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200604
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 231: D1100687 – S1200603
4 Channel Coil Driver (Tip/Tilt OMC)
D1100687
±18VDC
S1200603
<< L1-ISC-C1
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200603
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp

## Slide 232: D070081 – S1102757
Anti-Image Chassis (ASC)
D070081
±18VDC
S1102757
<< L1-ISC-C1
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
To DAC
To DAC
S1102757
Rear

## Slide 233: D070081 – S1102756
Anti-Image Chassis (ASC)
D070081
±18VDC
S1102756
<< L1-ISC-C1
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
To DAC
To DAC
S1102756
Rear

## Slide 234: l1asc0 - D1001715 – S1106300
l1asc0 I/O Extension Chassis
D1001715
+24VDC
S1106300
<< L1-ISC-C1
D1001715
Front
Timing Link
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-02
Slot P10
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
S1106300
Rear
L1:FE-IO-02
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
L1:ISC-279
Slot P1
L1:ISC-287
Slot P2
L1:ISC-280
Slot P3
L1:ISC-281
Slot P4
L1:ISC-282
Slot P5
L1:ISC-283
Slot P6
L1:ISC-284
Slot P7
L1:ISC-285
Slot P8
L1:ISC-286
Slot P9
L1:ISC-288
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1asc0 – I/O Extender
+24VDC
TB-02
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx

## Slide 235: D0902783 – S1102768
Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102768
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102768
Rear

## Slide 236: D0902783 – S1102779
Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102779
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102779
Rear

## Slide 237: D0902783 – S1102773
Anti-Alias Chassis (LSC)
D0902783
±18VDC
S1102773
<< L1-ISC-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102773
Rear

## Slide 238: D070081 – S1102758
Anti-Image Chassis (LSC)
D070081
±18VDC
S1102758
<< L1-ISC-C1
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
L1:ISC-278
To DAC
S1102758
Rear

## Slide 239: l1lsc0 - D1001715 – S1106342
<< L1-ISC-C1
l1lsc0 I/O Extension Chassis
D1001715
+24VDC
S1106342
D1001715
Front
Timing Link
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-01
Slot P10
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
S1106342
Rear
L1:FE-IO-01
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
L1:ISC-276
Slot P1
L1:ISC-278
Slot P2
L1:ISC-277
Slot P3
Unlabeled
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1lsc0 – I/O Extender
+24VDC
TB-02
ADC Card
Sxxxxxxx

## Slide 240: L1-ISC-C2
ISC LVEA Rack 2 Layout (D1200975) (S1201187)
<< CER
384 Channel Binary Output (R6 Whitening)
D1100251
+24VDC
S1203281
384 Channel Binary Output (R5 & R6 Whitening)
D1100251
+24VDC
S1201217
384 Channel Binary Output (R2 & R4 Whitening)
D1100251
+24VDC
S1201216
384 Channel Binary Output (R1 & R2 Whitening)
D1100251
+24VDC
S1201215
Beckhoff EtherCAT 1
(CM Servo, VCO, Delay Line)
D1102961
+24VDC
S1102617
Beckhoff EtherCAT 2
(Picomotor, Serial Ports, Modbus)
D1100680
+24VDC
S1107446
Beckhoff EtherCAT 3
(LSC Demod, VCO, Delay Line, RF Amps)
D1100681
+24VDC
S1107449
Beckhoff EtherCAT 4
(ASC Demod)
D1101266
+24VDC
S1107452
Beckhoff EtherCAT 5
(Beam Diverters, Shutters, Aux Channels)
D1200132
+24VDC
S1200506
Slow Controls Concentrator Serial Ports
D1100632
±18VDC
S1103476
Shelf
Shelf
Shelf
Shelf
Shelf
ISC-C2 is part of D1001427.
PTO-055
TB-07
Beckhoff EtherCAT 6
(PLL, VCO)
D1300745
+24VDC
S1400078
Shelf
ISC-C2 is part of D1100170.

## Slide 241: L1-ISC-C2
<< CER
(D1100170)
ISC LVEA Rack 2 Layout (D1001427) (S1201187)
(D1001427)

## Slide 242: L1-ISC-C2 Details
L1-ISC-C2 Details
ISC-C2 is part of D1001427.
ISC-C2 is part of D1100170.
<< L1-ISC-C2

## Slide 243: D1100632 – S1103476
D1100632
Front
<< L1-ISC-C2
Serial Port Concentrator for Timing
D1100632
±18VDC
S1103476
S1103476
Rear

## Slide 244: D1100251 – S1201215
<< L1-ISC-C2
384 Channel Binary Output (R1 & R2 Whitening)
D1100251
+24VDC
S1201215
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1201215
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 245: D1100251 – S1201216
384 Channel Binary Output (R2 & R4 Whitening)
D1100251
+24VDC
S1201216
<< L1-ISC-C2
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1201216
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 246: D1100251 – S1201217
384 Channel Binary Output (R5 & R6 Whitening)
D1100251
+24VDC
S1201217
<< L1-ISC-C2
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1201217
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 247: D1100251 – S1203281
384 Channel Binary Output (R6 Whitening)
D1100251
+24VDC
S1203281
<< L1-ISC-C2
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1203281
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 248: D1102961 – S1102617
Beckhoff EtherCAT 1
(CM Servo, VCO, Delay Line)
D1102961
Power
S1102617
S1102617
Rear
From DAC Adapter
D1102961
Front
<< L1-ISC-C2

## Slide 249: D1100680 – Sxxxxxxx
Beckhoff EtherCAT 2
(Picomotor, Serial Ports, Modbus)
D1100680
Power
S1107446
S1107446
Rear
From DAC Adapter
D1100680
Front
<< L1-ISC-C2

## Slide 250: D1100681 – S1107449
Beckhoff EtherCAT 3
(LSC Demod, VCO, Delay Line, RF Amps)
D1100681
Power
S1107449
S1107449
Rear
From DAC Adapter
D1100681
Front
<< L1-ISC-C2

## Slide 251: D1101266 – S1107452
S1107452
Rear
From DAC Adapter
D1101266
Front
<< L1-ISC-C2
Beckhoff EtherCAT 4
(ASC Demod)
D1101266
Power
S1107452

## Slide 252: D1200132 – S1200506
Beckhoff EtherCAT 5
(Beam Diverters, Shutters, Aux Channels)
D1200132
Power
S1200506
S1200506
Rear
From DAC Adapter
D1200132
Front
<< L1-ISC-C2

## Slide 253: D1300745 – S1400078
Beckhoff EtherCAT 6
(PLL, VCO)
D1300745
Power
S1400078
S1400078
Rear
From DAC Adapter
D1300745
Front
<< L1-ISC-C2

## Slide 254: L1-ISC-C3
ISC LVEA Rack 3 Layout (D1200976) (S1201188)
<< CER
21.5 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000674
RF Amplifier Concentrator 1
D1100262
±18VDC
S1103461
21.5 MHz RF Source
D080702
+12VDC, ±24VDC
S1000546
35.5 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000672
35.5 MHz RF Source
D080702
+12VDC, ±24VDC
S1000551
80 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000654
80 MHz RF Source
D080702
+12VDC, ±24VDC
S1000567
40 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
S1000751
40 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000655
10 MHz Frequency Divider
D1100974
±17VDC, ±24VDC
S1103488
10 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000671
Timing Comparator / Frequency Counter
D1001370
+12VDC
S1202500
Timing Fanout Module
D070011
+12VDC
S1201221
RF Amplifier Concentrator 2
D1100262
±18VDC
S1103460
Sequencer
D1200757
S1202578
ISC-C3 is part of D1001427.
PTO-056
PTY-011
PTG-002
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 7
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 8
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 9
No Power

## Slide 255: L1-ISC-C3
<< CER
(D1100170)
ISC LVEA Rack 3 Layout (D1001427) (S1201188)
(D1001427)

## Slide 256: L1-ISC-C3 Details
L1-ISC-C3 Details
<< L1-ISC-C3
ISC-C3 is part of D1001427.

## Slide 257: RF Distribution Panel 7
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C3
21.5 MHz
Modulation
21.5 MHz
FXX
21.5 MHz
Spare
35.5 MHz
Modulation
35.5 MHz
PMC
35.5 MHz
Injection Lock
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 7
No Power

## Slide 258: RF Distribution Panel 8
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C3
35.5 MHz
Spare
80 MHz
ISS AOM
Spare
Not Used
Not Used
Not Used
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 8
No Power

## Slide 259: RF Distribution Panel 9
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C3
Not Used
Not Used
Not Used
Not Used
Not Used
Not Used
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 9
No Power

## Slide 260: D080702 – S1000546
<< L1-ISC-C3
21.5 MHz RF Source
D080702
+12VDC, ±24VDC
S1000546
S1000546
Rear
D080702
Front
Front
Output
Front
Lock
To …

## Slide 261: D1000124 – S1000674
<< L1-ISC-C3
21.5 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000674
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000674
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 262: D080702 – S1000551
S1000551
Rear
<< L1-ISC-C3
35.5 MHz RF Source
D080702
+12VDC, ±24VDC
S1000551
D080702
Front
Front
Output
Front
Lock
To …

## Slide 263: D1000124 – S1000672
<< L1-ISC-C3
35.5 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000672
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000672
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 264: D080702 – Sxxxxxxx
<< L1-ISC-C3
80 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
S1000551
Rear
D080702
Front
Front
Output
Front
Lock
To …

## Slide 265: D1000124 – Sxxxxxxx
<< L1-ISC-C3
80 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 266: D1002182 – Sxxxxxxx
D1002182
Front
Front
Out
Front
In
S1000650
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
Rear
Front
<< L1-ISC-C3
40 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
Sxxxxxxx

## Slide 267: D1000124 – Sxxxxxxx
<< L1-ISC-C3
40 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 268: D1100974 – Sxxxxxxx
<< L1-ISC-C3
10 MHz Frequency Divider
D1100974
±17VDC, ±24VDC
Sxxxxxxx
D1100974
Front
Front
Out
Front
In
S1000650
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
Rear
Front

## Slide 269: D1000124 – Sxxxxxxx
<< L1-ISC-C3
10 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
Sxxxxxxx
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
Sxxxxxxx
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 270: D1100262 – Sxxxxxxx
<< L1-ISC-C3
RF Amplifier Concentrator 1
D1100262
±18VDC
SN:
D1100262
Front
S1001232
Rear
1
Rear
Controls
5
Rear
9
Rear
2
Rear
6
Rear
10
Rear
3
Rear
7
Rear
11
Rear
4
Rear
8
Rear
12
Rear
Rear

## Slide 271: D1100262 – Sxxxxxxx
<< L1-ISC-C3
RF Amplifier Concentrator 2
D1100262
±18VDC
SN:
D1100262
Front
S1001232
Rear
1
Rear
Controls
5
Rear
9
Rear
2
Rear
6
Rear
10
Rear
3
Rear
7
Rear
11
Rear
4
Rear
8
Rear
12
Rear
Rear

## Slide 272: D1001370 – S1202500
<< L1-ISC-C3
Timing Comparator / Frequency Counter
D1001370
+12VDC
S1202500
S1202500
Rear
D1001370
Front
x

## Slide 273: D070011 – S1201221
D070011
Front
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
<< L1-ISC-C3
Timing Fanout Module
D070011
+12VDC (& +24VDC)
S1201221
(D080534)
Fanout
S1201221
Rear

## Slide 274: L1-ISC-C4
ISC LVEA Rack 4 Layout (D1200977) (S1201189)
<< CER
IFR Signal Generator
Dxxxxxxx
Power
Sxxxxxxx
9.099 / 8.684 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000657
Spectrum Microwave Harmonic Generator
PN 52747-96269
From D1002735
S1000799
9.099 / 8.684 MHz Harmonic Power Supply
D1002735
±17VDC, ±24VDC
S1000795
18 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000660
27 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000661
36 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000662
45 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000664
90 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000667
135 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000668
24.078 / 22.993 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000656
24.078 / 22.993 MHz RF Source
D080702
+12VDC, ±24VDC
S1000572
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000651
71 MHz RF Source
D080702
+12VDC, ±24VDC
S1000560
Sequencer
D1200757
S1202562
ISC-C4 is part of D1001427.
PTO-057
PTY-012
PTG-003
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 1
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 2
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 3
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 4
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 5
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 6
No Power

## Slide 275: L1-ISC-C4
<< CER
(D1100170)
Spectrum Microwave
ISC LVEA Rack 4 Layout (D1001427) (S1201189)
(D1001427)

## Slide 276: L1-ISC-C4 Details
L1-ISC-C4 Details
ISC-C4 is part of D1001427.
<< L1-ISC-C4

## Slide 277: RF Distribution Panel 1
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C4
71 MHz
Comment
71 MHz
Comment
71 MHz
Comment
24.078 MHz
Comment
9.099 MHz
Comment
45 MHz
Comment
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 1
No Power

## Slide 278: RF Distribution Panel 2
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C4
79.4 MHz
Comment
79.4 MHz
Comment
79.4 MHz
Comment
79.4 MHz
Comment
Spare
Not Used
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 2
No Power

## Slide 279: RF Distribution Panel 3
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C4
9.099 MHz
Comment
45 MHz
Comment
18 MHz
Comment
27 MHz
Comment
90 MHz
Comment
135 MHz
Comment
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 3
No Power

## Slide 280: RF Distribution Panel 4
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C4
Spare
Spare
Not Used
Not Used
Not Used
Not Used
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 4
No Power

## Slide 281: RF Distribution Panel 5
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C4
9.009 MHz
Comment
36 MHz
Comment
45 MHz
Comment
18 MHz
Comment
90 MHz
Comment
Spare
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 5
No Power

## Slide 282: RF Distribution Panel 6
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-C4
Spare
Not Used
Spare
Not Used
Not Used
Spare
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 6
No Power

## Slide 283: D080702 – Sxxxxxxx
S1001232
Rear
D080702
Front
9.099 / 8.684 MHz RF Source
D080702
+12VDC, ±24VDC
Sxxxxxxx
<< L1-ISC-C4

## Slide 284: D1000124 – S1000657
<< L1-ISC-C4
9.099 / 8.684 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000657
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000657
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 285: D1002735 – S1000795
S1000795
Rear
From DAC Adapter
D1002735
Front
<< L1-ISC-C4
9.099 / 8.684 MHz Harmonic Generator Power Supply
D1002735
±17VDC, ±24VDC
S1000795

## Slide 286: D1000124 – S1000660
<< L1-ISC-C4
18 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000660
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000660
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 287: D1000124 – S1000661
<< L1-ISC-C4
27 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000661
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000661
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 288: D1000124 – S1000662
<< L1-ISC-C4
36 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000662
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000662
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 289: D1000124 – S1000664
<< L1-ISC-C4
45 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000664
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000664
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 290: D1000124 – S1000667
<< L1-ISC-C4
90 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000667
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000667
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 291: D1000124 – S1000668
<< L1-ISC-C4
135 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000668
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000668
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 292: D080702 – S1000572
S1000572
Rear
D080702
Front
24.078 / 22.993 MHz RF Source
D080702
+12VDC, ±24VDC
S1000572
<< L1-ISC-C4

## Slide 293: D1000124 – S1000656
<< L1-ISC-C4
24.078 / 22.993 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000656
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000656
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 294: D080702 – S1000560
S1000560
Rear
D080702
Front
71 MHz RF Source
D080702
+12VDC, ±24VDC
S1000560
<< L1-ISC-C4

## Slide 295: D1000124 – S1000651
<< L1-ISC-C4
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000651
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000651
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 296: Subsystem: PSL (Pre-Stabilized Laser)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
PSL Component List: LIGO-T0900633
PSL Table Layout: LIGO-T0900610
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
PSL

## Slide 297: L1-PSL-C1
PSL Rack 1 Layout (D1201118) (S1202977)
FSS Anti-Alias Chassis
D0902783
±18VDC
S1001245
ISS Anti-Image Chassis
D1003224
±18VDC
S1001231
l1psl0 I/O Extension Chassis
D1001715
+24VDC
S1001134
PMC Anti-Alias Chassis
D0902783
±18VDC
S1001246
FSS Anti-Image Chassis
D1003224
±18VDC
S1001232
PMC Anti-Image Chassis
D1003224
±18VDC
S1001229
ISS Anti-Alias Chassis
D0902783
±18VDC
S1001244
<< CER
Spare Anti-Image Chassis
D1003224
±18VDC
S1001233
DBB Anti-Image Chassis
D1001801
±18VDC
S1001224
DBB Anti Alias Chassis
D1001125
±18VDC
S1101683
Spare Anti-Alias Chassis
D0902783
±18VDC
S1001247
PTO-018
PTY-009
Spare Anti-Image Chassis
D1003224
±18VDC
S1001230
Spare Anti-Alias Chassis
D0902783
±18VDC
S1001248
Perforated Shelf
Beckhoff Slow Controls
PSL/IO/TCS Chassis
D1101114
+24VDC
S1301414

## Slide 298: L1-PSL-C1 Details
L1-PSL-C1 Details
<< L1-PSL-C1

## Slide 299: D0902783 – S1001244
IN 1-4
ISS AA 1-4
IN 17-20
ISS AA 17-20
IN 5-8
ISS AA 5-8
IN 9-12
ISS AA 9-12
IN 13-16
ISS AA 13-16
IN 21-24
ISS AA 21-24
IN 25-28
ISS AA 25-28
IN 29-32
ISS AA 29-32
D0902783
Front
To ADC
l1psl0 Slot P1
S1001244
Rear
ISS Anti-Alias Chassis
D0902783
±18VDC
S1001244
<< L1-PSL-C1

## Slide 300: D1003224 – S1001231
ISS Anti-Image Chassis
D1003224
±18VDC
S1001231
S1001231
Rear
From DAC Adapter
D1003224
Front
CH 1-4
CH 5-8
CH 9-12
CH 13-16
aLIGO Anti-Image Module
D1003224
ISS AI 1-4
ISS AI 5-8
ISS AI 9-12
ISS AI 13-16
CH 13-16
CH 9-12
CH 5-8
CH 1-4
l1psl0 Slot P2
From DAC Adapter
<< L1-PSL-C1
D1102351
PSL DAQ DB9 Breakouts
S1201201
S1201199
S1201200
S1201205

## Slide 301: D0902783 – S1001245
FSS Anti-Alias Chassis
D0902783
±18VDC
S1001245
<< L1-PSL-C1
IN 1-4
FSS AA 1-4
IN 17-20
FSS AA 17-20
IN 5-8
FSS AA 5-8
IN 9-12
FSS AA 9-12
IN 13-16
FSS AA 13-16
IN 21-24
FSS AA 21-24
IN 25-28
FSS AA 25-28
IN 29-32
FSS AA 29-32
D0902783
Front
To ADC
l1psl0 Slot P3
S1001245
Rear

## Slide 302: D1003224 – S1001232
FSS Anti-Image Chassis
D1003224
±18VDC
S1001232
S1001232
Rear
From DAC Adapter
D1003224
CH 1-4
CH 5-8
CH 9-12
CH 13-16
aLIGO Anti-Image Module
D1003224
FSS AI 1-4
FSS AI 5-8
FSS AI 9-12
FSS AI 13-16
CH 13-16
CH 9-12
CH 5-8
CH 1-4
l1psl0 Slot P6
From DAC Adapter
Front
<< L1-PSL-C1

## Slide 303: D0902783 – S1001246
PMC Anti-Image Chassis
D0902783
±18VDC
S1001246
<< L1-PSL-C1
IN 1-4
PMC AA 1-4
IN 17-20
PMC AA 17-20
IN 5-8
PMC AA 5-8
IN 9-12
PMC AA 9-12
IN 13-16
PMC AA 13-16
IN 21-24
PMC AA 21-24
IN 25-28
PMC AA 25-28
IN 29-32
PMC AA 29-32
D0902783
Front
To ADC
l1psl0 Slot P4
S1001245
Rear

## Slide 304: D1003224 – S1001229
PMC Anti-Image Chassis
D1003224
±18VDC
S1001229
S1001229
Rear
From DAC Adapter
l1psl0 Slot P7
From DAC Adapter
D1003224
CH 1-4
CH 5-8
CH 9-12
CH 13-16
aLIGO Anti-Image Module
D1003224
PMC AI 1-4
PMC AI 5-8
PMC AI 9-12
PMC AI 13-16
CH 13-16
CH 9-12
CH 5-8
CH 1-4
Front
<< L1-PSL-C1
D1102351
PSL DAQ DB9 Breakouts
S1201202
S1201203
S1201204
S1201206

## Slide 305: D1001125 – S1101683
DBB Anti-Alias Chassis
D1001125
±18VDC
S1101683
S1101683
Rear
To ADC Adapter
l1psl0 Slot P5
To ADC Adapter
D1001125
AI Module aLIGO PSL DBB Assembly Drawing D1100292
Front
CHANNELS 9-16
aLIGO PSL DBB
D1001125
AA Module
CHANNELS 1-8
CHANNELS 25-32
CHANNELS 17-24
DBB AA 1-8
DBB AA 9-16
DBB AA 17-24
DBB AA 25-32
CHANNELS 25-32
CHANNELS 17-24
CHANNELS 9-16
CHANNELS 1-8
<< L1-PSL-C1

## Slide 306: D1001801 – S1001224
DBB Anti-Image Chassis
D1001801
±18VDC
S1001224
S1001224
Rear
From DAC Adapter
l1psl0 Slot P8
From DAC Adapter
D1001801
Front
AI Module aLIGO PSL DBB Assembly Drawing D1002103
CHANNELS 1-8
CHANNELS 9-16
aLIGO PSL DBB
D1001801
AI Module
DBB AI 1-8
DBB AI 9-16
CHANNELS 9-16
CHANNELS 1-8
<< L1-PSL-C1
S1201375
S1201374
D1200639
PSL DAQ DB25 Breakouts

## Slide 307: l1psl0 – D1001715 – S1001134
l1psl0 I/O Extension Chassis
D1001715
+24VDC
S1001134
D1001715
Front
L1:TIM-PSL-C1-A
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-19
Slot P10
DAC16 Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
S1001134
Rear
L1:FE-IO-19
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
S1001244
Slot P1
S1001231
Slot P2
S1001245
Slot P3
S1001246
Slot P4
S1101683
Slot P5
S1001232
Slot P6
S1001233
Slot P7
S1001224
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
<< L1-PSL-C1
l1psl0 – I/O Extender
+24VDC
PTY-009

## Slide 308: D1101114 – S1301414
Beckhoff Slow Controls
PSL/IO/TCS Chassis
D1101114
+24VDC
S1301414
D1101114
Front: D0902553
S1301414
Rear: D0902554
Name: D1101121
End Link Multimode Fiber
IN
<< L1-PSL-C1

## Slide 309: D0902783 – S1001248
Anti-Alias Chassis
D0902783
±18VDC
S1001248
<< L1-PSL-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001248
Rear
PSL SPARE

## Slide 310: D0902783 – S1001247
Anti-Alias Chassis
D0902783
±18VDC
S1001247
<< L1-PSL-C1
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001247
Rear
PSL SPARE

## Slide 311: D1003224 – S1001233
Anti-Image Chassis
D1003224
±18VDC
S1001233
S1001229
Rear
From DAC Adapter
PSL SPARE
D1003224
Open
From DAC Adapter
CHANNELS 1-8
CHANNELS 9-16
aLIGO PSL DBB
D1001801
AI Module
Open
Open
CHANNELS 9-16
CHANNELS 1-8
Front
<< L1-PSL-C1

## Slide 312: D1003224 – S1001230
Anti-Image Chassis
D1003224
±18VDC
S1001230
S1001230
Rear
From DAC Adapter
Open
From DAC Adapter
D1003224
PSL SPARE
Front
Open
CH 1-4
Open
CH 5-8
CH 1-4
CH 5-8
Open
CH 9-12
Open
CH 13-16
CH 9-12
CH 13-16
aLIGO Anti-Image Module
D1003224
<< L1-PSL-C1

## Slide 313: PSL Racks(LIGO-G1000106-V1 – p.17)

## Slide 314: PSL Racks(Layout 20101006)

## Slide 315: PSL Racks(LIGO-G1000106-V1 – p.41)

## Slide 316: PSL Racks(LIGO-G1000106-V1 – p.41)

## Slide 317: PSL Racks – L1-PSL-01– ILS and PMC
Eurocard Crate
ECC-1 (ILS and PMC)
Control Box (CB)
NPRO Controller
D1000305 AI Chassis
D0902783 AA Chassis
D1000305 AI Chassis
D0902783 AA Chassis
Control Box (CB)
Eurocard Crate
ECC-1 (ILS and PMC)
NPRO Controller
D1000305 SYYYYYYYY
D0902783 SYYYYYYYY
D0902783 SYYYYYYYY
D1000305 SYYYYYYYY
D070011 Fanout Timing
D070011 Fanout Timing
Front
Rear
L1-PSL-01
L1-PSL-01
I/O Extension
2 ADC
2 DAC
DXXXXXXXX Delay Line Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 35.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 35.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY

## Slide 318: PSL Racks – L1-PSL-1-ECC-1 (ILS and PMC)
Eurocard Crate
ECC-1 (ILS and PMC)
Eurocard Crate
ECC-1 (ILS
and PMC)
Monitoring Field Box
T0900632
ILS Servo
TXXXXXXX
ILS Field Box
TXXXXXXX
PMC Field Box
TXXXXXXX
PMC Servo
TXXXXXXX
+5VDC
-5VDC
+15VDC
-15VDC
+24VDC
-24VDC

## Slide 319: PSL Racks – L1-PSL-02 (DBB, FSS, and ISS)
Eurocard Crate
ECC-2 (FSS and ISS)
Eurocard Crate
ECC-1 (DBB)
D1000305 AI Chassis
D1000305 SYYYYYYYY
D0902783 AA Chassis
D0902783 SYYYYYYYY
D1000305 AI Chassis
D0902783 AA Chassis
D0902783 SYYYYYYYY
D1000305 SYYYYYYYY
Eurocard Crate
ECC-2 (FSS and ISS)
Eurocard Crate
ECC-1 (DBB)
Frequency Stabilization Servo
Intensity Stabilization Servo
Diagnostic Breadboard
D070011 Fanout Timing
D070011 Fanout Timing
I/O Extension
2 ADC
2 DAC
Front
Rear
L1-PSL-02
L1-PSL-02
DXXXXXXXX Delay Line Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 21.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 21.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY

## Slide 320: L1-PSL-02-ECC-1 (DBB)
Eurocard Crate
ECC-1 (DBB)
Eurocard Crate
ECC-1 (DBB)
+5VDC
-5VDC
+15VDC
-15VDC
+24VDC
-24VDC
DBB Field Box
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX
DBB
TXXXXXXX

## Slide 321: L1-PSL-02-ECC-2 (FSS and ISS)
Eurocard Crate
ECC-2 (FSS and ISS)
+5VDC
-5VDC
+15VDC
-15VDC
+24VDC
-24VDC
ISS Field Box
TXXXXXXX
FSS Field Box 1
TXXXXXXX
FSS LO
TXXXXXXX
FSS Field Box 2
TXXXXXXX
ISS Servo
TXXXXXXX
Eurocard Crate
ECC-1 (DBB)

## Slide 322
Eurocard Crate
ECC-2 (FSS and ISS)
Eurocard Crate
ECC-1 (DBB)
Eurocard Crate
ECC-2 (FSS and ISS)
Eurocard Crate
ECC-1 (DBB)
DXXXXXXXX Delay Line Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 21.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
Front
Rear
L1-PSL-01
L1-PSL-01
Eurocard Crate
ECC-3 (ILS and PMC
Eurocard Crate
ECC-3 (ILS and PMC
Control Box (CB)
NPRO Controller
DXXXXXXXX 21.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX Delay Line Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 35.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
DXXXXXXXX 35.5MHz Amplifier Chassis
DXXXXXXXX SYYYYYYYY
Control Box (CB)
NPRO Controller

## Slide 323: L1-LDR-C1
LDR Rack 1 Layout (Dxxxxxxx)
<< LDR

## Slide 324: L1-LDR-C2
LDR Rack 2 Layout (Dxxxxxxx)
<< LDR

## Slide 325: LDR Chiller
LDR Rack 3 Layout (Chillers) (Dxxxxxxx)
<< LDR

## Slide 326: Spare Chiller
LDR Rack 4 Layout (Chillers) (Dxxxxxxx)
<< LDR

## Slide 327: Subsystem: SEI (Seismic Isolation)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-PSL-C1
CDS Electronics Room (CER)
L1-ISC-C4
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
SEI
G1200071

## Slide 328: L1-SEI-C1
HAM1 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200975
SEI HAM1 HEPI and HAM6 ISI and HEPI Rack Layout (D1201112) (S1200743)
l1seiham16 I/O Extension Chassis
D1001715
+24VDC
S1001144
HAM6 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103331
HAM6 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103316
HAM1 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900290
HAM6 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900274
HAM6 ISI Anti-Image Chassis
D1100202
±18VDC
S1200954
HAM1 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200592
HAM6 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200952
HAM6 HEPI Binary Output Chassis
D1001728
+18VDC
S1101324
HAM6 HEPI Binary Input Chassis
D1001726
+18VDC
S1101290
<< CER
PTO-017
PTY-018
PTY-019
SEI-C1 is part of D1101584
HAM6 ISI Interface Chassis
D1000067
±18VDC
S1200667
HAM6 ISI Interface Chassis
D1000067
±18VDC
S1201745
HAM6 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200950
HAM6 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200949

## Slide 329: L1-SEI-C1 Details
L1-SEI-C1 Details
<< L1-SEI-C1
SEI-C1 is part of D1101584

## Slide 330: D1000067 – S1200667
HAM6 ISI Interface Chassis
D1000067
±18VDC
S1200667
<< L1-SEI-C1
SEI-HAM6 GS13-1
D1000067
Front
S1105835
S1105821
Power Out
Capacitance Position Sensors
SEI-HAM6 CPS-1
SEI-HAM6 GS13-2
SEI-HAM6 CPWR-1
S1200667
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 331: D1000067 – S1201745
HAM6 ISI Interface Chassis
D1000067
±18VDC
S1201745
<< L1-SEI-C1
SEI-HAM6 GS13-3
D1000067
Front
S1105698
Geophones 3&4
Power Out
Capacitance Position Sensors
SEI-HAM6 CPS-2
No Cable
SEI-HAM6 CPWR-2
S1201745
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 332: D1000269 – S1200950
HAM6 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200950
D1000269
Front
SEI-BSC1 STS2_C4-C1
IN 29-32
SEI-BSC2 STS2_C4-C1
IN 25-28
SEI-HAM6 COIL_ADC-1
S1105698
SEI-HAM6 ISI_ADC-1
IN 9-20
SEI-HAM6 COIL_ADC-2
IN 21-24
S1200950
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C1

## Slide 333: D1000269 – S1200949
HAM6 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200949
D1000269
Front
SEI-BSC3 STS2_C6-C1
IN 29-32
No Cable
IN 25-28
No Cable
IN 1-8
SEI-HAM6 ISI_ADC-2
IN 9-20
No Cable
IN 21-24
S1200949
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C1

## Slide 334: D1100202 – S1200954
HAM6 ISI Anti-Image Chassis
D1100202
±18VDC
S1200954
<< L1-SEI-C1
To ADC Adapter
To ADC Adapter
S1200954
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
SEI-HAM6 COIL_DAC-1
Out 1-8
SEI-HAM6 8GH_DAC-1
Out 13-16
SEI-HAM6 COIL_DAC-2

## Slide 335: D0902744 – S1103331
HAM6 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103331
D0902744
Front
S1103331
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C1

## Slide 336: D0902744 – S1103316
HAM6 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103316
D0902744
Front
<< L1-SEI-C1
S1103316
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 337: D1000272 – S1200975
HAM1 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200975
S1200975
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C1

## Slide 338: D1100202 – S1200592
HAM1 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200592
<< L1-SEI-C1
To ADC Adapter
To ADC Adapter
S1200592
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 339: D0900117 – S0900290
HAM1 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900290
<< L1-SEI-C1
S0900274
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
HAM1

## Slide 340: D1001726 – S1101290
S1101290
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM6 HEPI Binary Input Chassis
D1001726
+18VDC
S1101290
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C1

## Slide 341: D1001728 – S1101324
HAM6 HEPI Binary Output Chassis
D1001728
+18VDC
S1101324
<< L1-SEI-C1
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
S1101324
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63

## Slide 342: D1000272 – S1200952
HAM6 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200952
S1200952
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C1

## Slide 343: D0900117 – S0900274
HAM6 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900274
<< L1-SEI-C1
S0900274
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
HAM6

## Slide 344: l1seiham16 - D1001715 – S1001144
l1seiham16 I/O Extension Chassis
D1001715
+24VDC
S1001144
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-07
Slot P10
S1001144
Rear
L1:FE-IO-07
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seiham16 – I/O Extender
<< L1-SEI-C1
+24VDC
PTY-019
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
l1seiham16 is part of D1400014

## Slide 345: L1-SEI-C2
l1seiham23 I/O Extension Chassis
D1001715
+24VDC
S1001145
HAM3 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900291
SEI HAM2 ISI and HEPI and HAM3 ISI and HEPI Rack Layout (D1201113) (S1200744)
HAM3 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104632
HAM3 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104635
HAM2 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1104616
HAM3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1104615
HAM2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101286
HAM2/3 HEPI Binary Output Chassis
D1001728
+18VDC
S1101321
HAM2 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103300
HAM2 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103332
HAM3 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103306
HAM3 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103304
HAM3 HEPI Anti-Image Chassis
D1100202
±18VDC
S1104573
HAM2 HEPI Anti-Image Chassis
D1100202
±18VDC
S1104572
<< CER
PTO-016
PTY-017
PTY-020
SEI-C2 is part of D1101576
HAM2 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104621
HAM2 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104638
HAM2 ISI Interface Chassis
D1000067
±18VDC
S1107434
HAM2 ISI Interface Chassis
D1000067
±18VDC
S1107435
HAM3 ISI Interface Chassis
D1000067
±18VDC
S1107436
HAM3 ISI Interface Chassis
D1000067
±18VDC
S1200668
HAM2 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900275

## Slide 346: L1-SEI-C2 Details
L1-SEI-C2 Details
<< L1-SEI-C2
SEI-C2 is part of D1101576

## Slide 347: D1000067 – S1107434
HAM2 ISI Interface Chassis
D1000067
±18VDC
S1107434
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107434
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C2

## Slide 348: D1000067 – S1107435
HAM2 ISI Interface Chassis
D1000067
±18VDC
S1107435
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107435
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C2

## Slide 349: D1000269 – S1104621
HAM2 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104621
<< L1-SEI-C2
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1104621
Rear
To ADC Adapter
To ADC Adapter

## Slide 350: D1000269 – S1104638
HAM2 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104638
<< L1-SEI-C2
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1104638
Rear
To ADC Adapter
To ADC Adapter

## Slide 351: D1100202 – S1104572
<< L1-SEI-C2
HAM2 HEPI Anti-Image Chassis
D1100202
±18VDC
S1104572
To ADC Adapter
To ADC Adapter
S1104572
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 352: D0902744 – S1103300
<< L1-SEI-C2
HAM2 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103300
D0902744
Front
S1103300
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 353: D0902744 – S1103332
<< L1-SEI-C2
HAM2 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103332
D0902744
Front
S1103332
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 354: D1000067 – S1107436
HAM3 ISI Interface Chassis
D1000067
±18VDC
S1107436
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107436
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C2

## Slide 355: D1000067 – S1200668
HAM3 ISI Interface Chassis
D1000067
±18VDC
S1200668
Geophones 1&2
D1000067
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1200668
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C2

## Slide 356: D1000269 – S1104632
HAM3 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104632
<< L1-SEI-C2
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1104632
Rear
To ADC Adapter
To ADC Adapter

## Slide 357: D1000269 – S1104635
HAM3 ISI Anti-Alias Chassis
D1000269
±18VDC
S1104635
<< L1-SEI-C2
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1104635
Rear
To ADC Adapter
To ADC Adapter

## Slide 358: D1100202 – S1104573
<< L1-SEI-C2
HAM3 HEPI Anti-Image Chassis
D1100202
±18VDC
S1104573
To ADC Adapter
To ADC Adapter
S1104573
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 359: D0902744 – S1103306
<< L1-SEI-C2
HAM3 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103306
D0902744
Front
S1103306
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 360: D0902744 – S1103304
<< L1-SEI-C2
HAM3 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103304
D0902744
Front
S1103304
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT

## Slide 361: D1000272 – S1104616
<< L1-SEI-C2
HAM3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1104616
S1104616
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26

## Slide 362: D0900117 – S0900275
HAM2 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900275
S0900275
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C2
HAM2

## Slide 363: D1001726 – S1101286
S1101286
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101286
<< L1-SEI-C2
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front

## Slide 364: D1001728 – S1101321
S1101321
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM2/3 HEPI Binary Output Chassis
D1001728
+18VDC
S1101321
<< L1-SEI-C2
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63

## Slide 365: D1000272 – S1104615
<< L1-SEI-C2
HAM3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1104615
S1104615
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26

## Slide 366: D0900117 – S0900291
HAM3 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900291
S0900291
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C2
HAM3

## Slide 367: l1seiham23 - D1001715 – S1001145
l1seiham23 – I/O Extension Chassis
D1001715
+24VDC
S1001145
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-08
Slot P10
S1001145
Rear
L1:FE-IO-08
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seiham23 – I/O Extender
<< L1-SEI-C2
+24VDC
PTY-020
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
l1seiham23 is part of D1400014

## Slide 368: L1-SEI-C3
l1seiham45 – I/O Extension Chassis
D1001715
+24VDC
S1001146
SEI HAM4 and HAM5 ISI and HEPI Rack Layout (D1201114) (S1200745)
HAM4 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103308
HAM4 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103325
<< CER
PTO-015
PTY-014
PTY-015
HAM4 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200313
HAM4 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107529
HAM4 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200319
SEI-C3 is part of D1000298
HAM4 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1107866
HAM4 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1107867
HAM4 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1107868
HAM5 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1107869
HAM5 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1107870
HAM5 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1107871
HAM5 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103326
HAM5 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103324
HAM5 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107530
HAM5 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107531
HAM5 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200318
HAM4 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200310
HAM4 HEPI Binary Input Chassis
D1001726
+18VDC
S1101288
HAM4/5 HEPI Binary Output Chassis
D1001728
+18VDC
S1101323
HAM4 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900266
HAM5 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200311
HAM5 HEPI Binary Input Chassis
D1001726
+18VDC
S1101289
HAM5 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900272

## Slide 369: L1-SEI-C3 Details
L1-SEI-C3 Details
<< L1-SEI-C3
SEI-C3 is part of D1000298

## Slide 370: D1002432 – S1107866
HAM4 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1107866
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107866
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 371: D1002432 – S1107867
HAM4 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1107867
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107867
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 372: D1002432 – S1107868
HAM4 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1107868
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107868
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 373: D1000269 – S1200313
HAM4 ISI Anti-Alias Chassis
D1000269
±18VDC
S1200313
<< L1-SEI-C3
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1200313
Rear
To ADC Adapter
To ADC Adapter

## Slide 374: D1000269 – S1107529
HAM4 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107529
<< L1-SEI-C3
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1107529
Rear
To ADC Adapter
To ADC Adapter

## Slide 375: D1100202 – S1200319
HAM4 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200319
<< L1-SEI-C3
To ADC Adapter
To ADC Adapter
S1200319
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 376: D0902744 – S1103308
HAM4 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103308
D0902744
Front
S1103308
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C3

## Slide 377: D0902744 – S1103325
HAM4 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103325
D0902744
Front
S1103325
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C3

## Slide 378: D1002432 – S1107869
HAM5 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1107869
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107869
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 379: D1002432 – S1107870
HAM5 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1107870
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107870
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 380: D1002432 – S1107871
HAM5 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1107871
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1107871
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C3

## Slide 381: D1000269 – S1107530
HAM5 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107530
<< L1-SEI-C3
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1107530
Rear
To ADC Adapter
To ADC Adapter

## Slide 382: D1000269 – S1107531
HAM5 ISI Anti-Alias Chassis
D1000269
±18VDC
S1107531
<< L1-SEI-C3
D1000269
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-8
IN 1-8
IN 9-20
IN 9-20
IN 21-24
IN 21-24
S1107531
Rear
To ADC Adapter
To ADC Adapter

## Slide 383: D1100202 – S1200318
HAM5 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200318
<< L1-SEI-C3
To ADC Adapter
To ADC Adapter
S1200318
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 384: D0902744 – S1103326
HAM5 ISI Coil Driver Pod 1 and Pod 2
D0902744
±24VDC
S1103326
D0902744
Front
S1103326
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C3

## Slide 385: D0902744 – S1103324
HAM5 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103324
D0902744
Front
S1103324
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C3

## Slide 386: D1000272 – S1200310
HAM4 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200310
S1200310
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C3

## Slide 387: D0900117 – S0900266
HAM4 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900266
S0900266
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C3
HAM4

## Slide 388: D1001726 – S1101288
S1101288
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM4 HEPI Binary Input Chassis
D1001726
+18VDC
S1101288
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C3

## Slide 389: D1001728 – S1101323
S1101323
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM4/5 HEPI Binary Output Chassis
D1001728
+18VDC
S1101323
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SEI-C3

## Slide 390: D1000272 – S1200311
HAM5 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200311
S1200311
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C3

## Slide 391: D0900117 – S0900272
HAM5 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900272
S0900272
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C3
HAM5

## Slide 392: D1001726 – S1101289
S1101289
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
HAM5 HEPI Binary Input Chassis
D1001726
+18VDC
S1101289
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C3

## Slide 393: l1susham45 - D1001715 – S1001146
l1seiham45 – I/O Extension Chassis
D1001715
+24VDC
S1001146
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-09
Slot P10
S1001146
Rear
L1:FE-IO-09
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seiham45 – I/O Extender
<< L1-SEI-C3
+24VDC
PTY-015
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
l1seiham45 is part of D1400014

## Slide 394: L1-SEI-C4
l1seibsc1 – I/O Extension Chassis
D1001715
+24VDC
S1001147
SEI BSC1 ISI and HEPI Rack Layout (D1201115) (S1200746)
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203001
<< CER
PTO-014
PTY-013
PTY-016
SEI-C4 is part of D0901301
BSC1 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1201326
BSC1 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1201325
BSC1 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1201329
BSC1 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103311
BSC1 HEPI Anti-Image Chassis
D1100202
±18VDC
S1203003
BSC1 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200951
BSC1 HEPI Binary Input Chassis
D1001726
+18VDC
S1101295
BSC1 HEPI Binary Output Chassis
D1001728
+18VDC
S1101327
BSC1 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900279
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203000
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1202999
BSC1 HEPI Binary Input Chassis
D1001726
+18VDC
S1101296
BSC1 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103322
BSC1 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103328
BSC1 STS-2 Distribution Chassis
D0900351
±18VDC
S0900137
BSC1 STS-2 Interface Chassis
D080535
±18VDC
S0900097
BSC1 Anti-Image Chassis
D1000305
±18VDC
S1203007
BSC1 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1201402
BSC1 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1201391
BSC1 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1201386

## Slide 395: L1-SEI-C4 Details
L1-SEI-C4 Details
<< L1-SEI-C4
SEI-C4 is part of D0901301

## Slide 396: D1002432 – S1201326
BSC1 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1201326
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201326
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C4

## Slide 397: D1002432 – S1201325
BSC1 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1201325
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201325
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C4

## Slide 398: D1002432 – S1201329
BSC1 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1201329
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201329
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C4

## Slide 399: D1002693 – S1203001
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203001
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27
<< L1-SEI-C4
S1203001
Rear
To ADC Adapter
To ADC Adapter

## Slide 400: D1002693 – S1203000
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203000
<< L1-SEI-C4
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27
S1203000
Rear
To ADC Adapter
To ADC Adapter

## Slide 401: D1002693 – S1202999
BSC1 ISI Anti-Alias Chassis
D1002693
±18VDC
S1202999
<< L1-SEI-C4
S1202999
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 402: D1000272 – S1200951
BSC1 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200951
S1200951
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C4

## Slide 403: D1100202 – S1203003
BSC1 HEPI Anti-Image Chassis
D1100202
±18VDC
S1203003
<< L1-SEI-C4
To ADC Adapter
To ADC Adapter
S1203003
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 404: D0900117 – S0900279
BSC1 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900279
S0900279
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C4
BSC1

## Slide 405: D1001726 – S1101295
S1101295
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC1 HEPI Binary Input Chassis
D1001726
+18VDC
S1101295
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C4

## Slide 406: D1001726 – S1101296
S1101296
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC1 HEPI Binary Input Chassis
D1001726
+18VDC
S1101296
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C4

## Slide 407: D1001728 – S1101327
S1101327
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC1 HEPI Binary Output Chassis
D1001728
+18VDC
S1101327
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SEI-C4

## Slide 408: D1002694 – S1201402
BSC1 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1201402
<< L1-SEI-C4
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201402
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 409: D1002694 – S1201391
BSC1 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1201391
<< L1-SEI-C4
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201391
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 410: D1002694 – S12011386
BSC1 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1201386
<< L1-SEI-C4
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201386
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 411: D0900351 – S0900137
BSC1 STS-2 Distribution Chassis
D0900351
±18VDC
S0900137
<< L1-SEI-C4
S0900137
Rear
From STS-2 Interface
From STS-2 Interface
To AA Chassis
To AA Chassis
From STS-2 Interface
To AA Chassis
Channel 1
Channel 1
D0900351
Front
Channel 2
Channel 2
Channel 3
Channel 3
Channel 4
Channel 4
Channel 5
Channel 5
Channel 6
Channel 6
Channel 7
Channel 7
Channel 8
Channel 8

## Slide 412: D080535 – S0900097
BSC1 STS-2 Interface Chassis
D080535
±18VDC
S0900097
<< L1-SEI-C4
S0900097
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 413: l1seibsc1 - D1001715 – S1001147
l1seibsc1 – I/O Extension Chassis
D1001715
+24VDC
S1001147
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-04
Slot P10
S1001147
Rear
L1:FE-IO-04
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seibsc1 – I/O Extender
<< L1-SEI-C4
+24VDC
PTY-016
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 414: D1000305 – S1203007
BSC1 Anti-Image Chassis
D1000305
±18VDC
S1203007
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1203007
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SEI-C4

## Slide 415: D0902744 – S1103328
BSC1 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103328
D0902744
Front
S1103328
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C4

## Slide 416: D0902744 – S1103322
BSC1 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103322
D0902744
Front
S1103322
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C4

## Slide 417: D0902744 – S1103311
BSC1 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103311
D0902744
Front
S1103311
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C4

## Slide 418: L1-SEI-C5
l1seibsc2 – I/O Extension Chassis
D1001715
+24VDC
S1001148
SEI BSC2 ISI and HEPI Rack Layout (D1201116) (S1200747)
<< CER
PTO-020
PTY-022
PTY-023
SEI-C5 is part of D0901301
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200947
BSC2 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1106357
BSC2 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1200666
BSC2 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1200665
BSC2 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103353
BSC2 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200953
BSC2 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200312
BSC2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101291
BSC2 HEPI Binary Output Chassis
D1001728
+18VDC
S1101325
BSC2 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900285
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200946
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200948
BSC2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101292
BSC2 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103337
BSC2 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103305
BSC2 STS-2 Distribution Chassis
D0900351
±18VDC
S0900132
BSC2 Anti-Image Chassis
D1000305
±18VDC
S1200955
BSC2 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1104427
BSC2 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1104425
BSC2 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1104421
BSC2 STS-2 Interface Chassis
D080535
±18VDC
S0900094

## Slide 419: L1-SEI-C5 Details
L1-SEI-C5 Details
<< L1-SEI-C5
SEI-C5 is part of D0901301

## Slide 420: D1002432 – S1106357
BSC2 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1106357
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1106357
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C5

## Slide 421: D1002432 – S1200666
BSC2 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1200666
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1200666
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C5

## Slide 422: D1002432 – S1200665
BSC2 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1200665
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1200665
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C5

## Slide 423: D1002693 – S1200947
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200947
S1200947
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C5
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 424: D1002693 – S1200946
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200946
S1200946
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C5
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 425: D1002693 – S1200948
BSC2 ISI Anti-Alias Chassis
D1002693
±18VDC
S1200948
S1200948
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C5
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 426: D1000272 – S1200312
BSC2 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1200312
S1200312
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C5

## Slide 427: D1100202 – S1200953
BSC2 HEPI Anti-Image Chassis
D1100202
±18VDC
S1200953
<< L1-SEI-C5
To ADC Adapter
To ADC Adapter
S1200953
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 428: D0900117 – S0900285
BSC2 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900285
S0900285
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C5
BSC2

## Slide 429: D1001726 – S1101291
S1101291
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101291
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C5

## Slide 430: D1001726 – S1101292
S1101292
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC2 HEPI Binary Input Chassis
D1001726
+18VDC
S1101292
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C5

## Slide 431: D1001728 – S1101325
S1101325
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC2 HEPI Binary Output Chassis
D1001728
+18VDC
S1101325
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SEI-C5

## Slide 432: D1002694 – S1104427
BSC2 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1104427
<< L1-SEI-C5
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104427
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 433: D1002694 – S1104425
BSC2 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1104425
<< L1-SEI-C5
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104425
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 434: D1002694 – S1104421
BSC2 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1104421
<< L1-SEI-C5
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104421
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 435: D0900351 – S0900132
BSC2 STS-2 Distribution Chassis
D0900351
±18VDC
S0900132
S0900132
Rear
From STS-2 Interface
From STS-2 Interface
To AA Chassis
To AA Chassis
From STS-2 Interface
To AA Chassis
Channel 1
Channel 1
D0900351
Front
Channel 2
Channel 2
Channel 3
Channel 3
Channel 4
Channel 4
Channel 5
Channel 5
Channel 6
Channel 6
Channel 7
Channel 7
Channel 8
Channel 8
<< L1-SEI-C5

## Slide 436: D080535 – S0900094
BSC2 STS-2 Interface Chassis
D080535
±18VDC
S0900094
<< L1-SEI-C5
S0900094
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 437: l1seibsc2 - D1001715 – S1001148
l1seibsc2 – I/O Extension Chassis
D1001715
+24VDC
S1001148
<< L1-SEI-C5
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-20
Slot P10
S1001148
Rear
L1:FE-IO-20
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seibsc2 – I/O Extender
+24VDC
PTY-023
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 438: D1000305 – S1200955
BSC2 Anti-Image Chassis
D1000305
±18VDC
S1200955
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200955
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SEI-C5

## Slide 439: D0902744 – S1103305
BSC2 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103305
D0902744
Front
S1103305
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C5

## Slide 440: D0902744 – S1103337
BSC2 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103337
D0902744
Front
S1103337
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C5

## Slide 441: D0902744 – S1103353
BSC2 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103353
D0902744
Front
S1103353
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C5

## Slide 442: L1-SEI-C6
SEI BSC3 ISI and HEPI Rack Layout (D1201117) (S1200748)
<< CER
PTO-019
PTY-021
PTY-024
SEI-C6 is part of D0901301
l1seibsc3 – I/O Extension Chassis
D1001715
+24VDC
S1100946
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203102
BSC3 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1201323
BSC3 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1201322
BSC3 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1201327
BSC3 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103329
BSC3 HEPI Anti-Image Chassis
D1100202
±18VDC
S1203132
BSC3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1203002
BSC3 HEPI Binary Input Chassis
D1001726
+18VDC
S1101299
BSC3 HEPI Binary Output Chassis
D1001728
+18VDC
S1101328
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203101
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203100
BSC3 HEPI Binary Input Chassis
D1001726
+18VDC
S1101298
BSC3 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103315
BSC3 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103565
BSC3 STS-2 Distribution Chassis
D0900351
±18VDC
S0900130
BSC3 Anti-Image Chassis
D1000305
±18VDC
S1203269
BSC3 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1201892
BSC3 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1104429
BSC3 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1104428
BSC3 STS-2 Interface Chassis
D080535
±24VDC
S0900092
BSC3 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900280

## Slide 443: L1-SEI-C6 Details
L1-SEI-C6 Details
<< L1-SEI-C6
SEI-C6 is part of D0901301

## Slide 444: D1002432 – S1201323
BSC3 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1201323
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201323
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C6

## Slide 445: D1002432 – S1201322
BSC3 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1201322
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201322
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C6

## Slide 446: D1002432 – S1201327
BSC3 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1201327
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1201327
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In
<< L1-SEI-C6

## Slide 447: D1002693 – S1203102
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203102
S1203102
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C6
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 448: D1002693 – S1203101
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203101
S1203101
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C6
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 449: D1002693 – S1203100
BSC3 ISI Anti-Alias Chassis
D1002693
±18VDC
S1203100
S1203100
Rear
To ADC Adapter
To ADC Adapter
<< L1-SEI-C6
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 450: D1000272 – S1203002
BSC3 HEPI Anti-Alias Chassis
D1000272
±18VDC
S1203002
S1203002
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26
<< L1-SEI-C6

## Slide 451: D1100202 – S1203132
BSC3 HEPI Anti-Image Chassis
D1100202
±18VDC
S1203132
<< L1-SEI-C6
To ADC Adapter
To ADC Adapter
S1203132
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 452: D0900117 – S0900280
BSC3 HEPI 8-Channel Valve Driver
D0900117
±18VDC
S0900280
S0900280
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8
D0900117 is part of D0901338
<< L1-SEI-C6
BSC3

## Slide 453: D1001726 – S1101299
S1101299
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC3 HEPI Binary Input Chassis
D1001726
+18VDC
S1101299
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C6

## Slide 454: D1001726 – S1101298
S1101298
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC3 HEPI Binary Input Chassis
D1001726
+18VDC
S1101298
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-C6

## Slide 455: D1001728 – S1101328
S1101328
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
BSC3 HEPI Binary Output Chassis
D1001728
+18VDC
S1101328
D1001728
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SEI-C6

## Slide 456: D1002694 – S1201892
BSC3 T-240 Interface Chassis Pod 1
D1002694
±18VDC
S1201892
<< L1-SEI-C6
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201892
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 457: D1002694 – S1104429
BSC3 T-240 Interface Chassis Pod 2
D1002694
±18VDC
S1104429
<< L1-SEI-C6
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104429
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 458: D1002694 – S1104428
BSC3 T-240 Interface Chassis Pod 3
D1002694
±18VDC
S1104428
<< L1-SEI-C6
D1002694
Front
From Trillium Flange
From Trillium Flange
S1104428
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 459: D0900351 – S0900130
BSC3 STS-2 Distribution Chassis
D0900351
±18VDC
S0900130
S0900130
Rear
From STS-2 Interface
From STS-2 Interface
To AA Chassis
To AA Chassis
From STS-2 Interface
To AA Chassis
Channel 1
Channel 1
D0900351
Front
Channel 2
Channel 2
Channel 3
Channel 3
Channel 4
Channel 4
Channel 5
Channel 5
Channel 6
Channel 6
Channel 7
Channel 7
Channel 8
Channel 8
<< L1-SEI-C6

## Slide 460: D080535 – S0900092
BSC3 STS-2 Interface Chassis
D080535
±18VDC
S0900092
<< L1-SEI-C6
S0900092
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 461: l1seibsc3 - D1001715 – S1100946
l1seibsc3 – I/O Extension Chassis
D1001715
+24VDC
S1100946
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-23
Slot P10
S1100946
Rear
L1:FE-IO-23
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seibsc3 – I/O Extender
<< L1-SEI-C6
+24VDC
PTY-024
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 462: D1000305 – S1203269
BSC3 Anti-Image Chassis
D1000305
±18VDC
S1203269
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1203269
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SEI-C6

## Slide 463: D0902744 – S1103565
BSC3 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103565
D0902744
Front
S1103565
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C6

## Slide 464: D0902744 – S1103315
BSC3 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103315
D0902744
Front
S1103315
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C6

## Slide 465: D0902744 – S1103329
BSC3 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103329
D0902744
Front
S1103329
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-C6

## Slide 466: Subsystem: SUS (Suspensions)
2feet
Each Rack is 39” Deep and 24” Wide
2 feet
L1-SUS-C1
L1-SUS-C2
L1-SUS-C3
L1-SUS-C4
L1-SUS-C5
L1-SUS-C6
L1-SUS-C7
L1-SUS-C8
L1-SEI-C1
Front
Front
Front
Front
Front
Front
L1-SEI-C2
L1-AOS-C1
L1-SEI-C3
L1-SEI-C4
L1-SEI-C5
L1-SEI-C6
L1-UNK-C3
L1-UNK-C2
L1-UNK-C1
L1-PSL-C1
CDS Electronics Room (CER)
L1-OAF-C1
SUS ITMX, ITMY, FMX, FMY, and BS Rack 1
SUS HAM3 and HAM4 Rack 2
SUS HAM3 and HAM4 Rack 1
SUS HAM2 Rack 1
SUS HAM2 Rack 2
SUS ITMX, ITMY, FMX, FMY, and BS Rack 2
SUS HAM5 and HAM6 Rack 1
SUS HAM5 and HAM6 Rack 2
ISC LVEA Rack 1
ISC LVEA Rack 2
ISC LVEA Rack 3
PSL Rack 1
DAQ Rack 1
TCS Rack 1
Front
SEI HAM1 and HAM6
SEI HAM2 and HAM3
SEI HAM4 and HAM5
SEI BSC1
SEI BSC2
SEI BSC3
ISC LVEA Rack 4
L1-FAC-C1
<< LLO Racks by Subsystem
L1-ISC-C1
L1-ISC-C2
L1-ISC-C3
L1-ISC-C4
SUS

## Slide 467: L1-SUS-C1 – S1104062
SUS HAM3 and HAM4 Rack 1 (of 2) Layout (D1200856) (S1104062)
PR2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000349
MC2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000348
MC2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000347
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000260
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000264
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000721
SR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000722
SR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000273
SR2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001188
SR2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001187
PR2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001186
FE DAC4, FE DAC5 Anti-Image Chassis
D1000305
±18VDC
S1101815
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1001198
FE DAC0, FE DAC1 Anti-Image Chassis
D1000305
±18VDC
S1001197
BIO2 Binary Input Chassis
D1000726
±18VDC
S1101802
BIO2 Binary Output Chassis
D1000725
±18VDC
S1101782
BIO1 Binary Output Chassis
D1000725
±18VDC
S1101781
BIO1 Binary Input Chassis
D1000726
±18VDC
S1101805
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100327
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1001157
<< CER
PTO-008
SUS-C1 is part of D1000599.

## Slide 468: L1-SUS-C1 Details
L1-SUS-C1 Details
<< L1-SUS-C1

## Slide 469: D1001242 – S1000260
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000260
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
<< L1-SUS-C1
S1000260
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 470: D1001242 – S1000264
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000264
<< L1-SUS-C1
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000264
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 471: D1001242 – S1000721
MC2-PR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000721
<< L1-SUS-C1
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000721
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 472: D1001242 – S1000722
SR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000722
<< L1-SUS-C1
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000722
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 473: D1001242 – S1000273
SR2 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000273
<< L1-SUS-C1
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000273
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 474: D0902783 – S1001157
<< L1-SUS-C1
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1001157
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001157
Rear

## Slide 475: D0902783 – S1100327
<< L1-SUS-C1
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100327
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100327
Rear

## Slide 476: D1000305 – S1001197
<< L1-SUS-C1
FE DAC0, FE DAC1 Anti-Image Chassis
D1000305
±18VDC
S1001197
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1001197
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 477: D1000305 – S1001198
<< L1-SUS-C1
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1001198
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1001198
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 478: D0900006 – S1000347
MC2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000347
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000347
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 479: D0900006 – S1000348
MC2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000348
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000348
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 480: D0900006 – S1000349
PR2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000349
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000349
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 481: D1000305 – S1001815
<< L1-SUS-C1
FE DAC4, FE DAC5 Anti-Image Chassis
D1000305
±18VDC
S1101815
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101815
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 482: D0900006 – S1001186
PR2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001186
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001186
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 483: D0900006 – S1001187
SR2 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001187
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001187
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 484: D0900006 – S1001188
SR2 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001188
<< L1-SUS-C1
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001188
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047

## Slide 485: D1000725 – S1101781
<< L1-SUS-C1
BIO1 Binary Output Chassis
D1000725
±18VDC
S1101781
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101781
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31

## Slide 486: D1000726 – S1101805
<< L1-SUS-C1
BIO1 Binary Input Chassis
D1000726
±18VDC
S1101805
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101805
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31

## Slide 487: D1000725 – S1101782
<< L1-SUS-C1
BIO2 Binary Output Chassis
D1000725
±18VDC
S1101782
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101782
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31

## Slide 488: D1000726 – S1101802
<< L1-SUS-C1
BIO2 Binary Input Chassis
D1000726
±18VDC
S1101802
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101802
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31

## Slide 489: L1-SUS-C2 – S1104356
SUS HAM3 and HAM4 Rack 2 (of 2) Layout (D1200859) (S1104356)
MON ADC2 Anti-Alias Chassis
D0902783
±18VDC
S1105148
MON ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105149
MON ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1105129
l1susham34 I/O Extension Chassis
D1001715
+24VDC
S1001140
l1susauxham34 I/O Extension Chassis
D1001715
+24VDC
S1001141
MON ADC3 Anti-Alias Chassis
D0902783
±18VDC
S1105147
MON ADC4 Anti-Alias Chassis
D0902783
±18VDC
S1105146
MON ADC5 Anti-Alias Chassis
D0902783
±18VDC
S1105145
<< CER
PTO-007
TB-03
SUS-C2 is part of D1000599.

## Slide 490: L1-SUS-C2 Details
L1-SUS-C2 Details
<< L1-SUS-C2

## Slide 491: D0902783 – S1105129
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105129
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105129
Rear

## Slide 492: D0902783 – S1105149
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105149
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105149
Rear

## Slide 493: D0902783 – S1105148
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105148
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105148
Rear

## Slide 494: D0902783 – S1105147
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105147
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105147
Rear

## Slide 495: D0902783 – S1105146
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105146
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105146
Rear

## Slide 496: D0902783 – S1105145
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1105145
<< L1-SUS-C2
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1105145
Rear

## Slide 497: l1susauxham34 - D1001715 – S1001141
<< L1-SUS-C2
l1susauxham34 I/O Extension Chassis
D1001715
+24VDC
S1001141
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-17
Slot P10
S1001141
Rear
L1:FE-IO-17
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxham34 – I/O Extender
+24VDC
TB-03
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx

## Slide 498: l1susham34 - D1001715 – S1001140
l1susham34 I/O Extension Chassis
D1001715
+24VDC
S1001140
<< L1-SUS-C2
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-13
Slot P10
S1001140
Rear
L1:FE-IO-13
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susham34 – I/O Extender
+24VDC
TB-03
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 499: L1-SUS-C3 – S1104357
SUS HAM2 Rack 1 (of 2) Layout (D1200864) (S1104357)
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1105290
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1105289
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1105265
MON ADC6 Anti-Alias Chassis
D1000721
±18VDC
S1105294
MON ADC5 Anti-Alias Chassis
D1000721
±18VDC
S1105293
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1105292
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1105291
l1susham2b I/O Extension Chassis
D1001715
+24VDC
S1001139
l1susham2a I/O Extension Chassis
D1001715
+24VDC
S1001133
l1susauxham2 I/O Extension Chassis
D1001715
+24VDC
S1103891
MON ADC7 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100335
FE1 BIO2 Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101772
FE1 BIO2 Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101283
FE1 BIO1 Binary Output Chassis
D1000725
±18VDC
S1104841
FE1 BIO1 Binary Input Chassis
D1000726
±18VDC
S1104457
FE1 BIO0 Binary Output Chassis
D1000725
±18VDC
S1104838
FE1 BIO0 Binary Input Chassis
D1000726
±18VDC
S1104460
<< CER
PTO-006
TB-04
FE2 BIO0 Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101773
FE2 BIO0 Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101315
PTY-005
SUS-C3 is part of D0902810.

## Slide 500: L1-SUS-C3 Details
L1-SUS-C3 Details
<< L1-SUS-C3

## Slide 501: D1000721 – S1105265
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1105265
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105265
Rear
<< L1-SUS-C3

## Slide 502: D1000721 – S1105289
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1105289
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105289
Rear
<< L1-SUS-C3

## Slide 503: D1000721 – S1105290
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1105290
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105290
Rear
<< L1-SUS-C3

## Slide 504: D1000721 – S1105291
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1105291
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105291
Rear
<< L1-SUS-C3

## Slide 505: D1000721 – S1105292
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1105292
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105292
Rear
<< L1-SUS-C3

## Slide 506: D1000721 – S1105293
MON ADC5 Anti-Alias Chassis
D1000721
±18VDC
S1105293
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105293
Rear
<< L1-SUS-C3

## Slide 507: D1000721 – S1105294
MON ADC6 Anti-Alias Chassis
D1000721
±18VDC
S1105294
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1105294
Rear
<< L1-SUS-C3

## Slide 508: D0902783 – S1100335
MON ADC7 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100335
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100335
Rear
<< L1-SUS-C3

## Slide 509: l1susauxham2 - D1001715 – S1003891
l1susauxham2 I/O Extension Chassis
D1001715
+24VDC
S1003891
<< L1-SUS-C3
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-16
Slot P10
S1003891
Rear
L1:FE-IO-16
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxham2 – I/O Extender
+24VDC
PTY-005
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx

## Slide 510: l1susham2a - D1001715 – S1001133
<< L1-SUS-C3
l1susham2a IO Extension Chassis
D1001715
+24VDC
S1001133
l1susham2a – I/O Extender
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-11
Slot P10
S1001133
Rear
L1:FE-IO-11
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susham2a – I/O Extender
+24VDC
TB-04
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 511: l1susham2b - D1001715 – S1001139
l1susham2b IO Extension Chassis
D1001715
+24VDC
S1001139
l1susham2b – I/O Extender
<< L1-SUS-C3
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-12
Slot P10
S1001139
Rear
L1:FE-IO-12
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susham2b – I/O Extender
+24VDC
TB-04
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 512: D1000725 – S1104838
FE1 BIO0 Binary Output Chassis
D1000725
±18VDC
S1104838
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1104838
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C3

## Slide 513: D1000726 – S1104460
FE1 BIO0 Binary Input Chassis
D1000726
±18VDC
S1104460
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1104460
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C3

## Slide 514: D1000725 – S1104841
FE1 BIO1 Binary Output Chassis
D1000725
±18VDC
S1104841
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1104841
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C3

## Slide 515: D1000726 – S1104457
FE1 BIO1 Binary Input Chassis
D1000726
±18VDC
S1104457
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1104457
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C3

## Slide 516: D1002593 – S1101772
FE1 BIO2 Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101772
S1101772
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1002593
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SUS-C3

## Slide 517: D1001726 – S1101283
FE1 BIO2 Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101283
S1101283
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SUS-C3

## Slide 518: D1002593 – S1101773
FE2 BIO0 Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1101773
S1101773
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1002593
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SUS-C3

## Slide 519: D1001726 – S1101315
FE2 BIO0 Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101315
S1101315
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SUS-C3

## Slide 520: L1-SUS-C4 – S1104058
SUS HAM2 Rack 2 (of 2) Layout (D1200867) (S1104358)
FE1 ADC0 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100332
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000253
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000261
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000262
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000257
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000726
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000723
FE1 ADC1 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100333
FE1 DAC0, FE1 DAC1 Anti-Image Chassis
D1000305
±18VDC
S1105313
MC3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000353
MC1 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000352
MC1 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001112
MC3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000354
FE1 DAC6 Anti-Image Chassis
D1000305
±18VDC
S1101806
PR3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001192
PRM Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001191
PRM Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001103
PR3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001193
FE1 DAC2, FE1 DAC3 Anti-Image Chassis
D1000305
±18VDC
S1001200
FE1 DAC4, FE1 DAC5 Anti-Image Chassis
D1000305
±18VDC
S1104363
FE2 ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1200818
FE2 DAC0 Anti-Image Chassis
D1000305
±18VDC
S1101807
SM1 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200590
SM2 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200589
<< CER
PTO-005
PTO-022
PMMT1 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200585
PMMT2 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200617
SUS-C4 is part of D0902810.

## Slide 521: L1-SUS-C4 Details
L1-SUS-C4 Details
<< L1-SUS-C4

## Slide 522: D1001242 – S1000253
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000253
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000253
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 523: D1001242 – S1000261
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000261
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000261
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 524: D1001242 – S1000262
MC1-MC3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000262
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000262
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 525: D1001242 – S1000257
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000257
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000257
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 526: D1001242 – S1000726
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000726
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000726
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 527: D1001242 – S1000723
PRM-PR3 Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000723
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000723
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-C4
Driver Board: D0902747
Monitor Board: D070480

## Slide 528: D0902783 – S1100332
FE1 ADC0 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100332
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100332
Rear
<< L1-SUS-C4

## Slide 529: D0902783 – S1100333
FE1 ADC1 Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1100333
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100333
Rear
<< L1-SUS-C4

## Slide 530: D1000305 – S1105313
FE1 DAC0, FE1 DAC1 Anti-Image Chassis
D1000305
±18VDC
S1105313
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1105313
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 531: D1000305 – S1001200
FE1 DAC2, FE1 DAC3 Anti-Image Chassis
D1000305
±18VDC
S1001200
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1001200
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 532: D0900006 – S1001112
MC1 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000347
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001112
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 533: D0900006 – S1000352
MC1 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000352
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000352
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 534: D0900006 – S1000353
MC3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1000353
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000353
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 535: D0900006 – S1000354
MC3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1000354
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1000354
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 536: D1000305 – S1104363
FE1 DAC4, FE1 DAC5 Anti-Image Chassis
D1000305
±18VDC
S1104363
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1104363
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 537: D1000305 – S1101806
FE1 DAC6 Anti-Image Chassis
D1000305
±18VDC
S1101806
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101806
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 538: D0900006 – S1001103
PRM Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001103
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001103
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 539: D0900006 – S1001191
PRM Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001191
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001191
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 540: D0900006 – S1001192
PR3 Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001192
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001192
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 541: D0900006 – S1001193
PR3 Bot Triple Acq Driver Chassis
D0900006
±18VDC
S1001193
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001193
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0901047
<< L1-SUS-C4

## Slide 542: D1100687 – S1200590
SM1 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200590
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200590
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp
<< L1-SUS-C4

## Slide 543: D1100687 – S1200589
SM2 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200589
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200589
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp
<< L1-SUS-C4

## Slide 544: D0902783 – S1200818
FE2 ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1200818
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1200818
Rear
<< L1-SUS-C4

## Slide 545: D1000305 – S1101807
FE2 DAC0 Anti-Image Chassis
D1000305
±18VDC
S1101807
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101807
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C4

## Slide 546: D1100687 – S1200585
PMMT1 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200585
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200585
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp
<< L1-SUS-C4

## Slide 547: D1100687 – S1200617
PMMT2 8-Channel Coil Driver Chassis
D1100687
±18VDC
S1200617
PD Inputs
PD Inputs
Coil Inputs
Coil Inputs
Binary Inputs
Binary Inputs
Binary Outputs
Binary Outputs
D1100687
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1200617
Rear
Monitors
Monitors
Coil Driver Out
Coil Driver Out
To/From Sat Amp
To/From Sat Amp
<< L1-SUS-C4

## Slide 548: L1-SUS-C5 – S1105375
SUS ITMX, ITMY, and BS Rack 1 (of 2) Layout (D1200874) (S1105375)
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000435
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000380
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000372
BS Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000265
BS Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000258
BS Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001110
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000377
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000379
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000370
l1susauxbsc123 I/O Extension Chassis
D1001715
+24VDC
S1103888
l1susbsc123 I/O Extension Chassis
D1001715
+24VDC
S1001143
ITMY UIM Coil Driver Chassis
D0902668
±18VDC
S0900313
ITMX UIM Coil Driver Chassis
D0902668
±18VDC
S0900311
ITMY PUM Coil Driver Chassis
D1100303
±18VDC
S1101562
ITMX PUM Coil Driver Chassis
D1100303
±18VDC
S1101561
<< CER
PTO-004
PTY-002
TB-01
SUS-C5 is part of D1100022.

## Slide 549: L1-SUS-C5 Details
L1-SUS-C5 Details
<< L1-SUS-C5
SUS-C5 is part of D1100022.

## Slide 550: D1001782 – S1000435
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000435
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000435
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 551: D1001782 – S1000380
<< L1-SUS-C5
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000380
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000380
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 552: D1001782 – S1000372
ITMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000372
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000372
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 553: D1001782 – S1000377
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000377
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000377
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 554: D1001782 – S1000379
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000379
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000379
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 555: D1001782 – S1000370
ITMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000370
<< L1-SUS-C5
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000370
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747

## Slide 556: D0902668 – S0900313
D070481
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
AdL PP UIM Coil Driver
University of Birmingham
S0900313
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
ITMY UIM Coil Driver Chassis
D0902668
±18VDC
S0900313
<< L1-SUS-C5

## Slide 557: D0902668 – S0900311
ITMX UIM Coil Driver Chassis
D0902668
±18VDC
S0900311
<< L1-SUS-C5
D070481
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
AdL PP UIM Coil Driver
University of Birmingham
S0900311
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat

## Slide 558: D1100303 – S1101562
D070483
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
PUM Coil Driver
University of Birmingham
S1101562
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
ITMY PUM Coil Driver Chassis
D1100303
±18VDC
S1101562
<< L1-SUS-C5

## Slide 559: D1100303 – S1101561
ITMX PUM Coil Driver Chassis
D1100303
±18VDC
S1101561
<< L1-SUS-C5
D070483
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
PUM Coil Driver
University of Birmingham
S1101561
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat

## Slide 560: D1001242 – S1000265
BS Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000265
<< L1-SUS-C5
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000265
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 561: D1001242 – S1000258
BS Triple Top Coil Driver Chassis
D1001242
±18VDC
S1000258
<< L1-SUS-C5
D1001242
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
Triple Top Coil Driver
University of Birmingham
S1000258
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Driver Board: D0902747
Monitor Board: D070480

## Slide 562: D0900006 –S1001110
Relay Controls
Relay Controls
Relay Monitors
Relay Monitors
D0900006
Front
PD Out to AA
LED Mon
Relay Monitors
Relay Controls
Power
Drive Input
Test In
Triple Acquisition Driver
University of Birmingham
D0900006
Drive Input
Drive Input
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
S1001110
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
BS Mid Triple Acq Driver Chassis
D0900006
±18VDC
S1001110
This number is actually correct. The DocDB part number is erroneously D090006 because it got assigned before the Wizards decided there would be 5 digits, and they won’t fix if. I’ve asked.
<< L1-SUS-C5
Monitor Board: D070480
Driver Board: D0901047

## Slide 563: l1susbsc123 - D1001715 – S1001143
l1susbsc123 I/O Extension Chassis
D1001715
+24VDC
S1001143
<< L1-SUS-C5
l1susham56 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-10
Slot P10
S1001143
Rear
L1:FE-IO-10
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susbsc123 – I/O Extender
+24VDC
TB-01
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 564: l1susauxbsc123 - D1001715 – S1103888
l1susauxbsc123 I/O Extension Chassis
D1001715
+24VDC
S1103888
l1susauxbsc123 I/O Extender
<< L1-SUS-C5
l1susauxham56 I/O Extender
l1susauxham34 I/O Extender
l1susham34 – I/O Extender
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-21
Slot P10
S1103888
Rear
L1:FE-IO-21
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxbsc123 – I/O Extender
+24VDC
PTY-002
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Open
Slot P3
Open
Slot P9
Open
Slot P10
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx

## Slide 565: L1-SUS-C6 – S1105376
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100330
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1107600
FE DAC4, FE DAC5 Anti-Image Chassis
D1000305
±18VDC
S1101810
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1101809
FE DAC0, FE DAC1 Anti-Image Chassis
D1000305
±18VDC
S1101808
SUS ITMX, ITMY, and BS Rack 2 (of 2) Layout (D1200875) (S1105376)
FE DAC6, FE DAC7 Anti-Image Chassis
D1100815
±18VDC
S1103828
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1107501
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1107502
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1107499
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1107463
MON ADC5 Anti-Alias Chassis
D1000721
±18VDC
S1107504
MON ADC4 Anti-Alias Chassis
D1000721
±18VDC
S1107498
MON ADC6 Anti-Alias Chassis
D1000721
±18VDC
S1107497
<< CER
PTO-003
PTO-021
FE2 ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1201132
Laser Power Monitor Marshaling Chassis
Dxxxxxxx
±18VDC
Sxxxxxxx
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101754
Binary Input Chassis (4*DB9, 2*DB37)
D1001269
±18VDC
S1101791
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101751
Binary Input Chassis (4*DB9, 2*DB37)
D1001269
±18VDC
S1101793
Binary Output Chassis
D1000725
±18VDC
S1101783
Binary Input Chassis
D1000726
±18VDC
S1101803
SUS-C6 is part of D1100022.

## Slide 566: L1-SUS-C6 Details
L1-SUS-C6 Details
<< L1-SUS-C6

## Slide 567: D0902783 – S1107600
FE ADC0 Anti-Alias Chassis
D0902783
±18VDC
S1107600
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1107600
Rear
<< L1-SUS-C6

## Slide 568: D0902783 – S1100330
FE ADC1 Anti-Alias Chassis
D0902783
±18VDC
S1100330
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1100330
Rear
<< L1-SUS-C6

## Slide 569: D1000305 – S1101808
FE1 DAC0, FE1 DAC1 Anti-Image Chassis
D1000305
±18VDC
S1101808
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101808
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C6

## Slide 570: D1000305 – S1101809
FE DAC2, FE DAC3 Anti-Image Chassis
D1000305
±18VDC
S1101809
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101809
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C6

## Slide 571: D1000305 – S1101810
FE DAC4, FE DAC5 Anti-Image Chassis
D1000305
±18VDC
S1101810
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1101810
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
<< L1-SUS-C6

## Slide 572: D1001270 – S1101754
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101754
S1101754
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1001270
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
<< L1-SUS-C6

## Slide 573: D1001269 – S1101791
Binary Input Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101791
S1101791
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
D1001270
Front
<< L1-SUS-C6

## Slide 574: D1001270 – S1101751
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101751
S1101751
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1001270
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
<< L1-SUS-C6

## Slide 575: D1001269 – S1101793
Binary Input Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1101793
S1101793
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
D1001270
Front
<< L1-SUS-C6

## Slide 576: D1000725 – S1101783
Binary Output Chassis
D1000725
±18VDC
S1101783
D1000725
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101783
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C6

## Slide 577: D1000726 – S1101803
Binary Input Chassis
D1000726
±18VDC
S1101803
D1000726
Front
Ch 20-31
Ch 20-31
Ch 52-63
Ch 52-63
Ch 0-7
Ch 0-7
Ch 8-19
Ch 8-19
Ch 40-51
Ch 40-51
Ch 32-39
Ch 32-39
S1101803
Rear
Ch 32-63
Ch 32-63
Ch 0-31
Ch 0-31
<< L1-SUS-C6

## Slide 578: D1100815 – S1103825
FE DAC6, FE DAC7 Anti-Image Chassis
D1100815
±18VDC
S1103828
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
S1103828
Rear
D1100815 is an AI, which means it has OUTPUTS, not INPUTS. The labels are incorrect.
OUT 13-16
OUT 13-16
OUT 7-12
OUT 7-12
OUT 1-6
OUT 1-6
D1100815
Front
OUT 13-16
OUT 7-12
OUT 1-6
<< L1-SUS-C6

## Slide 579: D1000721 – S1107502
MON ADC0 Anti-Alias Chassis
D1000721
±18VDC
S1107502
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107502
Rear
<< L1-SUS-C6

## Slide 580: D1000721 – S1107501
MON ADC1 Anti-Alias Chassis
D1000721
±18VDC
S1107501
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107501
Rear
<< L1-SUS-C6

## Slide 581: D1000721 – S1107463
MON ADC2 Anti-Alias Chassis
D1000721
±18VDC
S1107463
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107463
Rear
<< L1-SUS-C6

## Slide 582: D1000721 – S1107499
MON ADC3 Anti-Alias Chassis
D1000721
±18VDC
S1107499
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1107499
Rear
<< L1-SUS-C6

## Slide 1000: XEND Phone
TR3030WDM
GE Security
Optical In/Out: To 1X23 PP B3,B4
Phone: Copper to VEA
Power: 12VDC
Powered from Wall Wart from Tripp-Lite UPS
Model BC320
9834DY0BC614000661 To 6-Outlet Power Strip in Non-isolated wall socket
Phone
<< L1-FAC-XC1

## Slide 1001: XEND – Kantech Interface
Fiber Options 7711-R (501R)
Optical In/Out:
To 1Y23 PP D2
Power: 13.5VDC from Wall Wart
Blue CAT5: 1=O/W and B/W, 4=O, 7=B
Powered from Wall Wart from Isolated Power
Kantech
To Siemens Racks
To
To Kantech Racks
To
<< L1-FAC-XC1

## Slide 1002: XEND – Comtrol Interface
Comtrol
5002111
-12VDC
9445009189
<< L1-FAC-XC1
Comtrol DeviceMaster 4 with DB9 Ports
3M Shell 3357-9209
3M Shell 3357-9209
2.1mm Socket
(Note polarity)
MAC Address:
00-C0-4E-07-3F-5D
IP Address:
10/110.60.??

## Slide 1003: ESTOP-X Fiber Contacts
ESTOP-X Fiber Contacts
Dxxxxxxx
UPS1
SN:
<< L1-FAC-XC1

## Slide 1004: KEPCO Power Supplies
Rear
JQE
Front
<< L1-FAC-XC1
KEPCO JQE 25-10
H207953
KEPCO JQE 15-6
H214524
KEPCO JQE 15-6
H214494
KEPCO JQE 25-10
+24VDC
KEPCO JQE 15-6
+12VDC
KEPCO JQE 15-6
-12VDC
KEPCO Power Supplies
UPS1
+12VDC
-12VDC
+24VDC
H207953
H214494
H214524

## Slide 1005: APC SMT1500RM2U
UPS
APC SMT1500RM2U
110VAC
A51051111991
APC SMT1500RM2U
Front
A51051111991
Rear
To X448 PS1
To 2402 PS1
To UPS Power Strip
<< L1-FAC-XC1

## Slide 1006: 1X23 – D070443 – LH02
Powered from 12VDC DIN rails
Powered from 15VDC DIN rails
D070443
Magnetometer Filter
LH02
Magnetometer Power Supply
(MAG-03PSU)
0539
Magnetometer
MAG-03MCES
X
Y
Z
X
Y
Z
Magnetometer: Bartington Instruments MAG-03MC
5 meter
X
Y
Z
On/Off
D030574
Black – G/W … Ground
Stria – Y/W … +12VDC
–
+
Charger … 9 to 18 VDC
Pin 1: +15VDC … Red/Blk RED
Pin 2: Ground … Red/Blk BLACK
Pin 3: -15VDC … Wht/Blk WHITE
Pin 4: Ground … Wht/Blk BLACK
<< L1-FAC-XC1

## Slide 1007: Security Cameras
VT7430-2DRDT
Optical In/Out:
To 1X23 PP B6
Power: 12VDC
Output: Ch1, Ch2, Ch3 BNCs to Cameras
Video Master Power Supply
Model RT24/16500
Outputs to Cameras 1,2,3
Note: 6 LEDs are on.
Powered from Wall Wart from Isolated Power
AC Powered from Isolated Power
Security Cameras
<< L1-FAC-XC1

## Slide 1008: L1-ISC-XC1
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000652
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1102675
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1301310
Anti-Image Chassis (4*DB9)
D070081
±18VDC
S1102676
l1iscex I/O Extension Chassis
D1001715
+24V@5A
S1000536
L1-ISC-XC1 XEND Remote Rack Layout (D1201084) (S1202948)
ISC-XC1 is part of D1001459
71 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000561
24.4 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000577
24.4 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000669
RF Amplifier Concentrator 3
D1100262
±18VDC
S1106463
Perforated Shelf
Perforated Shelf
384 Channel Binary Output
D1100251
+24VDC
S1203283
Sequencer
D1200757
S1202548
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1102618
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
S1107443
PTY-031
PTY-033
PTO-044
PTG-005
PTY-053
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 22
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 23
No Power
<< CERX Racks
<< XEND Racks and Tables

## Slide 1009: L1-ISC-XC1 Details
L1-ISC-XC1 Details
<< L1-ISC-XC1
ISC-XC1 is part of D1001459

## Slide 1010: RF Distribution Panel 22
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-XC1
ALS Laser VCO
ALS Modulation
Return PCL
Beat Note
ALS Demod
Return ALS
Laser VCO
SPARE
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 22
No Power

## Slide 1011: RF Distribution Panel 23
Dxxxxxxx
Front
<< L1-ISC-XC1
Sxxxxxxx
Rear
SPARE
SPARE
OPEN
OPEN
OPEN
OPEN
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 23
No Power

## Slide 1012: D080702 – S1000561
71 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000561
S1000561
Rear
D080702
Front
Front
Output
Front
Lock
To …
<< L1-ISC-XC1

## Slide 1013: D1000124 – S1000652
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000652
<< L1-ISC-XC1
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000652
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 1014: D080702 – S1000577
24.4 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000577
S1000577
Rear
D080702
Front
Front
Output
Front
Lock
To …
<< L1-ISC-XC1

## Slide 1015: D1000124 – S1000669
24.4 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000669
<< L1-ISC-XC1
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000669
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 1016: D1100262 – S1106463
RF Amplifier Concentrator 1
D1100262
±18VDC
S1106463
D1100262
Front
S1106463
Rear
1
Rear
Controls
5
Rear
9
Rear
2
Rear
6
Rear
10
Rear
3
Rear
7
Rear
11
Rear
4
Rear
8
Rear
12
Rear
Rear
<< L1-ISC-XC1

## Slide 1017: D1100251 – S1203283
384 Channel Binary Output
D1100251
+24VDC
S1203283
<< L1-ISC-XC1
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1203283
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out

## Slide 1018: D1002961 – S1102618
D1002961
Front: D0902553
S1102618
Rear: D0902554
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1102618
Name: D1002962
<< L1-ISC-XC1
End Link Multimode Fiber
IN

## Slide 1019: D1100682 – S1107443
D1100682
Front: D0902553
S1107443
Rear: D1101977
Name: D1101978
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
S1107443
<< L1-ISC-XC1

## Slide 1020: D0902783 – S1102675
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1102675
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102675
Rear
<< L1-ISC-XC1

## Slide 1021: D0902783 – S1301310
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1301310
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1301310
Rear
<< L1-ISC-XC1

## Slide 1022: D070081 – S1102676
Anti-Image Chassis (4*DB9)
D070081
±18VDC
S1102676
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
To DAC
To DAC
S1102676
Rear
<< L1-ISC-XC1

## Slide 1023: l1iscex – D1001715 – S1000536
l1iscex I/O Extension Chassis
D1001715
110VAC
S1000536
<< L1-ISC-XC1
D1001715
Front
L1ISCEX
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-33
Slot P10
S1000536
Rear
L1:FE-IO-33
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1iscex – I/O Extender
+24VDC
PTY-033
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 1024: L1-SEI-XC1
BSC4 8 Channel Valve Driver
D0900117
Power
S0900289
l1seiex I/O Extension Chassis
D1001715
+24VDC
S1201774
L1-SEI-XC1 (BSC4) XEND Remote Rack 1 Layout (D1201081) (S1202945)
SEI-XC1 is part of D0901301
PTY-034
PTY-034
PTO-045
BSC4 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103336
BSC4 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103314
BSC4 ISI AA Chassis
D1002693
Power
S1203106
BSC4 ISI AA Chassis
D1002693
Power
S1203107
BSC4 ISI AA Chassis
D1002693
Power
S1203109
BCS4 HEPI AA Chassis
D1000272
Power
S1203333
BCS4 HEPI AI Chassis
D1100202
Power
S1200592
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101306
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101307
64 Channel Binary Output Chassis (8*DB9)
D1001728
±18VDC
S1101333
Trillium 240 Interface Chassis Pod 1
D1002964
±18VDC
S1201405
Trillium 240 Interface Chassis Pod 2
D1002964
±18VDC
S1201406
Trillium 240 Interface Chassis Pod 3
D1002964
±18VDC
S1201407
STS-2 Interface Chassis
D080535
±18VDC
S0900105
BSC4 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103360
BSC4 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1203884
BSC4 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1203885
BSC4 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1203886
Anti-Image Chassis (4*DB9)
D070081
±18VDC
S0900067
NOTE: One ±18VDC connector powers 4 HEPI Pods.
<< CERX Racks
<< XEND Racks and Tables

## Slide 1025: L1-SEI-XC1 Details
L1-SEI-XC1 Details
<< L1-SEI-XC1

## Slide 1026: D1002432 – S1203884
BSC4 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1203884
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
<< L1-SEI-XC1
S1203884
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 1027: D1002432 – S1203885
BSC4 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1203885
<< L1-SEI-XC1
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1203885
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 1028: D1002432 – S1203886
BSC4 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1203886
<< L1-SEI-XC1
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1203886
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 1029: D1002693 – S1203106
<< L1-SEI-XC1
BSC4 ISI AA Chassis Pod 3
D1002693
Power
S1203106
S1203106
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 1030: D1002693 – S1203107
<< L1-SEI-XC1
BSC4 ISI AA Chassis Pod 3
D1002693
Power
S1203107
S1203107
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 1031: D1002693 – S1203109
<< L1-SEI-XC1
BSC4 ISI AA Chassis Pod 3
D1002693
Power
S1203109
S1203109
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 1032: D1000272 – S1203333
<< L1-SEI-XC1
BSC4 HEPI AA Chassis Pod 3
D1000272
Power
S1203333
S1203333
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26

## Slide 1033: D1100202 – S1200592
<< L1-SEI-XC1
BSC4 HEPI AI Chassis
D1100202
Power
S1200592
To ADC Adapter
To ADC Adapter
S1200592
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 1034: D0900117 – S0900289
<< L1-SEI-XC1
BSC4
BSC4 8 Channel Valve Driver
D0900117
Power
S0900289
S0900289
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8

## Slide 1035: D1001726 – S1101306
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101306
S1101306
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-XC1

## Slide 1036: D1001726 – S1101307
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1101307
S1101307
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-XC1

## Slide 1037: D1001728 – S1101333
64 Channel Binary Output Chassis (8*DB9)
D1001728
±18VDC
S1101333
Open
Ch 16-23
Open
Ch 48-55
Open
Ch 0-7
Open
Ch 8-15
Open
Ch 40-47
Open
Ch 32-39
D1001728
Front
Open
Ch 23-31
Open
Ch 56-63
<< L1-SEI-XC1
S1101333
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63

## Slide 1038: D1002964 – S1201405
Trillium 240 Interface Chassis Pod 1
D1002964
±18VDC
S1201405
<< L1-SEI-XC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201405
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 1039: D1002964 – S1201406
Trillium 240 Interface Chassis Pod 2
D1002964
±18VDC
S1201406
<< L1-SEI-XC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201406
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 1040: D1002964 – S1201407
Trillium 240 Interface Chassis Pod 3
D1002964
±18VDC
S1201407
<< L1-SEI-XC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201407
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 1041: D080535 – S0900105
STS-2 Interface Chassis
D080535
±18VDC
S0900105
<< L1-SEI-XC1
S0900105
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 1042: l1seiex D1001715 – S1201774
l1seiex I/O Extension Chassis
D1001715
+24VDC
S1201774
D1001715
Front
L1SEIEX
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-30
Slot P10
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
S1201774
Rear
L1:FE-IO-30
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
<< L1-SEI-XC1
l1seiex – I/O Extender
+24VDC
PTY-034
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 1043: D070081 – S0900067
Anti-Image Chassis (4*DB9)
D070081
±18VDC
S0900067
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
To DAC
To DAC
S0900067
Rear
<< L1-SEI-XC1

## Slide 1044: D0902744 – S1103314
BSC4 ISI Coil Driver Pod 1
D0902744
+24V@1.2A, -24V@0.8A
S1103314
D0902744
Front
S1103314
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-XC1

## Slide 1045: D0902744 – S1103336
BSC4 ISI Coil Driver Pod 2
D0902744
+24V@1.2A, -24V@0.8A
S1103336
D0902744
Front
S1103336
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-XC1

## Slide 1046: D0902744 – S1103360
BSC4 ISI Coil Driver Pod 3
D0902744
+24V@1.2A, -24V@0.8A
S1103360
D0902744
Front
S1103360
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-XC1

## Slide 1047: L1-SUS-XC1
Anti-Image Chassis (2*DB15, 1*DB9)
D1100815
±18VDC
S1103825
Transmon Coil Driver Chassis
D1100301
±18VDC
S1001559
Transmon Coil Driver Chassis
D1100301
±18VDC
S1001556
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1001157
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1004364
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1004365
Anti-Alias Chassis (2*DB15, 5*DB9)
D1100809
±18VDC
S1104075
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106208
Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1103896
L1-SUS-XC1 (ETM) XEND Remote Rack 1 (of 2) Layout (D1201082) (S1202946)
Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1103225
Binary Input Chassis (4*DB9, 2*DB37)
D1001269
±18VDC
S1106115
PTO-043
Drawer
Drawer
Drawer
No Power
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000433
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000373
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000375
ETMX UIM Coil Driver Chassis
D0902668
±18VDC
S0900315
ETMX PUM Coil Driver Chassis
D1100303
±18VDC
S1101563
SUS-XC1 is part of D1002741.
<< CERX Racks
<< XEND Racks and Tables

## Slide 1048: L1-SUS-XC1 Details
L1-SUS-XC1 Details
<< L1-SUS-XC1
SUS-XC1 is part of D1002741.

## Slide 1049: D1001782 – S1000433
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000433
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000433
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747
<< L1-SUS-XC1

## Slide 1050: D1001782 – S1000373
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000373
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000373
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747
<< L1-SUS-XC1

## Slide 1051: D1001782 – S1000375
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000375
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000375
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747
<< L1-SUS-XC1

## Slide 1052: D1100301 – S1001559
D070481
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
AdL PP UIM Coil Driver
University of Birmingham
Transmon Coil Driver Chassis
D1100301
±18VDC
S1001559
Front
<< L1-SUS-XC1
S1001559
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat

## Slide 1053: D1100301 – S1001556
Transmon Coil Driver Chassis
D1100301
±18VDC
S1001556
D1100301
Front
S1001556
Rear
<< L1-SUS-XC1

## Slide 1054: D0902668 – S0900315
D070481
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
AdL PP UIM Coil Driver
University of Birmingham
S0900315
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
ETMX UIM Coil Driver Chassis
D0902668
±18VDC
S0900315
<< L1-SUS-XC1

## Slide 1055: D1100303 – S1101563
ETMX PUM Coil Driver Chassis
D1100303
±18VDC
S1101563
D070483
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
PUM Coil Driver
University of Birmingham
S1101563
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-XC1

## Slide 1056: D0902783 – S1001157
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1001157
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1001157
Rear
<< L1-SUS-XC1

## Slide 1057: D1000305 – S1004364
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1004364
<< L1-SUS-XC1
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1004364
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 1058: D1000305 – S1004365
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1004365
<< L1-SUS-XC1
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1004365
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 1059: D1100815 – S1103825
Anti-Image Chassis (2*DB15, 1*DB9)
D1100815
±18VDC
S1103825
<< L1-SUS-XC1
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
S1103825
Rear
D1100815 is an AI, which means it has OUTPUTS, not INPUTS. The labels are incorrect.
OUT 13-16
OUT 13-16
OUT 7-12
OUT 7-12
OUT 1-6
OUT 1-6
D1100815
Front
OUT 13-16
OUT 7-12
OUT 1-6

## Slide 1060: D1100809 – S1104075
Anti-Alias Chassis (2*DB15, 5*DB9)
D1100809
±18VDC
S1104075
IN 17-20
IN 17-20
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D1100809
Front
To ADC
To ADC Adapter
S1104075
Rear
<< L1-SUS-XC1
IN 13-16
IN 13-16
IN 7-12
IN 7-12
IN 1-6
IN 1-6

## Slide 1061: D1001270 – S1106208
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106208
<< L1-SUS-XC1
S1106208
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1001270
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63

## Slide 1062: D1001269 – S1106115
Binary Input Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106115
<< L1-SUS-XC1
S1106115
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
D1001270
Front

## Slide 1063: D1002593 – S1103225
Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1103225
<< L1-SUS-XC1
S1103225
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1002593
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63

## Slide 1064: D1001726 – S1103896
Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1103896
<< L1-SUS-XC1
S1103896
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front

## Slide 1065: L1-SUS-XC2
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201127
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201126
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201130
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201131
PTY-035
PTO-042
L1-SUS-XC1 (ETM) XEND Remote Rack 1 (of 2) Layout (D1201083) (S1202947)
l1susex I/O Extension Chassis
D1001715
+24V@5A
S1103367
l1susauxex I/O Extension Chassis
D1001715
+24V@5A
S1201779
PTY-036
SUS-XC2 is part of D1002741.
<< CERX Racks
<< XEND Racks and Tables

## Slide 1066: L1-SUS-XC2 Details
L1-SUS-XC2 Details
<< L1-SUS-XC2
SUS-XC2 is part of D1002741.

## Slide 1067: D1000721 – S1201130
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201130
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201130
Rear
<< L1-SUS-XC2

## Slide 1068: D1000721 – S1201131
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201131
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201131
Rear
<< L1-SUS-XC2

## Slide 1069: D1000721 – S1201127
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201127
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201127
Rear
<< L1-SUS-XC2

## Slide 1070: D1000721 – S1201126
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201126
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201126
Rear
<< L1-SUS-XC2

## Slide 1071: l1susauxex – D1001715 – S11201779
l1susauxex I/O Extension Chassis
D1001715
110VAC
S1201779
<< L1-SUS-XC2
D1001715
Front
L1SUSAUXEX
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-32
Slot P10
S1201779
Rear
L1:FE-IO-32
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxex – I/O Extender
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
+24VDC
PTY-036

## Slide 1072: l1susex – D1001715 – S1103367
D1001715
Front
L1SUSEX
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:FE-IO-31
Slot P10
S1103367
Rear
L1:FE-IO-31
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susex I/O Extension Chassis
D1001715
110VAC
S1103367
l1susex – I/O Extender
<< L1-SUS-XC2
+24VDC
PTY-035
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 1073: L1-TCS-XC1
L1-TCS-XC1 XEND Remote Rack Layout (D1201129) (S1202980)
TCS-XC1 is part of D1200258
Hartmann Sensor Power Supply
D1102206
±18VDC
S1201882
Accelerometer Power Supply
Isotron 2973
110VAC
SN:
BNC AA Interface Chassis (PEM)
D1001421
±18VDC
S1001056
Perforated Shelf
Perforated Shelf
Timing Comparator
D1001370
+12VDC
S1201887
Timing Fanout Module
D070011
+12VDC
S1107511
TCS-XC1 is part of E1100894
aLIGO 18 Bit AI Interface Chassis
D1101785
±18VDC
S1300253
Ring Heater Driver
D1003254
±18VDC
S1201845
Perforated Shelf
100V Distribution Chassis
Dxxxxxxx
No Power
Sxxxxxxx
Serial Concentrator Chassis
D1100632
+12VDC
S1103478
Beckhoff End Link
D1100619
+24VDC
S1103497
PTO-xxx
PTY-xxx
<< CERX Racks
<< XEND Racks and Tables

## Slide 1074: L1-TCS-XC1 Details
L1-TCS-XC1 Details
<< L1-TCS-XC1

## Slide 1075: D070011 – S1107511
Timing Fanout Module
D070011
+12VDC
S1107511
<< L1-TCS-XC1
Fanout
S1107511
Rear
D070011
Front
L1SEIEX
x
L1ISCEX
L1SUSAUXEX
x
L1SUSEX
x
L1-ISC-RF24.4G
L1-ISC-RF70G
x
x
x
IRIG-B Link (No Label)
x
x
Comparator Link (No Label)
Timing Chassis Input
(Y-Fiber-13, Y-Fiber-14)

## Slide 1076: D1001370 – S1201891
Timing Comparator
D1001370
+12VDC
S1201891
<< L1-TCS-XC1
S1201891
Rear
D1001370
Front
Timing Fanout (No Label)

## Slide 1077: D1100632 – S1103478
D1100632
Front
Serial Port Concentrator for Timing
D1100632
±18VDC
S1103478
S1103478
Rear
<< L1-TCS-XC1

## Slide 1078: D1100619 – S1103497
D1100619
Front: D0902553
S1103497
Rear: D0902554
Beckhoff End Link
D1100619
+24VDC
S1103497
End Link Single Mode Fiber
VERTEX
Name: D1100667
End Link Multimode Fiber
AUX 1
<< L1-TCS-XC1

## Slide 1079: D1003254 – S1201845
D1003254
Front
Ring Heater Driver
D1003254
±18VDC
S1201845
S1201845
Rear
D1003254
Front
This is an early revision of the front panel. It now has one DB37M connector.
20121205 dlk
Label
Cable to Ring Heater
Label
Description
D1003254
White label
20121205 dlk
<< L1-TCS-XC1

## Slide 1080: D1102206 – Sxxxxxxx
D1102206
Front
Hartmann Sensor Power Supply
D1102206
+12VDC
Sxxxxxxx
<< L1-TCS-XC1
Sxxxxxxx
Rear

## Slide 1081: Endevco Isotron 2793
Accelerometer Power Supply
Isotron 2973
110VAC
SN:
Sxxxxxxx
Rear
Isotron 2973
Front
ACC X
ACC Y
Unused
ACC Z
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
ACC Z
Unused
ACC Y
ACC X
<< L1-TCS-XC1

## Slide 1082: D1101785 – S1300253
aLIGO 18 Bit AI Interface Chassis
D1101785
Power
S1300253
<< L1-TCS-XC1
S1300253
Rear
From DAC
From DAC
D1101785
Front
Ch 0-3
Ch 0-3
Ch 4-7
Ch 4-7

## Slide 1083: D1001421 – Sxxxxxxx
SN:
Rear
D1001421
Front
aLIGO AA Interface Chassis (32 BNC, x10 Gain Version)
D1001421
Power
SN:
MAG X
1
MAG Y
2
MAG Z
3
SEI X
4
SEI Y
5
SEI Z
6
Isotron 1
7
Isotron 2
8
Isotron 4
9
BSC4 MIC
10
BAY MIC
11
BSC4 TEMP
12
OPLEV 10
13
Unused
14
Unused
15
Unused
16
Unused
17
Unused
18
Unused
19
Unused
20
Unused
21
Unused
22
Unused
23
Unused
24
Unused
25
Unused
26
Unused
27
Unused
28
Unused
29
Unused
30
Unused
31
Unused
32
<< L1-TCS-XC1

## Slide 1084: D1101363 – Sxxxxxxx
SN:
Rear
D1101363
Front
aLIGO Accelerometer Interface Chassis
D1101363
Power
SN:
Unused
1
Unused
1
Unused
2
Unused
2
Unused
3
Unused
3
Unused
4
Unused
4
Unused
5
Unused
5
Unused
6
Unused
6
Unused
7
Unused
7
Unused
8
Unused
8
Unused
9
Unused
9
Unused
10
Unused
10
Unused
11
Unused
11
Unused
12
Unused
12
Unused
13
Unused
13
Unused
14
Unused
14
Unused
15
Unused
15
Unused
16
Unused
16
OUTPUT
INPUT
<< L1-TCS-XC1

## Slide 1085: L1-ISC-XR1
L1-ISC-XR1 XEND Station Field Rack Layout (D1201087) (S1202951)
<< XEND Racks and Tables
ISC-XR1 is part of D1001423
24.5 MHz Delay Line Phase Shifter
D0900128
+15VDC
S1103433
Sequencer
D1200757
S1202568
2 Channel RFPD I/Q Demod (RC & ALS)
D1000181
±17VDC, ±24VDC
S1000787
WFS Demodulator Patch Panel
D1201470
No Power
Sxxxxxxx
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200577
39.7 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
S1000752
RF Preamplifier
D1201294
??
S1203937
39.7 MHz 2 Channel Phase/Freq Discriminator
D1002476
±17VDC, ±24VDC
S1000767
Common Mode Servo (ALS Laser Locking)
D0901781
±17VDC, ±24VDC
S1102644
Common Mode Servo (ALS Cavity Locking)
D0901781
±17VDC, ±24VDC
S1102634
LSC Demod Concentrator 5
D1100691
±18VDC
S1104009
ASC Demod Concentrator 6
D1100696
No Power
S1103990
Auxiliary Signals Concentrator 2
D1102045
±17VDC
S1200534
Auxiliary Signals Concentrator 1
D1102065
±17VDC
S1200551
Auxiliary Signals Concentrator 5
D1201352
±17VDC
S1300250
Differential to Single-Ended Converter
D1100482
±15VDC
S1203309
Dual QPD Transimpedance Amplifier
D1002481
±15VDC
S1102825
ISC Whitening Chassis
D1002559
±15VDC
S1101164
ISC Whitening Chassis
D1002559
±15VDC
S1101165
PTY-057
PTO-064
QUAD I&Q Demodulator Module
D0902796
±15VDC
S1001023
Dual QPD Transimpedance Amplifier
D1002481
±15VDC
S1102831
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 24
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 25
No Power
PTY-xxx
Legacy WFS Interface Module
D1100749
±15VDC
S1400283
ISC Whitening Chassis
D1002559
±15VDC
S1101168
QUAD I&Q Demodulator Module
D0902796
±15VDC
S1000973
ISC Whitening Chassis
D1002559
±15VDC
S1101623
LSC RFPD Demodulator Patch Panel
D1100956
No Power
Sxxxxxxx
Picomotor Driver and Photodiode Amplifier
D1100323
D1301017
±24VDC, ±24VDC
S1400008
S1107547
Oplev 8 Channel Whitening Filter Chassis
D1100013
±18VDC
S1101545

## Slide 1086: L1-ISC-XR1 Details
<< VEAX Racks

## Slide 1087: L1-ISC-XR1 Details
L1-ISC-XR1 Details
<< L1-ISC-XR1

## Slide 1088: RF Distribution Panel 24
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-XR1
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 24
No Power

## Slide 1089: RF Distribution Panel 25
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-XR1
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 25
No Power

## Slide 1090: D0900128 – S1103433
Delay Line Phase Shifter
D0900128
+15VDC
S1103433
S1103433
Rear
D0900128
Front
<< L1-ISC-XR1
Controls
Controls
Controls
Controls
Controls
Controls

## Slide 1091: D1000181 – S1000787
2 Channel RFPD I/Q Demod (RC & ALS)
D1000181
±17VDC, ±24VDC
S1000787
<< L1-ISC-XR1
S1000787
Rear
Controls
Controls
D1000181
Front

## Slide 1092: D1201470 – Sxxxxxxx
<< L1-ISC-XR1
WFS Demodulator Patch Panel
D1201470
No Power
Sxxxxxxx
D1201470
Front
Sxxxxxxx
Rear

## Slide 1093: D0900605 – S1200577
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200577
<< L1-ISC-XR1
S1200577
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
D0900605
Front
Out1
Out2
Ref
Div
VCO
VCO
Div
Ref
Out1
Out2

## Slide 1094: D1002182 – S1000752
D1002182
Front
Front
Out
Front
In
S1000752
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
Rear
Front
39.7 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
S1000752
<< L1-ISC-XR1

## Slide 1095: D1201294 – S1203937
RF Preamplifier
D1201294
±18V
S1203937
D1201294
Front
S1203937
Rear
Rear
Front
<< L1-ISC-XR1

## Slide 1096: D1002476 – S1000767
D1002476
Front
39.7 MHz 2 Channel Phase/Freq Discriminator
D1002476
±17VDC, ±24VDC
S1000767
<< L1-ISC-XR1
S1000767
Rear
Controls
Controls

## Slide 1097: D0901781 – S1102644
Common Mode Servo (ALS Laser Locking)
D0901781
±17VDC, ±24VDC
S1102644
S1102644
Rear
Controls 1
Controls 1
Controls 2
Controls 2
D0901781
Front
Monitor
Monitor
<< L1-ISC-XR1

## Slide 1098: D0901781 – S1102634
Common Mode Servo (ALS Cavity Locking)
D0901781
±17VDC, ±24VDC
S1102634
S1102634
Rear
Controls 1
Controls 1
Controls 2
Controls 2
D0901781
Front
Monitor
Monitor
<< L1-ISC-XR1

## Slide 1099: D1100013 – S1101545
Oplev 8 Channel Whitening Filter Chassis
D1100013
±18VDC
S1101545
S1101545
Rear
D1100013
Front
<< L1-ISC-XR1

## Slide 1100: D1100691 – S1104009
LSC Demod Concentrator 5
D1100691
±18VDC
S1104009
D1100691
Front
S1104009
Rear
Controls
Controls
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 3
Demodulator 3
Demodulator 3
Demodulator 3
<< L1-ISC-XR1

## Slide 1101: D1100696 – S1103990
ASC Demod Concentrator 6
D1100696
No Power
S1103990
D1100696
Front
S1103990
Rear
Controls B
Controls B
1B
1B
2B
2B
3B
3B
4B
4B
1A
1A
2A
2A
3A
3A
4A
4A
Controls A
Controls A
<< L1-ISC-XR1

## Slide 1102: D1102045 – S1200534
Auxiliary Signals Concentrator 2
D1102045
±17VDC
S1200534
<< L1-ISC-XR1
S1200534
Rear
Pd DC 5-8 Out
Pd DC 5-8 Out
Pd DC 5-8 In
Pd DC 5-8 In
Pd DC 1-4 Out
Pd DC 1-4 Out
Pd DC 1-4 In
Pd DC 1-4 In
Controls
Controls
D1102045
Front

## Slide 1103: D1102065 – S1200551
Auxiliary Signals Concentrator 5
D1102065
±17VDC
S1200551
S1200551
Rear
Controls
Controls
D1102065
Front
<< L1-ISC-XR1

## Slide 1104: D1201352 – S1300250
Auxiliary Signals Concentrator 5
D1201352
±17VDC
S1300250
S1300250
Rear
Controls
D1201352
Front
<< L1-ISC-XR1
Controls

## Slide 1105: D1100323 – S1107547
Picomotor Driver and Photodiode Amplifier
D1100323
D1301017
±24VDC, ±24VDC
S1400008
S1107547
S1107547
Rear
D1100323
Front
<< L1-ISC-XR1

## Slide 1106: D1301017 – S1400008
Picomotor Driver and Photodiode Amplifier
D1100323
D1301017
±24VDC, ±24VDC
S1400008
S1107547
S1400008
Rear
D1301017
Front
<< L1-ISC-XR1

## Slide 1107: D1002559 – S1101168
ISC Whitening Chassis
D1002559
±15VDC
S1101168
S1101168
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-XR1

## Slide 1108: D0902796 – S1001023
QUAD I&Q Demodulator Module
D0902796
±15VDC
S1001023
S1001023
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
D0902796
Front
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1001023
Rear
<< L1-ISC-XR1

## Slide 1109: D1100956 – Sxxxxxxx
<< L1-ISC-XR1
LSC RFPD Demodulator Patch Panel
D1100956
No Power
Sxxxxxxx
D1100956
Front
Sxxxxxxx
Rear

## Slide 1110: D0902796 – S1000973
QUAD I&Q Demodulator Module
D0902796
±15VDC
S1000973
S1000973
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
D0902796
Front
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1000973
Rear
<< L1-ISC-XR1

## Slide 1111: D1002559 – S1101623
ISC Whitening Chassis
D1002559
±15VDC
S1101623
S1101623
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-XR1

## Slide 1112: D1100749 – S1400283
Legacy WFS Interface Module
D1100749
±15VDC
S1400283
S1400283
Rear
D1100749
Front
<< L1-ISC-XR1
DC Outputs-WFS 2
WFS 2
DC Outputs-WFS 1
WFS 1

## Slide 1113: D1100482 – S1203309
Differential to Single-Ended Receiver
D1100482
±15VDC
S1203309
S1203309
Rear
Diff Inputs
Diff Inputs
D1100482
Front
<< L1-ISC-XR1

## Slide 1114: D1002559 – S1101164
ISC Whitening Chassis
D1002559
±15VDC
S1101164
S1101164
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-XR1

## Slide 1115: D1002481 – S1102831
Dual QPD Transimpedance Amp (ASC OMCR A&B)
D1002481
±15VDC
S1102831
S1102831
Rear
D1002481
Front
PD Input
PD Input
To Whitening
To Whitening
<< L1-ISC-XR1

## Slide 1116: D1002481 – S1102825
Dual QPD Transimpedance Amp (ASC OMCR A&B)
D1002481
±15VDC
S1102825
S1102825
Rear
D1002481
Front
PD Input
PD Input
To Whitening
To Whitening
<< L1-ISC-XR1

## Slide 1117: D1002559 – S1101165
ISC Whitening Chassis
D1002559
±15VDC
S1101165
S1101165
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-XR1

## Slide 1118: L1-PCAL-XR1 Details
L1-PCAL-XR1 Details
<< XEND Racks and Tables

## Slide 1119: L1-PCAL-XR1 Details
<< L1-PCAL-XR1

## Slide 1120: L1-SUS-XR1
L1-SUS-XR1 XEND Station Field Rack Layout (D1201131) (S1202993)
Electrostatic Driver
+-18VDC@0.4A
+-430VDC@15mA
E3074
S1101844
SUS-XR1 is part of D1002741.
Solid Shelf
D0901284
D0901284
D0901284
D0901284
S1000321
S1000852
S1000849
S1000337
Satellite Amplifier Shelf
Right Front Left
No Power
Right Rear Left
D0901284
D0901284
D0901284
D0901284
S1000456
S1000338
S1000860
Satellite Amplifier Shelf
Right Front Left
No Power
Right Rear Left
<< XEND Racks and Tables
Perforated Shelf

## Slide 1121: L1-SUS-XR1 Details
L1-SUS-XR1 Details
<< L1-SUS-XR1
SUS-XR1 is part of D1002741.

## Slide 1122: E3074 – S1101844
E3074
Front
S1101844
Rear
<< L1-SUS-XR1
Electrostatic Driver
+-18VDC@0.4A
+-430VDC@15mA
E3074
S1101844

## Slide 1123: D0901284 Shelf
D0901284
D0901284
D0901284
D0901284
S1000849
S1000337
S1000321
S1000852
Satellite Amplifier Shelf
Right Front Left
No Power
Right Rear Left
Rear
Front
S1000849
S1000337
S1000321
S1000852
D0901284
Left
Right
<< L1-SUS-XR1

## Slide 1124: D0901284 Shelf
D0901284
D0901284
D0901284
D0901284
S1000860
S1000338
S1000456
Satellite Amplifier Shelf
Right Front Left
No Power
Right Rear Left
Rear
Front
S1000860
S1000456
S1000338
D0901284
Left
Right
<< L1-SUS-XR1

## Slide 1125: L1-VAC-XR1
L1-VAC-XR1 XEND Vacuum Rack Layout (Dxxxxxxx)
Description
Dxxxxxxx
Power
SN:
110VAC
JS0801005639
S3140R
APC 3000XL
Marway MPD100 Power Distribution
MPD-100
UPS
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009235
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009262
<< XEND Racks and Tables

## Slide 1126: L1-VAC-XR1 Details
L1-VAC-XR1 Details
<< L1-VAC-XR1

## Slide 1127: L1-VAC-XR1
<< L1-VAC-XR1
Marway MPD100 Power Distribution
MPD-100
UPS

## Slide 1128: L1-VAC-XR1
<< L1-VAC-XR1
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009262

## Slide 1129: L1-VAC-XR1
<< L1-VAC-XR1
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009235

## Slide 1130: L1-VAC-XR1
<< L1-VAC-XR1
Description
Dxxxxxxx
Power
SN:
CentreCom 210TS
Grey CAT5 Cable to CDS Network Switch Port 17

## Slide 1131: L1-VAC-XR1
<< L1-VAC-XR1
110VAC
JS0801005639
S3140R
APC 3000XL

## Slide 1132: L1-VAC-XR1
<< L1-VAC-XR1
Particle Counter
- Located in Mechanical Room
- +24VDC comes from Power-Ten 1009235
- 485-25E – Telebyte – Cat5 – 162-262 Port 3
Telebyte
485-25E
Particle Counter
Power Supply
Port 3
+24VDC
Grey Cable to Mechanical Room
Monitors PURGE AIR?
Port 3 on MVE 162-262
CAT5 Cable

## Slide 1133: L1-ISCBT4R Table Layout
ISCBT4R Table Layout (Dxxxxxxx) (Sxxxxxxx)
ISCBT4R is part of Exxxxxxx.
<< XEND Racks and Tables

## Slide 1134: L1-ISCBT4R Panel Layout
ISCBT4R Panel Layout (D1201495)
<< XEND Tables

## Slide 1135: YMID Station Index
<< Locations
<< Chambers
YMID Rack
YMID Layout
West Side View
North Side View
South Side View
East Side View
YMID

## Slide 1136: YMID Station Layout
<< YMID Index
Quad – 1 Circuit
Quad – 1 Circuit
Quad – 2 Circuits
Quad – 2 Circuits
30A, 1 Circuit
30A, 1 Circuit
30A, 1 Circuit
2 Duplexes, 1 Circuit
Quad – 2 Circuits
Quad – 2 Circuits
Switch
Emergency Light
Gate Valve Disconnect
6 new lights
2 old (temporary) lights

## Slide 1137: YMID Station Rack
Brocade AP650
SN:
Sorenson DCS33-33E
DCS33-33E
Xxxxxxxx
6-Fiber Fiber Patch Panel
TrendNet TPE-111GI-A
SN:
Level One Media Converter
E100BTXFX05
NetGear GS108
SN:
Cisco ME3400
SN:
Xxxxxxxx
12 SM Fiber Fiber Patch Panel
from Corner Station
Xxxxxxx
APC Smart UPS 1500
AcroMag
SN:
Sensor
SN:
NetGear Port 1 - AcroMag
NetGear Port 2 – Level One Media Converter
NetGear Port 3 – Open
NetGear Port 4 – Laptop Computer
All SC
6-Fiber Fiber Patch Blue Fiber (Marked 1610) to Cisco Port 4
6-Fiber Fiber Patch Orange Fiber (Marked 1510) to Cisco Port 4
6-Fiber Fiber Patch Green Fiber (Marked Extra) to Nothing
6-Fiber Fiber Patch Brown Fiber (Marked Extra) to Nothing
6-Fiber Fiber Patch Grey Fiber (Marked Extra) to Nothing
6-Fiber Fiber Patch White Fiber (Marked Extra) to Nothing
TPE-111GI-A – Orange cable to Brocade AP650
TPE-111GI-A – Blue CAT6 cable to Level One Media Converter
All FC
12-Fiber Fiber Patch Panel A1 to OPEN
12-Fiber Fiber Patch Panel A2 to OPEN
12-Fiber Fiber Patch Panel A3 to OPEN
12-Fiber Fiber Patch Panel A4 to OPEN
12-Fiber Fiber Patch Panel A5 to OPEN
12-Fiber Fiber Patch Panel A6 to OPEN
12-Fiber Fiber Patch Panel B is Not Present
12-Fiber Fiber Patch Panel C1 to Level One Media Converter
12-Fiber Fiber Patch Panel C2 to Level One Media Converter
12-Fiber Fiber Patch Panel C3 to OPEN
12-Fiber Fiber Patch Panel C4 to OPEN
12-Fiber Fiber Patch Panel C5 to OPEN
12-Fiber Fiber Patch Panel C6 to OPEN
12-Fiber Fiber Patch Panel D is Not Present
AcroMag connected to Sensor
<< YMID Index

## Slide 1138: TrendNet TPE-111GI-A
<< YMID Rack

## Slide 1139: YEND Index
YEND
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station
South Side View
East Side View
West Side View
North Side View
YEND Roof Junction Box
YEND Layout
YEND Rack Layout
VEAY Fiber Patch Panel
<< YEND Aerial

## Slide 1140: YEND South Side View
Light
Light
Card reader
Sanitation
Air Conditioner
Southeast Camera
East Siemens Sensor
South Siemens Sensor
AC Outlet
AC Outlet
Vent
<< YEND Index

## Slide 1141: YEND Station Rack Layout
<< CERY
<< YEND Index
<< VEAY

## Slide 1142: YEND Roof Junction Box
North Siemens Sensor
East Siemens Sensor
South Siemens Sensor
West Siemens Sensor
Roof Junction Box
Southeast Camera
Northwest Camera
Camera Cables
Siemens Cables
<< YEND Index

## Slide 1143: YEND Racks and Tables
DAQ Rack
(L1-DAQ-YC1)
ISC Rack
(L1-ISC-YC1)
SUS Rack 2
(L1-SUS-YC2)
SUS Rack 1
(L1-SUS-YC1)
SUS Field Rack
(L1-SUS-YR1)
TCS Rack
(L1-TCS-YC1)
DC Power Rack 1 (L1-VDC-YC1)
DC Power Rack 2 (L1-VDC-YC2)
SEI Rack
(L1-SEI-YC1)
Facilities Rack
(L1-FAC-YC1)
Vacuum Field Rack
(L1-VAC-YR1)
ISC Field Rack
(L1-ISC-YR1)
<< LLO Racks by AREA
<< LLO Racks by Subsystems
ISC Table
(ISCBT5R)
4’ X 8’ Table Layout (D1201022)
3’ X 5’ Table Layout (D1200973)

## Slide 1144: Corning WCH-06P Fiber Panel
5.75”
13.5” x 16.062” x 5.125”
120”
4”
21.75”
21.25”
X”
CCH-CP12-15T (ST)
CCH-CP12-11 (FC)
x 1
x 2

## Slide 1145: Y END Fiber Patch Panel
VEAY Fiber Patch Panel
Patch Panel
No Power
Patch Panel
A - FC Connectors
B – FC Connectors
C - NO Connectors
D – ST Connectors
E - NO Connectors
F – LC Connectors
A
B
C
D
E
F
X END Fiber Patch Panel >>
A
B
D
F
4/11/2013 |  | ENDY Fiber Patch |  |  | To Y-2-E (TriNet)
Port | Type | Fiber | Type | Designation | Description
D1 | ST | Y-Fiber-27 | ST | Trinet Converter | GC 2402 P9
D2 | ST | Y-Fiber-28 | ST | Trinet Converter | GC 2402 P9
D3 | ST | Empty |  |  | 
D4 | ST | Y-Fiber-23 | ST | Fibox | FIBOX
D5 | ST | Empty |  |  | 
D6 | ST | Empty |  |  | 
D7 | ST | Y-Fiber-25 | ST | Trinet Converter | GC 2402 P11
D8 | ST | Y-Fiber-26 | ST | Trinet Converter | GC 2402 P11
D9 | ST | Empty |  |  | 
D10 | ST | Empty |  |  | 
D11 | ST | Empty |  |  | 
D12 | ST | Empty |  |  | 
4/11/2013 |  | ENDY Fiber (SM) Patch |  |  | To S.R. House
Port | Type | Fiber | Type | Designation | Description
F1 | LC | Y-Fiber-19, 20 | LC | Off-site Internet | GC 2402 Port 25F
F2 | LC | Empty |  |  | 
F3 | LC | Empty |  |  | 
F4 | None | Empty |  |  | 
F5 | None | Empty |  |  | 
F6 | None | Empty |  |  | 
<< YEND Index
<< MSR Patch Panel
Y-2-E (TriNet)
Port | Subjacket | Fiber | Label | Termination | Fiber Description | Outlying Destination
A01 | Blue | B-Blue | Y-Fiber-21 | LC | l1ecaty SM1 | L1-DAQ-YC1 D1100619 VERTEX Port
A02 | Blue | A-Blue | Y-Fiber-05 | LC | l1lanfey Port 21F | IP - 10.199.0.88 Netgear GSM7224 Port 21F
A03 | Blue | B-Orange | Y-Fiber-01 | ST | Phone In/Out | TR3030WDM - Extension 151
A04 | Blue | A-Orange | Y-Fiber-06 | LC | l1lanfey Port 21F | IP - 10.199.0.88 Netgear GSM7224 Port 21F
A05 | Blue | B-Green | Empty |  |  | 
A06 | Blue | A-Green | Y-Fiber-10 | LC | CDS GS624P Port 1F | IP - 10.199.0.21 GS624P Port 1F
A07 | Blue | B-Brown | Empty |  | Empty | Bad Fiber
A08 | Blue | A-Brown | Y-Fiber-09 | LC | CDS GS624P Port 1F | IP - 10.199.0.21 GS624P Port 1F
A09 | Blue | B-Grey | Y-Fiber-33 | ST | ESTOP Comm TX to CER | From CERY to CER (1)
A10 | Blue | A-Grey | Y-Fiber-15 | LC | l1fedaqy Port 6 | ACC 5595 Port 6
A11 | Blue | B-White | Y-Fiber-29 | ST | Video Cameras | VT5030
A12 | Blue | A-White | Y-Fiber-16 | LC | l1fedaqy Port 6 | ACC 5595 Port 6
Port | Subjacket | Fiber | Label | Termination | Fiber Description | Outlying Destination
B01 | Orange | E-Blue | Y-Fiber-08 | LC | l1netfedaqy Port 21F | IP - 10.199.0.14 Netgear GSM7224 Port 21F
B02 | Orange | D-Blue | Y-Fiber-02 | ST | Security Cameras | VT7430 - 2DRDT
B03 | Orange | E-Orange | Y-Fiber-07 | LC | l1netfedaqy Port 21F | IP - 10.199.0.14 Netgear GSM7224 Port 21F
B04 | Orange | D-Orange | Y-Fiber-32 | ST | ESTOP Comm RX From CERY | From CER to CERY (3)
B05 | Orange | E-Green | Y-Fiber-17 | LC | GC 2402 Port 26F | IP - 197.168.253.30 GC 2402 Port 26F
B06 | Orange | D-Green | Y-Fiber-18 | LC | GC 2402 Port 26F | IP - 197.168.253.30 GC 2402 Port 26F
B07 | Orange | E-Brown | Empty |  | Empty | Bad Fiber
B08 | Orange | D-Brown | Y-Fiber-22 | LC | l1ecaty SM1 | L1-DAQ-YC1 D1100619 VERTEX Port
B09 | Orange | E-Grey | Y-Fiber-31 | FC | ALS Light | ALS:FDC-YEND (To ISCBT5R)
B10 | Orange | D-Grey | Y-Fiber-13 | LC | D070011 INPUT Port | L1-TCS-YC1 D070011 INPUT Port
B11 | Orange | E-White |  | FC | Reserved for ALS Light | Reserved for ALS Light
B12 | Orange | D-White | Y-Fiber-14 | LC | D070011 INPUT Port | L1-TCS-YC1 D070011 INPUT Port
See LIGO-E1500002

## Slide 1146: CERY Rack Layout
CERY
(L1-VDC-YC1)
(L1-VDC-YC2)
(L1-DAQ-YC1)
(L1-SEI-YC1)
(L1-SUS-YC1)
(L1-SUS-YC2)
(L1-TCS-YC1)
(L1-FAC-YC1)
<< YEND Racks
AC Power
Signals and Fiber
It is 65’ from the L1-FAC-YC1 Rack to the knee of the waterfall in the VEAY.
(L1-ISC-YC1)
DC Power and Fiber
(D1201231 (YEND Cable Tray))

## Slide 1147: LLO YEND Cable Tray Layout
6” x 4” Tray
Fibers and DC Cables
Signal Cables On Top
CERY
96”
12” x 4” Tray
AC Cable Tray (On Wall)

## Slide 1148: L1-VDC-YC1 Power Racks – VEAY Field Supplies
L1-VDC-YC1 Power Rack
B
A
L1-VDC-YC1 Power Rack
A
B
Unused
Unused
Unused
Unused
Unused
Unused
<< CERY Racks
Unused
Unused
Unused
Unused
Unused
Unused
Cable Runs >>
L1-VDC-YC1 YEND Station DC Power Rack Layout (D1200899) (S1202313)
L1-AOS
L1-AOS
L1-AOS
L1-AOS
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
L1-ISC-YR1
+24VDC
-24VDC
-24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
L1-AOS-PCAL
Unused
L1-AOS-PCAL
L1-AOS-PCAL
Unused
L1-AOS-PCAL
+12VDC
-12VDC
-12VDC
+12VDC
<< YEND Racks and Tables
Notes: For a JQE Style25-20M: AC power calculations:
125 VAC * 10.5 (A/PS) => 1312.5 (W/PS)
24 (PS/Rack)* 1312.5 (W/PS) => 31500 (W/Rack)
24 (PS/Rack) * 10.5 (A/PS) => 252 (A/Rack)

## Slide 1149: L1-VDC-YC1 Cable Runs
<< L1-VDC-YC1
L1-VDC-YC1 YEND Station DC Cable Runs (D1200899) (S1202313)
L1-VDC-YC1 S1202313 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-Y |  | L1-VDC-YC1 | 8 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-Y |  | L1-VDC-YC1 | 8 | Bottom | U37-B (Right) |  |  |  |  |  |  | 
3 | CDS-Y |  | L1-VDC-YC1 | 2 | Top | U33-A (Left) | JQE 15V 12A | H114646 | Plus | PTG | L1-AOS-PCAL |  | None
4 | CDS-Y |  | L1-VDC-YC1 | 2 | Bottom | U33-B (Right) | JQE 15V 12A | H114641 | Minus | PTG | L1-AOS-PCAL |  | None
5 | CDS-Y |  | L1-VDC-YC1 | 9 | Top | U29-A (Left) | BHK 500V 80mA | A107268 | Plus | PBX-004 | L1-AOS |  | 
6 | CDS-Y |  | L1-VDC-YC1 | 9 | Bottom | U29-B (Right) | BHK 500V 80mA | A107263 | Minus | PBX-004 | L1-AOS |  | 
7 | CDS-Y |  | L1-VDC-YC1 | 3 | Top | U25-A (Left) | JQE 25V 20A | H236441 | Plus | PTO-063 | L1-ISC-YR1 | 50 | PSO-xxx
8 | CDS-Y |  | L1-VDC-YC1 | 3 | Bottom | U25-B (Right) | JQE 25V 20A | H236428 | Minus | PTO-063 | L1-ISC-YR1 | 50 | PSO-xxx
9 | CDS-Y |  | L1-VDC-YC1 | 10 | Top | U21-A (Left) | JQE 25V 10A | H207939 | Plus | PTY-056 | L1-ISC-YR1 | 50 | PSY-xxx
10 | CDS-Y |  | L1-VDC-YC1 | 10 | Bottom | U21-B (Right) | JQE 25V 10A | H207941 | Minus | PTY-056 | L1-ISC-YR1 | 50 | PSY-xxx
11 | CDS-Y |  | L1-VDC-YC1 | 4 | Top | U17-A (Left) |  |  |  |  |  |  | 
12 | CDS-Y |  | L1-VDC-YC1 | 4 | Bottom | U17-B (Right) |  |  |  |  |  |  | 
13 | CDS-Y |  | L1-VDC-YC1 | 11 | Top | U13-A (Left) |  |  |  |  |  |  | 
14 | CDS-Y |  | L1-VDC-YC1 | 11 | Bottom | U13-B (Right) |  |  |  |  |  |  | 
15 | CDS-Y |  | L1-VDC-YC1 | 5 | Top | U09-A (Left) |  |  |  |  |  |  | 
16 | CDS-Y |  | L1-VDC-YC1 | 5 | Bottom | U09-B (Right) |  |  |  |  |  |  | 
17 | CDS-Y |  | L1-VDC-YC1 | 12 | Top | U05-A (Left) |  |  |  |  |  |  | 
18 | CDS-Y |  | L1-VDC-YC1 | 12 | Bottom | U05-B (Right) |  |  |  |  |  |  | 
19 | CDS-Y |  | L1-VDC-YC1 | 6 | Top | U01-A (Left) |  |  |  |  |  |  | 
20 | CDS-Y |  | L1-VDC-YC1 | 6 | Bottom | U01-B (Right) |  |  |  |  |  |  | 
D1200899 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 1150: L1-VDC-YC2 Power Racks – VEAY Supplies
L1-SUS-YC1
L1-SUS-YC2
L1-SUS-YC2
L1-SUS-YC1
L1-ISC-YC1
L1-ISC-YC1
Cable Runs >>
L1-VDC-YC2 Power Rack
B
A
L1-VDC-YC2 Power Rack
A
B
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SUS-YC1
L1-SUS-YC1
L1-SUS-YC2
L1-SUS-YC2
Unused
Unused
Unused
Unused
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SEI-YC1
L1-SUS-YC1
L1-SUS-YC1
L1-SUS-YC2
L1-SUS-YC2
Unused
Unused
Unused
Unused
Unused
L1-SEI-YC1
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
-24VDC
-24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+24VDC
+18VDC
-18VDC
-18VDC
+18VDC
+18VDC
-18VDC
-18VDC
+18VDC
+24VDC
+24VDC
+24VDC
+24VDC
L1-VDC-YC2 YEND Station DC Power Rack Layout (D1200900) (S1202314)
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
L1-ISC-YC1
+/-12VDC
+24VDC
+24VDC
-/+12VDC
L1-ISC-YC1
L1-TCS-YC1
+18VDC
-18VDC
L1-ISC-YC1
L1-TCS-YC1
L1-ISC-YC1
L1-TCS-YC1
-18VDC
+18VDC
L1-ISC-YC1
L1-TCS-YC1
L1-ISC-YC1
L1-TCS-YC1
L1-ISC-YC1
L1-TCS-YC1
+24VDC
-24VDC
L1-ISC-YC1
L1-TCS-YC1
L1-ISC-YC1
L1-TCS-YC1
-24VDC
+24VDC
<< CERY Racks
<< YEND Racks and Tables
Notes: For a JQE Style25-20M: AC power calculations:
125 VAC * 10.5 (A/PS) => 1312.5 (W/PS)
24 (PS/Rack)* 1312.5 (W/PS) => 31500 (W/Rack)
24 (PS/Rack) * 10.5 (A/PS) => 252 (A/Rack)

## Slide 1151: L1-VDC-YC2 Cable Runs
<< L1-VDC-YC2
L1-VDC-YC2 YEND Station DC Cable Runs (D1200900) (S1202314)
L1-VDC-YC2 S1202314 | Power Panel | Circuit | DC Power Rack | Outlet | Plug Position | Rack U | Power Supply Model | Power Supply Serial | Polarity | DC Extension Cable | Electronics Rack | Cable Length | DC Power Strip
1 | CDS-Y |  | L1-VDC-YC2 | 8 | Top | U37-A (Left) |  |  |  |  |  |  | 
2 | CDS-Y |  | L1-VDC-YC2 | 8 | Bottom | U37-B (Right) |  |  |  |  |  |  | 
3 | CDS-Y |  | L1-VDC-YC2 | 2 | Top | U33-A (Left) | JQE 25V 10A | H222056 | Minus | PTY-052 | L1-ISC-YC1 | 30 | PSY-xxx
4 | CDS-Y |  | L1-VDC-YC2 | 2 | Bottom | U33-B (Right) | JQE 15V 6A JQE 15V 6A | H214466 H214326 | Plus Minus | PTG-004 | L1-ISC-YC1 | 30 | PSG-005
5 | CDS-Y |  | L1-VDC-YC2 | 9 | Top | U29-A (Left) | JQE 25V 20A | H236414 | Plus | PTO-050 | L1-SUS-YC2 | 30 | PSO-050
6 | CDS-Y |  | L1-VDC-YC2 | 9 | Bottom | U29-B (Right) | JQE 25V 20A | H236422 | Minus | PTO-050 | L1-SUS-YC2 | 30 | PSO-050
7 | CDS-Y |  | L1-VDC-YC2 | 3 | Top | U25-A (Left) | JQE 25V 20A | H236504 | Plus | PTO-051 | L1-SUS-YC1 | 32 | PSO-051
8 | CDS-Y |  | L1-VDC-YC2 | 3 | Bottom | U25-B (Right) | JQE 25V 20A | H236513 | Minus | PTO-051 | L1-SUS-YC1 | 32 | PSO-051
9 | CDS-Y |  | L1-VDC-YC2 | 10 | Top | U21-A (Left) | JQE 25V 20A | H236508 | Plus | PTO-052 | L1-ISC-YC1 L1-TCS-YC1 | 28 | PSO-052
10 | CDS-Y |  | L1-VDC-YC2 | 10 | Bottom | U21-B (Right) | JQE 25V 20A | H236516 | Minus | PTO-052 | L1-ISC-YC1 L1-TCS-YC1 | 28 | PSO-052
11 | CDS-Y |  | L1-VDC-YC2 | 4 | Top | U17-A (Left) | JQE 25V 20A | H236503 | Plus | PTY-040 | L1-ISC-YC1 L1-TCS-YC1 | 28 | PSY-040
12 | CDS-Y |  | L1-VDC-YC2 | 4 | Bottom | U17-B (Right) | JQE 25V 20A | H236488 | Minus | PTY-040 | L1-ISC-YC1 L1-TCS-YC1 | 28 | PSY-040
13 | CDS-Y |  | L1-VDC-YC2 | 11 | Top | U13-A (Left) | JQE 25V 20A | H236500 | Plus | PTO-053 | L1-SEI-YC1 | 22 | PSO-053
14 | CDS-Y |  | L1-VDC-YC2 | 11 | Bottom | U13-B (Right) | JQE 25V 20A | H236520 | Minus | PTO-053 | L1-SEI-YC1 | 22 | PSO-053
15 | CDS-Y |  | L1-VDC-YC2 | 5 | Top | U09-A (Left) | JQE 25V 20A | H236519 | Plus | PTY-041 | L1-SEI-YC1 | 22 | PSY-041
16 | CDS-Y |  | L1-VDC-YC2 | 5 | Bottom | U09-B (Right) | JQE 25V 20A | H236487 | Minus | PTY-041 | L1-SEI-YC1 | 22 | PSY-041
17 | CDS-Y |  | L1-VDC-YC2 | 12 | Top | U05-A (Left) | JQE 25V 20A | H236502 | Plus | PTY-042 | L1-ISC-YC1 | 30 | PSY-042
18 | CDS-Y |  | L1-VDC-YC2 | 12 | Bottom | U05-B (Right) | JQE 25V 20A | H236518 | Plus | PTY-043 | L1-SEI-YC1 | 22 | PSY-043
19 | CDS-Y |  | L1-VDC-YC2 | 6 | Top | U01-A (Left) | JQE 25V 20A | H236521 | Plus | PTY-044 | L1-SUS-YC2 | 32 | PSY-044
20 | CDS-Y |  | L1-VDC-YC2 | 6 | Bottom | U01-B (Right) | JQE 25V 20A | H236507 | Plus | PTY-045 | L1-SUS-YC1 | 32 | PSY-045
D1200900 |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 1152: L1-DAQ-YC1
Dolphin RFM Switch
DXS410
UPS2
AD053708007
ATEN KVM Switch
CL1016M
UPS2
SN:
l1lanfey 10.199.0.14
GSM7224
UPS2
2B62045K0015D
l1netfedaqy 10.199.0.88
GSM7224
UPS2
2B62045400019
110VAC 20A
UPS1 – UPS Power Strip
110VAC 20A
Non-UPS Power Strip
UPS Group 1 and Group 2
APC SMT2000RMLV2U
110VAC
J51048023241
Timing IRIG-B Interface Chassis
D0900301
+12VDC (from FAC)
S1202408
L1-DAQ-YC1 YEND Station Remote Rack Layout (D1201092) (S1202956)
Solid Shelf
Perforated Shelf
ACC 5595 Reflective Memory Hub
ACC 5595
UPS2
36106691
110VAC 20A
UPS2 – UPS Power Strip
Serial Concentrator Chassis
D1100632
±18VDC
Sxxxxxxx
Serial to Internet Converter
Beckhoff End Link
D1100619
+24VDC
S1103498
l1susauxey Front End Computer 10.110.140.58
Dxxxxxxx
UPS1 & 110VAC
SN:
l1hwsy1 Hartmann Sensor Computer 10.110.130.23
T1000702
UPS1 & 110VAC
SN:
l1ecaty1 Beckhoff Host Computer ??.???.???.??
Dxxxxxxx
UPS1 & 110VAC
SN:
l1susey Front End Computer 10.110.140.57
Dxxxxxxx
UPS1 & 110VAC
SN:
l1seiey Front End Computer 10.110.140.56
Dxxxxxxx
UPS1 & 110VAC
SN:
l1iscey Front End Computer 10.110.140.55
Dxxxxxxx
UPS1 & 110VAC
SN:
<< CERY Racks
<< YEND Racks and Tables
Notes: The +12VDC and the +24VDC come from supplies in FAC-C1.
Where will the +18VDC come from?

## Slide 1153: L1-DAQ-YC1 Details
L1-DAQ-YC1 Details
<< L1-DAQ-YC1

## Slide 1154: Dolphin RFM Switch DS5410 – AD053708007
Dolphin RFM Switch
DXS410
UPS2
AD053708007
To l1lanfey port 5
<< L1-DAQ-YC1
ACC 5595
Front
AD053708007
Rear

## Slide 1155: VMIACC-5595-224 – 36106691
36106691
Rear
ACC 5595
Front
ACC 5595 Reflective Memory Hub
ACC 5595
110VAC
36106691
To UPS Power Strip
To l1lanfey port 5
<< L1-DAQ-YC1

## Slide 1156: l1netfedaqy – GSM7224
GSM7224
Front
2B62045400019
Rear
C0:3F:0E:86:84:04
l1netfedaqy 10.199.0.88
GSM7224
110VAC
2B62045400019
2 – To FE NET Port
21F – To 1Y23 PP E1, E2
To UPS Power Strip
<< L1-DAQ-YC1

## Slide 1157: l1lanfey – GSM7224
GSM7224
Front
2B62045K0015D
Rear
C0:3F:0E:86:89:14
l1lanfey 10.199.0.14
GSM7224
110VAC
2B62045K0015D
2 – To FE LAN Port
21F – To 1Y23 PP A1, A2
5 – To 5595 LAN 10BaseT
To UPS Power Strip
<< L1-DAQ-YC1

## Slide 1158: D0900301 – S1202408
Timing IRIG-B Interface Chassis
D0900301
Power
S1202408
<< L1-DAQ-YC1
D0900301
Front
S1202408
Rear
Timing Fanout (No Label)

## Slide 1159: D1100632 – Sxxxxxxx
D1100632
Front
Serial Port Concentrator for Timing
D1100632
±18VDC
Sxxxxxxx
Sxxxxxxx
Rear
<< L1-DAQ-YC1

## Slide 1160: D1100619 – S1103498
D1002961
Front: D0902553
S1103498
Rear: D0902554
<< L1-DAQ-YC1
Beckhoff End Link
D1100619
+24VDC
S1103498
Name: D1100667
End Link Single Mode Fiber
VERTEX
End Link Multimode Fiber
AUX 1

## Slide 1161: ATEN KVM Switch CL1016M
ATEN KVM Switch
CL1016M
110VAC
SN:
SN:
Rear
CL1016M
Front
To l1pemey Front End
To UPS Power Strip
<< L1-DAQ-YC1

## Slide 1162: l1susauxey Front End
l1susauxey Front End Computer 10.110.140.58
Dxxxxxxx
UPS1 & 110VAC
SN:
<< L1-DAQ-YC1

## Slide 1163: l1susey Front End
<< L1-DAQ-YC1
l1susey Front End Computer 10.110.140.57
Dxxxxxxx
UPS1 & 110VAC
SN:

## Slide 1164: l1seiey Front End
<< L1-DAQ-YC1
l1seiey Front End Computer 10.110.140.56
Dxxxxxxx
UPS1 & 110VAC
SN:

## Slide 1165: l1iscey Front End
<< L1-DAQ-YC1
l1iscey Front End Computer 10.110.140.55
Dxxxxxxx
UPS1 & 110VAC
SN:

## Slide 1166: l1ecaty1 Beckhoff Host
<< L1-DAQ-YC1
l1ecaty1 Beckhoff Host Computer ??.???.???.??
Dxxxxxxx
UPS1 & 110VAC
SN:

## Slide 1167: l1hwsy1 Hartmann Sensor
<< L1-DAQ-YC1
l1hwsy1 Hartmann Sensor Computer 10.110.130.23
T1000702
UPS1 & 110VAC
SN:

## Slide 1168: APC SMX2000RMLV2U
UPS
APC SMX2000RMLV2U
110VAC
J51048023241
To UPS Power Strip
APC SMX2000RMLV2U
Front
J51048023241
Rear
<< L1-DAQ-YC1

## Slide 1169: L1-FAC-YC1
110VAC 15A
UPS1 – UPS Power Strip
110VAC 15A
Non-UPS Power Strip
UPS1 & 110VAC
N62538F1A3
GS624P
Brocade FastIron Edge GS624P
UPS1
FB00001705
2402
2402 Network Switch
Kantech
xxxxxxxx
+12VDC
SN:
Trinet Fibox
xxxxxxxx
+12VDC
SN:
Phone
Security Cameras
IFO Cameras
Solid Shelf
Solid Shelf
Perforated Shelf
UPS1
APC SMT1500RM2U
110VAC
AS10J1111987
L1-FAC-YC1 Facilities YEND Station Remote Rack Layout (D1201093) (S1202957)
PSY-XXX
PSG-XXX
Perforated Shelf
Comtrol
5002111
-12VDC
9445009003
KEPCO Power Supplies
UPS1
+12VDC
-12VDC
+24VDC
H222050
H214494
H214524
<< CERY Racks
<< YEND Racks and Tables
ESTOP-Y Fiber Contacts
Dxxxxxxx
UPS1
SN:

## Slide 1170: L1-FAC-YC1 Details
L1-FAC-YC1 Details
<< L1-FAC-YC1

## Slide 1171: Brocade FastIron Edge GS624P
UPS & 110VAC
N62538F1A3
GS624P
Brocade FastIron Edge GS624P
N62538F1A3
Rear
C0:3F:0E:86:88:E0
GSM7224
Front
3 – To FE NET Port
21F – To 1Y23 PP B1,B2
To UPS Power Strip
To 110 Power Strip
<< L1-FAC-YC1

## Slide 1172: 2402 – Network Switch
2402 Network Switch
2402
110VAC
FB00001705
Government Property Tag: G12039
192.168.253.30
Empty
01
Empty
02
Empty
03
Empty
04
Empty
05
Empty
06
To Camera on Reel
07
Empty
08
To Trinet/Trinet
09
Empty
10
To Trinet/Trinet
11
Empty
12
Empty
13
To Seimens
14
Empty
15
Empty
16
Empty
17
Empty
18
Empty
19
Empty
20
To Weather Station ???
21
Empty
22
Empty
23
Empty
24
Empty
25C
Empty
26C
To Special Cable CSR1
25F
To 1Y23 PP D3, E3
26F
PS1
To UPS
<< L1-FAC-YC1

## Slide 1173: YEND – Kantech Interface
Fiber Options 7711-R (501R)
Optical In/Out:
To 1Y23 PP D2
Power: 13.5VDC from Wall Wart
Blue CAT5: 1=O/W and B/W, 4=O, 7=B
Powered from Wall Wart from Isolated Power
Kantech
To Siemens Racks
To 1Y23 PP D2
To Kantech Racks
To MSR PP H2
<< L1-FAC-YC1

## Slide 1174: YEND – Comtrol Inteface
<< L1-FAC-YC1
Comtrol
5002111
-12VDC
9445009003
Comtrol DeviceMaster 4 with DB9 Ports
3M Shell 3357-9209
3M Shell 3357-9209
2.1mm Socket
(Note polarity)
MAC Address:
00-C0-4E-07-6E-3A
IP Address:
10.110.60.54

## Slide 1175: Trinet FIBOX Panel
Trinet FIBOX Panel
Trinet FIBOX Panel
12VDC
Trinet Panel
Empty
1
Trinet Z
2
Trinet Y
3
Trinet X
4
FBAO-SL
FBAO-M
To 0X57682890001 Port 3
12VDC IN
G/W – Center – COM – A2
Y/W – Shield – +12V – A1
<< L1-FAC-YC1

## Slide 1176: ESTOP-Y Fiber Contacts
ESTOP-Y Fiber Contacts
Dxxxxxxx
UPS1
SN:
<< L1-FAC-YC1

## Slide 1177: Trinet Equipment at Y-2-E
Y-2-E Door
5VDC
12VDC
Not Connected
Not Connected
Feeding something …
FIRE NDLYNET 5-Port Ethernet Hub labeled “Beam Tube Hub”
TRANSITION “Just Convert It”
JE-CF-01 labeled “Beam Tube Converter”
MM ST Fibers
go over tube
2-Fiber Orange Cable comes from Conduit, goes over tube
Orange Cable goes into Conduit
CAT Connection
AC Circuit – one plug to power strip, one plug goes over tube
<< Locations

## Slide 1178: 1Y23 – D070443 – LH09
Powered from 12VDC DIN rails
Powered from 15VDC DIN rails
D070443
Magnetometer Filter
LH09
Magnetometer Power Supply
(MAG-03PSU)
656
Magnetometer
MAG-03MCES
X
Y
Z
X
Y
Z
Magnetometer: Bartington Instruments MAG-03MC
5 meter
X
Y
Z
On/Off
D030574
Pin 1 – Red
Pin 2 – Black
Pin 3 – White
Pin 4 – Black
Black – G/W … Ground
Stria – Y/W … +12VDC
–
+
Charger … 9 to 18 VDC
<< L1-FAC-YC1

## Slide 1179: 1Y23 – Stuff
VT5030 IFS
International Fiber Systems, Inc.
IFS.com
Optical Out:
To 1Y23 PP B6
Power: 12VDC
Video Input:
Camera 1
Camera 2
VT7430-2DRDT
Optical In/Out:
To 1Y23 PP D1
Power: 12VDC
Output: Ch1, Ch2, Ch3 BNCs to Cameras
TR3030WDM
GE Security
Optical In/Out: To 1Y23 PP B2
Phone: Copper to VEA
Power: 12VDC
Fiber Options 7711-R (501R)
Optical In/Out:
To 1Y23 PP D2
Power: 13.5VDC from Wall Wart
Blue CAT5: 1=O/W and B/W, 4=O, 7=B
Powered from DIN rails
Powered from Wall Wart from Isolated Power
Powered from Wall Wart from Tripp-Lite UPS
Model BC320
9834DY0BC614000661 To 6-Outlet Power Strip in Non-isolated wall socket
AC Powered from Isolated Power
Powered from Wall Wart from Isolated Power
J/E-CF-01
TriNet Converter
CAT5:
To 2402 P9
TX:
To 0X57… P1
RX:
To 0X57… P2
Power: 12VDC
Powered from DIN rails
Powered from DIN rails
J/E-CF-01
TriNet Converter
CAT5:
To 2402 P11
TX:
To 0X57… P8
RX:
To 0X57… P7
Power: 12VDC
Phone
Seismic Vault
Revere Video Master Power Supply Model RT24/16500
Outputs to Cameras 1,2,3
*LEDs on with bad fuse
Note: 8 LEDs are on.
Kantech
Security Cameras
IFO Cameras
<< L1-FAC-YC1

## Slide 1180: YEND – Security Cameras
Revere Video Master Power Supply Model RT24/16500
Outputs to Cameras 1,2,3
*LEDs on with bad fuse
Note: 8 LEDs are on.
AC Powered from Isolated Power
VAC
Security Cameras
<< L1-FAC-YC1

## Slide 1181: YEND – Security Cameras
VT7430-2DRDT
Optical In/Out:
To 1Y23 PP D1
Power: 12VDC
Output: Ch1, Ch2, Ch3 BNCs to Cameras
Powered from Wall Wart from Isolated Power
Security Cameras
<< L1-FAC-YC1

## Slide 1182: 1Y23 – Stuff
VT5030 IFS
International Fiber Systems, Inc.
IFS.com
Optical Out:
To 1Y23 PP B6
Power: 12VDC
Video Input:
Camera 1
Camera 2
Powered from DIN rails
To 1Y23 PP B6
Cameras
<< L1-FAC-YC1

## Slide 1183: YEND – Trinet
J/E-CF-01
TriNet Converter
CAT5:
To 2402 P9
TX:
To 0X57… P1
RX:
To 0X57… P2
Power: 12VDC
Powered from DIN rails
Powered from DIN rails
J/E-CF-01
TriNet Converter
CAT5:
To 2402 P11
TX:
To 0X57… P8
RX:
To 0X57… P7
Power: 12VDC
Seismic Vault
To 2402 P9
To 2402 P11
To 0X57… P1
To 0X57… P2
To 0X57… P8
To 0X57… P7
<< L1-FAC-YC1

## Slide 1184: YEND – Phone
TR3030WDM
GE Security
Optical In/Out: To 1Y23 PP B2
Phone: Copper to VEA
Power: 12VDC
Powered from Wall Wart from Tripp-Lite UPS
Model BC320
9834DY0BC614000661 To 6-Outlet Power Strip in Non-isolated wall socket
Phone
<< L1-FAC-YC1

## Slide 1185: KEPCO Power Supplies
<< L1-FAC-YC1
Rear
Front
KEPCO JQE 25-10
H222050
KEPCO JQE 15-6
H214524
KEPCO JQE 15-6
H214494
KEPCO JQE 25-10
+24VDC
KEPCO JQE 15-6
+12VDC
KEPCO JQE 15-6
-12VDC
KEPCO Power Supplies
UPS1
+12VDC
-12VDC
+24VDC
H222050
H214494
H214524

## Slide 1186: APC SMT1500RM2U
UPS
APC SMT1500RM2U
110VAC
A51051111987
APC SMT1500RM2U
Front
A51051111987
Rear
To X448 PS1
To 2402 PS1
<< L1-FAC-YC1

## Slide 1187: L1-ISC-YC1
ISC-YC1 YEND Station Remote Rack Layout (D1201091) (S1202955)
Sequencer
D1200757
S1202547
ISC-YC1 is part of D1001459
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000670
l1iscey I/O Extension Chassis
D1001715
+24V@5A
S1001145
71 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000562
24.4 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000583
24.4 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000649
RF Amplifier Concentrator 3
D1100262
±18VDC
S1103463
Perforated Shelf
384 Channel Binary Output
D1100251
+24VDC
S1203282
Perforated Shelf
PTY-040
PTY-042
PTO-052
PTG-004
PTY-052
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1102619
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
S1107442
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1102774
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1102792
Anti-Image Chassis
D070081
±18VDC
S1203575
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 26
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 27
No Power
<< CERY Racks
<< YEND Racks and Tables

## Slide 1188: L1-ISC-YC1 Details
L1-ISC-YC1 Details
<< L1-ISC-YC1
ISC-YC1 is part of D1001459

## Slide 1189: RF Distribution Panel 26
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-YC1
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 26
No Power

## Slide 1190: RF Distribution Panel 27
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-YC1
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 27
No Power

## Slide 1191: D080702 – S1000562
71 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000562
S1000562
Rear
D080702
Front
Front
Output
Front
Lock
To …
<< L1-ISC-YC1

## Slide 1192: D1000124 – S1000670
71 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000670
<< L1-ISC-YC1
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000670
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 1193: D080702 – S1000583
24.4 MHz Oscillator
D080702
+12VDC, ±24VDC
S1000583
S1000583
Rear
D080702
Front
Front
Output
Front
Lock
To …
<< L1-ISC-YC1

## Slide 1194: D1000124 – S1000649
24.4 MHz Distribution Amplifier
D1000124
±17VDC, ±24VDC
S1000649
<< L1-ISC-YC1
D1000124
Front
Front
10 dBm
Front
1
Front
2
Front
3
Front
4
Front
5
Front
6
Front
7
Front
8
S1000649
Rear
Front
M1
Front
M2
Front
M3
Front
Controls

## Slide 1195: D1100262 – S1103463
RF Amplifier Concentrator 1
D1100262
±18VDC
S1103463
D1100262
Front
S1103463
Rear
1
Rear
Controls
5
Rear
9
Rear
2
Rear
6
Rear
10
Rear
3
Rear
7
Rear
11
Rear
4
Rear
8
Rear
12
Rear
Rear
<< L1-ISC-YC1

## Slide 1196: D1100251 – S1203282
384 Channel Binary Output
D1100251
+24VDC
S1203282
D1100251
Front
Front
Chassis 1 – Board 1
Front
Chassis 1 – Board 2
Front
Chassis 2 – Board 1
Front
Chassis 2 – Board 2
Front
Chassis 3 – Board 1
Front
Chassis 3 – Board 2
S1203282
Rear
Rear
Chassis 6 – Board 1
Rear
Chassis 6 – Board 2
Rear
Chassis 5 – Board 1
Rear
Chassis 5 – Board 2
Rear
Chassis 4 – Board 1
Rear
Chassis 4 – Board 2
Rear
In
Rear
Out
<< L1-ISC-YC1

## Slide 1197: D1002961 – S1102619
D1002961
Front: D0902553
S1102619
Rear: D0902554
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
S1102619
Name: D1002962
<< L1-ISC-YC1
End Link Multimode Fiber
IN

## Slide 1198: D1100682 – S1107442
D1100682
Front: D0902553
S1107442
Rear: D1101977
Name: D1101978
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
S1107442
<< L1-ISC-YC1

## Slide 1199: D0902783 – S1102774
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1102774
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102774
Rear
<< L1-ISC-YC1

## Slide 1200: D0902783 – S1102792
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1102792
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1102792
Rear
<< L1-ISC-YC1

## Slide 1201: D070081 – S1103575
Anti-Image Chassis
D070081
±18VDC
S1203575
OUT 1-4
OUT 1-4
OUT 5-8
OUT 5-8
OUT 9-12
OUT 9-12
OUT 13-16
OUT 13-16
D070081
Front
To DAC
To DAC
S1203575
Rear
<< L1-ISC-YC1

## Slide 1202: l1iscey – D1001715 – S1001145
l1iscex I/O Extension Chassis
D1001715
110VAC
S1001145
<< L1-ISC-YC1
D1001715
Front
L1:TIM-ISC-EY
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
No Label
Slot P10
S1001145
Rear
No Label
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1iscex – I/O Extender
+24VDC
PTY-052
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx

## Slide 1203: L1-SEI-YC1
L1-SEI-YC1 (BSC5) YEND Remote Rack 1 Layout (D1201088) (S1202952)
BSC5 8 Channel Valve Driver
D0900117
±18VDC
S0900283
l1seiey I/O Extension Chassis
D1001715
+24VDC
S1200166
SEI-YC1 is part of D0901301
PTY-041
PTY-043
PTO-053
BSC5 ISI Coil Driver Pod 3
D0902744
±24VDC
S1103328
BSC5 ISI Coil Driver Pod 2
D0902744
±24VDC
S1103311
BSC5 ISI AA Chassis
D1002693
±18VDC
S1300138
BSC5 ISI AA Chassis
D1002693
±18VDC
S1300139
BSC5 ISI AA Chassis
D1002693
±18VDC
S1300686
BSC5 HEPI AA Chassis
D1000272
±18VDC
S1300142
BSC5 HEPI AI Chassis
D1100202
±18VDC
S1300687
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1203072
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1203073
64 Channel Binary Output Chassis (8*DB9)
D1001728
±18VDC
S1101339
Trillium 240 Interface Chassis Pod 1
D1002964
±18VDC
S1201403
Trillium 240 Interface Chassis Pod 2
D1002964
±18VDC
S1201404
Trillium 240 Interface Chassis Pod 3
D1002964
±18VDC
S1201410
STS-2 Interface Chassis
D080535
±18VDC
S0900618
BSC5 ISI Coil Driver Pod 1
D0902744
±24VDC
S1103362
BSC5 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1300127
BSC5 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1300126
BSC5 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1300125
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1300612
NOTE: One ±18VDC connector powers 4 HEPI Pods.
<< CERY Racks
<< YEND Racks and Tables

## Slide 1204: L1-SEI-YC1 Details
L1-SEI-YC1 Details
<< L1-SEI-YC1

## Slide 1205: D1002432 – S1300125
BSC5 ISI Interface Chassis Pod 1
D1002432
±18VDC
S1300125
<< L1-SEI-YC1
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1300125
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 1206: D1002432 – S1300126
<< L1-SEI-YC1
BSC5 ISI Interface Chassis Pod 2
D1002432
±18VDC
S1300126
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1300126
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 1207: D1002432 – S1300127
<< L1-SEI-YC1
BSC5 ISI Interface Chassis Pod 3
D1002432
±18VDC
S1300127
Geophones 1&2
D1002432
Front
Geophones 1&2
Geophones 3&4
Power Out
Capacitance Position Sensors
Capacitance Position Sensors
Geophones 3&4
Power Out
S1300127
Rear
Dc On/Off
Power In
AA Output
From Binary Out
To Binary In
+18
-18
Cap Pos Power
Geo 3&4 Power
Geo 1&2 Power
On/Off
On/Off
On/Off
From Binary Out
To Binary In
AA Output
AA Output
From Binary Out
To Binary In

## Slide 1208: D1002693 – S1300138
BSC5 ISI AA Chassis Pod 3
D1002693
Power
S1300138
<< L1-SEI-YC1
S1300138
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 1209: D1002693 – S1300139
BSC5 ISI AA Chassis Pod 3
D1002693
Power
S1300139
<< L1-SEI-YC1
S1300139
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 1210: D1002693 – S1300686
BSC5 ISI AA Chassis Pod 3
D1002693
Power
S1300686
<< L1-SEI-YC1
S1300686
Rear
To ADC Adapter
To ADC Adapter
D1002693
Front
In 28-31
In 32
In 32
In 28-31
In 1-8
In 1-8
In 9-20
In 9-20
In 21-27
In 21-27

## Slide 1211: D1000272 – S1300142
BSC5 HEPI AA Chassis Pod 3
D1000272
Power
S1300142
<< L1-SEI-YC1
S1300142
Rear
To ADC Adapter
To ADC Adapter
D1000272
Front
IN 25-28
IN 29-32
IN 29-32
IN 25-28
IN 1-5
IN 1-5
IN 6-10
IN 6-10
IN 11-15
IN 11-15
IN 16-20
IN 16-20
IN 21-26
IN 21-26

## Slide 1212: D1100202 – S1300687
BSC5 HEPI AI Chassis
D1100202
Power
S1300687
<< L1-SEI-YC1
To ADC Adapter
To ADC Adapter
S1300687
Rear
D1100202
Front
DC Power
+V -V
Out 1-8
Out 9-12
Out 13-16
Out 9-12
Out 9-12
Out 1-8
Out 1-8
Out 13-16
Out 13-16

## Slide 1213: D0900117 – S0900283
BSC5
BSC5 8 Channel Valve Driver
D0900117
Power
S0900283
<< L1-SEI-YC1
S0900283
Rear
From AI Chassis
From AI Chassis
D0900117
Front
CHANS 1&2
CHANS 1&2
CHANS 3&4
CHANS 3&4
CHANS 5&6
CHANS 5&6
CHANS 7&8
CHANS 7&8

## Slide 1214: D1001726 – S1203072
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1203072
S1203072
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-YC1

## Slide 1215: D1001726 – S1203073
64 Channel Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1203073
S1203073
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SEI-YC1

## Slide 1216: D1001728 – S1101339
64 Channel Binary Output Chassis (8*DB9)
D1001728
±18VDC
S1101339
Open
Ch 16-23
Open
Ch 48-55
Open
Ch 0-7
Open
Ch 8-15
Open
Ch 40-47
Open
Ch 32-39
D1001728
Front
Open
Ch 23-31
Open
Ch 56-63
<< L1-SEI-YC1
S1101339
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63

## Slide 1217: D1002964 – S1201405
Trillium 240 Interface Chassis Pod 1
D1002964
±18VDC
S1201405
<< L1-SEI-YC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201405
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 1218: D1002964 – S1201406
Trillium 240 Interface Chassis Pod 2
D1002964
±18VDC
S1201406
<< L1-SEI-YC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201406
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 1219: D1002964 – S1201407
Trillium 240 Interface Chassis Pod 3
D1002964
±18VDC
S1201407
<< L1-SEI-YC1
D1002694
Front
From Trillium Flange
From Trillium Flange
S1201407
Rear
From Binary Out
From Binary Out
To Binary In
To Binary In
To AA Chassis
To AA Chassis

## Slide 1220: D080535 – S0900105
STS-2 Interface Chassis
D080535
±18VDC
S0900105
<< L1-SEI-YC1
S0900105
Rear
To Bin I/O
Interface
To Anti-Alias
Chassis
To Bin I/O
To Anti-Alias
To Anti-Alias
To Bin I/O
18 Volt Input
STS-2 INPUT
STS-2 INPUT
D080535
Front
STS-2 INPUT
V
Cal
W
Cal
U
Cal
X
Mon
Y
Mon
Z
Mon
U/X
Pos
V/Y
Pos
W/Z
Pos
Norm

## Slide 1221: l1seiey D1001715 – S1200166
l1seiey I/O Extension Chassis
D1001715
+24VDC
S1200166
D1001715
Front
No Label
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:SEIEY
Slot P10
DAC16 Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
S1200166
Rear
L1:SEIEY
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1seiey – I/O Extender
+24VDC
PTY-043
<< L1-SEI-YC1
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx

## Slide 1222: D1000305 – S1300612
<< L1-SEI-YC1
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1300612
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1300612
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 1223: D0902744 – S1103362
BSC5 ISI Coil Driver Pod 1
D0902744
+24V@1.2A, -24V@0.8A
S1103362
D0902744
Front
S1103362
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-YC1

## Slide 1224: D0902744 – S1103311
BSC5 ISI Coil Driver Pod 2
D0902744
+24V@1.2A, -24V@0.8A
S1103311
D0902744
Front
S1103311
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-YC1

## Slide 1225: D0902744 – S1103328
BSC5 ISI Coil Driver Pod 3
D0902744
+24V@1.2A, -24V@0.8A
S1103328
D0902744
Front
S1103328
Rear
To Binary I/O
To Binary I/O
From DAC
From DAC
To AA Chassis
To AA Chassis
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
Coarse 2 OUT
Fine 2 OUT
Fine 1 OUT
Coarse 1 OUT
<< L1-SEI-YC1

## Slide 1226: L1-SUS-YC1
L1-SUS-YC1 (ETM) YEND Remote Rack 1 (of 2) Layout (D1201089) (S1202953)
Anti-Image Chassis (2*DB15, 1*DB9)
D1100815
±18VDC
S1103827
Transmon Coil Driver Chassis
D1100301
±18VDC
S1101557
Transmon Coil Driver Chassis
D1100301
±18VDC
S1101558
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1200819
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1001201
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1105312
Anti-Alias Chassis (2*DB9, 2*DB25)
D1000721
±18VDC
S1200932
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106211
Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1103897
Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1103224
Binary Input Chassis (4*DB9, 2*DB37)
D1001269
±18VDC
S1106114
PTO-051
Drawer
Drawer
Drawer
No Power
ETMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000434
ETMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000371
ETMY Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000374
ETMY UIM Coil Driver Chassis
D0902668
±18VDC
S0900310
ETMY PUM Coil Driver Chassis
D1100303
±18VDC
S1101564
SUS-YC1 is part of D1002741.
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201127
<< CERY Racks
<< YEND Racks and Tables

## Slide 1227: L1-SUS-YC1 Details
L1-SUS-YC1 Details
<< L1-SUS-YC1
SUS-YC1 is part of D1002741.

## Slide 1228: D1001782 – S1000434
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000434
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000434
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747
<< L1-SUS-YC1

## Slide 1229: D1001782 – S1000371
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000371
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000371
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747
<< L1-SUS-YC1

## Slide 1230: D1001782 – S1000374
ETMX Quad Top Coil Driver Chassis
D1001782
±18VDC
S1000374
D1001782
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
QUAD Top Coil Driver
University of Birmingham
S1000374
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
Monitor Board: D070480
Driver Board: D0902747
<< L1-SUS-YC1

## Slide 1231: D1100301 – S1101557
Transmon Coil Driver Chassis
D1100301
±18VDC
S1101557
D1100301
Front
S1101557
Rear
<< L1-SUS-YC1

## Slide 1232: D1100301 – S1101558
Transmon Coil Driver Chassis
D1100301
±18VDC
S1101558
D1100301
Front
S1101558
Rear
<< L1-SUS-YC1

## Slide 1233: D0902668 – S0900310
D070481
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
AdL PP UIM Coil Driver
University of Birmingham
S0900310
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
ETMX UIM Coil Driver Chassis
D0902668
±18VDC
S0900310
<< L1-SUS-YC1

## Slide 1234: D1100303 – S1101563
ETMX PUM Coil Driver Chassis
D1100303
±18VDC
S1101564
D070483
Front
Drive Input
Drive Input
PD Out to AA
LED Mon
Binary IO 1
Binary IO 2
D070480
Power
Drive Input
Test In
Test In
Test In
PD Out to AA
PD Out to AA
LED Mon
LED Mon
Binary IO 1
Binary IO 1
Binary IO 2
Binary IO 2
Advanced LIGO
PUM Coil Driver
University of Birmingham
S1101564
Rear
PD in from Sat
V, I and RMS Monitor
Noise Monitor
Coil Out to Sat
PD in from Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
Noise Monitor
V, I and RMS Monitor
Coil Out to Sat
PD in from Sat
<< L1-SUS-YC1

## Slide 1235: D0902783 – S1200819
Anti-Alias Chassis (8*DB9)
D0902783
±18VDC
S1200819
IN 1-4
IN 1-4
IN 17-20
IN 17-20
IN 5-8
IN 5-8
IN 9-12
IN 9-12
IN 13-16
IN 13-16
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D0902783
Front
To ADC
To ADC Adapter
S1200819
Rear
<< L1-SUS-YC1

## Slide 1236: D1000305 – S1001201
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1001201
<< L1-SUS-YC1
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1001201
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 1237: D1000305 – S1105312
Anti-Image Chassis (4*DB9)
D1000305
±18VDC
S1105312
<< L1-SUS-YC1
D1000305
Front
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
S1105312
Rear
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1

## Slide 1238: D1100815 – S1103827
Anti-Image Chassis (2*DB15, 1*DB9)
D1100815
±18VDC
S1103827
From DAC Adapter 0
From DAC Adapter 0
From DAC Adapter 1
From DAC Adapter 1
S1103827
Rear
D1100815 is an AI, which means it has OUTPUTS, not INPUTS. The labels are incorrect.
<< L1-SUS-YC1
OUT 13-16
OUT 13-16
OUT 7-12
OUT 7-12
OUT 1-6
OUT 1-6
D1100815
Front
OUT 13-16
OUT 7-12
OUT 1-6

## Slide 1239: D1100809 – S1104075
Anti-Alias Chassis (2*DB15, 5*DB9)
D1100809
±18VDC
S1104075
IN 17-20
IN 17-20
IN 21-24
IN 21-24
IN 25-28
IN 25-28
IN 29-32
IN 29-32
D1100809
Front
To ADC
To ADC Adapter
S1104075
Rear
IN 13-16
IN 13-16
IN 7-12
IN 7-12
IN 1-6
IN 1-6
<< L1-SUS-YC1

## Slide 1240: D1000721 – S1200932
Anti-Alias Chassis (2*DB9, 2*DB25)
D1000721
±18VDC
S1200932
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1200932
Rear
<< L1-SUS-YC1

## Slide 1241: D1001270 – S1106211
Binary Output Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106211
S1106211
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1001270
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
<< L1-SUS-YC1

## Slide 1242: D1001269 – S1106114
Binary Input Chassis (4*DB9, 2*DB37)
D1001270
±18VDC
S1106114
S1106114
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-47
Ch 32-47
Ch 48-63
Ch 48-63
D1001270
Front
<< L1-SUS-YC1

## Slide 1243: D1002593 – S1103224
Binary Output Chassis (8*DB9)
D1002593
±18VDC
S1103224
S1103224
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
D1002593
Front
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
<< L1-SUS-YC1

## Slide 1244: D1001726 – S1103897
Binary Input Chassis (8*DB9)
D1001726
±18VDC
S1103897
S1103897
Rear
Ch 0-31
Ch 0-31
Ch 32-63
Ch 32-63
Ch 0-7
Ch 0-7
Ch 8-15
Ch 8-15
Ch 16-23
Ch 16-23
Ch 24-31
Ch 24-31
Ch 32-39
Ch 32-39
Ch 40-47
Ch 40-47
Ch 48-55
Ch 48-55
Ch 56-63
Ch 56-63
D1001726
Front
<< L1-SUS-YC1

## Slide 1245: L1-SUS-YC2
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201104
SUS Anti-Alias Chassis
D1000721
±18VDC
S1200931
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201129
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201128
PTY-045
PTO-050
L1-SUS-YC1 (ETM) YEND Remote Rack 1 (of 2) Layout (D1201090) (S1202954)
l1susey I/O Extension Chassis
D1001715
+24V@5A
S1201776
l1susauxey I/O Extension Chassis
D1001715
+24V@5A
S1201775
PTY-044
SUS-YC2 is part of D1002741.
Unused
<< CERY Racks
<< YEND Racks and Tables

## Slide 1246: L1-SUS-YC2 Details
L1-SUS-YC2 Details
<< L1-SUS-YC2
SUS-YC2 is part of D1002241.

## Slide 1247: D1000721 – S1201129
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201129
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201129
Rear
<< L1-SUS-YC2

## Slide 1248: D1000721 – S1201128
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201128
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201128
Rear
<< L1-SUS-YC2

## Slide 1249: D1000721 – S1201104
SUS Anti-Alias Chassis
D1000721
±18VDC
S1201104
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1201104
Rear
<< L1-SUS-YC2

## Slide 1250: D1000721 – S1200931
SUS Anti-Alias Chassis
D1000721
±18VDC
S1200931
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
Open
IN 21-32
Open
To DAC Adapter
Open
S1200931
Rear
<< L1-SUS-YC2

## Slide 1251: l1susauxey – D1001715 – S11201775
l1susauxey I/O Extension Chassis
D1001715
110VAC
S1201775
D1001715
Front
L1SUSAUXEY
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:SUSAUXEY
Slot P10
S1201775
Rear
L1:SUSAUXEY
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susauxey – I/O Extender
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
+24VDC
PTY-044
<< L1-SUS-YC2

## Slide 1252: l1susey – D1001715 – S1201776
D1001715
Front
L1SUSEY
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
L1:SUSEY
Slot P10
S1201776
Rear
L1:SUSEY
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
Open
Slot P4
Open
Slot P5
Open
Slot P6
Open
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
l1susey I/O Extension Chassis
D1001715
110VAC
S1201776
l1susex – I/O Extender
+24VDC
PTY-045
Slot P7
ADC Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Slot E3
Binary IO Card
Sxxxxxxx
<< L1-SUS-YC2

## Slide 1253: L1-TCS-YC1
Hartmann Sensor Power Supply
D1002206
±18VDC
S1201884
L1-TCS-YC1 YEND Remote Rack Layout (D1201130) (S1202981)
TCS-YC1 is part of D1200258
BNC AA Interface Chassis (PEM)
D1001421
±18VDC
S1001058
Accelerometer Power Supply
Isotron 2973
110VAC
AH66
Timing Comparator
D1001370
+12VDC
S1201881
Timing Fanout Module
D070011
+12VDC
S1000878
Perforated Shelf
Perforated Shelf
TCS-YC1 is part of E1100894
aLIGO 18 Bit AI Interface Chassis
D1101785
±18VDC
S1300254
Ring Heater Driver
D1003254
±18VDC
S1201842
Slow Controls Concentrator
D1100632
±24VDC
S1103479
Perforated Shelf
Beckhoff End Link
D1100679
+24VDC
S1103498
PTY-xxx
PTO-xxx
<< CERY Racks
<< YEND Racks and Tables

## Slide 1254: L1-TCS-YC1 Details
L1-TCS-YC1 Details
<< L1-TCS-YC1

## Slide 1255: D070011 – S1000878
Timing Fanout Module
D070011
+12VDC
S1000878
<< L1-TCS-YC1
Fanout
S1000878
Rear
D070011
Front
L1SUSAUXEY
L1SUSEY
L1:TIM-ISC-EY
ISC IO Extender (No Label)
L1:TIM-RF71-Y
L1:TIM-RF24.4-Y
x
x
IRIB-B Link - L1:TIM-TRIG-Y
Comparator Link (No Label)
x
x
x
x
x
x
x
Timing Chassis Input
(Y-Fiber-13, Y-Fiber-14)

## Slide 1256: D1001370 – S1201881
Timing Comparator
D1001370
+12VDC
S1201881
<< L1-TCS-YC1
S1201881
Rear
D1001370
Front
Comparator Link (No Label)

## Slide 1257: D1100632 – S1103479
Slow Controls Concentrator
D1100632
±18VDC
S1103479
D1100632
Front
S1103479
Rear
<< L1-TCS-YC1

## Slide 1258: D1100679 – S1103498
Beckhoff End Link
D1100679
+24VDC
S1103498
D1100679
S1103498
<< L1-TCS-YC1

## Slide 1259: D1003254 – S1201842
D1003254
Front
Ring Heater Driver
D1003254
±18VDC
S1201842
S1201842
Rear
D1003254
Front
This is an early revision of the front panel. It now has one DB37M connector.
20121205 dlk
Label
Cable to Ring Heater
Label
Description
D1003254
White label
20121205 dlk
<< L1-TCS-YC1

## Slide 1260: D1102206 – S1201884
D1102206
Front
S1201884
Rear
Hartmann Sensor Power Supply
D1102206
+12VDC
S1201884
<< L1-TCS-YC1

## Slide 1261: Isotron 2793 – AH66
AH66
Rear
Isotron 2973
Front
ACCX
ACCY
ACCZ
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
Unused
ACCZ
ACCY
ACCX
Accelerometer Power Supply
Isotron 2973
110VAC
AH66
<< L1-TCS-YC1

## Slide 1262: D1101785 – S1300254
aLIGO 18 Bit AI Interface Chassis
D1101785
±18VDC
S1300254
<< L1-TCS-YC1
S1300254
Rear
From DAC
From DAC
D1101785
Front
Ch 0-3
Ch 0-3
Ch 4-7
Ch 4-7

## Slide 1263: D1001421 – S1001058
D1001421
Front
BNC AA Interface Chassis (PEM)
D1001421
±18VDC
S1001058
MAG X
1
MAG Y
2
MAG Z
3
1
4
2
5
3
6
Isotron 1
7
Isotron 2
8
Isotron 3
9
BSC5 MIC
10
Unused
11
BSC5 TEMP
12
Unused
13
Unused
14
Unused
15
Unused
16
Unused
17
Unused
18
Unused
19
Unused
20
Unused
21
Unused
22
Unused
23
Unused
24
Unused
25
Unused
26
Unused
27
Unused
28
Unused
29
Unused
30
Unused
31
Unused
32
S1001058
Rear
To ADC Adapter
To l1pemey Slot P1
To ADC Adapter
<< L1-TCS-YC1

## Slide 1264: D1101363 – Sxxxxxxx
SN:
Rear
D1101363
Front
aLIGO Accelerometer Interface Chassis
D1101363
Power
SN:
Unused
1
Unused
1
Unused
2
Unused
2
Unused
3
Unused
3
Unused
4
Unused
4
Unused
5
Unused
5
Unused
6
Unused
6
Unused
7
Unused
7
Unused
8
Unused
8
Unused
9
Unused
9
Unused
10
Unused
10
Unused
11
Unused
11
Unused
12
Unused
12
Unused
13
Unused
13
Unused
14
Unused
14
Unused
15
Unused
15
Unused
16
Unused
16
OUTPUT
INPUT
<< L1-TCS-YC1

## Slide 1265: L1-ISC-YR1
24.5 MHz Delay Line Phase Shifter
D0900128
±15VDC
S1103430
2 Channel RFPD I/Q Demod (RC & ALS)
D1000181
±17VDC, ±24VDC
S1000786
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200581
39.7 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
S1000753
RF Preamplifier
D1201294
??
S1203938
39.7 MHz 2 Channel Phase/Freq Discriminator
D1002476
±17VDC, ±24VDC
S1000768
Common Mode Servo (ALS Laser Locking)
D0901781
±17VDC, ±24VDC
S1102647
Common Mode Servo (ALS Cavity Locking)
D0901781
±17VDC, ±24VDC
S1102646
LSC Demod Concentrator 5
D1100691
±18VDC
S1104010
ASC Demod Concentrator 6
D1100696
No Power
S1103988
Auxiliary Signals Concentrator 2
D1102045
±17VDC
S1200535
Auxiliary Signals Concentrator 1
D1102065
±17VDC
S1200552
Auxiliary Signals Concentrator 5
D1201352
±17VDC
S1300251
Differential to Single-Ended Converter
D1100482
±15VDC
S1203308
ISC Whitening Chassis
D1002559
±15VDC
S1101629
ISC Whitening Chassis
D1002559
±15VDC
S1101169
L1-ISC-YR1 YEND Station Field Rack Layout (D1201094) (S1202958)
PTY-056
PTO-063
Sequencer
D1200757
S1202552
ISC-YR1 is part of D1001423
QUAD I&Q Demodulator Module
D0902796
±15VDC
S1001016
Dual QPD Transimpedance Amplifier
D1002481
±15VDC
S1102816
Dual QPD Transimpedance Amplifier
D1002481
±15VDC
S1301504
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 28
No Power
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 29
No Power
Legacy WFS Interface Module
D1100749
±15VDC
S1400282
WFS Demodulator Patch Panel
D1201470
No Power
Sxxxxxxx
Oplev 8 Channel Whitening Filter Chassis
D1100013
±18VDC
S1101543
ISC Whitening Chassis
D1002559
±15VDC
S1101573
QUAD I&Q Demodulator Module
D0902796
±15VDC
S1001020
ISC Whitening Chassis
D1002559
±15VDC
S1101581
LSC RFPD Demodulator Patch Panel
D1100956
No Power
Sxxxxxxx
Picomotor Driver and Photodiode Amplifier
D1100323
D1301017
±24VDC, ±24VDC
S1400007
S1107548
Dual DSUB Breakout Panel
D1201450
±17VDC, ±24VDC
Sxxxxxxx
<< YEND Racks and Tables

## Slide 1266: L1-ISC-YR1
PTY-xxx

## Slide 1267: L1-ISC-XR1 Details
<< VEAX Racks

## Slide 1268: L1-ISC-YR1 Details
L1-ISC-YR1 Details
<< L1-ISC-YR1

## Slide 1269: RF Distribution Panel 28
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-YR1
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 28
No Power

## Slide 1270: RF Distribution Panel 29
Dxxxxxxx
Front
Sxxxxxxx
Rear
<< L1-ISC-YR1
Sxxxxxxx
Dxxxxxxx
RF Distribution Panel 29
No Power

## Slide 1271: D0900128 – S1103430
Delay Line Phase Shifter
D0900128
+15VDC
S1103430
<< L1-ISC-YR1
Controls
Controls
S1103430
Rear
D0900128
Front

## Slide 1272: D1000181 – S1000786
2 Channel RFPD I/Q Demod (RC & ALS)
D1000181
±17VDC, ±24VDC
S1000786
<< L1-ISC-YR1
S1000786
Rear
Controls
Controls
D1000181
Front

## Slide 1273: D1201470 – Sxxxxxxx
WFS Demodulator Patch Panel
D1201470
No Power
Sxxxxxxx
D1201470
Front
Sxxxxxxx
Rear
<< L1-ISC-YR1

## Slide 1274: D0900605 – S1200581
79.4 MHz VCO (ALS)
D0900605
±17VDC, ±24VDC
S1200581
<< L1-ISC-YR1
S1200581
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
D0900605
Front
Out1
Out2
Ref
Div
VCO
VCO
Div
Ref
Out1
Out2

## Slide 1275: D1002182 – S1000753
D1002182
Front
Front
Out
Front
In
S1000753
Rear
Front
M1
Front
M2
Front
M3
Front
Controls
Rear
Front
39.7 MHz Frequency Divider
D1002182
±17VDC, ±24VDC
S1000753
<< L1-ISC-YR1

## Slide 1276: D1201294 – S1203938
<< L1-ISC-YR1
RF Preamplifier
D1201294
±18V
S1203938
D1201294
Front
S1203938
Rear
Rear
Front

## Slide 1277: D1002476 – S1000768
D1002476
Front
39.7 MHz 2 Channel Phase/Freq Discriminator
D1002476
±17VDC, ±24VDC
S1000768
<< L1-ISC-YR1
S1000768
Rear
Controls
Controls

## Slide 1278: D0901781 – S1102647
Common Mode Servo (ALS Laser Locking)
D0901781
±17VDC, ±24VDC
S1102647
S1102647
Rear
Controls 1
Controls 1
Controls 2
Controls 2
D0901781
Front
Monitor
Monitor
<< L1-ISC-YR1

## Slide 1279: D0901781 – S1102646
Common Mode Servo (ALS Cavity Locking)
D0901781
±17VDC, ±24VDC
S1102646
S1102646
Rear
Controls 1
Controls 1
Controls 2
Controls 2
D0901781
Front
Monitor
Monitor
<< L1-ISC-YR1

## Slide 1280: D1100013 – S1101543
Oplev 8 Channel Whitening Filter Chassis
D1100013
±18VDC
S1101543
S1101543
Rear
D1100013
Front
<< L1-ISC-YR1

## Slide 1281: D1100691 – S1104010
LSC Demod Concentrator 5
D1100691
±18VDC
S1104010
D1100691
Front
S1104010
Rear
Controls
Controls
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 2
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 4
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 1
Demodulator 3
Demodulator 3
Demodulator 3
Demodulator 3
<< L1-ISC-YR1

## Slide 1282: D1100696 – S1103988
ASC Demod Concentrator 6
D1100696
No Power
S1103988
D1100696
Front
S1103988
Rear
Controls B
Controls B
1B
1B
2B
2B
3B
3B
4B
4B
1A
1A
2A
2A
3A
3A
4A
4A
Controls A
Controls A
<< L1-ISC-YR1

## Slide 1283: D1102045 – S1200535
Auxiliary Signals Concentrator 2
D1102045
±18V
S1200535
S1200535
Rear
Pd DC 5-8 Out
Pd DC 5-8 Out
Pd DC 5-8 In
Pd DC 5-8 In
Pd DC 1-4 Out
Pd DC 1-4 Out
Pd DC 1-4 In
Pd DC 1-4 In
Controls
Controls
D1102045
Front
<< L1-ISC-YR1

## Slide 1284: D1102065 – S1200552
Auxiliary Signals Concentrator 1
D1102065
±18V
S1200552
<< L1-ISC-YR1
S1200552
Rear
Controls
Controls
D1102045
Front

## Slide 1285: D1201352 – S1300251
Auxiliary Signals Concentrator 5
D1201352
±18V
S1300251
<< L1-ISC-YR1
S1300251
Rear
Controls
Controls
D1201352
Front

## Slide 1286: D1201450 – Sxxxxxxx
Dual DSUB Breakout Panel
D1201450
No Power
Sxxxxxxx
Sxxxxxxx
Rear
D1201450
Front
Gender Changer
Gender Changer
<< L1-ISC-YR1

## Slide 1287: D1100323 – S1107548
S1107548
Rear
D1100323
Front
<< L1-ISC-YR1
Picomotor Driver and Photodiode Amplifier
D1100323
D1301017
±24VDC, ±24VDC
S1400007
S1107548

## Slide 1288: D1301017 – S1400007
S1400007
Rear
D1301017
Front
<< L1-ISC-YR1
Picomotor Driver and Photodiode Amplifier
D1100323
D1301017
±24VDC, ±24VDC
S1400007
S1107548

## Slide 1289: D1002559 – S1101581
ISC Whitening Chassis
D1002559
±15VDC
S1101581
S1101581
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-YR1

## Slide 1290: D0902796 – S1001020
QUAD I&Q Demodulator Module
D0902796
±15VDC
S1001020
S1001020
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
D0902796
Front
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1001020
Rear
<< L1-ISC-YR1

## Slide 1291: D1100956 – Sxxxxxxx
LSC RFPD Demodulator Patch Panel
D1100956
No Power
Sxxxxxxx
D1100956
Front
Sxxxxxxx
Rear
<< L1-ISC-YR1

## Slide 1292: D0902796 – S1001016
QUAD I&Q Demodulator Module
D0902796
±15VDC
S1001016
S1001016
Rear
D1002032
LSC
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
D0902796
Front
D1002031
WFS
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
RF Mon Out Ch 3&4
I & Q Outputs
I & Q Outputs
S1001016
Rear
<< L1-ISC-YR1

## Slide 1293: D1002559 – S1101573
ISC Whitening Chassis
D1002559
±15VDC
S1101573
S1101573
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-YR1

## Slide 1294: D1100749 – S1400282
Legacy WFS Interface Module
D1100749
±15VDC
S1400282
S1400282
Rear
D1100749
Front
DC Outputs-WFS 2
WFS 2
DC Outputs-WFS 1
WFS 1
<< L1-ISC-YR1

## Slide 1295: D1100482 – S1203308
Differential to Single-Ended Receiver
D1100482
±15VDC
S1203308
S1203308
Rear
Diff Inputs
Diff Inputs
D1100482
Front
<< L1-ISC-YR1

## Slide 1296: D1002559 – S1101629
ISC Whitening Chassis
D1002559
±15VDC
S1101629
S1101629
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-YR1

## Slide 1297: D1002481 – S1301504
Dual QPD Transimpedance Amp (ASC OMCR A&B)
D1002481
±15VDC
S1301504
S1301504
Rear
D1002481
Front
PD Input
PD Input
To Whitening
To Whitening
<< L1-ISC-YR1

## Slide 1298: D1002481 – S1102816
Dual QPD Transimpedance Amp (ASC OMCR A&B)
D1002481
±15VDC
S1102816
S1102816
Rear
D1002481
Front
PD Input
PD Input
To Whitening
To Whitening
<< L1-ISC-YR1

## Slide 1299: D1002559 – S1101169
ISC Whitening Chassis
D1002559
±15VDC
S1101169
S1101169
Rear
Binary Read Back 1
Binary Read Back 1
Analog Out (0-3)
Analog Out (0-3)
Binary Read Back 2
Binary Read Back 2
Analog Out (4-7)
Analog Out (4-7)
D1002559
Front
From Binary Output Module 1
From Binary Output Module 1
From Binary Output Module 2
From Binary Output Module 2
Analog Signal Input
Analog Signal Input
<< L1-ISC-YR1

## Slide 1300: L1-SUS-YR1
L1-SUS-YR1 YEND Station Field Rack Layout (D1201132) (S1202994)
SUS-YR1 is part of D1002741.
Electrostatic Driver
+-18VDC@0.4A
+-430VDC@15mA
E3074
S1101842
Solid Shelf
D0901284
D0901284
D0901284
D0901284
S1000326
S1000328
S1000336
S1000340
Satellite Amplifier Shelf
Right Front Left
No Power
Right Rear Left
D0901284
D0901284
D0901284
D0901284
S1000463
S1000863
Satellite Amplifier Shelf
Right Front Left
No Power
Right Rear Left
S1000325
<< YEND Racks and Tables
Perforated Shelf

## Slide 1301: L1-SUS-YR1 Details
L1-SUS-YR1 Details
<< L1-SUS-YR1
SUS-YR1 is part of D1002741.

## Slide 1302: E3074 – S1101842
E3074
Front
S1101842
Rear
<< L1-SUS-YR1
Electrostatic Driver
+-18VDC@0.4A
+-430VDC@15mA
E3074
S1101842

## Slide 1303: D0901284 Shelf
D0901284
D0901284
D0901284
D0901284
S1000326
S1000328
S1000336
S1000340
Satellite Amplifier Shelf
Right Front Left
No Power
Right Rear Left
Rear
Front
S1000336
S1000340
S1000326
S1000328
D0901284
Left
Right
<< L1-SUS-YR1

## Slide 1304: D0901284 Shelf
D0901284
D0901284
D0901284
D0901284
S1000463
S1000863
Satellite Amplifier Shelf
Right Front Left
No Power
Right Rear Left
S1000325
Rear
Front
S1000863
S1000463
S1000325
D0901284
Left
Right
<< L1-SUS-YR1

## Slide 1305: L1-VAC-YR1
L1-VAC-YR1 YEND Vacuum Rack Layout (Dxxxxxxx)
110VAC
JS0801005639
S3140R
APC 3000XL
Marway MPD100 Power Distribution
MPD-100
UPS
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009235
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009262
Description
Dxxxxxxx
Power
SN:
<< YEND Racks and Tables

## Slide 1306: L1-VAC-YR1 Details
L1-VAC-YR1 Details
<< L1-VAC-YR1

## Slide 1307: L1-VAC-YR1
Marway MPD100 Power Distribution
MPD-100
UPS
<< L1-VAC-YR1

## Slide 1308: L1-VAC-YR1
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009262
<< L1-VAC-YR1

## Slide 1309: L1-VAC-YR1
Power-Ten 3300D-3020 Switching DC Power Supply
3300D-3020
110VAC
1009235
<< L1-VAC-YR1

## Slide 1310: L1-VAC-YR1
Description
Dxxxxxxx
Power
SN:
CentreCom 210TS
Grey CAT5 Cable to CDS Network Switch Port 17
<< L1-VAC-YR1

## Slide 1311: L1-VAC-YR1
110VAC
JS0801005639
S3140R
APC 3000XL
<< L1-VAC-YR1

## Slide 1312: L1-VAC-YR1
Particle Counter
- Located in Mechanical Room
- +24VDC comes from Power-Ten 1009235
- 485-25E – Telebyte – Cat5 – 162-262 Port 3
Telebyte
485-25E
Particle Counter
Power Supply
Port 3
+24VDC
Blue Cable to Mechanical Room
Monitors PURGE AIR?
Port 3 on MVE 162-262
CAT5 Cable
<< L1-VAC-YR1

## Slide 1313: L1-ISCBT5L Table Layout
<< YEND Tables
ISCBT5L Table Layout (Dxxxxxxx) (Sxxxxxxx)
ISCBT5L is part of Exxxxxxx.

## Slide 1314: L1-ISCBT5L Panel Layout
ISCBT5L Panel Layout (D1101126)
<< YEND Tables

## Slide 1315: LLO ETR – Electronics Test Rack Layout
BSC (aka QUAD) Test Rack
(L1-ETR-02)
RMS (aka Triple) Test Rack
(L1-ETR-04)
DAQ (aka CDS) Test Rack
(L1-ETR-01)
Optics
Test Rack
(L1-ETR-03)
HAM ISI
Test Rack
(L1-ETR-05)
STS Huddle
Test Rack
(L1-ETR-06)
Future
Test Rack
(L1-ETR-08)
Future
Test Rack
(L1-ETR-09)
Triple SUS
Test Rack
(L1-ETR-07)
<< LLO Racks by AREA
<< LLO CDS Components
<< LLO Corner Station

## Slide 1316: L1-ETR-01
+18VDC ?A
-18VDC ?A
+24VDC ?A
-24VDC ?A
DAQ (aka CDS) Test Rack Layout (D1002448)
Anti-Alias Chassis
D070081
±18VDC
SN:
AI module
AA module
AI module
I/O Expansion
Chassis (dtsfe3-xp)
DC Power Supply
I/O Expansion
Chassis (dtsfe0-xp)
I/O Expansion
Chassis (dtsfe1-xp)
I/O Expansion
Chassis (dtsfe2-xp)
DC Power Supply
L1 DTS – IO
<< Electronics Test Racks
D070124 Rack Input
Power Box (RU 34-36)

## Slide 1317: L1-ETR01 DAQ (aka CDS)
Front
L1-ETR01
Rear
L1-ETR01
I/O Extension
2 ADC
1 DAC
1 Timing Slave
Linksys BEFSX41
Firewall Router
D070011 Fanout Timing
D070011 Fanout Timing
SN:
SN:
JQE25-10M +15V
JQE25-10M -15V
SN:
SN:
JQE25-10M +24V
JQE25-10M -24V
Netgear GS724T Switch
SN:
SUN Microsystems X2200
0923QAT00D dtsserver 192.168.100.10
SuperMicro
… dtsfe1 192.168.100.15
D070081 AI Chassis
D070081 AA Chassis
D070081 SYYYYYYYY
D070081 SYYYYYYYY
SuperMicro
… dtsdco 192.168.100.30
SuperMicro
… dtsfwo 192.168.100.31
SuperMicro
… dtsndso 192.168.100.32
Shelf
Shelf
KVM
SN:
Linier Rack – has front and rear doors and wheels.
DC Bus Distribution Box
Netgear GSM7352S Switch
SN:
Dxxxxxx-V1

## Slide 1318: L1-ETR-02
+18VDC ?A
-18VDC ?A
+24VDC ?A
-24VDC ?A
BSC (aka QUAD) Test Rack Layout (D080273)
D070124 Rack Input
Power Box (RU 34-36)
<< Electronics Test Racks

## Slide 1319: L1-ETR02 BSC (aka Quad)
Front
L1-ETR02
Rear
L1-ETR02
I/O Extension
2 ADC
1 DAC
1 Timing Slave
Linksys BEFSX41
Firewall Router
Netgear GS108
Gigabit Switch
Computer
SN:
iMAC Computer
SN:
SN:
JQE25-10M +15V
JQE25-10M -15V
Satellite Amplifier
Satellite Amplifier
Satellite Amplifier
Satellite Amplifier
Satellite Amplifier
D080273-V1
DC Bus Distribution Box

## Slide 1320: L1-ETR-03
+18VDC ?A
-18VDC ?A
+24VDC ?A
-24VDC ?A
Optics Test Rack Layout (Dxxxxxxx)
D070124 Rack Input
Power Box (RU 34-36)
<< Electronics Test Racks

## Slide 1321: L1-ETR03 OPTICS
Front
L1-ETR03
Rear
L1-ETR03
I/O Extension
2 ADC
1 DAC
1 Timing Slave
Linksys BEFSX41
Firewall Router
Netgear GS108
Gigabit Switch
Computer
SN:
iMAC Computer
Dxxxxxx-V1

## Slide 1322: L1-ETR-04
+18VDC ?A
-18VDC ?A
+24VDC ?A
-24VDC ?A
RMS (aka Triple) Test Rack Layout (Dxxxxxxx)
D070124 Rack Input
Power Box (RU 34-36)
<< Electronics Test Racks

## Slide 1323: L1-ETR04 RMT (aka Triple)
Front
L1-ETR04
Rear
L1-ETR04
I/O Extension
2 ADC
1 DAC
1 Timing Slave
Linksys BEFSX41
Firewall Router
Netgear GS108
Gigabit Switch
Computer
SN:
iMAC Computer
D1000305 AI Chassis
D0902783 AA Chassis
D1000305 SYYYYYYYY
D0902783 SYYYYYYYY
D0902783 AA Chassis
D0902783 SYYYYYYYY
D080446-V1
DC Bus Distribution Box

## Slide 1324: L1-ETR-05
+18VDC ?A
-18VDC ?A
+24VDC ?A
-24VDC ?A
HAM ISI Test Rack Layout (D1001412)
D070124 Rack Input
Power Box (RU 34-36)
<< Electronics Test Racks

## Slide 1325: L1-ETR05 HAM ISI
Front
L1-ETR05
Rear
L1-ETR05
I/O Extension
2 ADC
1 DAC
1 Timing Slave
SN:
SN:
JQE25-10M +15V
JQE25-10M -15V
SN:
SN:
JQE25-10M +24V
JQE25-10M -24V
ISI Interface Pod 1 & L4C
ISI Interface Pod 2 & L4C
ISI Interface Pod 3 & L4C
Linksys BEFSX41
Firewall Router
Netgear GS108
Gigabit Switch
Computer
Anti-Image (AI) Chassis
Anti-Alias (AA) Chassis
Anti-Alias (AA) Chassis
D1000269 S1000298
D1000269 S1000244
SN:
iMAC Computer
ISI Coil Driver (Pod 1 and 2)
ISI Coil Driver (Pod 3)
D1000067 S1000311
D1000067 S1000312
D1000067 S1000314
D0902744 S1000317
D0902744 S1000316
D1001412-V1
DC Bus Distribution Box
D070081 SS1000251
SN:

## Slide 1326: L1-ETR-06
+18VDC ?A
-18VDC ?A
+24VDC ?A
-24VDC ?A
STS Huddle Test Rack Layout (D1001412)
Shelf
Shelf
HAM ISI Anti-Alias Chassis
D1000269
±18VDC
S1000248
HAM ISI Anti-Alias Chassis
D1000269
±18VDC
S1000248
Anti-Image Chassis
D070081
±18VDC
S1000249
HAM ISI Interface Chassis
D1000067
±18VDC
S1000315
HAM ISI Interface Chassis
D1000067
±18VDC
S1000313
DC Power Supply
Sorenson 33-33
120VAC
SN:
DC Power Supply
Sorenson 33-33
120VAC
SN:
0 – ADC0
1 – DAC0
2 – ADC1
Workstation
SN:0923QAT004
Computer SunFire X2200
120VAC
Front End CPU
SN:
Computer
120VAC
I/O Extension Chassis
D1001715
+24VDC
SN:
D070124 Rack Input
Power Box (RU 34-36)
RVS4000
CISCO Router
Fiber Optics Patch
<< Electronics Test Racks

## Slide 1327: L1:ETR06 STS Huddle
Front
L1-ETR06
Rear
L1-ETR06
SN:
SN:
JQE25-10M +15V
JQE25-10M -15V
ISI Interface Pod 1 & L4C
ISI Interface Pod 2 & L4C
ISI Interface Pod 3 & L4C
Linksys BEFSX41
Firewall Router
Netgear GS108
Gigabit Switch
D0902783 AA Chassis
D0902783 AA Chassis
D0902783 SYYYYYYYY
D0902783 SYYYYYYYY
iMAC Computer
DXXXXXXXX SYYYYYYYY
DXXXXXXXX SYYYYYYYY
DXXXXXXXX SYYYYYYYY
D1001412-V1
I/O Extension
2 ADC
1 DAC
1 Timing Slave
Computer
SN:
DC Bus Distribution Box

## Slide 1328: L1-ETR-07
Triple SUS Test Rack Layout (D1001624 S1106460)
KEPCO JQE20-10M
KEPCO JQE20-10M
120VAC@5.3A
120VAC@5.3A
I/O Extension Chassis
D1001715
120VAC
S1106560
SUS Coil Driver – L1, L2
D060278
±18VDC
S1000516
Anti-Image Chassis
D070081
±18VDC
S1000514
Workstation
SN:
Computer
120VAC
SUS Satellite Amplifier – TOP
D080276
±18VDC
S1000508
SUS Satellite Amplifier – L1, L2
D080276
±18VDC
S1000511
SUS Anti-Alias Chassis
D1000721
±18VDC
S1000519
SUS Anti-Alias Chassis
D070081
±18VDC
S1000505
0 – ADC0
1 – DAC0
2 – ADC1
Front End CPU
SN:
Computer
120VAC
SUS Coil Driver – TOP
D060278
±18VDC
S1000515
RVS4000
CISCO Router
D070124 Rack Input
Power Box (RU 34-36)
Fiber Optics Patch
<< Electronics Test Racks
Shelf

## Slide 1329: D080276 – S1000508
SUS Satellite Amplifier – TOP
D080276
±18VDC
S1000508
D080276
Front
S1000508
Rear
TS-15
Coil Drive In
TS-1
PD Out
Open
PD Mon
TS-2
LED Mon
TS-16
Coil Drive In
TS-3
PD Out
Open
PD Mon
TS-4
LED Mon
Chan 5-8
Chan 1-4
Open
Chan 5-8
Open
Chan 1-4
Coil Drive In
PD Out
PD Mon
LED Mon
Channels 1-4
Coil Drive In
PD Out
PD Mon
LED Mon
Channels 5-8
UM (Top)
<< L1-ETR-07

## Slide 1330: D080276 – S1000511
SUS Satellite Amplifier – L1, L2
D080276
±18VDC
S1000511
D080276
Front
S1000511
Rear
Chan 5-8
Chan 1-4
Coil Drive In
PD Out
PD Mon
LED Mon
Channels 1-4
Coil Drive In
PD Out
PD Mon
LED Mon
Channels 5-8
Open
Chan 5-8
Open
Chan 1-4
IM (L1), BM (L2)
<< L1-ETR-07
TS-17
Coil Drive In
TS-8
PD Out
Open
PD Mon
TS-9
LED Mon
TS-18
Coil Drive In
TS-10
PD Out
Open
PD Mon
TS-11
LED Mon

## Slide 1331: D070081 – S1000514
Anti-Image Chassis
D070081
±18VDC
S1000514
D070081
Front
S1000514
Rear
From DAC Adapter
TS-24
From DAC Adapter
TS-6
OUT 1-4
TS-7
OUT 5-8
TS-13
OUT 9-12
TS-14
OUT 13-16
UNBUFFERED
OUT 1-4
OUT 5-8
OUT 9-12
OUT 13-16
<< L1-ETR-07

## Slide 1332: D060278 – S1000515
SUS Coil Driver – TOP
D060278
±18VDC
S1000515
D060278
Front
S1000515
Rear
TS-6
Ch1-4 IN
TS-7
CH5-8 IN
TS-16
Ch 5-8 Out
TS-15
Ch 1-4 Out
Ch 5-8 Out
Ch 1-4 Out
Out Monitors
Out Monitors
TS-5
Ch1-4 IN
Ch5-8 IN
Run/Acq 1-4
Run/Acq 5-8
Enable 1-4
Enable 5-8
Open
Run/Acq 1-4
Open
Enable 1-4
Open
Run/Acq 5-8
Open
Enable 5-8
UM (Top)
<< L1-ETR-07

## Slide 1333: D060278 – S1000516
SUS Coil Driver – L1, L2
D060278
±18VDC
S1000516
D060278
Front
S1000516
Rear
TS-18
Ch 5-8 Out
TS-17
Ch 1-4 Out
TS-12
Out Monitors
TS-13
Ch1-4 IN
TS-14
CH5-8 IN
Ch1-4 IN
Ch5-8 IN
Run/Acq 1-4
Run/Acq 5-8
Enable 1-4
Enable 5-8
Ch 5-8 Out
Ch 1-4 Out
Out Monitors
IM (L1), BM (L2)
<< L1-ETR-07
Open
Run/Acq 1-4
Open
Enable 1-4
Open
Run/Acq 5-8
Open
Enable 5-8

## Slide 1334: D070081 – S1000505
D070081
Front
S1000505
Rear
SUS Anti-Alias Chassis
D070081
±18VDC
S1000505
TS-1
IN 1-4
TS-8
IN 17-20
TS-3
IN 5-8
TS-2
IN 9-12
TS-4
IN 13-16
TS-10
IN 21-24
TS-9
IN 25-28
TS-11
IN 29-32
To ADC Adapter
TS-23
To ADC Adapter
IN 1-4
IN 5-8
IN 9-12
IN 13-16
IN 17-20
IN 21-24
IN 25-28
IN 29-32
D0902783
Front
<< L1-ETR-07

## Slide 1335: D1000721 – S1000519
SUS Anti-Alias Chassis
D1000721
±18VDC
S1000519
<< L1-ETR-07
IN 1-4
Open
IN 5-8
Open
D1000721
Front
IN 9-20
TS-5
IN 21-32
TS-12
To DAC Adapter
TS-25
S1000519
Rear

## Slide 1336: lxxxxxx – D1001715 – S1106560
lxxxxxx I/O Extension Chassis
D1001715
+24VDC
S1106560
D1001715
Front
Timing Slot
Slot P7
Slot P5
Slot E2
Slot E1
Slot P1
Slot E3
Slot P3
Slot P2
Slot P4
Slot P6
Slot P9
Slot P8
Uplink
Slot P10
DAC Adapter
Sxxxxxxx
DAC Adapter
Sxxxxxxx
ADC Adapter
Sxxxxxxx
ADC Adapter
Sxxxxxxx
ADC Adapter
Sxxxxxxx
ADC Adapter
Sxxxxxxx
DAC Adapter
Sxxxxxxx
DAC Adapter
Sxxxxxxx
+24VDC
S1106560
Rear
Open
Uplink
Open
Slot E1
Open
Slot E2
Open
Slot E3
Open
Slot P1
Open
Slot P2
Open
Slot P3
TS-23
Slot P4
TS-25
Slot P5
Open
Slot P6
TS-24
Slot P7
Open
Slot P8
Open
Slot P9
Open
Slot P10
P1
P2
P3
P4
P5
P6
P7
P8
P9
P10
E1
E2
E3
<< L1-ETR-07
lxxxxxx – I/O Extender

## Slide 1337: Templates
Templates
Description
Dxxxxxxx
Dxxxxxxx
Description
Dxxxxxxx
Dxxxxxxx

## Slide 1338: Rack Template
D070124 Rack Input
Power Box (RU 34-36)

## Slide 1339: Rack Template
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
-
-
-
-
Description
Dxxxxxxx
Power
SN:
Power
SN:
Dxxxxxxx
Description
Description
Dxxxxxxx
Power
SN:
Shelf
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
Description
Dxxxxxxx
Power
SN:
SN:
Dxxxxxxx
Description
Power
Description
Dxxxxxxx
Dxxxxxxx
Description
Dxxxxxxx
Dxxxxxxx

## Slide 1340: Connectors – bmp
DA-15
DB-25
DC-37
DD-50
DE-9
SCSI-68
Conec
3W3S
3W3P
CP-4
LEMO 4-Pin
LEMO 2-Pin
BNC
JTAG

## Slide 1341: Connectors – bmp
Conec
3W3S
3W3P
CP-4
LEMO 4-Pin
LEMO 2-Pin
2W2CS
2W2CP
3W3CS
3W3CP
3W3S
3W3P
LEMO 1-Pin

## Slide 1342: +V –V Layouts
Power
+V .
-V .
+14 .
-14 .
Coil Driver Inputs

## Slide 1343: +V –V Layouts
Slot P7
ADC Card
Sxxxxxxx
DAC16 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Open
Slot P3
Open
Slot P3
Open
Slot P3
Binary IO Card
Sxxxxxxx
Slot E3
DAC16 Card
Sxxxxxxx
DAC18 Card
Sxxxxxxx
Slot P7
ADC Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Slot E3
Binary IO Card
Sxxxxxxx
Open
Slot E3

## Slide 1344: +V –V Layouts

## Slide 1345: Security Cameras Layout
24VAC Power To Camera
Signals To Camera
75 Ohm Signal from Camera
A1 = Black
A2 = White(Y) Red(X)
1 =
2 =
3 =
4 =
5 =
6 =
7 =
8 =
9 =
50 Ohm Bullet?
Transformer
110VAC
24VAC
Interface
12VDC
Type N
BNC
TNC
SMA

## Slide 1346: Fiber Optics Connector Types

## Slide 1347: How Rack Documents Relate
S# of Rack
E1200331
D# of Rack
D1200881
S# of Chassis
S# of Chassis
S# of Chassis
D# of Chassis
D# of Chassis
D# of Chassis
Related to
Related to
Related to
Related to
Related to
Related to
Related to
Related to
Related to

## Slide 1348: D1100619 – End Link
D1100619
Front: D0902553
S1000519
Name: D1100667
Beckhoff Slow Controls
End Link
D1100619
+24VDC
SN:
Rear: D0902554

## Slide 1349: D1100682 – End Station 2
D1100682
Front: D0902553
S1000519
Rear: D1101977
Name: D1101978
Beckhoff Slow Controls
End Station 2
D1100682
+24VDC
SN:

## Slide 1350: D1100680 – Corner 2
D1100680
Front: D1102322
S1000519
Rear: D1102268
Name: D1102269
Beckhoff Slow Controls
Corner 2
D1100680
+24VDC
SN:

## Slide 1351: D1100681 – Corner 3
D1100681
Front: D0902553
SN:
Rear: D0902554
Beckhoff Slow Controls
Corner 3
D1100681
+24VDC
SN:
Name: D1102434

## Slide 1352: D1101266 – Corner 4
D1101266
Front: D0902553
SN:
Rear: D0902554
Beckhoff Slow Controls
Corner 4
D1101266
+24VDC
SN:
Name: D1102435

## Slide 1353: D1200132 – Corner 5
D1200132
Front: D0902553
S1000519
Rear: D1201340
Name: D1200133
Beckhoff Slow Controls
Corner 5
D1200132
+24VDC
SN:

## Slide 1354: D1100618 – Corner MSR
D1100618
Front: D0902553
SN:
Rear: D0902554
Beckhoff Slow Controls
Corner MSR
D1100618
+24VDC
SN:
Name: D1100666

## Slide 1355: D1002961 – ISC Common
D1002961
Front: D0902553
SN:
Rear: D0902554
Beckhoff Slow Controls
ISC Common
D1002961
+24VDC
SN:
Name: D1002962

## Slide 1356: D0902552 – Empty
D0902552
Front: D0902553
SN:
Rear: D0902554
Name: None
Beckhoff Slow Controls
Empty
D0902552
+24VDC
SN:

## Slide 1357: Flanges

## Slide 1358: LVEA Vacuum Equipment and Chambers
X tube
X tube flange
70lp model 969-9367 Serial 85469
Cold cathode
Parani
Annulus 70lp
Gv6
Annulus 70lp
Bellows
Annulus Star Cell 1
Cryo jacket XARM
Varian Star Cell 1
Annulus Star Cell 2
Gv5
Varian Star Cell 2
Annulus Star Cell 2
Bellows
Annulus Star Cell 2
Oplev
Annulus Star Cell 2
Annulus Star Cell 3
Turbo x
Varian Star Cell 3
Annulus Star Cell 3
Annulus Star Cell 3
Annulus Star Cell 3
Annulus Star Cell 3
Annulus Star Cell 4
Gv2
Annulus Star Cell 4
Annulus Star Cell 5
Bsc3
Varian Star Cell 5
Annulus Star Cell 5
Bellows
Annulus Star Cell 6
Bsc2
Varian Star Cell 6