## Sheet1
TEST PROCEDURE:T1000256-v2 30/6/10 | [25 empty] | LIGO-E1000841-v1 | TEST PROCEDURE:T1000256-V2 30/6/10 | [25 empty] | LIGO-E1000841-v1
P/N:D1000124-v1 | [26 empty] | P/N:D1000124V1
LIGO TEST RESULTS | [26 empty] | LIGO TEST RESULTS
|  |  | CHECK OK | CHECK OK | CHECK OK | CHECK OK | CHECK OK | RECORD | RECORD | RECORD | RECORD | RECORD | RECORD | RECORD | RECORD | RECORD | CHECK OK | CHECK OK | CHECK OK | CHECK OK | CHECK OK | MON1 | MON1 | MON1 | MON1 | MON1 |  |  | MON1 | MON1 | MON1 | MON1 | MON1 | MON1 | MON1 | MON1 | MON1 | MON1 | MON1 | MON1 | MON1 | OUTPUT | OUTPUT | OUTPUT | OUTPUT | OUTPUT | OUTPUT | OUTPUT | OUTPUT | J2 NOISE | J2 NOISE | J2 NOISE | J2 NOISE
S/N |  |  | OHM TAB | +24 VOLT | -24 VOLT | +17 VOLT | -17 VOLT | TP1 | TP2 | TP5 | TP6 | TP7 | TP9 | TP11 | TP12 | TP13 | TP14 | TP12 | TP13 | TP11 | TP6 | 13 DBM | 13 DBM | 13 DBM | 10 DBM | 10 DBM | S/N |  | 10 DBM | 7 DBM | 7 DBM | 7 DBM | 0 DBM | 0 DBM | 0 DBM | -10 DBM | -10 DBM | -10 DBM | -20 DBM | -20 DBM | -20 DBM | POWER | POWER | POWER | POWER | POWER | POWER | POWER | POWER | Offset 10 HZ | Offset 10 HZ | Offset 100 HZ | Offset 100 HZ
|  | DATE | Q1,2 | CURRENT | CURRENT | CURRENT | CURRENT | +17V | -17V | +5V | -15V | +24V | -24V | +15V | +VREF | -VREF | FP LED ON? | NOISE | NOISE | NOISE | NOISE | IN POWER | VOLTS | MEAS PWR | IN POWER | VOLTS |  |  | MEAS PWR | IN POWER | VOLTS | MEAS PWR | IN POWER | VOLTS | MEAS PWR | IN POWER | VOLTS | MEAS PWR | IN POWER | VOLTS | MEAS PWR | OUT 1 | OUT 2 | OUT 3 | OUT 4 | OUT 5 | OUT 6 | OUT 7 | OUT 8 | RF OSC | MIT AMP | RF OSC | MIT AMP
s1000 | 593 | 2010-10-01 | X | X | X | X | X | 17.02 | -17.02 | 5.08 | -15.01 | 24.1 | -24.08 | 15.02 | 10.01 | -10.01 | 3.6 | X | X | X | X | 12.2 | 0.781 | 13.06 | 9.2 | 0.86 | s1000 | 593 | 10.03 | 6.2 | 0.941 | 7.08 | -0.8 | 1.11 | -0.01 | -10.7 | 1.36 | -10.03 | -20.7 | 1.61 | 20.04 | 13.05 | 13.05 | 13.04 | 13.04 | 13.04 | 13.04 | 13.05 | 13.04 | -105 | -133 | -118 | -145
s1000 | 594 | 2010-10-01 | X | X | X | X | X | 17.1 | -17.1 | 5.1 | -15.01 | 24.02 | -24.07 | 15.01 | 10.01 | -10 | 3.6 | X | X | X | X | 12.2 | 0.77 | 13.01 | 9.2 | 0.84 | s1000 | 594 | 9.99 | 6.2 | 0.926 | 6.96 | -0.7 | 1.09 | 0.05 | -10.7 | 1.34 | -10.08 | -20.7 | 1.58 | -20 | 13.03 | 13.02 | 13.03 | 13.02 | 13.02 | 13.02 | 13.02 | 13.02 | -105 | -134 | -118 | -146
s1000 | 595 | 2010-10-01 | X | X | X | X | X | 17.1 | -17.1 | 5.1 | -15.01 | 24.03 | -24.08 | 15.01 | 10 | -10 | 3.6 | X | X | X | X | 12.2 | 0.77 | 13.05 | 9.2 | 0.85 | s1000 | 595 | 10.03 | 6.2 | 0.928 | 7 | -0.8 | 1.1 | -0.02 | -10.7 | 1.35 | -10.04 | -20.7 | 1.58 | -20.04 | 13.06 | 13.07 | 13.06 | 13.05 | 13.06 | 13.06 | 13.06 | 13.05 | -105 | -132 | -118 | -144
s1000 | 596 | 2010-10-01 | X | X | X | X | X | 17.1 | -17.1 | 5.1 | -15.01 | 24.02 | -24.08 | 15.01 | 10 | -10 | 3.62 | X | X | X | X | 12.2 | 0.76 | 13 | 9.2 | 0.84 | s1000 | 596 | 9.98 | 6.2 | 0.926 | 6.95 | -0.7 | 1.1 | 0.05 | -10.6 | 1.35 | -10.03 | -20.6 | 1.59 | -20 | 13.02 | 13.02 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | -105 | -133 | -118 | -145
s1000 | 597 | 2010-10-01 | X | X | X | X | X | 17.1 | -17.1 | 5.1 | -15.01 | 24.14 | -24.07 | 15.02 | 10.01 | -10 | 3.63 | X | X | X | X | 12.2 | 0.79 | 13.02 | 9.2 | 0.87 | s1000 | 597 | 10 | 6.2 | 0.954 | 6.97 | -0.8 | 1.12 | -0.04 | -1.06 | 1.37 | -10.01 | -20.6 | 1.61 | -19.98 | 13.03 | 13.02 | 13.03 | 13.02 | 13.03 | 13.03 | 13.04 | 13.03 | -105 | -134 | -118 | -145
s1000 | 598 | 2010-10-06 | X | X | X | X | X | 17.08 | -17.08 | 5.1 | -15.01 | 24.08 | -24.06 | 15.02 | 10.01 | -10 | 3.61 | X | X | X | X | 12.2 | 0.78 | 13.01 | 9.2 | 0.86 | s1000 | 598 | 9.99 | 6.2 | 0.938 | 6.96 | -0.7 | 1.11 | 0.05 | -10.6 | 1.36 | -10.03 | -20.6 | 1.6 | -20 | 13.03 | 13.02 | 13.02 | 13.03 | 13.02 | 13.03 | 13.02 | 13.02 | -105 | -134 | -118 | -145
s1000 | 599 | 2010-10-06 | X | X | X | X | X | 17.06 | 17.07 | 5.1 | -15.01 | 24.09 | -24.06 | 15 | 10.01 | -10 | 3.7 | X | X | X | X | 12.2 | 0.77 | 13.06 | 9.2 | 0.85 | s1000 | 599 | 10.03 | 6.2 | 0.923 | 7 | -0.8 | 1.1 | -0.02 | -10.7 | 1.34 | -10.04 | -20.7 | 1.58 | -20.04 | 13.08 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | -105 | -134 | -118 | -147
s1000 | 600 | 2010-10-06 | X | X | X | X | X | 17.07 | -17.06 | 5.09 | -15.01 | 24.1 | -24.07 | 15.01 | 10.01 | -10 | 3.6 | X | X | X | X | 12.2 | 0.78 | 13.01 | 9.1 | 0.86 | s1000 | 600 | 9.96 | 6.2 | 0.936 | 7.04 | -0.8 | 1.11 | 0.03 | -10.7 | 1.36 | -10 | -20.7 | 1.6 | -20 | 13.01 | 13.01 | 13.01 | 13.01 | 13 | 13 | 13 | 13 | -105 | -133 | -118 | -146
s1000 | 601 | 2010-10-06 | X | X | X | X | X | 17.07 | -17.06 | 5.12 | -15.01 | 24.1 | -24.06 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.1 | 0.773 | 12.96 | 9.2 | 0.849 | s1000 | 601 | 10.04 | 6.2 | 0.929 | 7.01 | -0.8 | 1.106 | -0.01 | -10.7 | 1.354 | -10.03 | -20.7 | 1.598 | -20.03 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | -105 | -131 | -118 | -145
s1000 | 602 | 2010-10-06 | X | X | X | X | X | 17.07 | -17.06 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.69 | X | X | X | X | 12 | 0.765 | 12.99 | 9.1 | 0.842 | s1000 | 602 | 10.05 | 6.1 | 0.923 | 7.02 | -0.9 | 1.104 | 0.02 | -10.8 | 1.357 | -10.03 | -20.8 | 1.606 | -20.02 | 13.2 | 13.2 | 13.2 | 13.2 | 13.2 | 13.2 | 13.2 | 13.2 | -105 | -133 | -118 | -145
s1000 | 603 | 2010-10-06 | X | X | X | X | X | 17.07 | -17.06 | 5.08 | -15.01 | 24.01 | -24.07 | 15.02 | 10.01 | -10.01 | 3.6 | X | X | X | X | 12.1 | 0.782 | 12.99 | 9.1 | 0.86 | s1000 | 603 | 9.97 | 6.2 | 0.936 | 7.05 | -0.8 | 1.11 | 0.04 | -10.7 | 1.353 | -9.99 | -20.7 | 1.593 | -19.99 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | -105 | -133 | -118 | -146
s1000 | 604 | 2010-10-06 | X | X | X | X | X | 17.06 | -17.05 | 5.08 | -15 | 24.1 | -24.07 | 15.01 | 10 | -10 | 3.59 | X | X | X | X | 12.1 | 0.779 | 12.95 | 9.2 | 0.855 | s1000 | 604 | 10.03 | 6.2 | 0.935 | 7.01 | -0.8 | 1.114 | -0.01 | -10.7 | 1.365 | -10.03 | -20.7 | 1.612 | -20.04 | 13.08 | 13.08 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | -105 | -134 | -118 | -144
s1000 | 605 | 2010-10-06 | X | X | X | X | X | 17.07 | -17.06 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.61 | X | X | X | X | 12.2 | 0.775 | 13.04 | 9.2 | 0.854 | s1000 | 605 | 10.01 | 6.2 | 0.933 | 6.98 | -0.8 | 1.109 | -0.03 | -10.6 | 1.355 | -10 | -20.6 | 1.599 | -19.99 | 13.05 | 13.05 | 13.05 | 13.05 | 13.04 | 13.04 | 13.04 | 13.04 | -105 | -133 | -118 | -146
s1000 | 606 | 2010-10-06 | X | X | X | X | X | 17.06 | -17.05 | 5.08 | -15.01 | 24.1 | -24.06 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.2 | 0.768 | 13.02 | 9.2 | 0.846 | s1000 | 606 | 9.99 | 6.2 | 0.925 | 6.96 | -0.7 | 1.097 | 0.05 | -10.6 | 1.343 | -10.02 | -20.6 | 1.584 | -19.99 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.02 | 13.02 | -105 | -134 | -118 | -146
s1000 | 607 | 2010-10-06 | X | X | X | X | X | 17.06 | -17.05 | 5.08 | -15.01 | 24.1 | -24.06 | 15.01 | 10 | -10 | 3.61 | X | X | X | X | 12.1 | 0.793 | 12.96 | 9.1 | 0.871 | s1000 | 607 | 9.98 | 6.1 | 0.95 | 6.95 | -0.8 | 1.123 | 0.04 | -10.7 | 1.369 | -9.98 | -20.7 | 1.613 | -19.99 | 13.13 | 13.13 | 13.13 | 13.13 | 13.13 | 13.13 | 13.13 | 13.13 | -105 | -131 | -118 | -145
s1000 | 608 | 2010-10-06 | X | X | X | X | X | 17.06 | -17.05 | 5.1 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.1 | 0.771 | 13.04 | 9.1 | 0.849 | s1000 | 608 | 10.02 | 6.1 | 0.927 | 6.99 | -0.9 | 1.103 | -0.01 | -10.8 | 1.347 | -10.06 | -20.8 | 1.59 | -20.05 | 13.17 | 13.17 | 13.17 | 13.17 | 13.16 | 13.16 | 13.16 | 13.16 | -105 | -134 | -118 | -147
s1000 | 609 | 2010-10-07 | X | X | X | X | X | 17.07 | -17.05 | 5.08 | -15.01 | 24.1 | -24.08 | 15.01 | 10.01 | -10.01 | 3.56 | X | X | X | X | 12.1 | 0.767 | 12.97 | 9.1 | 0.845 | s1000 | 609 | 9.95 | 6.2 | 0.921 | 7.03 | -0.8 | 1.097 | 0.01 | -10.7 | 1.342 | -10.01 | -20.7 | 1.582 | -20.01 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | -105 | -133 | -118 | -145
s1000 | 610 | 2010-10-07 | X | X | X | X | X | 17.06 | -17.05 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.1 | 0.773 | 13.05 | 9.1 | 0.851 | s1000 | 610 | 10.03 | 6.1 | 0.931 | 7 | -0.9 | 1.109 | 0 | -10.8 | 1.358 | -10.05 | -20.8 | 1.604 | -20.04 | 13.18 | 13.18 | 13.18 | 13.18 | 13.18 | 13.19 | 13.18 | 13.19 | -105 | -134 | -118 | -146
s1000 | 611 | 2010-10-07 | X | X | X | X | X | 17.06 | -17.05 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.69 | X | X | X | X | 12.1 | 0.78 | 12.96 | 9.2 | 0.855 | s1000 | 611 | 10.05 | 6.2 | 0.934 | 7.02 | -0.8 | 1.108 | 0 | -10.7 | 1.351 | -10.02 | -20.7 | 1.591 | -20.02 | 13.09 | 13.09 | 13.09 | 13.09 | 13.08 | 13.08 | 13.08 | 13.08 | -105 | -133 | -118 | -146
s1000 | 612 | 2010-10-07 | X | X | X | X | X | 17.05 | -17.05 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.59 | X | X | X | X | 12.2 | 0.779 | 13.01 | 9.2 | 0.858 | s1000 | 612 | 9.99 | 6.2 | 0.937 | 6.69 | -0.7 | 1.111 | 0.05 | -10.6 | 1.358 | -10.03 | -20.6 | 1.6 | -19.99 | 13.02 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | -105 | -134 | -118 | -147
s1000 | 613 | 2010-10-07 | X | X | X | X | X | 17.06 | -17.05 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.1 | 0.779 | 13.04 | 9.1 | 0.858 | s1000 | 613 | 10.02 | 6.1 | 0.938 | 7 | -0.9 | 1.117 | -0.01 | -10.8 | 1.367 | -10.06 | -20.8 | 1.614 | -20.05 | 13.17 | 13.17 | 13.17 | 13.17 | 13.16 | 13.16 | 13.16 | 13.16 | -105 | -135 | -118 | -145
s1000 | 614 | 2010-10-07 | X | X | X | X | X | 17.05 | -17.05 | 5.1 | -15.01 | 24.1 | 24.07 | 15.02 | 10.01 | -10.01 | 3.57 | X | X | X | X | 12.1 | 0.774 | 12.96 | 9.2 | 0.849 | s1000 | 614 | 10.03 | 6.2 | 0.927 | 7 | -0.8 | 1.102 | -0.01 | -10.7 | 1.347 | -10.03 | -20.7 | 1.587 | -20.04 | 13.08 | 13.08 | 13.07 | 13.07 | 13.06 | 13.06 | 13.07 | 13.06 | -105 | -133 | -118 | -146
s1000 | 615 | 2010-10-07 | X | X | X | X | X | 17.06 | -17.05 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10.01 | 3.57 | X | X | X | X | 12.3 | 0.775 | 13.05 | 9.3 | 0.853 | s1000 | 615 | 10.03 | 6.3 | 0.931 | 7.02 | -0.7 | 1.107 | -0.02 | -10.5 | 1.351 | -9.99 | -20.5 | 1.594 | -19.95 | 12.96 | 12.96 | 12.96 | 12.96 | 12.95 | 12.95 | 12.95 | 12.95 | -105 | -134 | -118 | -143
s1000 | 616 | 2010-10-07 | X | X | X | X | X | 17.06 | -17.05 | 5.11 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.69 | X | X | X | X | 12.1 | 0.795 | 12.99 | 9.1 | 0.873 | s1000 | 616 | 9.97 | 6.2 | 0.949 | 7.05 | -0.8 | 1.124 | 0.03 | -10.7 | 1.368 | -9.99 | -20.7 | 1.611 | -20 | 13.11 | 13.11 | 13.11 | 13.11 | 13.1 | 13.1 | 13.1 | 13.1 | -105 | -134 | -118 | -145
s1000 | 617 | 2010-10-07 | X | X | X | X | X | 17.06 | -17.05 | 5.12 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10.01 | 3.6 | X | X | X | X | 12.2 | 0.786 | 13 | 9.2 | 0.865 | s1000 | 617 | 9.97 | 6.2 | 0.944 | 6.94 | -0.7 | 1.118 | 0.04 | -10.6 | 1.368 | -10.04 | -20.6 | 1.611 | -20.01 | 13.01 | 13.01 | 13.01 | 13.01 | 13 | 13 | 13 | 13 | -105 | -134 | -118 | -147
s1000 | 618 | 2010-10-07 | X | X | X | X | X | 17.06 | -17.05 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.59 | X | X | X | X | 12.1 | 0.787 | 13.01 | 9.1 | 0.865 | s1000 | 618 | 9.99 | 6.1 | 0.943 | 6.96 | -0.8 | 1.116 | 0.05 | -10.7 | 1.362 | -9.98 | -20.7 | 1.604 | -19.98 | 13.13 | 13.13 | 13.13 | 13.13 | 13.13 | 13.13 | 13.12 | 13.12 | -105 | -135 | -118 | -146
s1000 | 619 | 2010-10-08 | X | X | X | X | X | 17.06 | -17.05 | 5.1 | -15 | 24.11 | -24.08 | 15.01 | 10.01 | -10 | 3.56 | X | X | X | X | 12.2 | 0.77 | 13.01 | 9.2 | 0.85 | s1000 | 619 | 9.99 | 6.2 | 0.929 | 6.96 | -0.7 | 1.102 | 0.05 | -10.6 | 1.35 | -10.02 | -20.6 | 1.593 | -19.99 | 13.02 | 13.02 | 13.02 | 13.02 | 13.02 | 13.01 | 13.02 | 13.01 | -105 | -133 | -118 | -145
s1000 | 620 | 2010-10-08 | X | X | X | X | X | 17.06 | -17.04 | 5.11 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.64 | X | X | X | X | 12.2 | 0.771 | 13 | 9.2 | 0.85 | s1000 | 620 | 9.98 | 6.2 | 0.929 | 6.95 | -0.7 | 1.104 | 0.04 | -10.6 | 1.354 | -10.03 | -20.6 | 1.599 | -20 | 13.02 | 13.02 | 13.01 | 13.02 | 13.01 | 13.01 | 13.01 | 13.01 | -105 | -133 | -118 | -145
s1000 | 621 | 2010-10-08 | X | X | X | X | X | 17.06 | -17.04 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10.01 | 3.6 | X | X | X | X | 12.1 | 0.771 | 13 | 9.1 | 0.848 | s1000 | 621 | 9.98 | 6.1 | 0.926 | 6.95 | -0.8 | 1.097 | 0.04 | -10.7 | 1.339 | -9.98 | -20.7 | 1.578 | -19.98 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | -105 | -134 | -118 | -146
s1000 | 622 | 2010-10-08 | X | X | X | X | X | 17.05 | -17.05 | 5.1 | -15.01 | 21.11 | -24.07 | 15.01 | 10 | -10 | 3.61 | X | X | X | X | 12.2 | 0.783 | 13.02 | 9.2 | 0.861 | s1000 | 622 | 9.99 | 6.2 | 0.94 | 6.97 | -0.8 | 1.115 | -0.05 | -10.6 | 1.359 | -10.02 | -20.6 | 1.6 | -19.98 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | -105 | -132 | -118 | -146
s1000 | 623 | 2010-10-08 | X | X | X | X | X | 17.06 | -17.05 | 5.1 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.59 | X | X | X | X | 12.2 | 0.785 | 13.02 | 9.2 | 0.863 | s1000 | 623 | 10 | 6.2 | 0.942 | 6.97 | -0.8 | 1.118 | -0.05 | -10.6 | 1.362 | -10.02 | -20.6 | 1.604 | -19.99 | 13.04 | 13.04 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | -105 | -133 | -118 | -147
s1000 | 624 | 2010-10-08 | X | X | X | X | X | 17.06 | -17.04 | 5.1 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.63 | X | X | X | X | 12.2 | 0.765 | 13 | 9.2 | 0.843 | s1000 | 624 | 9.97 | 6.2 | 0.921 | 6.95 | -0.7 | 1.094 | 0.04 | -10.6 | 1.342 | -10.03 | -20.6 | 1.584 | -20 | 13 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | -105 | -133 | -118 | -145
s1000 | 625 | 2010-10-08 | X | X | X | X | X | 17.05 | -17.04 | 5.1 | -14.99 | 24.1 | -24.07 | 15 | 10 | -9.99 | 3.59 | X | X | X | X | 12.1 | 0.786 | 13 | 9.1 | 0.864 | s1000 | 625 | 9.98 | 6.1 | 0.942 | 6.95 | -0.8 | 1.115 | 0.04 | -10.7 | 1.362 | -9.98 | -20.7 | 1.604 | 19.98 | 13.13 | 13.13 | 13.13 | 13.12 | 13.12 | 13.13 | 13.13 | 13.12 | -105 | -135 | -118 | -146
s1000 | 626 | 2010-10-08 | X | X | X | X | X | 17.05 | -17.05 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.58 | X | X | X | X | 12.2 | 0.791 | 13.03 | 9.2 | 0.868 | s1000 | 626 | 10 | 6.2 | 0.946 | 6.97 | -0.8 | 1.12 | -0.05 | -10.6 | 1.364 | -10.02 | -20.6 | 1.605 | -19.98 | 13.04 | 13.04 | 13.04 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | -105 | -134 | -118 | -144
s1000 | 627 | 2010-10-08 | X | X | X | X | X | 17.05 | -17.05 | 5.1 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.61 | X | X | X | X | 12.2 | 0.773 | 13 | 9.2 | 0.851 | s1000 | 627 | 9.97 | 6.2 | 0.93 | 6.95 | -0.7 | 1.104 | 0.04 | -10.6 | 1.351 | -10.03 | 20.6 | 1.592 | -20 | 13.02 | 13.01 | 13.01 | 13.02 | 13.01 | 13.01 | 13.01 | 13.01 | -105 | -134 | -118 | -146
s1000 | 628 | 2010-10-08 | X | X | X | X | X | 17.06 | -17.05 | 5.11 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10.01 | 3.57 | X | X | X | X | 12.2 | 0.785 | 13.05 | 9.2 | 0.864 | s1000 | 628 | 10.02 | 6.2 | 0.943 | 6.99 | -0.8 | 1.121 | -0.02 | -10.6 | 1.368 | -9.99 | -20.6 | 1.612 | -19.96 | 13.06 | 13.06 | 13.06 | 13.06 | 13.07 | 13.06 | 13.07 | 13.06 | -105 | -134 | -118 | -146
s1000 | 629 | 2010-10-11 | X | X | X | X | X | 17.05 | -17.04 | 5.08 | -15 | 24.11 | -24.08 | 15.01 | 10.01 | -10 | 3.61 | X | X | X | X | 12.1 | 0.777 | 12.96 | 9.2 | 0.853 | s1000 | 629 | 10.04 | 6.2 | 0.932 | 7.01 | -0.8 | 1.108 | 0 | -10.7 | 1.356 | -10.03 | -20.7 | 1.6 | -20.03 | 13.09 | 13.09 | 13.08 | 13.09 | 13.09 | 13.09 | 13.08 | 13.08 | -105 | -134 | -118 | -146
s1000 | 630 | 2010-10-11 | X | X | X | X | X | 17.05 | -17.03 | 5.08 | -15.01 | 24.11 | -24.07 | 15.01 | 10.01 | 10 | 3.61 | X | X | X | X | 12.2 | 0.814 | 12.99 | 9.2 | 0.894 | s1000 | 630 | 9.96 | 6.2 | 0.97 | 7.07 | -0.7 | 1.149 | 0.03 | -10.6 | 1.4 | -10.05 | -20.6 | 1.647 | -20.01 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | -105 | -134 | -118 | -147
s1000 | 631 | 2010-10-11 | X | X | X | X | X | 17.05 | -17.04 | 5.08 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.59 | X | X | X | X | 12.1 | 0.79 | 12.96 | 9.2 | 0.865 | s1000 | 631 | 10.04 | 6.2 | 0.943 | 7.02 | -0.8 | 1.118 | 0 | 10.7 | 1.363 | -10.02 | -20.7 | 1.605 | -20.03 | 13.08 | 13.08 | 13.08 | 13.08 | 13.07 | 13.07 | 13.07 | 13.07 | -105 | -135 | -118 | -147
s1000 | 632 | 2010-10-11 | X | X | X | X | X | 17.05 | -17.03 | 5.12 | -15.01 | 24.1 | -24.08 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.1 | 0.787 | 12.95 | 9.2 | 0.862 | s1000 | 632 | 10.04 | 6.2 | 0.941 | 7.01 | -0.8 | 1.117 | 0 | -10.7 | 1.363 | -10.03 | -20.7 | 1.605 | -20.03 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | -105 | -135 | -118 | -146
s1000 | 633 | 2010-10-11 | X | X | X | X | X | 17.04 | -17.04 | 5.11 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.63 | X | X | X | X | 12.1 | 0.792 | 12.98 | 9.1 | 0.869 | s1000 | 633 | 9.95 | 6.2 | 0.944 | 7.03 | -0.8 | 1.118 | 0.01 | -10.7 | 1.361 | -10.01 | -20.7 | 1.602 | -20.01 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.09 | 13.09 | 13.09 | -105 | -135 | -118 | -147
s1000 | 634 | 2010-10-11 | X | X | X | X | X | 17.04 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.61 | X | X | X | X | 12.2 | 0.794 | 13.02 | 9.2 | 0.872 | s1000 | 634 | 9.99 | 6.2 | 0.95 | 6.96 | -0.8 | 1.124 | 0.05 | -10.6 | 1.366 | -10.2 | -20.6 | 1.605 | -19.99 | 13.03 | 13.03 | 13.03 | 13.03 | 13.02 | 13.02 | 13.02 | 13.02 | -105 | -135 | -118 | -145
s1000 | 635 | 2010-10-11 | X | X | X | X | X | 17.04 | -17.04 | 5.1 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10.01 | 3.54 | X | X | X | X | 12 | 0.783 | 13 | 9 | 0.862 | s1000 | 635 | 9.97 | 6.1 | 0.939 | 7.04 | -0.9 | 1.116 | 0.03 | -10.8 | 1.364 | -10.2 | -20.8 | 1.611 | -20.01 | 13.21 | 13.21 | 13.21 | 13.2 | 13.2 | 13.2 | 13.2 | 13.2 | -105 | -135 | -118 | -146
s1000 | 636 | 2010-10-11 | X | X | X | X | X | 17.04 | -17.03 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.2 | 0.793 | 13 | 9.2 | 0.871 | s1000 | 636 | 9.98 | 6.2 | 0.949 | 6.95 | -0.7 | 1.12 | 0.05 | -10.6 | 1.366 | -10.3 | -20.6 | 1.607 | -20 | 13.02 | 13.02 | 13.02 | 13.01 | 13 | 13 | 13 | 13 | -105 | -135 | -118 | -145
s1000 | 637 | 2010-10-11 | X | X | X | X | X | 17.05 | -17.04 | 5.1 | -15 | 24.1 | -24.07 | 15 | 10 | -9.99 | 3.61 | X | X | X | X | 12.1 | 0.769 | 12.97 | 9.2 | 0.845 | s1000 | 637 | 10.05 | 6.2 | 0.925 | 7.02 | -0.8 | 1.102 | 0.01 | -10.7 | 1.352 | -10.01 | -20.7 | 1.597 | -20.01 | 13.09 | 13.09 | 13.09 | 13.09 | 13.1 | 13.01 | 13.09 | 13.09 | -105 | -134 | -118 | -146
s1000 | 638 | 2010-10-11 | X | X | X | X | X | 17.05 | -17.04 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.59 | X | X | X | X | 12.3 | 0.773 | 13.02 | 9.3 | 0.851 | s1000 | 638 | 10 | 6.3 | 0.929 | 6.99 | -0.7 | 1.107 | -0.05 | -10.5 | 1.352 | -10.01 | -20.5 | 1.596 | -19.97 | 12.92 | 12.93 | 12.93 | 12.93 | 12.92 | 12.92 | 12.92 | 12.92 | -105 | -134 | -118 | -146
s1000 | 639 | 2010-10-11 | X | X | X | X | X | 17.05 | -17.04 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.1 | 0.764 | 12.99 | 9.1 | 0.842 | s1000 | 639 | 9.97 | 6.2 | 0.918 | 7.04 | -0.8 | 1.095 | 0.03 | -10.7 | 1.341 | -10 | 20.7 | 1.583 | -20 | 13.11 | 13.11 | 13.12 | 13.11 | 13.11 | 13.11 | 13.11 | 13.11 | -105 | -134 | -118 | -147
s1000 | 640 | 2010-10-12 | X | X | X | X | X | 17.04 | -17.03 | 5.07 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10.01 | 3.61 | X | X | X | X | 12.1 | 0.794 | 12.98 | 9.1 | 0.87 | s1000 | 640 | 9.96 | 6.2 | 0.945 | 7.04 | -0.8 | 1.119 | 0.02 | -10.7 | 1.362 | -10 | -20.7 | 1.602 | -20 | 13.11 | 13.1 | 13.11 | 13.11 | 13.11 | 13.11 | 13.11 | 13.11 | -105 | -132 | -118 | -143
s1000 | 641 | 2010-10-12 | X | X | X | X | X | 17.04 | -17.03 | 5.07 | -15 | 24.1 | -24.08 | 15 | 10 | -10 | 3.59 | X | X | X | X | 12.2 | 0.767 | 13.04 | 9.2 | 0.845 | s1000 | 641 | 10.01 | 6.2 | 0.923 | 6.98 | -0.8 | 1.098 | -0.03 | -10.6 | 1.34 | -10 | -20.6 | 1.579 | -19.97 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | -105 | -133 | -118 | -144
s1000 | 642 | 2010-10-12 | X | X | X | X | X | 17.05 | -17.04 | 5.1 | -15.01 | 24.1 | -24.07 | 15.01 | 10.01 | -10 | 3.58 | X | X | X | X | 12.1 | 0.767 | 13 | 9.1 | 0.846 | s1000 | 642 | 9.97 | 6.2 | 0.922 | 7.05 | -0.8 | 1.099 | 0.04 | -10.7 | 1.347 | -9.99 | -20.7 | 1.589 | -19.99 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | -105 | -131 | -118 | -146
s1000 | 643 | 2010-10-12 | X | X | X | X | X | 17.04 | -17.04 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.56 | X | X | X | X | 12.1 | 0.776 | 12.98 | 9.1 | 0.853 | s1000 | 643 | 9.96 | 6.2 | 0.928 | 7.03 | -0.8 | 1.101 | 0.02 | -10.7 | 1.345 | -10 | -20.7 | 1.586 | -20.01 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | -105 | -133 | -118 | -145
s1000 | 644 | 2010-10-12 | X | X | X | X | X | 17.05 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.56 | X | X | X | X | 12.1 | 0.773 | 12.95 | 9.2 | 0.849 | s1000 | 644 | 10.04 | 6.2 | 0.927 | 7.01 | -0.8 | 1.103 | 0 | -10.7 | 1.349 | -10.03 | -20.7 | 1.592 | -20.03 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.1 | 13.09 | -105 | -132 | -118 | -146
s1000 | 645 | 2010-10-12 | X | X | X | X | X | 17.04 | -17.03 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.64 | X | X | X | X | 12.1 | 0.773 | 13.02 | 9.1 | 0.851 | s1000 | 645 | 10 | 6.1 | 0.931 | 6.97 | -0.9 | 1.107 | -0.03 | -10.7 | 1.351 | -9.96 | -20.7 | 1.595 | -19.96 | 13.15 | 13.15 | 13.15 | 13.15 | 13.14 | 13.14 | 13.14 | 13.14 | -105 | -133 | -118 | -145
s1000 | 646 | 2010-10-12 | X | X | X | X | X | 17.05 | -17.04 | 5.1 | -15 | 24.1 | -24.08 | 15.01 | 10 | -10 | 3.61 | X | X | X | X | 12.2 | 0.781 | 13.02 | 9.2 | 0.86 | s1000 | 646 | 9.99 | 6.2 | 0.94 | 6.95 | -0.7 | 1.116 | 0.03 | -10.7 | 1.366 | -10.05 | -20.6 | 1.609 | -20.02 | 13.04 | 13.04 | 13.04 | 13.04 | 13.03 | 13.03 | 13.04 | 13.04 | -105 | -133 | -118 | -145
s1000 | 647 | 2010-10-12 | X | X | X | X | X | 17.04 | -17.07 | 5.08 | -15.02 | 24.1 | -24.07 | 15.02 | 10.01 | -10.01 | 3.62 | X | X | X | X | 12.1 | 0.773 | 12.95 | 9.2 | 0.848 | s1000 | 647 | 10.03 | 6.2 | 0.929 | 7.01 | -0.8 | 1.107 | -0.01 | -10.6 | 1.359 | -10.03 | -20.7 | 1.6 | -20.04 | 13.08 | 13.08 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | -105 | -134 | -118 | -146
s1000 | 648 | 2010-10-12 | X | X | X | X | X | 17.04 | -17.03 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.59 | X | X | X | X | 12.2 | 0.787 | 13.02 | 9.2 | 0.886 | s1000 | 648 | 10 | 6.2 | 0.947 | 6.97 | -0.8 | 1.125 | -0.04 | -10.7 | 1.375 | -10.01 | -20.6 | 1.619 | -19.98 | 13.04 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | -105 | -133 | -118 | -146
s1000 | 649 | 2010-10-12 | X | X | X | X | X | 17.04 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.59 | X | X | X | X | 12.2 | 0.788 | 13 | 9.2 | 0.866 | s1000 | 649 | 9.98 | 6.2 | 0.945 | 6.95 | -0.7 | 1.117 | 0.04 | -10.6 | 1.363 | -10.03 | -20.6 | 1.603 | -20 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01 | -105 | -134 | -118 | -146
s1000 | 650 | 2010-10-12 | X | X | X | X | X | 17.05 | -17.03 | 5.08 | -15.01 | 24.1 | -24.07 | 15.01 | 10.01 | -10 | 3.63 | X | X | X | X | 12.1 | 0.789 | 12.98 | 9.1 | 0.867 | s1000 | 650 | 9.95 | 6.2 | 0.942 | 7.03 | -0.8 | 1.117 | 0.02 | -10.6 | 1.363 | -10 | -20.7 | 1.605 | -20 | 13.09 | 13.09 | 13.09 | 13.09 | 13.09 | 13.09 | 13.09 | 13.09 | -105 | -133 | -118 | -147
s1000 | 651 | 2010-10-12 | X | X | X | X | X | 17.04 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.71 | X | X | X | X | 12.1 | 0.764 | 13.05 | 9.1 | 0.842 | s1000 | 651 | 10.03 | 6.1 | 0.921 | 7 | -0.9 | 1.096 | -0.01 | -10.7 | 1.342 | -10.05 | -20.8 | 1.584 | -20.04 | 13.18 | 13.18 | 13.18 | 13.18 | 13.19 | 13.19 | 13.18 | 13.19 | -105 | -135 | -118 | -144
s1000 | 652 | 2010-10-12 | X | X | X | X | X | 17.05 | 17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.1 | 0.786 | 12.98 | 9.1 | 0.865 | s1000 | 652 | 9.96 | 6.2 | 0.941 | 7.03 | -0.8 | 1.118 | 0.02 | -10.8 | 1.364 | -10.01 | -20.7 | 1.608 | -20.01 | 13.11 | 13.11 | 13.11 | 13.11 | 13.11 | 13.11 | 13.11 | 13.1 | -105 | -134 | -118 | -146
s1000 | 653 | 2010-10-13 | X | X | X | X | X | 17.05 | -17.03 | 5.1 | -15 | 24.1 | -24.07 | 15.01 | 10 | -10 | 3.57 | X | X | X | X | 12.1 | 0.79 | 12.95 | 9.2 | 0.866 | s1000 | 653 | 10.03 | 6.2 | 0.945 | 7.01 | -0.8 | 1.122 | -0.01 | -10.7 | 1.367 | -10.03 | -20.7 | 1.611 | -20.03 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | -105 | -134 | -118 | -146
s1000 | 654 | 2010-10-13 | X | X | X | X | X | 17.04 | -17.03 | 5.07 | -15.01 | 24.11 | -24.07 | 15.02 | 10 | -10 | 3.68 | X | X | X | X | 12.1 | 0.771 | 13.01 | 9.1 | 8.48 | s1000 | 654 | 9.98 | 6.1 | 0.926 | 6.96 | -0.8 | 1.099 | 0.05 | -10.7 | 1.344 | -9.98 | -20.7 | 1.587 | -19.98 | 13.13 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | 13.12 | -105 | -133 | -118 | -146
s1000 | 655 | 2010-10-13 | X | X | X | X | X | 17.04 | -17.03 | 5.1 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.1 | 0.756 | 12.97 | 9.2 | 0.834 | s1000 | 655 | 10.05 | 6.2 | 0.912 | 7.03 | -0.8 | 1.089 | 0.01 | -10.7 | 1.337 | -10.01 | -20.7 | 1.582 | -20.01 | 13.1 | 13.1 | 13.09 | 13.1 | 13.09 | 13.09 | 13.09 | 13.09 | -105 | -135 | -118 | -146
s1000 | 656 | 2010-10-13 | X | X | X | X | X | 17.04 | -17.03 | 5.09 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.66 | X | X | X | X | 12.2 | 0.79 | 13.01 | 9.2 | 0.867 | s1000 | 656 | 9.98 | 6.2 | 0.945 | 6.95 | -0.7 | 1.117 | 0.04 | -10.7 | 1.363 | -10.03 | -20.6 | 1.606 | -20 | 13.02 | 13.02 | 13.02 | 13.02 | 13.02 | 13.02 | 13.02 | 13.02 | -105 | -134 | -118 | -145
s1000 | 657 | 2010-10-13 | X | X | X | X | X | 17.04 | -17.03 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.75 | X | X | X | X | 12.2 | 0.792 | 13.02 | 9.2 | 0.87 | s1000 | 657 | 10 | 6.2 | 0.949 | 6.97 | -0.8 | 1.125 | -0.04 | -10.6 | 1.368 | -10.01 | -20.6 | 1.61 | -19.98 | 13.03 | 13.03 | 13.03 | 13.03 | 13.02 | 13.02 | 13.02 | 13.02 | -105 | -133 | -118 | -145
s1000 | 658 | 2010-10-13 | X | X | X | X | X | 17.05 | -17.03 | 5.1 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.66 | X | X | X | X | 12.1 | 0.796 | 12.96 | 9.2 | 0.871 | s1000 | 658 | 10.04 | 6.2 | 0.95 | 7.01 | -0.8 | 1.124 | 0 | -10.7 | 1.369 | -10.03 | -20.7 | 1.611 | -20.03 | 13.08 | 13.08 | 13.08 | 13.08 | 13.08 | 13.07 | 13.08 | 13.08 | -105 | -132 | -118 | -146
s1000 | 659 | 2010-10-13 | X | X | X | X | X | 17.05 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.1 | 0.775 | 13.05 | 9.1 | 0.853 | s1000 | 659 | 10.03 | 6.1 | 0.933 | 7.01 | -0.9 | 1.109 | 0 | -10.8 | 1.358 | -10.05 | -20.8 | 1.602 | -20.04 | 13.18 | 13.18 | 13.17 | 13.18 | 13.17 | 13.16 | 13.16 | 13.16 | -105 | -134 | -118 | -146
s1000 | 660 | 2010-10-13 | X | X | X | X | X | 17.05 | -17.03 | 5.07 | -15.01 | 24.1 | -24.08 | 15.02 | 10.01 | -10 | 3.63 | X | X | X | X | 12.1 | 0.781 | 13.02 | 9.1 | 0.86 | s1000 | 660 | 10 | 6.1 | 0.939 | 6.98 | -0.9 | 1.115 | -0.03 | -10.7 | 1.359 | -9.96 | -20.7 | 1.602 | -19.96 | 13.15 | 13.15 | 13.15 | 13.15 | 13.15 | 13.15 | 13.15 | 13.15 | -105 | -135 | -118 | -145
s1000 | 661 | 2010-10-13 | X | X | X | X | X | 17.04 | -17.03 | 5.08 | -15.01 | 24.11 | -24.08 | 15.02 | 10.01 | -10 | 3.61 | X | X | X | X | 12.2 | 0.776 | 13.05 | 9.2 | 0.856 | s1000 | 661 | 10.02 | 6.2 | 0.935 | 6.99 | -0.8 | 1.113 | 0.02 | -10.7 | 1.36 | -10.04 | -20.7 | 1.604 | -20.05 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.05 | -105 | -135 | -118 | -146
s1000 | 662 | 2010-10-13 | X | X | X | X | X | 17.04 | -17.03 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10.01 | 3.61 | X | X | X | X | 12.1 | 0.787 | 13.04 | 9.1 | 0.866 | s1000 | 662 | 10.02 | 6.1 | 0.945 | 6.99 | -0.9 | 1.122 | 0.01 | -10.8 | 1.371 | -10.06 | -20.8 | 1.616 | -20.05 | 13.17 | 13.17 | 13.21 | 13.21 | 13.11 | 13.11 | 13.11 | 13.1 | -105 | -134 | -118 | -145
s1000 | 663 | 2010-10-14 | X | X | X | X | X | 17.04 | -17.03 | 5.07 | -15 | 24.1 | -24.06 | 15.01 | 10 | -10 | 3.6 | X | X | X | X | 12.2 | 0.772 | 13.06 | 9.2 | 0.851 | s1000 | 663 | 10.03 | 6.2 | 0.931 | 9.98 | -0.7 | 1.106 | 0.05 | 10.6 | 1.353 | -10.03 | -20.6 | 1.596 | -20 | 13.07 | 13.07 | 13.07 | 13.07 | 13.06 | 13.06 | 13.06 | 13.06 | -105 | -134 | -118 | -145
s1000 | 664 | 2010-10-14 | X | X | X | X | X | 17.02 | -17.01 | 5.09 | -15.01 | 24.1 | -24.07 | 15.01 | 10.01 | -10 | 3.62 | X | X | X | X | 12.2 | 0.766 | 13.03 | 9.2 | 0.845 | s1000 | 664 | 10 | 6.2 | 0.924 | 6.98 | -0.8 | 1.102 | -0.04 | -10.6 | 1.35 | -10.01 | -20.6 | 1.594 | -19.98 | 13.05 | 13.05 | 13.05 | 13.04 | 13.04 | 13.04 | 13.04 | 13.04 | -105 | -133 | -118 | -145
s1000 | 665 | 2010-10-14 | X | X | X | X | X | 17.04 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.3 | 0.767 | 13 | 9.3 | 0.847 | s1000 | 665 | 9.98 | 6.3 | 0.928 | 6.97 | -0.6 | 1.104 | 0.01 | -10.5 | 1.353 | -10.04 | -20.5 | 1.598 | -20 | 12.89 | 12.89 | 12.9 | 12.9 | 12.9 | 12.9 | 12.9 | 12.9 | -105 | -133 | -118 | -145
s1000 | 666 | 2010-10-14 | X | X | X | X | X | 17.04 | -17.02 | 5.06 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.58 | X | X | X | X | 12.1 | 0.77 | 12.95 | 9.2 | 0.847 | s1000 | 666 | 10.03 | 6.2 | 0.927 | 7 | -0.8 | 1.104 | -0.01 | -10.7 | 1.349 | -10.04 | -20.7 | 1.591 | -20.04 | 13.07 | 13.07 | 13.07 | 13.07 | 13.08 | 13.07 | 13.07 | 13.07 | -105 | -135 | -118 | -146
s1000 | 667 | 2010-10-14 | X | X | X | X | X | 17.03 | -17.02 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.72 | X | X | X | X | 12.1 | 0.776 | 13 | 9.1 | 0.854 | s1000 | 667 | 9.97 | 6.2 | 0.93 | 7.05 | -0.8 | 1.105 | 0.04 | -10.7 | 1.349 | -9.99 | -20.7 | 1.589 | -19.99 | 13.13 | 13.12 | 13.13 | 13.13 | 13.13 | 13.13 | 13.12 | 13.12 | -105 | -135 | -118 | -147
s1000 | 668 | 2010-10-14 | X | X | X | X | X | 17.04 | -17.02 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10 | -10 | 3.63 | X | X | X | X | 12.2 | 0.771 | 13.01 | 9.2 | 0.85 | s1000 | 668 | 9.98 | 6.2 | 0.93 | 6.95 | -0.7 | 1.106 | 0.05 | -10.6 | 1.358 | -10.03 | -20.6 | 1.601 | -19.99 | 13.02 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | 13.03 | -105 | -134 | -118 | -146
s1000 | 669 | 2010-10-14 | X | X | X | X | X | 17.04 | -17.02 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.1 | 0.772 | 13.05 | 9.1 | 0.85 | s1000 | 669 | 10.03 | 6.1 | 0.93 | 7.01 | -0.9 | 1.108 | 0 | -10.8 | 1.357 | -10.04 | -20.8 | 1.602 | -20.04 | 13.18 | 13.18 | 13.18 | 13.18 | 13.17 | 13.17 | 13.17 | 13.17 | -105 | -134 | -118 | -146
s1000 | 670 | 2010-10-14 | X | X | X | X | X | 17.03 | -17.02 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.1 | 0.768 | 13.03 | 9.1 | 0.847 | s1000 | 670 | 10.01 | 6.1 | 0.927 | 6.98 | -0.9 | 1.107 | -0.05 | -10.7 | 1.354 | -9.98 | -20.7 | 1.6 | -19.98 | 13.16 | 13.16 | 13.15 | 13.15 | 13.16 | 13.16 | 13.16 | 13.16 | -105 | -134 | -118 | -145
s1000 | 671 | 2010-10-14 | X | X | X | X | X | 17.03 | -17.02 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.1 | 0.77 | 12.97 | 9.2 | 0.845 | s1000 | 671 | 10.05 | 6.2 | 0.923 | 7.02 | -0.8 | 1.1 | 0 | -10.7 | 1.346 | -10.02 | -20.7 | 1.59 | -20.03 | 13.09 | 13.09 | 13.09 | 13.09 | 13.09 | 13.1 | 13.09 | 13.09 | -105 | -134 | -118 | -145
s1000 | 672 | 2010-10-14 | X | X | X | X | X | 17.03 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.2 | 0.785 | 13.04 | 9.2 | 0.864 | s1000 | 672 | 10.01 | 6.2 | 0.943 | 6.98 | -0.8 | 1.121 | -0.04 | -10.6 | 1.368 | -10 | -20.7 | 1.613 | -19.97 | 13.05 | 13.05 | 13.05 | 13.05 | 13.06 | 13.06 | 13.06 | 13.06 | -105 | -135 | -118 | -145
s1000 | 673 | 2010-10-15 | X | X | X | X | X | 17.03 | -17.02 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.1 | 0.771 | 13.02 | 9.1 | 0.849 | s1000 | 673 | 10 | 6.1 | 0.928 | 6.98 | -0.9 | 1.106 | 0.03 | -10.7 | 1.352 | -9.96 | -20.7 | 1.596 | -19.96 | 13.15 | 13.15 | 13.15 | 13.15 | 13.14 | 13.14 | 13.14 | 13.14 | -105 | -135 | -118 | -146
s1000 | 674 | 2010-10-15 | X | X | X | X | X | 17.05 | -17.04 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.64 | X | X | X | X | 12.1 | 0.782 | 13.06 | 9.1 | 0.86 | s1000 | 674 | 10.04 | 6.1 | 0.938 | 7.01 | -0.9 | 1.114 | 0 | -10.8 | 1.36 | -10.04 | -20.8 | 1.603 | -20.03 | 13.18 | 13.18 | 13.18 | 13.18 | 13.18 | 13.18 | 13.17 | 13.18 | -105 | -134 | -118 | -145
s1000 | 675 | 2010-10-15 | X | X | X | X | X | 17.05 | -17.03 | 5.07 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.2 | 0.762 | 13.05 | 9.2 | 0.847 | s1000 | 675 | 10.02 | 6.2 | 0.927 | 7 | -0.8 | 1.105 | -0.02 | -10.7 | 1.355 | -10.04 | -20.7 | 1.6 | -20.04 | 13.07 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | -105 | -134 | -118 | -145
s1000 | 676 | 2010-10-15 | X | X | X | X | X | 17.04 | -17.03 | 5.13 | -15 | 24.11 | -24.07 | 15.02 | 10 | -10 | 3.56 | X | X | X | X | 12.2 | 0.786 | 13.04 | 9.2 | 0.864 | s1000 | 676 | 10.02 | 6.2 | 0.943 | 6.99 | -0.8 | 1.12 | -0.03 | -10.7 | 1.367 | -10.05 | -20.7 | 1.609 | -20.05 | 13.06 | 13.05 | 13.06 | 13.06 | 13.05 | 13.05 | 13.05 | 13.05 | -105 | -134 | -118 | -145
s1000 | 677 | 2010-10-15 | X | X | X | X | X | 17.05 | -17.03 | 5.06 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.63 | X | X | X | X | 12.1 | 0.772 | 12.96 | 9.2 | 0.847 | s1000 | 677 | 10.02 | 6.2 | 0.925 | 7.01 | -0.8 | 1.1 | 0 | -10.7 | 1.345 | -10.03 | -20.7 | 1.587 | -20.03 | 13.05 | 13.08 | 13.08 | 13.07 | 13.08 | 13.07 | 13.08 | 13.08 | -105 | -133 | -118 | -146
s1000 | 678 | 2010-10-15 | X | X | X | X | X | 17.04 | -17.03 | 5.09 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.1 | 0.789 | 12.97 | 9.1 | 0.869 | s1000 | 678 | 9.95 | 6.2 | 0.947 | 7.03 | -0.8 | 1.127 | 0.01 | -10.7 | 1.377 | -10.02 | -20.7 | 1.624 | -20.02 | 13.1 | 13.1 | 13.09 | 13.09 | 13.09 | 13.09 | 13.09 | 13.09 | -105 | -132 | -118 | -145
s1000 | 679 | 2010-10-15 | X | X | X | X | X | 17.04 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.63 | X | X | X | X | 12.1 | 0.784 | 12.96 | 9.2 | 0.859 | s1000 | 679 | 10.04 | 6.2 | 0.937 | 7.01 | -0.8 | 1.113 | -0.01 | -10.7 | 1.36 | -10.03 | -20.7 | 1.604 | -20.04 | 13.08 | 13.08 | 13.08 | 13.08 | 13.07 | 13.07 | 13.07 | 13.07 | -105 | -131 | -118 | -144
s1000 | 680 | 2010-10-15 | X | X | X | X | X | 17.05 | -17.03 | 5.09 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.63 | X | X | X | X | 12.1 | 0.779 | 13.02 | 9.1 | 0.857 | s1000 | 680 | 10 | 6.1 | 0.936 | 6.97 | -0.9 | 1.113 | -0.04 | -10.7 | 1.358 | -9.97 | -20.7 | 1.602 | -19.97 | 13.15 | 13.15 | 13.15 | 13.14 | 13.15 | 13.15 | 13.15 | 13.14 | -105 | -132 | -118 | -145
s1000 | 681 | 2010-10-18 | X | X | X | X | X | 17.04 | -17.03 | 5.1 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.6 | X | X | X | X | 12.2 | 0.779 | 13.04 | 9.2 | 0.856 | s1000 | 681 | 10.02 | 6.2 | 0.934 | 6.99 | -0.8 | 1.107 | -0.03 | -10.7 | 1.35 | -10.05 | 20.7 | 1.591 | -20.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | -105 | -132 | -118 | -144
s1000 | 682 | 2010-10-18 | X | X | X | X | X | 17.03 | -17.03 | 5.07 | -15.01 | 24.01 | -24.07 | 15.02 | 10.01 | -10 | 3.61 | X | X | X | X | 12.2 | 0.777 | 13.04 | 9.2 | 0.856 | s1000 | 682 | 10.01 | 6.2 | 0.935 | 6.98 | -0.8 | 1.113 | -0.03 | -10.7 | 1.362 | -10 | -20.6 | 1.605 | -19.97 | 13.05 | 13.04 | 13.04 | 13.04 | 13.04 | 13.03 | 13.04 | 13.04 | -105 | -133 | -118 | -145
s1000 | 683 | 2010-10-18 | X | X | X | X | X | 17.04 | -17.02 | 5.09 | -15.01 | 24.11 | -24.08 | 15.02 | 10.01 | -10 | 3.56 | X | X | X | X | 12.2 | 0.783 | 13.04 | 9.2 | 0.862 | s1000 | 683 | 10.01 | 6.2 | 0.942 | 6.98 | -0.8 | 1.12 | -0.04 | 10.6 | 1.368 | -10.01 | -20.6 | 1.613 | -19.97 | 13.05 | 13.05 | 13.05 | 13.05 | 13.04 | 13.04 | 13.04 | 13.04 | -105 | -133 | -118 | -145
s1000 | 684 | 2010-10-18 | X | X | X | X | X | 17.04 | -17.02 | 5.09 | -15.01 | 24.11 | -24.08 | 15.02 | 10 | -10 | 3.6 | X | X | X | X | 12.2 | 0.772 | 13.05 | 9.2 | 0.852 | s1000 | 684 | 10.02 | 6.2 | 0.933 | 7 | -0.8 | 1.111 | -0.02 | 10.6 | 1.359 | -9.99 | -20.6 | 1.606 | -19.96 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | -105 | -132 | -118 | -145
s1000 | 685 | 2010-10-18 | X | X | X | X | X | 17.05 | -17.02 | 5.1 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.59 | X | X | X | X | 12.1 | 0.755 | 12.97 | 9.2 | 0.85 | s1000 | 685 | 10.05 | 6.2 | 0.929 | 7.02 | -0.8 | 1.105 | 0 | 10.6 | 1.351 | -10.03 | -20.7 | 1.593 | -20.03 | 13.09 | 13.09 | 13.09 | 13.09 | 13.08 | 13.08 | 13.08 | 13.08 | -105 | -132 | -118 | -144
s1000 | 686 | 2010-10-18 | X | X | X | X | X | 17.04 | -17.03 | 5.09 | -15.01 | 24.1 | -24.08 | 15.02 | 10.01 | -10 | 3.66 | X | X | X | X | 12.2 | 0.772 | 13.04 | 9.2 | 0.852 | s1000 | 686 | 10.01 | 6.2 | 0.932 | 6.98 | -0.8 | 1.11 | 0.04 | -10.6 | 1.356 | -10 | -20.6 | 1.6 | -19.97 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | -105 | -131 | -118 | -145
s1000 | 687 | 2010-10-18 | X | X | X | X | X | 17.04 | -17.03 | 5.08 | -15.01 | 24.11 | -24.07 | 15.02 | 10.01 | -10 | 3.58 | X | X | X | X | 12.2 | 0.777 | 13.05 | 9.2 | 0.855 | s1000 | 687 | 10.02 | 6.2 | 0.933 | 6.99 | -0.8 | 1.108 | 0.02 | -9.99 | 1.349 | -9.99 | -20.6 | 1.588 | -19.96 | 13.06 | 13.06 | 13.06 | 13.06 | 13.06 | 13.07 | 13.06 | 13.07 | -105 | -133 | -118 | -145
s1000 | 688 | 2010-10-18 | X | X | X | X | X | 17.04 | -17.03 | 5.08 | -15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.2 | 0.797 | 12.97 | 9.2 | 0.876 | s1000 | 688 | 9.95 | 6.3 | 0.952 | 7.06 | -0.7 | 1.13 | 0.02 | -9.95 | 1.377 | -9.95 | -20.6 | 1.623 | -20.03 | 12.99 | 12.99 | 12.99 | 12.99 | 12.99 | 12.99 | 12.98 | 12.99 | -105 | -132 | -118 | -145
s1000 | 689 | 2010-10-27 | X | X | X | X | X | 17.16 | -17.16 | 5.07 | -15.01 | 24.11 | -24.07 | 15.01 | 10.01 | -10 | 3.68 | X | X | X | X | 12.2 | 0.779 | 13.02 | 9.2 | 0.858 | s1000 | 689 | 9.99 | 6.2 | 0.937 | 6.96 | -0.7 | 1.112 | 0.05 | -10.03 | 1.36 | -10.03 | -20.6 | 1.604 | -19.99 | 13.04 | 13.03 | 13.03 | 13.04 | 13.04 | 13.03 | 13.03 | 13.03 | -105 | -131 | -118 | -143
s1000 | 690 | 2010-10-27 | X | X | X | X | X | 17.17 | -17.16 | 5.07 | 15.01 | 24.1 | -24.07 | 15.02 | 10.01 | -10 | 3.62 | X | X | X | X | 12.2 | 0.774 | 13.04 | 9.2 | 0.852 | s1000 | 690 | 10.01 | 6.2 | 0.931 | 6.98 | -0.8 | 1.107 | -0.04 | -10 | 1.353 | -10 | -20.6 | 1.598 | -19.97 | 13.05 | 13.06 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | 13.05 | -105 | -130 | -118 | -141
s1000 | 691 | 2010-10-28 | X | X | X | X | X | 17.17 | -17.16 | 5.08 | -15.01 | 24.1 | -24.08 | 15.02 | 10.01 | -10 | 3.61 | X | X | X | X | 12.1 | 0.777 | 12.95 | 9.2 | 0.853 | s1000 | 691 | 10.03 | 6.2 | 0.932 | 7 | -0.8 | 1.108 | -0.01 | -9.98 | 1.353 | 9.98 | -20.7 | 1.599 | -20.04 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07 | -105 | -135 | -118 | -146
s1000 | 692 | 2010-10-28 | X | X | X | X | X | 17.16 | -17.15 | 5.05 | -15.01 | 24.11 | -24.08 | 15.02 | 10.01 | -10 | 3.64 | X | X | X | X | 12.1 | 0.775 | 13.02 | 9.2 | 0.854 | s1000 | 692 | 10 | 6.1 | 0.933 | 6.97 | -0.9 | 1.109 | -0.04 | -9.97 | 1.353 | -9.97 | -20.7 | 1.596 | 19.97 | 13.14 | 13.14 | 13.14 | 13.14 | 13.14 | 13.14 | 13.14 | 13.14 | -105 | -135 | -118 | -146