# PRECISE  MEASUREMENT  OF THE  SOLAR  GRAVITATIONAL  RESDHIFT ( a proposal to INFN for funding)

by:

Alessandro Cacciani

Fabrizio Massa

## Paolo Rapex

Runa Briguglio

……………….. Univ of Rome “LA SAPIENZA”, Italy

in  collaboration with

James LoPresto

………………..Edinboro University of Pennsylvania, USA

### Introduction

#### The reasons why many projects are being conceived concerning sensitive tests of Fundamental Physics, especially General Relativity, are due to both theoretical and experimental aspects. From the theoretical side, the attempt to unify General Relativity and Quantum Theory appears to imply deviations from standard physics;

at the same time, exciting progress on precise instrumentations make it possible to plan new measurements able to accomplish new tests and even to open the door to unexpected results. Therefore there is a worldwide effort to push for new technologies, both from the space and on the ground, with the hope to better clarify Quantum Physics and General Relativity or to explore the expectations for “new physics”. During the last decades we have been developing a particular technology (worldwide adopted and known with the name of MOF , Magneto-Optical Filter) that is able to measure spectral line shifts with unsurpassed precision and absolute reference stability. Therefore, we can focus our interest on a new measurement of the Solar Gravitational Red Shift that is waiting for more precise determination since the last figure given by LoPresto Shrader and Pierce in 1991 (ApJ 367:757-760). Our aim it to improve such determination (now at the level of some percents) of one order of magnitude, at least. For this, we have contacted Dr LoPresto for detailed information on his work and obtained his welcome desire to join our effort. This proposal is therefore composed of 4 sections: the first one deals with a brief historical overview; the second one is from J.LoPresto himself and describes his latest results; the third section describes our MOF technology and finally, the fourth section describes our envisioned strategy for the measurement.

### 1.Brief Historical Review

Following the General theory of Relativity, the gravitational potential of a celestial body affect the physical time and slow any periodic phenomenon considered as a physical clock.  In order to verify this statement, is therefore needed to compare the behavior of different types of clocks located in different gravitational potentials. A clean experiment conducted by Vessot et al  (1980, Physical Rev. Letters , vol 45, N.26, pg 2081)  comparing the frequency standard of two Hydrogen Masers, one on the ground and the other at 10000 Km on a spacraft, was able to verify the theoretical prediction at the level of about 10 exp (-4) .  A different kind o clock is given by the atomic spectral lines. The solar gravitational potential, for example,  shifts their wavelengths relative to the laboratory lines on the Earth, by the amount ((= 2.1 x 10 exp(-6)   (  towards the red. In terms of velocity, this is equivalent to a Doppler shift of  636 m/s. The solar spectrum  is also attractive in this context  because the Sun is a massive body bringing the Relativity verification to values far larger than what is possible on Earth (dynamic range).  An attempt to measure such a GRS (Gravitational Red Shift) is however complicated by additional effects that can  change ( , depending on the line forming layer on the atmosphere of the sun:  for ex., lower layers are affected  by convective  upward gas motions to a large extent  (about 12 mA equivalent Doppler blue shift), while higher layers, at the chromospheric levels, appear less affected. A review article is by Dravings (1982 ARAA, 61) Also most of the solar lines are asymmetric, displaying complex bisectors.  Therefore, care must be taken to disentangle among various sources of wavelength shifts. Chromospheric lines like the Sodium Doublet, show good symmetry and could be good candidates for the measurement. However they are blended by telluric water vapour lines , particularly D2. The Potassium line @ 770 nm appears to be fairly symmetrical and free from water vapor blends; however it is affected by a convective blue shift.  Potassium and Sodium  lines have been used to measure the GRS on selected points on the solar disk by  Roddier  (165, Ann. Ap. 28,463)  and Snider (1972, Phys. Rev. Letters, 28, 853)   reaching the precision of about 5%.  However, the time dependent  velocity fied present on the surface of the sun makes the above measurements very uncertain; for this reason LoPresto, Shrader and Keith Pirce  ( August 1991, ApJ 367,757)decided to use chromospheric Oxigen lines in emission, that are formed well above the main convective velocity field, reaching the precision of about 2%.

This proposal deals with  the solar GRS  with the aim to improve its precision  to a level comparable with the measurement of Vessot et al

Latest Results

(from LoPresto)

Alessandro Cacciani, his colleagues and I are attempting to improve upon the measurements of the Gravitational Red Shift made by myself and A. Keith Pierce using the main spectrograph of the McMath-Pierce Solar Telescope in 1991 (Ap 367, 757).  We will use the Magneto-Optical Filler (MOF) in conjunction with one of the auxiliary beams of the McMath-Pierce Solar telescope at Kitt Peak Arizona.

In 1991, Keith Pierce and I used the potassium near infrared triplet at a wavelength of about 779 nanometers.  We observed these lines in the solar photosphere and in the flash spectrum at the edge of the chromo sphere along with comparison lines of the same transition using a hollow cathode tube.  The chromospheric flash spectra provided highly symmetrical lines for relatively easy wavelength measurements.   We constructed bisectors for the absorption lines on the disc, which we observed from disc center to limb and extrapolate the Doppler shift to the limb of the disc.  Our measurements resulted in a value of 0.99 of  the predicted value with  about a 1-2% internal error.

We feel confident that we can improve upon this value using the MOF system.

### 3. The MOF Technology

In the figures below we show selected pictures of the Sun taken with our Magneto-Optical Filter (MOF). This is an easy way to illustrate the instrument performances and will become clearly understood after the following description of the MOF working principle.

For a comprehensive theoretical and experimental study of the MOF , please refer to the Appendix. Here we give brief outlines.

In  Fig.1 our instrument is shown as composed by three parts (a telescope, the MOF filter and an image sensor). Fig.2 shows its practical realization on the roof of our Institute in Rome. Indeed, the MOF is the core of the system that makes this experiment unique. Its working principle is fully described in Appendix. Here let be enough to say that it is a very stable and narrow double band filter. The two bands could be as narrow as 50 milliAngstrom  (see Fig 3), achieving unsurpassed performances as far as its central wavelength reference stability and symmetrical  tuning in the wings  of the solar lines (Red and Blu sides). Each band can be selected separately at will so that a computer comparison (difference) between the transmitted images produces the wanted Doppler image of Fig 4.A single band gives an intensity image like in Fig.5

Fig. 1 Mechanical assembly of the instrumentation

Fig.2

The MOF weights about 1 Kg and its dimensions (10x10x30 cm3) are also attractive for space applications. This could be desirable to avoid spurious effects from the Earth atmosphere; However, due to the high costs and other difficulties of space projects (as ,for example, the spacecraft motions) , it is preferable to perform our  measurements from the ground, taking advantage of the absolute wavelength reference of the MOF and relay on the well known Sun-Earth relative Doppler Shifts at any time.

As a filter, the MOF will be located between the telescope and the image sensor.

In this manner we are able to reject all the other wavelengths of the solar spectrum, but the wanted line, so that we can definitely say that the MOF produces an artificial night, which is the necessary condition to detect faint  signals. Fig 4.shows an image taken with a MOF tuned in the core  of the Sodium D lines  where an intensity reversal (faint emission) can be observed in a very narrow wavelength interval wherever  magnetic field is present in the solar surface. The magnetic field excites the emitting atoms, modifies the line profiles and appear well pronounced in our MOF image. This effect should be taken in due consideration for precise determination of the line shift.

The signal originated by the GRS amounts to 632m/sec  (Doppler equivalent). Fig 5 shows a Doppler image of the Sun where the predominant rotation signal (from the East limb to the West limb) amounts to about 4 Km/sec. We have been  able to measure Doppler signals as low as 1 cm/sec by integration  over the whole solar disk. Fig. 6 shows a plot of the oscillatory signal due to solar p-modes in the 5 minute band (pick-to-pick amplitudes ~ 1 m/sec , integration time= 30 seconds, telescope aperture = 2 cm ; JPL facility, Pasadena, California). Therefore our instrument has the capability to improve considerably the accuracy beyond the few percent so far achieved. Our first goal is to reach the precision of one part per mil.

Fig.3……………Fig  4 and 5……………………….

### 4. The Envisioned Strategy for the Solar GRS  Measurement

As stated in the previous section, the MOF is able to measure very small Doppler oscillatory signals.  However, the present  project deals with a far more difficult problem, that is, the evaluation of a constant additive shift among a number of other known and, perhaps, unknown effects. This is the main challenge of the aimed measurement. We list in the following such effects and how the MOF can help disentangling them.

The sun is gaseous sphere displaying darkening toward the limbs. The GRS is measured looking at the wavelength position of a solar spectral line respect to a laboratory line. This requires a careful study of their intensity profiles (which is a function of position and time) and the availability of high  resolution spectrographs. Moreover, also the central wavelength position is a function of time and depends on the point selected on the surface of the Sun. Indeed, the sun is a non homogeneous rotating sphere and its surface displays convective and oscillatory signals amounting to as much as 1 Km/sec ( see the mottling in Fig.5).  Therefore, a measurement technique that neglects the above local effects, averaging them in a single shot, is definitely not a suitable procedure. A better way of doing would be to measure the wavelength position in all the points at once, in a time interval shorter than the competing signal evolution (possibly few seconds), and proceed to a careful data analysis with the help of the solar Ephemeris and the published data about convection, rotation and center/limb variation of the solar line profile. This cannot be achieved with a spectrograph  but only with a Filter, particularly, the Magneto-Optical Filter. See Fig 7

[Few years ago in our laboratory three students have been asked to analize a few images taken with the MOF in Antartica and found that the zero velocity points in a Doppler image can be fitted with a parabola that follows the solar differential rotation in a position that differs from the rotation axis by the right amount of 635 +/- 25 m/sec]

- The MOF is, by definition, a stable instrument with intrinsic wavelength reference. Therefore, the game is to verify to what extent its stability is maintained during long runs and what is the level of asymmetry between the Red and Blu transmission bands. The Appendix deals with these two problems and we need to check instant by instant their behavior.

- Different solar lines suffer from different convective disturbances, chromospheric lines, like the Sodium D2, being less affected than photospheric ones, although never free from random-like velocities. An additional chromospheric line, very useful in this context, would be the Calcium resonance @422.7 nm. This  is a wide line with a narrow central portion almost entirely chromospheric. In order to take advantage of it, we need to develop a new MOF for Calcium, as we have proposed since long time ago, but never been able to set up a suitable fabrication laboratory for lack of funds.  At the solar limbs, the convective velocities are orthogonal to the line of sight and should become undetectable; on the other end the line profiles undergo modifications, becoming wider and shallower and tangential movements cannot be excluded. For this reason we plan to observe multiple lines simultaneously, the Sodium doublet, the Potassium resonance line @770 nm and, hopefully,  the Calcium 422.7. A comparison among their behaviors, all over the solar disk, will help disentangling the convective disturbances or identifying the amount of uncertainty produced by this effect. The scientific literature is full of fine observational works regarding this problem. We can mention here that the Potassium line and the Sodium line are formed at two different levels 300 Km apart (in height)  , therefore probing different gravitational potentials: we expect to be able to see such a different effect amounting to about 0.5% of the total effect.

- The Earth’s atmosphere can interfere with the measure adding blends to the pure solar profile. Fig.8 shows the Sodium solar doublet and, separately, the atmospheric lines (mainly H2O) at the bottom of the figure. Their occurrence and equivalent width is a function of time (hourly and daily) and location (dryness or humidity) of the observing station.  In order to monitor this effect we definitely need continuous data acquisition from more than one station, at least three, at different longitudes. We plan to contact and propose agreements with several Observatories around the world that are available to host our instrumentation

In conclusion, our strategy is to avoid working with a single observing station and few shots at discrete times. The aim is to accomplish prolonged observing runs for more than one year in order to demonstrate their long-term consistency by fitting the earth’s orbital motion. This will provide a precise calibration signal, beyond the diurnal and oscillatory shifts. Also, we plan to use more than one solar line, from the photosphere to the chromosphere, that will tell us how convection decays with height towards the chromosphere. Finally, it is important to stress that the MOF Doppler imaging capability and its stable and absolute wavelength reference, will allow us to study such effects as the magnetic contamination, the center-to-limb variations and the local oscillatory or convective velocities.

A few years ago we have asked some students to analyze our Potassium Doppler images following a differential procedure. The result was 635 m/sec, very close to the real GRS, but with an estimated error of +/- 26 m/sec. The analysis was performed looking at the constant velocity contours that follow, in average, the differential rotation curves. In particular, the zero velocity points follow a winding path around the local convective velocities (fig.7). After parabolic fitting, the solar rotation axis was also determined and its equatorial distance taken as a measure of the GRS. This procedure is affected by several sources of errors, as the above distance and its ratio to the solar diameter (also affected by an error). The technique based on the isovelocity levels makes it possible to write  down a redundant system of equations linking the rotation, the blue shift , the limb effect on the line shape, the instrumental biases and , of course the GRS.

Fig 8

Spectrum of the Na doublet from the sun.Also many H2O line are sown belongfing to the Earths atmosphere.

Fig.6

Fig 7 Potassium Doppler image.  Four isovelocity levels are shown along with the solar rotation axis. The curvature of the isovelocity curves is originated by the differential rotation that become orthogonal, therefore undetectable, at the polar axis. Nevertheless, the zero velocity level appear as a blue curve whose distance from the solat axis is a first estimate of the Gravitational shift.

The activity will be detailed as follows:

1^ year………………… Instrument fabrication of the clones and visits to the host observatories (signing agreements)

2^  and 3^ years………..Installation , tests and observations

4^ and 5^  years………..Data reduction and additional measurements.

## APPENDIX