Searching for Gravitational Waves From Compact Binaries
Search for gravitational waves
from inspiraling high-mass (non-spinning)
compact binaries
Anand S Sengupta
LIGO Laboratory, California Institute of Technology
on behalf of the
LIGO Scientific Collaboration

---
The LIGO Interferometers
The LIGO Interferometers
Broad-band detector to measure distortion of spatial geometry due to passing gravitational wave from astrophysical sources.
  - Michelson interferometer with Fabry-Perot cavity optical storage arms
Ground motion couples
into motion of mirrors
Thermal excitations of
mirror suspensions
Counting statistics of
photons at photo diode

---
Current LIGO Sensitivity
Current LIGO Sensitivity
LIGO Livingston, LA
LIGO Hanford, WA

---
Binary Coalescence Waveforms
Binary Coalescence Waveforms
Assume inspiral signals are (reasonably) well modeled
  - standard matched filtering technique
Post-Newtonian templates accurate for low mass systems in LIGO band but at higher masses post-Newtonian approximation breaks down.
At still higher masses, inspiral searches transition into burst searches
EOB waveforms hold good beyond ISCO upto (more bandwidth for high mass systems)
LIGO is sensitive to NS / BH inspirals

---
Matched Filtering with EOB templates
Detector output contains noise and a possible inspiral signal
  - Assume signal's functional form is known accurately : EOB waveforms
  - Signal's parameter is not known a-priori
Matched filter
Maximize filter output over all parameters
  - This is the detection statistic.
  - Threshold with care
filter
data
H1: Jul 2006 02:33:44 UTC
Equal mass

---
EOB templates for high-mass systems
EOB templates are well suited for high mass CBC search
  - Higher bandwidth for high mass systems
Larger band-width is good for inspiral search
  - Inspiral Horizon Distance increases (improvement in mass reach)
  - Useful for signal based consistency tests to reject false alarms
EOB Templates
PN Templates
1st Calendar Year
Optimally oriented binary
  - snr fixed at 8

---
Monte-Carlo Injection Studies
A large number of software injections are injected in data which are then parsed through the data-analysis pipeline.
  - Helps us tune the optimum value of the pipeline parameters
  - Understand pathologies of the data and/or detection algorithm (from the missed injection)
  - Quantify the efficiency of the pipeline as a function of distance to the compact binary systems.
  - Pipeline has many tunable parameters
Try to optimize on
  - Detection efficiency
    - Compare injected / reconstructed signal
  - Reduction in false alarm probability
  - Arrive at the optimum value of parameters

---
Distance Reach
Nearby asymmetric high-mass injections
are missed by our pipeline

---
Parameter Estimation
Systematic bias
in reconstructed parameters
Sparse density of templates
in parameter space

---
Signal based veto
Graphics: Becky Tucker
Triggers from separate instruments are slid wrt each other
  - Accidental coincidences
  - Could not have arisen due to true gravitational wave event
  - Estimate of our background
Signal based vetoes help us reduce accidental coincidences
  - Separate background from injections
  - Improve confidence of detection
  - Monte-Carlo injections help us tune the pipeline to reject accidental coincidences

---
Conclusion
Mature inspiral data analysis pipeline
  - Science runs S1 through S4 analyzed
  - Astrophysical upper-limit results have been published.
  - S5 1 year analysis in progress
    - Low mass search
    - High mass search
High mass search employing EOB templates
  - Can be integrated up-to light ring (beyond standard PN templates)
  - Injection studies under way to tune the pipeline to be most efficient for high-mass systems.
Pipeline tuning under way
  - Unprecedented data quality in terms of band-width and integration time
  - New search, new methods, new problems ?
    - Apply lessons learnt in the low mass search to this new search
  - Rapid progress to automate the procedure