## Slide 1: LOS Absorption Presentation for TCS Group
Rupal S. Amin
Tuesday, August 26, 2008

## Slide 2: Outline
Motivation
Theory
Procedure
Data
Result

## Slide 3: Motivation
Question:
1) What do we care about the absorption of the large optics?
2) What is the absorption value?
Answer: Silica mirrors inside IFO unfortunately absorb resonant laser power.

## Slide 4: Motivation
Ans (con’t): Mirrors expand due to temperature changes. Depending on absorption coefficient, mirrors may distort beyond or below design optimum.
Cold 
Hot 

## Slide 5: Motivation
Measuring absorption (especially the ITMS) allows TCS team to build effective absorption models (Mathematica, Matlab, Finesse, SIS)
Correct setup scheme for Enhanced TCS.
So…We need the absorption values of the large Fabry-Perot optics.

## Slide 6: Theory
Crude theory
  Mirrors have body modes
    Finite temperature Brownian motion
  Frequencies are thermally dependent
    Due to Young’s modulus having a Y(T).
  Track body mode frequency evolutions due to DT
  Df yields power absorption

## Slide 7: Theory
Crude theory
Better theory
We need f and ∆f to determine α*

## Slide 8: Procedure
Power Cycle IFO during fully locked state.
  Do this over several hours
Save data from fast ASQ sample channels and temperature sensors.
Download GBs of data from LDAS and analyze.

## Slide 9: Procedure
Pwr
t
df/f
4 W
1 W

## Slide 10: Data
Lock data from 899867714 s
Thermal data: Mirror modes are history dependent

## Slide 11: Thermal Resistances and Sources
BSC and contents slow LVEA to ITM interaction time.
Beam tubes: heat source but negligible

## Slide 12: Thermal Resistance
Simulation of TM interaction with BSC. Small perturbations lead to simulation problems.

## Slide 13: Analysis using raw data

## Slide 14: Raw Data (noisy)

## Slide 15: Fitting Data
G
Peak = (x0 , Amplitude)
DC based on noise average

## Slide 16: Analysis using fitted data

## Slide 17: Analysis
∆f/f for ITMy

## Slide 18: Results
Total uncorrected slope = 1.3(3)e-6+/- 1.3e-6 Hz/s
Uncorrected for high power = 4.(43)e-7+/- 3. e-7 Hz/s
Crudely Corrected slope = ?
Refined df/f = Need to do

## Slide 19: Ambient temperature f-drift
Crude shift due to temperature fluctuations

## Slide 20: Questions?
1) What is your purpose?
2) What is your favourite color?