## Slide 1: Advanced LIGO Active Seismic Isolation
Jeff Kissel, for the Seismic Team
Det.Char. Telecon, April 7 2011
G1100431

## Slide 2: What I’ll squeeze into an hour
A Bird’s Eye View
A Few Scary Pictures
The Jargon
The Requirements and Sensors
HEPI
HAM-ISI
BSC-ISI
The Philosphy of Control
What you can do to help
Who to bug when you’re confused
What channels matter to you

## Slide 3: aLIGO (Simplified) Interferometer Layout

## Slide 4: aLIGO Seismic Isolation
Active Isolation
1 external stage (BSC HEPI)
2 internal stages (BSC ISI)
Passive Isolation
4 stages
(Quadruple Pendulums)
Core Optics
7 Stages
Active Isolation
1 external stage (HAM HEPI)
1 internal stage (HAM ISI)
Auxiliary Optics
5 Stages
Passive Isolation
3 stages
(Triple Pendulums)

## Slide 5: What does it buy us?
Possible Intermediate Configuration:
- No Signal Recycling
- 25 W Input Power
Demonstration of aLIGO
suspensions and seismic isolation:
7 orders of magnitude less
displacement at 10 Hz
Predicted Binary Neutron Star Range: ~145 Mpc
Event Rate:

## Slide 6: An aLIGO Corner Station

## Slide 7: An aLIGO HAM Chamber
HAM2 (Chamber hidden for clarity)
x
y
z

## Slide 8: An aLIGO BSC Chamber
BSC2
x
y
z

## Slide 9: What does each chamber need?
PRCL HAM ISIs
“PRCL” HAM ISI
“SRCL”
HAM ISIs
don’t amplify motion
too much here
Get a factor of
~10 at 0.15 Hz
Get a factor of
~50 or ~1000 at 1Hz
Get a factor of
10 or more or ~1000 at 10Hz
Get as much as you
can here!

## Slide 10: SEI Sensors and Their Noise
CPS
MicroSense’s Capacitive Displacement Sensors
Used On: HAM-ISIs and BSC-ISIs
Used For: ≤ 0.5 Hz Control, Static Alignment
Used ‘cause: Good Noise, UHV compatible
IPS
Kaman’s Inductive Position Sensors
Used On: HEPIs
Used For: ≤ 0.5 Hz Control, Static Alignment
Used ‘cause: Reasonable Noise, Long Range
T240
Nanometric’s Trillium 240
Used On: BSC-ISIs
Used For: 0.01 ≤ f ≤ 1Hz Control
Used ‘cause: Like STS-2s, Triaxial, no locking mechasim -> podded
GS13
GeoTech’s GS-13
Used On: HAM-ISIs and BSC-ISIs
Used For: ≥ 0.5 Hz Control
Used ‘cause: awesome noise above 1Hz,
no locking mechanism -> podded
L4C
Sercel’s L4-C
Used On: All Systems
Used For: ≥ 0.5 Hz Control
Used ’cause: Good Noise, Cheap,
no locking mechanism -> podded
STS2
Strekheisen’s STS-2
Used On: HEPIs
Used For: 0.01 ≤ f ≤ 1Hz Control
Used ‘cause: Best in the ‘Biz below 1 Hz, Triaxial
“Low” Frequency
“High” Frequency
DC
10 mHz
1 Hz
800 Hz

## Slide 11: SEI Sensors and Their Noise

## Slide 12: Some Jargon
Position ~ Displacement
  You’ll here the seismic crew use these interchangably; “The position sensors” the “displacement sensors” – are subtly different, but realize they serve the same function in aLIGO SEI
Inertial sensor = Geophone = Seismometer
  Again, used interchangibly, all “the same thing” with subtle differences, but all serve the same function in aLIGO SEI
Plant
Controller
Plant, Controller, Open Loop Gain
  Plant – Platforms response to ground motion as a function of frequency (as measured displacement and inertial sensors when driven by actuators ) – looks like a simple pendulum!
  Controller – digial filters used to shape sensor displacement singals into actuaction force signals
  Open Loop Transfer Function – the product of the plant times the controller, used as a measure of control loop stability

## Slide 13: Some More Jargon
Super Sensor – The combined inertial and displacement signals of all sensors on one stage of isolation, serves as error signal for isolation loops
Blend Filters “Blends” – The set of digital filters on the inertial sensor (high pass) and displacement sensor (low pass)
Blend Frequency – The frequency at which high pass and low pass blends cross over (important for performance)
Damping loops
    Inertial Sensors only
    Only reduces Q of blade-spring/wire-flexure pendulum resonances
    Small bandwidth around resonances
    Unconditionally stable
Isolation loops
    Uses Super Sensor
    Bandwidth from ~25 Hz down to DC
    High performance, unconditionally stable

## Slide 14: Some More Jargon
Plant
Feedback
Feedforward
Sensor Correction
Tilt – Horizontal Coupling
“Reactive”
“Predictive”
“Corrective”
Plant
Fundamental property of a horizontal inertial sensor
Effect dominant at low frequency
(< 0.5 Hz)
FB
FF
FB
Plant
SC

## Slide 15
The External Pre-Isolators (HEPI)
Position Sensor
Inertial
Sensor
Hydraulic
Actuators
BSC HEPI (Core Optics)
HAM HEPI (IOO Optics)
Single stage systems
8 DOF motion per stage
Over-damped coil springs in compression
Active isolation 8 and 8 on-board Position and Inertial Sensors, with 8 hydraulic actuators
L4C
f = ~1 Hz
IPS

## Slide 16: Where stuff is on HEPI
Position Sensor
Inertial
Sensor
Hydraulic
Actuators
L4C
f = ~1 Hz
IPS
ACT
Euler Springs

## Slide 17
The In-vacuum Seismic Isolators (ISI)
BSC ISI (Core Optics)
HAM ISI (IOO Optics)
Two-stage system
6 DOF motion per stage
Passive isolation 2 x 3 Blade springs + wire flexure systems
Fundamental modes ~ 1Hz
Active isolation 12 and 15 on-board Displacement and Inertial Sensors, with 12 EM Coil actuators
Single-stage System
6 DOF motion single stage system
Passive isolation 3 Blade springs + wire flexure systems
Fundamental modes ~ 1Hz
Active isolation 6 and 6 on-board Displacement and Inertial Sensors, with 6 EM Coil actuators

## Slide 18: Where stuff is on a HAM-ISI
Inertial
Sensor
f = ~1 Hz
f = ~1 Hz
L4C
GS13
Displacement
CPS
Sensor
SRCL HAM-ISIs will have “extra” L4Cs on the support stage (ST0) for feed-forward use around 10 Hz
STAGE 1 (ST1)
STAGE 0 (ST0)

## Slide 19: Where stuff is on a BSC-ISI
STAGE 2 (ST2)
Inertial Sensors
L4C
T240
f = ~1 Hz
f = ~5 mHz
f = ~1 Hz
GS13
Inertial Sensor
STAGE 0 (ST0)
STAGE 1 (ST1)
ACT
Actuators
Electromagnetic
One corner’s ST0-1 and ST1-2
position sensors and actuators
Displacement
CPS
Sensor

## Slide 20: Colocated vs. Euler vs. Cartesian Bases
L
T
V
R
P
Y
X
Y
Z
H2
H1
H3
V1
V2
V3
Longitudinal, Transverse, Vertical,Roll, Pitch, Yaw
RX
RY
RZ
H1, H2, H3, V1, V2, V3
X, Y, RZ, RX, RY, Z
Aligned with the Beam
Aligned with the IFO arms
Aligned with the Sensors

## Slide 21: How are the Colocated and Cartesian Bases Related?
HAM2
HAM3
HAM4
HAM5
HAM8
HAM9
HAM10
HAM12
HAM11
BSC1
BSC3
BSC2
BSC8
BSC7
BSC4
BSC10
BSC6
BSC9
BSC5
X
Y
Check out “Advanced LIGO BSC and HAM ISI Conventions”
G1000125 for more details
  Chamber Name
  Channel Prefix
  Simulink Model Name
  Dedicated Folder name in the Seismic SVN Repository

## Slide 22: Each Stage of Isolation In Theory

## Slide 23: Each Stage of Isolation In Practice Example

## Slide 24: Active Isolation – The Basic Control Loop
Super
Sensor
Inertial Sensors
Displacement Sensors
Isolation Filters
Hardware
Software
Blend Filters
Damping Filters
HAM ISI “Plant”
Actuators
On Board Sensors
Ground Motion
CPSINF
CPS2CART
GS132CART
GS13INF
CPSALIGN
BLND
DAMP
ISO
CART2ACT
OUTF
Analog
Whitening
Analog
De-Whitening

## Slide 25: Active Isolation – Successive Loop Closure

## Slide 26: Active Isolation – Successive Loop Closure

## Slide 27: Active Isolation – Successive Loop Closure

## Slide 28: Active Isolation – Successive Loop Closure

## Slide 29: Active Isolation – Successive Loop Closure

## Slide 30: Who to bug when you’re confused
Brian Lantz – Lead Scientist for all SEI (Stanford)
Fabrice Matichard – Lead Mechanical Engineer (MIT)
Ken Mason – Lead Mechanical Engineer (MIT)
Rich Mittleman – Scientist (MIT)
Jeff Kissel – Post-Doc (MIT)
Celine Ramet – Engineer (LLO)
Vincent Lhuillier – Engineer (LHO)
Ben Abbott – Engineer (CalTech)
BLantz@stanford.edu
fabrice@ligo.mit.edu
kmason@ligo.mit.edu
richard@ligo.mit.edu
jkissel@ligo.mit.edu
cramet@ligo-la.caltech.edu
lhuillier_v@ligo-wa.caltech.edu
babbott@ligo.caltech.edu

## Slide 31: What you can do to help
Some Ideas…
Gather information on how the ground motion and platforms behave over month/year timescales
Generalize eLIGO HAM6ISI NoiseBudget for all aLIGO Seismic Platforms
Study platform glitchy-ness by implementing an OmegaGram on in-loop channels
Help us write some general-user software (especially if you like perl!)
Gather long term info on pod pressure
Just ask! Suggestions welcome!

## Slide 32: What Channels Matter to You
  Where is the sensor?
  Is the “sensor” composed of many sensors?
  Is it an in-loop sensor?
  At what frequency can I trust this sensor?
  Is it calibrated into physical units?
    If yes – over what frequency range to I trust the calibration?
    If no – what is the calibration?
Things you should ask yourself before you look:

## Slide 33: What Channels Matter to You
Channels will have the following basic naming convention:
[IFO]:[Sub-system]-[Chamber/Optic]-[Isolation Stage]-[Filter Bank Function]-[Degree of Freedom]-[Standard Extension]
[IFO] = H1, H2, or L1
[Sub-system] = ISI for BSC-ISI and HAM-ISI, SEI for HEPI
[Chamber/Optic] = For HAM Chambers, always by chamber; for BSC Chambers always by Core Optic
[Isolation Stage] = ST0, ST1, ST2 for Stage 0, Stage 1, and Stage 2 (May not exist for HEPI and HAM-ISIs which only have one stage of isolation)
[Degree of Freedom] = Colocated basis: H1, H2, H3, H4, V1, V2, V3, V4
Cartesian basis: X, Y, RZ, RX, RY, Z
Euler Basis: L, T, V, R, P, Y
[Standard Extensions] = IN1_DAQ, IN2_DAQ, OUT_DAQ

## Slide 34: Some Good Reading Material
Brian’s NSF Review <G0900312>
Brian’s “Simple Platform” Calculation <T080119>
Brian’s Sensor Noise Document <T0900450>
Brian’s Tilt Paper <P080073>
Jeff/Fabrice’s ISI Orientation Drawings <G1000125>
Jeff’s Electronics Cartoon <D1001575>
Ben’s Electronics Schematics
Fabrice’s BSC-ISI Prototype Paper <P1000029>
Fabrice’s BSC-ISI FDR Presentation <G0901006>
Lantz’s HAM ISI Training <G0900421>
Jeff’s Thesis (Chaps 4 and 5) <P1000103>
Shyang’s Thesis <P0900021>
Corwin’s Thesis <T020047>