Statement of Work

PS-140 aLIGO H2 PSL Laser Diode and Chiller Rooms

The following documents are incorporated into and made a part this Statement of Work (SOW).  Click on the following LIGO Document Control Center (DCC) links to access these documents or go on line to the LIGO Public DCC at https://dcc.ligo.org/ to access the DCC#.

- Terms:

| DCC # | Description |
| --- | --- |
| C080185-v1 | Laser Interferometer Gravitational Wave Observatory (LIGO) Commercial Items or Services Contract General Provisions California Institute of Technology “Institute”, LIGO Rev 11/12/08 |
| F0810001-v4 | Technical Direction Memorandum. |

- Quality Control:

The supplier shall:

- Meet or exceed all specifications and requirements

- Identify the corresponding sections/paragraphs in their existing QA/QC system or proposed QA/QC plan for each of the boxes checked in the table below.

| DCC # | Description |
| --- | --- |
| Q0900001-v4 | Advanced LIGO Supplier Quality Requirements, dated 2/10/10, describes the following contractor/supplier QA/QC actions for this procurement: |
|  | 3.1 Pre-Award Inspection |  | 3.9 Discrepant Material Storage |  | 4.4 Calibration Program |
|  | 3.2 Supplier In Process Quality Control |  | 3.10 Quality Records |  | 4.5 Critical Interface |
|  | 3.3 In Process Inspection |  | 3.11 Drawing and Specification Change Control |  | 4.6 Cleanliness |
|  | 3.4 Pre-Ship Inspection |  | 3.12 Welding Certification |  | 4.7 Packaging |
|  | 3.5 Receiving Inspection |  | 3.13 End Item Data Package (including Certifications of Compliance) |  | 4.8 Storage |
|  | 3.6 Discrepant Material |  | 4.1 Design Verification |  | 4.9 Transport |
|  | 3.7 Material Review Action |  | 4.2 Raw Material Procurement |  | 4.10 Customs |
|  | 3.8 Material Review Actions at Contractor |  | 4.3 Traceability of Materials |  |  |

- Included Documents:

| DCC # | Description |
| --- | --- |
| D1101098-v1 (two sheets) | H2 Laser Diode Room and Chiller Room Drawings |

- Scope:

This SOW is for the fabrication of the Laser Diode Room and the Chiller Room for the H2 interferometer at the LIGO Hanford Observatory.  The structures are to be fabricated as shown in the “Required Drawings” in Section 3.0.

Constraints: 
1) Welded, sheet vinyl flooring is in place and must be protected from damage during construction.

2) Laser protective eyewear, supplied by LIGO, may be required inside the LVEA.

3) Rooms to be constructed inside the Lasers and Vacuum Equipment Area (LVEA), a cleanroom facility. All cutting of components, framing members, gypsum wall board, etc., must take place outside the LVEA.  No sanding of gypsum wall board, trowel finish on gypsum wall board joints.  Brushing and rolling of paint only, no spray painting, inside the LVEA.  Exceptions, along with particulate mitigation plans must be approved by LIGO in advance.

- Construction time window:

Construction is to begin on July 25, 2011 and to complete by August 5, 2011.

# Text boxes

# LIGO LABORATORY

California Institute of Technology

1200 E. California Blvd.

Pasadena, CA  91125