*LIGO Laboratory / LIGO Scientific Collaboration*

LIGO- **E1101022**-v1 *LIGO* 3/26/12

AOS SLC ITM Elliptical Baffle Fabrication, Installation, and Test Plan

Michael Smith

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note

of the LIGO Laboratory.

|  |  |
| --- | --- |
| **California Institute of Technology****LIGO Project – MS 18-34****1200 E. California Blvd.****Pasadena, CA 91125**Phone (626) 395-2129Fax (626) 304-9834E-mail: info@ligo.caltech.edu | **Massachusetts Institute of Technology****LIGO Project – NW22-295****185 Albany St****Cambridge, MA 02139**Phone (617) 253-4824Fax (617) 253-7014E-mail: info@ligo.mit.edu |
| **LIGO Hanford Observatory****P.O. Box 159****Richland WA 99352**Phone 509-372-8106Fax 509-372-8137 | **LIGO Livingston Observatory****P.O. Box 940****Livingston, LA 70754**Phone 225-686-3100Fax 225-686-7189 |

http://www.ligo.caltech.edu/

[1 Introduction 7](#_Toc320544794)

[2 Tests 7](#_Toc320544795)

[2.1 Vendor Tests 7](#_Toc320544796)

[2.2 LIGO Tests 7](#_Toc320544797)

[2.2.1 Suspension Blade Balance Test 7](#_Toc320544798)

[2.2.2 Final Assembly Suspension Test 7](#_Toc320544799)

**Abstract**

This document describes the plan for acceptance testing of the ITM Elliptical Baffle during manufacturing, and for testing the final assembly before installing in the aLIGO chambers.

# Introduction

This document describes the plan for acceptance testing of the ITM Elliptical Baffle during manufacturing, and for testing the final assembly before installing in the aLIGO chambers.

# Tests

## Vendor Tests

The first article ITM Elliptical will be assembled by the vendor and witnessed by LIGO QA personnel.

The vendor shall provide the following reports: 1) Materials certifications, 2) Dimensional and QC inspection reports--this shall include a report showing that parts have been inspected and fall within specified tolerances, and 3) Certificate or statement of compliance with all contract and drawing process restrictions.

## LIGO Tests

### Suspension Blade Balance Test

The ITM Elliptical Baffle suspension blade spring will be tested with dummy weights to determine the balance load for each vertical blade spring.

### Final Assembly Suspension Test

The ITM Elliptical Baffle will be impulse-tested and a ring-down will be performed to confirm that the quality factor of the suspended ITM Elliptical Baffle meets the damping requirements.