D1200076-v3

**Alignment Monument Layout, LHO Y-End Station, BSC Mechanical Test Stands**

When the Test Stand was reset it was found to be **0.008”** to the RIGHT ( ) of centerline

**Y-end VEA**

TS-5

**200mm** typical

**224.6”** from centerline

TS-8

**298”** from centerline

**92”** from centerline

**LVEA**

TS-7

TS-3

TS-2

TS-1

TS-6

TS-4