## Sheet1
Instrument | S/N | Year | Owner | Location | Detail | Use to be (in -v14) | Potential Future
STS-2 | 50244 | 2002 | ETF | ETF | in pod-ETF |  | India ?
STS-2 | 50245 | 2002 | ETF | ETF | in pod-ETF |  | India ?
STS-2 | 50246 | 2002 | ETF | ETF | in pod-ETF |  | India ?
STS-2 | 59838 | 1998 | MIT | LLO | L1 LVEA STS C (HAM5)
STS-2 | 60151 | 2001 | LHO | MIT | LASTI Floor
STS-2 | 60152 | 2001 | LHO | LLO | De-podded week of May 11 2015, Destined for LLO Vault | Podded STS2
STS-2 | 89921 |  | LHO PEM | LHO | In Schofield's Possession, Buried ETMY | at Quanterra for repair
STS-2 | 89922 | 1999 | LLO | LHO | H1 STS A (HAM2) | H1 STS A (HAM2)
STS-2 | 89938 | 1999 | LLO | LHO | H1 YVEA STS B (ETMY)
STS-2 | 89940 | 1999 | LLO | LLO | L1 LVEA STS B (ITMY)
STS-2 | 89941 | 1999 | LLO | Quanterra | Shipped to Quanterra, week of May 11 2015 | H1 STS B (ITMY)
STS-2 | 89943 | 1999 | MIT | MIT | In pod - BSC-ISI prototype |  | India ?
STS-2 | 89950 | 1999 | MIT | LHO | H1 Buried EndX |  | H1 #4 or 5?
STS-2 | 89951 | 1999 | MIT | MIT | In pod - BSC-ISI prototype |  | India ?
STS-2 | 100106 | 2001 | LLO | LLO | L1 LVEA STS A (HAM2)
STS-2 | 100144 | 2001 | MIT | LLO | L1 XVEA STS B (ETMX) host box serial number is 89938 (llo alog 10510)
STS-2 | 100145 | 2001 | LHO | LHO | H1 LVEA STS 2 (ITMY)
STS-2 | 100146 | 2001 | LLO | LLO | L1 YVEA STS B (ETMY)
STS-2 | 100151 | 2001 | LLO | LLO | Huddle Test Reference Sensor
STS-2 | 100152 | 2001 | MIT | MIT | In pod - BSC-ISI prototype |  | India ?
STS-2 | 100159 | 2001 | LLO | ??? | Where is this one???
STS-2 | 109826 | 1998 | MIT | MIT | LASTI Floor
STS-2 | 109827 | 1998 | MIT | LHO | H1 XVEA STS B (ETMX) |  | H1 #4 or 5?
Instrument | S/N | Year | Owner | Location | Detail | Use to be (in -v14) | Potential Future
Trillium | ??? |  |  | UMN | Shipped back to MIT in 2012, may be one of the one's listed elsewhere
Trillium | ??? |  |  | UMN | Shipped back to MIT in 2012, may be one of the one's listed elsewhere
Trillium | 435 |  | LLO | ??? | ??? Arnaud's looking into it…
Trillium | 509 |  | LLO | MIT | BSC Prototype optical table (hanging pod?)
Trillium | 516 |  | LLO | ??? | ??? Arnaud's looking into it…
Trillium | 531 |  | ETF | ETF | Shipped to ETF, received 1 Aug 2016 | Was at LHO for EndY Ground Sensor | ETF Ground Sensor?
Trillium | 528 |  |  | MIT | Repaired, Returned to MIT
Trillium | 498 |  |  | MIT | Floor
Trillium | 540 |  |  | MIT | shipped to the 40M 4/4/13
Trillium | 544 |  |  | MIT | closet
Trillium | 952 |  |  | LLO | high bay (staging building) |  | Spare
Trillium | 953 |  |  | LHO | shipped to LHO 4/1/2016 ????? From Where? |  | EX ground sensor
Note on G36: Hugh Radkins: Use to be in -v17