## VCO
Low Noise VCO | [7 empty] | E1200078-v4
No. | Serial | Site | Type | Location | Ifo | System | Box | Ship
1 | S1200558 | LHO | VCO | corner | H1 | PSL | 1 | 1
2 | S1200559 | LHO | VCO | corner | H1 | ISC/ALS X | 1 | 1
3 | S1200560 | LHO | VCO | corner | H1 | ISC/ALS Y | 1 | 1
4 | S1200561 | LHO | VCO | X-end | H1 | ISC | 2 | 1
5 | S1200562 | LHO | VCO | Y-end | H1 | ISC | 2 | 1
6 | S1200563 | LHO | FDD/PLL | corner | H1 | ISC/ALS X | 3 | 2
7 | S1200564 | LHO | FDD/PLL | corner | H1 | ISC/ALS Y | 3 | 2
8 | S1200565 | LHO | VCO | spare | H1 | ISC | 3 | 2
9 | S1200566 | LHO | VCO | corner | H2 | PSL | 4 | 1
10 | S1200567 | LHO | VCO | corner | H2 | ISC/ALS X | 4 | 1
11 | S1200568 | LHO | VCO | corner | H2 | ISC/ALS Y | 4 | 1
12 | S1200569 | LHO | VCO | X-end | H2 | ISC | 5 | 1
13 | S1200570 | LHO | VCO | Y-end | H2 | ISC | 5 | 1
14 | S1200571 | LHO | FDD/PLL | corner | H2 | ISC/ALS X | 6 | 2
15 | S1200572 | LHO | FDD/PLL | corner | H2 | ISC/ALS Y | 6 | 2
16 | S1200573 | LHO | VCO | spare | H2 | ISC | 6 | 2
17 | S1200574 | LLO | FDD/PLL | corner | L1 | ISC/ALS X | 7 | 3
18 | S1200575 | LLO | VCO | corner | L1 | ISC/ALS X | 7 | 3
19 | S1200576 | LLO | VCO | corner | L1 | ISC/ALS Y | 7 | 3
20 | S1200577 | LLO | VCO | X-end | L1 | ISC | 8 | 3
21 | S1200578 | LLO | VCO | Y-end | L1 | ISC | 8 | 3
22 | S1200579 | LLO | FDD/PLL | corner | L1 | ISC/ALS Y | 9 | 4
23 | S1200580 | LLO | VCO | coner | L1 | PSL | 9 | 4
24 | S1200581 | LLO | VCO | spare | L1 | ISC | 9 | 4
25 | S1700241 | LHO | VCO | corner | H1 | SQZ
26 | S1700242 | LLO | VCO | corner | L1 | SQZ
27 | S1900244 | LHO | FDD/PLL | spare | H1 | ISC/ALS
28 | S1900245 | LLO | FDD/PLL | spare | L1 | ISC/ALS
29 |  | LHO | VCO | corner | H1 | FC
30 |  | LLO | VCO | corner | L1 | FC
VCO units have divide by 16
FDD units have divide by 10
PLL units are equipped with a D1300812 PLL servo board

## VCXO
Voltage Controlled Crystal Oscillator (VCXO) | [7 empty] | E1200078-v4
No. | Serial | Site | Type | Location | Ifo | System | Box | Ship
1 | S1700237 | LHO | VCO | corner | H1 | SQZ
2 | S1700238 | LHO | VCO | spare
3 | S1700239 | LLO | VCO | corner | L1 | SQZ
4 | S1700240 | LLO | VCO | spare