*LIGO Laboratory / LIGO Scientific Collaboration*

LIGO- E200628-v1 Advanced LIGO 6/7/2012

TwinCAT Library for   
PZT Mirrors

Alexa Staley, Daniel Sigg

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note  
of the LIGO Laboratory.

|  |  |
| --- | --- |
| **California Institute of Technology**  **LIGO Project – MS 18-34**  **1200 E. California Blvd.**  **Pasadena, CA 91125**  Phone (626) 395-2129  Fax (626) 304-9834  E-mail: info@ligo.caltech.edu | **Massachusetts Institute of Technology**  **LIGO Project – NW22-295**  **185 Albany St**  **Cambridge, MA 02139**  Phone (617) 253-4824  Fax (617) 253-7014  E-mail: info@ligo.mit.edu |
| **LIGO Hanford Observatory**  **P.O. Box 159**  **Richland WA 99352**  Phone 509-372-8106  Fax 509-372-8137 | **LIGO Livingston Observatory**  **P.O. Box 940**  **Livingston, LA 70754**  Phone 225-686-3100  Fax 225-686-7189 |

http://www.ligo.caltech.edu/

|  |  |
| --- | --- |
| **Library** | |
| Title | PZTMirror |
| Version | 1 |
| TwinCAT version | 2.11 |
| Name space | – |
| Author | Alexa Staley, Daniel Sigg |
| Description | Controls PZT mirrors. |
| Error codes | None |
| Library dependencies | Error |

|  |  |
| --- | --- |
| **Hardware Input Type**  TYPE PZTMirrorInStruct :  STRUCT  HV10MonitorPZTX: INT;  PositionSensorPZTX: INT;  HV10MonitorPZTY: INT;  PositionSensorPZTY: INT;  END\_STRUCT  END\_TYPE | |
| Type name | PZTMirrorInStruct |
| Description | Structure of the hardware input that are wired up for the PZT mirrors |
| Definition | STRUCT |
| Element | Name: HV10MonitorPZTX  Type: INT  Description: HV10 input monitor of PZT mirror X |
| Element | Name: PositionSensorPZTX  Type: INT  Description: Position sensor input of PZT mirror X |
| Element | Name: HV10MonitorPZTY  Type: INT  Description: HV10 input monitor of PZT mirror Y |
| Element | Name: PositionSensorPZTX  Type: INT  Description: Position sensor input of PZT mirror Y |

|  |  |
| --- | --- |
| **User Interface Type**  TYPE PZTMirrorStruct :  STRUCT  HV10MonitorPZTX: LREAL;  PositionSensorPZTX: LREAL;  HV10MonitorPZTY: LREAL;  PositionSensorPZTY: LREAL;  END\_STRUCT  END\_TYPE | |
| Type name | PZTMirrorStruct |
| Description | Structure of the user interface tags that are used to control the PZT mirrors |
| Definition | STRUCT |
| Output Tag | Name: HV10MonitorPZTX  Type: LREAL  Description: |
| Output Tag | Name: PositionSensorPZTX  Type: LREAL  Description: |
| Output Tag | Name: HV10MonitorPZTY  Type: LREAL  Description: |
| Output Tag | Name: PositionSensorPZTY  Type: LREAL  Description: |

|  |  |
| --- | --- |
| **Function Block**  FUNCTION\_BLOCK PZTMirrorFB  VAR\_INPUT  PZTMirrorIn: PZTMirrorInStruct;  END\_VAR  VAR\_OUTPUT  END\_VAR  VAR\_IN\_OUT  PZTMirror: PZTMirrorStruct;  END\_VAR  VAR  END\_VAR | |
| Name | PZTMirrorFB |
| Description | Controls the PZT mirrors. |
| Input argument | Name: PZTMirrorIn  Type: PZTMirrorInStruct  Description: Input hardware structure |
| In/out argument | Name: PZTMirror  Type: PZTMirrorStruct  Description: User Interface structure |

|  |  |
| --- | --- |
| **Visual** | |
| Name | PZTMirrorViz |
| Description | Displays monitors and sensors for the PZT mirrors |
| Placeholder | Name: PZTMirror  Type: PZTMirrorStruct  Description: PZT Mirror structure |