## Cover
Sample

## Data
Subsystem: | Part Type
PHCAL | LIGO Parts
Required Information | [6 empty] | Optional Data
Part Name | Drawing/Catalog# | Revision | Type | Serial Number | Site | Material | Location | Sublocation | Property Tag | Manufacturer | Supplier | PO # | Description
PSL-Laser Diode Rack | D1300488 | 1 | Beckhoff PC | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | Beckhoff PC | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | Beckhoff PC | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | Interlock Box | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | Interlock Box | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | Interlock Box | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | PS1 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | PS1 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | PS1 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | DB1 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | DB1 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | DB1 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | TEC1 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | TEC1 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | TEC1 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | PS2 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | PS2 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | PS2 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | DB2 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | DB2 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | DB2 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | PS3 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | PS3 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | PS3 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | DB3 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | DB3 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | DB3 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | TEC2 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | TEC2 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | TEC2 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | PS4 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | PS4 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | PS4 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | DB4 | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | DB4 | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | DB4 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Laser Diode Rack | D1300488 | 1 | Front End Diode Box | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | Front End Diode Box | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Laser Diode Rack | D1300488 | 1 | Front End Diode Box | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | Delayline Phase Shifter 1 | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | Delayline Phase Shifter 1 | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | Delayline Phase Shifter 1 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | Delayline Phase Shifter 2 | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | Delayline Phase Shifter 2 | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | Delayline Phase Shifter 2 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | ISS Servo | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | ISS Servo | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | ISS Servo | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | FSS FB 1 | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | FSS FB 1 | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | FSS FB 1 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | FSS FB 2 | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | FSS FB 2 | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | FSS FB 2 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | ILS Fieldbox | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | ILS Fieldbox | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | ILS Fieldbox | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | ILS Servo | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | ILS Servo | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | ILS Servo | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | Monitoring FB | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | Monitoring FB | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | Monitoring FB | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | PMC Servo | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | PMC Servo | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | PMC Servo | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | PMC Fieldbox | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | PMC Fieldbox | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | PMC Fieldbox | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | Video Patch Panel | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | Video Patch Panel | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | Video Patch Panel | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | NPRO Controller | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | NPRO Controller | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | NPRO Controller | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Control Rack | D1300489 | 1 | CB | 1 | LLO | Various | L1 | LVEA
PSL-Control Rack | D1300489 | 1 | CB | 2 | LHO | Various | H1 | LVEA
PSL-Control Rack | D1300489 | 1 | CB | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Diagnostic Rack | D1300490 | 1 | DBB Field Box | 1 | LLO | Various | L1 | LVEA
PSL-Diagnostic Rack | D1300490 | 1 | DBB Field Box | 2 | LHO | Various | H1 | LVEA
PSL-Diagnostic Rack | D1300490 | 1 | DBB Field Box | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Diagnostic Rack | D1300490 | 1 | DBB 1 | 1 | LLO | Various | L1 | LVEA
PSL-Diagnostic Rack | D1300490 | 1 | DBB 1 | 2 | LHO | Various | H1 | LVEA
PSL-Diagnostic Rack | D1300490 | 1 | DBB 1 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Diagnostic Rack | D1300490 | 1 | DBB 2 | 1 | LLO | Various | L1 | LVEA
PSL-Diagnostic Rack | D1300490 | 1 | DBB 2 | 2 | LHO | Various | H1 | LVEA
PSL-Diagnostic Rack | D1300490 | 1 | DBB 2 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Diagnostic Rack | D1300490 | 1 | DBB 3 | 1 | LLO | Various | L1 | LVEA
PSL-Diagnostic Rack | D1300490 | 1 | DBB 3 | 2 | LHO | Various | H1 | LVEA
PSL-Diagnostic Rack | D1300490 | 1 | DBB 3 | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Chiller | D1300491 | 1 | Xtal | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Chiller | D1300491 | 1 | Xtal | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Chiller | D1300491 | 1 | Xtal | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
PSL-Chiller | D1300491 | 1 | LD | 1 | LLO | Various | L1 | Laser Diode Room
PSL-Chiller | D1300491 | 1 | LD | 2 | LHO | Various | H1 | Laser Diode Room
PSL-Chiller | D1300491 | 1 | LD | 3 | LHO | Various | 3IFO-Y Mid | VEA-Box
Note on E5: LIGO parts: required. Catalog parts: optional. Bulk parts: must enter bulk code (eg, "H2Q300") where first digit represents site, second digits is entry-#, and suffix represents quantity being imported.
Note on D5: LIGO Parts and Catalog parts: if there is no type to record, leave blank. System will auto-fill with "00" on import. Bulk parts: must be "Bulk", or "Bulk-##" if specifying type.
Note on C5: System will auto configure this field upon import to be 2 varchar characters. Optional for all catalog and part types
Note on B1: LIGO Part is for all parts that follow the LIGO Drawing # standards Catalog parts can use a LIGO drawing number or a catalog part number, however they are not considered unique, and there can be more than one of these items in stock with no differentiation. Bulk parts are a subset of catalog parts, where a drawing/catalog number exists but revision and type are optional, and no serial number is present because the parts are carried in quantities greater than 1. In lieu of a serial number, a bulk code is used to track quantities (eg, "L1Q300") . See User's Manual for more information.
Note on A1: Select the subsystem that you wish to assign these parts to.
Note on F5: Select the current Site where the part is located.
Note on B5: Drawing/Catalog number only. Do not include revision or serial numbers here, use the adjacent cells to enter this information.

## Fixed Fields (hidden)
CIT | Catalog | AOS
LHO | LIGO Parts | CDS
LLO | Bulk | COC
MIT |  | DAQ
UFL |  | DCS
Columbia |  | FMP
Wilson House |  | IAS
RAL |  | IOO
External Supplier |  | ICS
DUSEL |  | ISC
AEI |  | OM
OPLEV
PHCAL
PEM
PSL
SEI
SLC
SUS
SYS
TCS
TIM
TMS
TST
VP