*LIGO Laboratory / LIGO Scientific Collaboration*

LIGO-E1300783-v1 *advanced LIGO* 10/15/2013

TwinCAT Library for SaveRestore

Daniel Sigg, Alexa Staley

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note
of the LIGO Laboratory.

|  |  |
| --- | --- |
| **California Institute of Technology****LIGO Project – MS 18-34****1200 E. California Blvd.****Pasadena, CA 91125**Phone (626) 395-2129Fax (626) 304-9834E-mail: info@ligo.caltech.edu | **Massachusetts Institute of Technology****LIGO Project – NW22-295****185 Albany St****Cambridge, MA 02139**Phone (617) 253-4824Fax (617) 253-7014E-mail: info@ligo.mit.edu |
| **LIGO Hanford Observatory****P.O. Box 159****Richland WA 99352**Phone 509-372-8106Fax 509-372-8137 | **LIGO Livingston Observatory****P.O. Box 940****Livingston, LA 70754**Phone 225-686-3100Fax 225-686-7189 |

http://www.ligo.caltech.edu/

|  |
| --- |
| **Library** |
| Title | SaveRestore |
| Version | 1 |
| TwinCAT version | V2.11.0 |
| Name space |  |
| Author | Daniel Sigg |
| Description | This library saves and restore variables used in the PLC |
| Error Code | None |
| Library Dependencies | None |

|  |
| --- |
| **Function Block**TYPE SaveRestoreFB:VAR\_OUTPUT Request: SaveRestoreEnum;END\_VAR;END\_TYPE; |
| Type Name | SaveRestoreFB |
| Description | Function block used save/restore variables  |
| Definition | Function Block |
| Input Argument | Name: RequestType: SaveRestoreEnumDescription: Request for save/restore/safe mode or noop |