*LIGO Laboratory / LIGO Scientific Collaboration*

LIGO- E1300146-v1 *advanced LIGO* 2/22/2013

SHG status Library Documentation

Sheila Dwyer

Distribution of this document:

LIGO Scientific Collaboration

This is an internal working note
of the LIGO Laboratory.

|  |  |
| --- | --- |
| **California Institute of Technology****LIGO Project – MS 18-34****1200 E. California Blvd.****Pasadena, CA 91125**Phone (626) 395-2129Fax (626) 304-9834E-mail: info@ligo.caltech.edu | **Massachusetts Institute of Technology****LIGO Project – NW22-295****185 Albany St****Cambridge, MA 02139**Phone (617) 253-4824Fax (617) 253-7014E-mail: info@ligo.mit.edu |
| **LIGO Hanford Observatory****P.O. Box 159****Richland WA 99352**Phone 509-372-8106Fax 509-372-8137 | **LIGO Livingston Observatory****P.O. Box 940****Livingston, LA 70754**Phone 225-686-3100Fax 225-686-7189 |

http://www.ligo.caltech.edu/

|  |
| --- |
| **Library** |
| Title | SHG |
| Version | 1 |
| TwinCAT version | 2.11.2230 |
| Name space |  |
| Author | Sheila Dwyer |
| Description | Simple library that checks the SHG status by checking for error messages in the IR or green PD or the TEC controller, ensuring that the GR PD is enforcing a low power limit, calculates the conversion efficiency and checks that it is above a minimum. Sets an OK bit if everything is fine.  |
| Error Codes | 0x0001 – IR PD error0x0002 – Green PD limits not set to low0x0004 – Green PD error0x0008 – TEC error0x0010 – IR power Mon too low (less than 0.01 mW)0x0020 – SHG conversion efficiency too low |
| Library Dependencies | SaveRestore, Error, Photodetectors, TECController, ReadADC |
|  |