## Sheet1
E1400187-v4 - SUS Acceptance Data Summary
|  |  | Specific Assembly DCC | Specific Assembly ICS | Generic Assembly DCC | Generic Assembly ICS | Generic Acceptance DCC | Individual Acceptance DCC | S-Numbers | M0toM0 and R0toR0 | M1toM1 or L1toL1 | M2toM2 or L2toL2 | M3toM3 | Spectra Damped | Spectra Undamped | B&K | Coil Driver Noise | Coil Driver Resp. | VM | OL Values | Calibration Doc
H1 | QUAD | ITMx | D0901149 | ASSY-D0901149-NA | D0901346 | ASSY-D0901346-005 | E1201038 | E1400146 | S1301872 S1301873 S1301889 | [7 empty] | 3748 | 4495 | T1300876 | E1200343 | T1100378
H1 |  | ITMy | D0901140 | ASSY-D0901140-NA | D0901346 | ASSY-D0901346-002 | E1201038 | E1400147 | S1301872 S1301873 S1301888 | [7 empty] | 3748 | 4495 | T1300876 | E1200343 | T1100378
H1 |  | ETMx | D0901153 | ASSY-D0901153-NA | D0901346 | ASSY-D0901346-003 | E1201038 | E1300908 | S1301903 S1301904 S1301900 | 8822 |  |  |  | 9608 | 9608 | 7762 | 3748 | 4495 | T1300876 | E1200343 | T1100378
H1 |  | ETMy | D0901157 | ASSY-D0901157-NA | D0901346 | ASSY-D0901346-004 | E1201038 | E1300866 | S1301920 S1301919 S1301921 | 11305 |  |  |  | 11305 | 11305 | 10931 | 3748 | 4495 | T1300876 | E1200343 | T1100378
H1
H1 | BSFM | BS | D0901145 | ASSY-D0901145-NA | D1000392 | ASSY-D1000392-001 | E1300712 | E1300712 | S1301872 S1301873 S1301888 |  | 7305 | 7705 8210 |  | 6442 | 6442 | 7873 | G1300543 | 4495 | 11809 T1200418
H1
H1 | HSTS | MC1 | D0901088 | ASSY-D0901088-NA | D020700 | ASSY-D020700-505 | E1201040 | E1400118 | S1301870 S1301871 S1301885 |  | 6552 | 7272 | 7272 | 11121 | 11121 | 6014 | 4751 | 4495 | T1200418 | E1200343 | T1000061
H1 |  | MC2 | D0901099 | ASSY-D0901099-NA | D020700 | ASSY-D020700-503 | E1201040 | E1400119 | S1301868 S1301869 S1301887 |  | 6552 | 7272 | 7272 | 11121 | 11121 | 4365 | 4751 | 4495 | T1200418 | E1200343 | T1000061
H1 |  | MC3 | D0901089 | ASSY-D0901089-NA | D020700 | ASSY-D020700-506 | E1201040 | E1400120 | S1301870 S1301871 S1301885 |  | 6552 | 7272 | 7272 | 11121 | 11121 | 6014 | 4751 | 4495 | T1200418 | E1200343 | T1000061
H1 |  | PR2 | D0901098 | ASSY-D0901098-NA | D020700 | ASSY-D020700-501 | E1201040 | E1400122 | S1301868 S1301869 S1301887 |  | 7568 | 7577 | 7577 | 11121 | 11121 | 6014 | 4751 | 4495 | T1200418 | E1200343 | T1000061
H1 |  | PRM | D0901090 | ASSY-D0901090-NA | D020700 | ASSY-D020700-502 | E1201040 | E1400121 | S1301870 S1301871 S1301885 |  | 6657 | 7616 | 7616 | 11121 | 11121 | 6014 | 4751 | 4495 | T1200418 | E1200343 | T1000061
H1 |  | SR2 | D0901128 | ASSY-D0901128-NA | D020700 | ASSY-D020700-510 | E1201040 | E1400124 | S1301868 S1301869 S1301890 |  | 9908 |  |  | 9986 | 9986 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
H1 |  | SRM | D0901133 | ASSY-D0901133-NA | D020700 | ASSY-D020700-512 | E1201040 | E1400123 | S1301874 S1301875 S1301893 |  | 8409 |  |  | 11369 | 11369 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
H1
H1 | HLTS | PR3 | D0901086 | ASSY-D0901086-NA | D070447 | ASSY-D070447-004 | E1201041 | E1300844 | S1301870 S1301871 S1301885 |  | 7634 | 8081 |  | 11366 | 11366 | 6014 |  |  | 9418 T1300876 | E1200343
H1 |  | SR3 | D0901132 | ASSY-D0901132-NA | D070447 | ASSY-D070447-002 | E1201041 | E1400161 | S1301874 S1301875 S1301893 |  | 11092 |  |  | 11092 | 11092 11358 |  |  |  | 9418 T1300876 | E1200343
H1
H1 | OMCS | OMC | D1300240 | !Exist | D0900295 | ASSY-D0900295-006 | E1201048 | E1400055 | S1301874 S1301875 S1301893 |  | 8637 |  |  | 8637 | 8637 |  |  |  | T1300876 | E1200343
H1
H1 | TMTS | TMSx | D0902163 | ASSY-D0902163-024 | D0901880 | ASSY-D0901880-024 | E1300359 | E1300361 | S1301903 S1301904 S1301900 |  | 11915 |  |  | 11915 | 11915 | !Exist | G1300621 | 4495 | T1300876 | E1200343
H1 |  | TMSy | D0902168 | ASSY-D0902168-003 | D0901880 | ASSY-D0902168-003 | E1300359 | E1300360 | S1301920 S1301919 S1301921 |  | 11915 |  |  | 11915 | 11915 | 10931 | G1300621 | 4495 | T1300876 | E1200343
H1
H1 | HAUX | IM1 (SM1) | D1200623 | !Exist | D1000120 | ASSY-D1000120-006 |  |  |  |  | 8725 | [7 empty] | T1300876 | E1200343
H1 |  | IM2 (PMMT1) | D1200625 | !Exist | D1000120 | ASSY-D1000120-007 |  |  |  |  | 8725 | [7 empty] | T1300876 | E1200343
H1 |  | IM3 (PMMT2) | D1200626 | !Exist | D1000120 | ASSY-D1000120-008 |  |  |  |  | 8725 | [7 empty] | T1300876 | E1200343
H1 |  | IM4 (SM2) | D1200624 | !Exist | D1000120 | ASSY-D1000120-009 |  |  |  |  | 8725 | [7 empty] | T1300876 | E1200343
H1
H1 | HTTS | RM1 | D1000313 | ASSY-D1000313-H1 | D1001396 | ASSY-D1001396-24 |  |  |  |  | 10028 | [7 empty] | T1300876 | E1200343
H1 |  | RM2 | D1000313 | ASSY-D1000313-H1 | D1001396 | ASSY-D1001396-22 |  |  |  |  | 10028 | [7 empty] | T1300876 | E1200343
H1 |  | OM1 | D1000342 | ASSY-D1000342-H1 | D1001396 | ASSY-D1001396-02 | [12 empty] | T1300876 | E1200343
H1 |  | OM2 | D1000342 | ASSY-D1000342-H1 | D1001396 | ASSY-D1001396-04 | [12 empty] | T1300876 | E1200343
H1 |  | OM3 | D1000342 | ASSY-D1000342-H1 | D1001396 | ASSY-D1001396-33 | [12 empty] | T1300876 | E1200343
L1 | QUAD | ITMx | D0900495 | ASSY-D0900495-NA | D0901346 | ASSY-D0901346-011 | E1201038 | E1300916 | S1105375 S1105376 S1202996 | 8625 |  |  |  | 10154 | 10154 | 7174 | 3748 | 4495 | T1300876 | E1200343 | T1100378
L1 |  | ITMy | D0900445 | ASSY-D0900445-NA | D0901346 | ASSY-D0901346-012 | E1201038 | E1300917 | S1105375 S1105376 S1202997 | 8625 |  |  |  | 10154 | 10154 | 7214 | 3748 | 4495 | T1300876 | E1200343 | T1100378
L1 |  | ETMx | D0900478 | ASSY-D0900478-NA | D0901346 | ASSY-D0901346-014 | E1201038 | E1400080 | S1202946 S1202947 S1202993 | 10717 10726 |  |  |  | 10889 | 10889 | 9265 | 3748 | 4495 | T1300876 | E1200343 | T1100378
L1 |  | ETMy | D0900517 | ASSY-D0900517-NA | D0901346 | ASSY-D0901346-013 | E1201038 | E1400131 | S1202953 S1202954 S1202994 | 11256 |  |  |  | 11256 | 11256 | 11504 | 3748 | 4495 | T1300876 | E1200343 | T1100378
L1
L1 | BSFM | BS | D0900431 | ASSY-D0900431-NA | D1000392 | ASSY-D1000392-005 | E1300712 | E1300699 | S1105375 S1200750 |  | 8534 | 8645 |  | 8553 | 8553 | 8582 | 4751 | 4495 | 9282 T1300876 | E1200343 | T1100479
L1
L1 | HSTS | MC1 | D0900413 | ASSY-D0900413-001 | D020700 | ASSY-D020700-119 | E1201040 | E1400109 | S1104357 S1104358 S1200749 |  | 5039 | 11554 | 11554 | 5039 | 5039 | 7352 | 4751 | 4495 | 5280 T1200418 | E1200343 | T1000061
L1 |  | MC2 | D0900526 | ASSY-D0900526-001 | D020700 | ASSY-D020700-121 | E1201040 | E1201042 | S1104062 S1200750 |  | 5013 | 7082 | 7082 | 5013 | 5013 | 3197 | 4751 | 4495 | 5280 T1200418 | E1200343 | T1000061
L1 |  | MC3 | D0900414 | ASSY-D0900414-001 | D020700 | ASSY-D020700-111 | E1201040 | E1400113 | S1104357 S1104358 S1200749 |  | 5056 | 11554 | 11554 | 5056 | 5056 | 7352 | 4751 | 4495 | 5280 T1200418 | E1200343 | T1000061
L1 |  | PR2 | D0900524 | ASSY-D0900524-001 | D020700 | ASSY-D020700-114 | E1201040 | E1300513 | S1104062 S1200750 |  | 6266 | 7247 | 7247 | 6266 | 6266 | 3100 | 4751 | 4495 | 5280 T1200418 | E1200343 | T1000061
L1 |  | PRM | D0900415 | ASSY-D0900415-001 | D020700 | ASSY-D020700-123 | E1201040 | E1400114 | S1104357 S1104358 S1200749 |  | 6670 | 11674 | 11674 | 11674 | 11688 | 7282 | 4751 | 4495 | 5280 T1200418 | E1200343 | T1000061
L1 |  | SR2 | D0900424 | ASSY-D0900424-001 | D020700 | ASSY-D020700-120 | E1201040 | E1400117 | S1104062 S1104356 S1202300 |  | 11688 | 11674 | 11674 | 11688 | 11688 | 7061 | 4751 | 4495 | 5280 T1200418 | E1200343 | T1000061
L1 |  | SRM | D0900463 | ASSY-D0900463-001 | D020700 | ASSY-D020700-124 | E1201040 | E1400116 | S1105377 S1105378 S1202995 |  | 11688 | 11674 | 11674 | 11688 | 11688 | 7122 | 4751 | 4495 | 5280 T1200418 | E1200343 | T1000061
L1
L1 | HLTS | PR3 | D0900368 | ASSY-D0900368-001 | D070447 | ASSY-D070447-008 | E1201041 | E1300836 | S1104357 S1104358 S1200749 |  | 9457 | 9058 | 9058 | 9058 | 9058 | 3673 | 4751 | 4495 | 9418 T1300876 | E1200343 | T1000061
L1 |  | SR3 | D0900461 | ASSY-D0900461-001 | D070447 | ASSY-D070447-003 | E1201041 | E1400115 | S1105377 S1105378 S1202995 |  | 11130 9496 | 11324 | 11324 | 11324 | 11324 | 6109 | 4751 | 4495 | 9418 T1300876 | E1200343 | T1000061
L1
L1 | OMCS | OMC | D1300077 | ASSY-D1300077-NA | D0900295 | ASSY-D0900295-005 | E1201048 | E1400034 | [10 empty] | T1300876
L1
L1 | TMTS | TMSx | D0900435 | !Exist | D0901880 | ASSY-D0901880-26 | E1300359 | E1300363 | S1202946 S1202947 S1202993 |  | 11354 |  |  | 10707 | 10707 | 9243 | G1300621 | 4495 | T1300876 | E1200343
L1 |  | TMSy | D0900436 | !Exist | D0901880 | ASSY-D0901880-21 | E1300359 | E1300362 | S1202953 S1202954 S1202994 |  | 12073 12319 |  |  | 12073 | 12073 | 11489 | G1300621 | 4495 | T1300876 | E1200343
L1
L1 | HAUX | IM1 (SM1) | D1101537 | !Exist | D1000120 | ASSY-D1000120-001 |  |  |  |  | 11966 | [7 empty] | T1300876 | E1200343
L1 |  | IM2 (PMMT1) | D1101539 | !Exist | D1000120 | ASSY-D1000120-002 |  |  |  |  | 11966 | [7 empty] | T1300876 | E1200343
L1 |  | IM3 (PMMT2) | D1101540 | !Exist | D1000120 | ASSY-D1000120-003 |  |  |  |  | 11966 | [7 empty] | T1300876 | E1200343
L1 |  | IM4 (SM2) | D1101538 | !Exist | D1000120 | ASSY-D1000120-004 |  |  |  |  | 11966 | [7 empty] | T1300876 | E1200343
L1
L1 | HTTS | RM1 | D1000313 | ASSY-D1000313-L1 | D1001396 | ASSY-D1001396-23 |  |  |  |  | 11088 |  |  | 11088 | 11088 |  |  |  | T1300876 | E1200343
L1 |  | RM2 | D1000313 | ASSY-D1000313-L1 | D1001396 | ASSY-D1001396-05 |  |  |  |  | 11088 |  |  | 11088 | 11088 |  |  |  | T1300876 | E1200343
L1 |  | OM1 | D1000342 | ASSY-D1000342-L1 | D1001396 | ASSY-D1001396-10 |  |  |  |  | 11088 |  |  | 11088 | 11088 |  |  |  | T1300876 | E1200343
L1 |  | OM2 | D1000342 | ASSY-D1000342-L1 | D1001396 | ASSY-D1001396-31 |  |  |  |  | 11088 |  |  | 11088 | 11088 |  |  |  | T1300876 | E1200343
L1 |  | OM3 | D1000342 | ASSY-D1000342-L1 | D1001396 | ASSY-D1001396-11 |  |  |  |  | 11088 |  |  | 11088 | 11088 |  |  |  | T1300876 | E1200343
3IFO | QUAD | ITMx | !Exist | !Exist | D0901346 | TBD | E1201038 | E1400148
3IFO |  | ITMy | !Exist | !Exist | D0901346 | TBD | E1201038 | E1400149
3IFO |  | ETMx | !Exist | !Exist | D0901346 | TBD | E1201038 | E1400150
3IFO |  | ETMy | !Exist | !Exist | D0901346 | TBD | E1201038 | E1400151
3IFO
3IFO | BSFM | BS | !Exist | !Exist | D1000392 | ASSY-D1000392-002 | E1300712 | E1400157 |  |  | 4312 |  |  | 4312 | 4312
3IFO
3IFO | HSTS | MC1 | !Exist | !Exist | D020700 | ASSY-D020700-507 | E1201040 | E1300514 |  |  | 5684 |  |  | 5684 | 5684 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
3IFO |  | MC2 | !Exist | !Exist | D020700 | ASSY-D020700-504 | E1201040 | E1400125 |  |  | 5526 |  |  | 5560 | 5560 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
3IFO |  | MC3 | !Exist | !Exist | D020700 | ASSY-D020700-508 | E1201040 | E1400126 |  |  | 5874 |  |  | 5874 | 5874 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
3IFO |  | PR2 | !Exist | !Exist | D020700 | ASSY-D020700-118 | E1201040 | E1400127 |  |  | 6302 |  |  | 6302 | 6302 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
3IFO |  | PRM | !Exist | !Exist | D020700 | ASSY-D020700-117 | E1201040 | E1300497 |  |  | 6127 |  |  | 6127 | 6127 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
3IFO |  | SR2 | !Exist | !Exist | D020700 | ASSY-D020700-509 | E1201040 | E1400129 |  |  | 6406 |  |  | 6406 | 6406 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
3IFO |  | SRM | !Exist | !Exist | D020700 | ASSY-D020700-511 | E1201040 | E1400128 |  |  | 6729 |  |  | 6729 | 6729 |  | 4751 | 4495 | T1200418 | E1200343 | T1000061
3IFO
3IFO | HLTS | PR3 | !Exist | !Exist | D070447 | ASSY-D070447-001 | E1201041 | E1400159 |  |  | 5081 |  |  | 5120 | 5120 |  |  |  |  | E1200343
3IFO |  | SR3 | !Exist | !Exist | D070447 | ASSY-D070447-005 | E1201041 | E1400160 |  |  | 5289 |  |  | 5289 | 5289 |  |  |  |  | E1200343
3IFO
3IFO | OMCS | OMC | !Exist | !Exist | D0900295 | ASSY-D0900295-003 | E1201048 | E1400158 |  |  | 8191 |  |  | 8191 | 8191 |  |  |  |  | E1200343
3IFO
3IFO | TMTS | TMSx | !Exist | !Exist | D0901880 | TBD | E1300359 | !Exist | [11 empty] | E1200343
3IFO |  | TMSy | !Exist | !Exist | D0901880 | TBD | E1300359 | !Exist | [11 empty] | E1200343
3IFO
3IFO | HAUX | IM1 (SM1) | !Exist | !Exist | D1000120 | TBD | [13 empty] | E1200343
3IFO |  | IM2 (PMMT1) | !Exist | !Exist | D1000120 | TBD | [13 empty] | E1200343
3IFO |  | IM3 (PMMT2) | !Exist | !Exist | D1000120 | TBD | [13 empty] | E1200343
3IFO |  | IM4 (SM2) | !Exist | !Exist | D1000120 | TBD | [13 empty] | E1200343
3IFO
3IFO | HTTS | RM1 | !Exist | !Exist | D1001396 | ASSY-D1001396-20 | [13 empty] | E1200343
3IFO |  | RM2 | !Exist | !Exist | D1001396 | ASSY-D1001396-25 | [13 empty] | E1200343
3IFO |  | OM1 | !Exist | !Exist | D1001396 | TBD | [13 empty] | E1200343
3IFO |  | OM2 | !Exist | !Exist | D1001396 | TBD | [13 empty] | E1200343
3IFO |  | OM3 | !Exist | !Exist | D1001396 | TBD | [13 empty] | E1200343
Key: |  |  | Grey = Not Applicable
Red = LHO alog
Green = LLO Alog
|  |  | Peach | Not "Phase 3b" data, i.e., final install in vacuum. (We aspire to 3b for Fabrication Acceptance, but it's not actually required till Installation Acceptance.)
|  |  | Yellow | Gaps we really should fill in ASAP
|  |  | ICS Prefix: | https://ics-redux.ligo-la.caltech.edu/JIRA/browse/
|  |  | DCC Prefix: | https://dcc.ligo.org/LIGO-
References: |  |  | D0901491 | aLIGO, Mechanical Layout
|  |  | E1100337 | Suspension Electronics Drawing Tree (LLO but representative)
|  |  | E1200482 | aLIGO, SUS
|  |  | E1400019 | aLIGO SUS Grouping of Fabrication Acceptance Documentation
|  |  | T1400181 | Status of SUS Individual and General Acceptance Reports
|  |  | D1003142 | Rack and Cable Tray Layouts
Version History: |  |  | v1, 4/3/14 | Initial version
|  |  | v2, 4/15/14 | Corrected S-numbers for H1 BS, new and/or better data for ETMy, PR3, SRM, SR3
|  |  | v3, 4/16/14 | New B&K data for ETMy
|  |  | v4, 5/16/14 | New TMTS data
Note on L10: Mark Barton: 1.7 Hz L->V coupling thought to be due to interaction with ISI mode at 1.6 Hz
Note on L17: Mark Barton: Phase 3a
Note on O17: Mark Barton: Phase 3a, excess noise above 10 Hz
Note on P17: Mark Barton: Phase 3a, excess noise above 10 Hz
Note on L18: Mark Barton: Says PRM in title, but actually SRM; Phase 2b with placeholder 2" optic in metal mass as for initial install
Note on P21: Mark Barton: Phase 2b. Spectra from alog 11092 had excess noise at LF. In later data from alog 11358, the excess noise had disappeared (but M3 OSEMs were not connected)
Note on Q59: Mark Barton: Phase 2a