## Slide 1: ESD Force Noise and Range for Various Modes of Operation
Brett Shapiro
G1400537

## Slide 2: Assumptions – Following T1200479-v2
Bias channel is low passed, so has negligible noise
Control channel voltage noise is independent of drive amplitude
All ESD quadrants have the same force range

## Slide 3: 3 Possible Modes of Operation
Maximum range – Bias voltage at maximum. Use an offset on the control voltage to get symmetric bipolar force range.
Reduced bias – same as max range mode, but with a smaller bias to reduce noise.
No control voltage offset – the control voltage offset is turned off to reduce noise. Bias is at maximum.

## Slide 4: Maximum Range Mode - range
To get bipolar actuation, we typically set DC force of half the maximum range
ESD force
realized with
AC force range
Max force for a voltage limit of Vb
Splitting the force into DC an AC parts

## Slide 5: Maximum Range Mode - noise
recall
ESD force
expanding
Splitting the signal voltage into a control part and noise part
Plugging this back in
And simplifying
This is the general solution for force noise

## Slide 6: Maximum Range Mode - noise
Splitting the control voltage into a DC part and AC part
As before, for the half max force offset
recall
Note, this is a factor root 2 greater than in T1200479-v2, due to the inclusion of the Vc term.
The average force noise amplitude is found setting
If not, the maximum force noise amplitude is found setting
This is the expected noise if the AC voltage is much less than the bias

## Slide 7: Reduced Bias Mode
This assumes we enforce symmetric saturation (control could go to max, even if bias doesn’t, but we assume the control stays within the bias).
Reuse the range equation from the full range mode, but with smaller bias voltage
For example,
Which is half the range of the full range mode
Reuse the noise equation from the full range mode, but reduce the bias
For example,
Which is root 2 less than the full range mode
and
and

## Slide 8: No Control Voltage Offset Mode
for symmetric saturation
As before, split the control voltage into a DC part and AC part
Set the DC part to 0
The DC force is now half what it was in max range mode, assuming max bias
The symmetric range is half the max range mode, and the same as dropping the bias by root 2 in reduced bias mode.
Range
Noise
Recall the general solution for force noise
This noise is root 2 less than the max range mode, and the same as dropping the bias by root 2 in reduced bias mode.
The AC range is then (since the total force can go from 0 to )
For symmetric range, where max force comes from

## Slide 9: Conclusions
We can reduce the noise of the ESD by operating it out of the typical full range mode, at the expense of reduced force range.
The mode where the DC control voltage is set to zero is equivalent to reducing the bias voltage by sqrt(2) in the reduced bias mode.
According to this modeling, adding extra infrastructure to the ESD simulink diagram to remove the DC control voltage is not needed. Just reduce the bias voltage instead.