## Slide 1: Control system: modeling
Koji Arai – LIGO Laboratory / Caltech
LIGO-G1401380-v1

## Slide 2: Control system modeling
Identify components in the control loop => Block diagram
System identification => Transfer function measurements of individual components => Loop transfer function measurements => Frequency (= laplace) domain modeling of the components
Loop performance analysis
Noise analysis

## Slide 3: Control system modeling
System identification => Transfer function measurements of individual components => Frequency (= laplace) domain modeling of the components
Typical tools: vectfit (matlab), LISO

## Slide 4: Control system modeling
System identification => Loop transfer function measurements => Frequency (= laplace) domain modeling of the components
<=40m prototype
power recycling
cavity loop
characterization

## Slide 5: Control system modeling
An example of a servo block diagram
  Frequency stabilization control (TAMA300)
Shigeo Nagano et al., “Development of a multistage laser frequency stabilization for an interferometric gravitational-wave detector “
Rev. Sci. Instr. 74, (2003) 4176-4183
Shigeo Nagano, Ph.D thesis, Univ of Tokyo (1999)

## Slide 6: Control system modeling
An example of the noise estimation project
  Frequency stabilization control (TAMA300)
Shigeo Nagano et al., “Development of a multistage laser frequency stabilization for an interferometric gravitational-wave detector “, Rev. Sci. Instr. 74, (2003) 4176-4183
Shigeo Nagano, Ph.D thesis, Univ of Tokyo (1999)

## Slide 7: Control system modeling
An example of a complicated block diagram
  Arm Length Stabilization control (green locking)
K. Izumi er al, ”Multicolor cavity metrology”, J. Opt. Soc. Am. A 29 (2012) 2092-2103

## Slide 8: Control system modeling
An example of a complicated noise estimation project
  Arm Length Stabilization control (green locking)
K. Izumi er al, ”Multicolor cavity metrology”, J. Opt. Soc. Am. A 29 (2012) 2092-2103