|  | REQUEST FOR WAIVER OR DEVIATION SCAN AND EMAIL COMPLETED FORM TO QUALITY@LIGO.CALTECH.EDU NOTE: DO NOT SUBMIT DISCREPANT MATERIAL UNTIL AUTHORIZED BY LIGO |
| --- | --- |
| PART NO. ? | REV. v | PART NAME SR3 Suspension | P.O. NO. NA | P.O. QTY: NA DISCREPANT QTY: 1 (the H1 instance) |
| SUPPLIER: NA, internal assembly process CONTACT: Betsy Weaver | TEL #: 509.372.8191 EMAIL: ctorrie@ligo.caltech.edu | DATE: 3/11/2014 |
| DESCRIPTION OF REQUEST (PLEASE GIVE COMPLETE TECHNICAL DESCRIPTION OF DEVIATION, REFERENCING DRAWING ZONE AS APPROPRIATE) SR3 has not been installed into the chamber yet. During the pre-balancing of the glass optic in the staging cleanroom near the chamber, a magnet on the optic got knocked off. I am asking for a waiver to NOT air bake the optic (34 deg C bake) after regluing this one magnet back on while the optic is still in the suspension. These are the small 2mm diameter magnet/dumbbells so a very small amount of glue is used. Waiver? |
| ROOT CAUSE Schedule pressure; delays close-up of the WHAM5 vacuum chamber. | CORRECTIVE ACTION No elevated temperature bake. Note that the UHV qualification of the adhesive used (EP30) was done for room temperature (non-elevated) cure. |
| SIGNATURE Betsy Weaver (3/11/2014 email) | TITLE Suspensions Lead Engineer | IMPLEMENTATION DATE: ASAP |
| ACTION TAKEN / DISPOSITION INSTRUCTION (FOR LIGO USE ONLY) Approved by Dennis Coyne (Systems Engineer) on 3/11/2014 | DATE RECEIVED 3/11/2014 |
|  | PROGRAM aLIGO Project |
|  | QUALITY ASSURANCE NA | DATE |
|  | DESIGN ENGINEER NA | DATE |
|  | OTHER | DATE |

LIGO-Q110001-v1