## Slide 1
9/25/2015
Input optics
“IO”
Input optics
EOM
Mode cleaner
Faraday
Other components

## Slide 2: Advanced Interferometer
9/25/2015
New features:
  Signal recycling
  200-watt laser
  40 kg test masses
  Larger beam size
  Higher arm finesse
  Moderate recycling factor
  Active thermal correction
  Better isolation from the ground
  Output mode cleaner

## Slide 3: Advanced LIGO IO is very complex

## Slide 4: IOO = “input optics”
9/25/2015

## Slide 5: The input optics (IO)
The input optics (IO) conditions the PSL laser light and delivers it to the interferometer.
It provides:
RF modulation for length and alignment control functions
Power control
Laser mode cleaning and frequency stabilization
Isolation of laser from interferometer reflected light
Optical signal distribution to length and alignment control
Mode matching to recycling and arm cavities
Design and fabrication of small PRMs and SRMs
5
5
PSL = pre-stabilized laser
COC = core optical components
IMC = input mode cleaner
ISC = interferometer sensing and control
PRM = power recycling mirror
SRM = signal recycling mirror

## Slide 6: IO Schedule Highlights
Overall IO Final Design substantially completed in Feb 2010
  May 2011 is for baffles (additional scope), installation
IO Project phase began in Sept 08
  Optics procurement (input mode cleaner, recycling mirrors, steering and mode-matching mirrors) is largest component of the project
  Well underway; on track to meet installation schedule

## Slide 7: Input Optics full view
G1200911

## Slide 8: PSL-IO table

## Slide 9: IO on the PSL table
LIGO Scientific Collaboration

## Slide 10: IO on the PSL table
G1200911
Electro-optic modulator
Power control
Beam positioning piezo
Mode matching telescope
Optical Spectrum Analyzer
Beam viewing camera
RFAM photodiode
-

## Slide 11: EOM: Phase modulator
9/25/2015

## Slide 12: Electro-optic modulator
12
Modulators use rubidium titanyl phosphate (RTP)
  Electro-optic response similar to LiNbO3
  low absorption => low thermal lensing
Multiple electrode configuration
Wedge, to reduce RFAM from polarization impurity
RF matching circuit in separate housing
Installed in enhanced LIGO at both sites

## Slide 13: Resonant circuit
LIGO-G070680-00-R
Impedance matching circuit in separate housing.
Resonant circuit with 50 Ω input impedance.
Three resonant circuits:
  24.5 / 33.0 / 61.2 MHz

## Slide 14: 3 RF modulators in one box
9/25/2015

## Slide 15: Thermal Lensing in RTP
LIGO Scientific Collaboration
Data from Patrick Kwee, AEI

## Slide 16: Mode scan at 20 W

## Slide 17: Mode scan at 140 W

## Slide 18: IO: Into the vacuum
LIGO Scientific Collaboration
Most of the IO is located in HAMs 2 and 3
In-vacuum layout is dense and complex, especially in HAM 2

## Slide 19: Parts installed in vacuum chambers with incredible precision
9/25/2015

## Slide 20: HAM 2 and 3
LIGO Scientific Collaboration
IMC1
IMC2
IMC3
PMMT1
SM2
PMMT2
SM1
PRM
PR3
FI
ALS: to HAM1
REFL:
to HAM1
PSL ISS PD
PSL beam
MC REFL
IMC Transmon
PR2
To IFO BS
IMC2 Transmon
ALS: to HAM1
POPA,B: to ISC

## Slide 21: HAM2
25 September 2015

## Slide 22: HAM 2
9/25/2015

## Slide 23: Input Mode Cleaner
Triangular ring cavity
Stabilize pointing
Frequency reference
L/2 = 16.5 m; Finesse = 520

## Slide 24: Mode cleaner FSR
9/25/2015

## Slide 25: T vs freq vs length
9/25/2015

## Slide 26: Reject high-order modes
9/25/2015

## Slide 27: Transmission of HOM
9/25/2015

## Slide 28: HAM triples
Mirrors suspended as 3 pendulums in series for seismic isolation, control
Mirrors 15 cm diameter x 7.5 cm thick -- 3 kg
12x heavier than iLIGO, to limit radiation pressure noise

## Slide 29: IMC mirrors
LIGO Scientific Collaboration

## Slide 30: IMC Mirror Absorption
LIGO Scientific Collaboration
MCF-WS3 witness sample absorption scan
HR absorption
AR absorption

## Slide 31: IMC mirror phase maps
LIGO Scientific Collaboration

## Slide 32: Faraday Isolator
32
IAP/UF design and construction
Passively compensated (for depolarization and thermal lensing)
Consists of 2x calcite polarizers, 2x TGG crystals, quartz rotator, λ/2 plate and –dn/dT DKDP thermal compensator
Observed >50 dB isolation (in lab)
Faraday installed in enhanced LIGO
25 dB isolation,
1-18 W.
20 μrad REFL drift.
Bo
Bo
IAP = Institute of Applied Physics, Nizhny Novgorod
TGG = terbium-gallium garnet
DKDP = deuterated potassium dihydrogen phosphate, KD2PO4
Faraday Rotator Design
TGG Holders

## Slide 33
G060185-00-Z
Thermal lens created by TGG and DKDP
Telescope
Fiber laser beam
(1-30 W)
DKDP or TGG
Focusing lens
Beam Scan
Chart: Thermal Lensing in 'x-direction'
| 0.300000 | 15.000000 | 30.000000
TGG (Air) | 170 | 76 | 33
DKDP (Air) | -110 | -22.56 | -11
5
Chart: Thermal Lensing in 'y-direction'
| 0.300000 | 15.000000 | 30.000000
TGG (Air) | 150 | 80 | 33
DKDP (Air) | -120 | -19.56 | -10

## Slide 34: Faraday isolator
9/25/2015

## Slide 35
Faraday
Palashov et al JOSA B (2012)

## Slide 36: Faraday design
9/25/2015

## Slide 37: Performance
9/25/2015

## Slide 38: Other items
38
Power control: motorized waveplate and 2x thin-film polarizers on PSL table, behind EOMs. T ~ 98%. Extinction ratio 140,000:1
Mode-matching to IMC: 2 lens telescope on PSL table
Periscope: Oil derrick
HAM Aux
PSL = pre-stabilized laser;
EOM = electro-optic modulator
IMC = input mode cleaner
HAM = vacuum chamber

## Slide 39: HAM Aux (Giacomo)
Giacomo Ciani for the IO Group - LVC meeting in Rome, Italy
Single stage (outgrowth of SOS)
4 OSEMs
3 inch optic in an aluminum optic holder
Blades for vertical isolation
Eddy current dampers
25 September 2015

## Slide 40: HAUX locations
Giacomo Ciani for the IO Group - LVC meeting in Rome, Italy
4 per IFO, all in HAM2
They suspend steering and pre-mode-matching mirrors in the IO chain:
  SM1 (now IM1)
  PMMT1 (now IM2)
  PMMT2 (now IM3)
  SM2 (now IM4)
25 September 2015
SM1
(AKA IM1)
PMMT2
(AKA IM3)
SM2
(AKA IM4)
PMMT1
(AKA IM2)

## Slide 41: IO Baffles: Overview
LIGO Scientific Collaboration
The IO has a high density of high power lasers beams in a very confined space.
  It’s a very dangerous place...
The IO baffles serve two purposes:
  To prevent scattered light from entering sensing the interferometer and sensing photodiodes
  To protect the in-vacuum components from laser damage
IO Baffle types:
Beam dumps - for parking and dumping high power beams
Suspension baffles - for protecting suspension components
Hard apertures and plates - for protecting other components
Scraper baffles - for collecting small angle scattered light
Ghost beam baffles - for blocking specular reflections from AR coatings and other low power
T0900486-v5

## Slide 42: IO Baffles
LIGO Scientific Collaboration
Different materials for different power levels
  High power absorbing beam dumps: superpolished SiC @ Brewster angle
  High power ‘protectors’: unpolished SiC
  Low/medium power (< 5 W): porcelain-coated stainless steel
  Very low power (< 500 mW): absorbing black glass
Baffles in HAM2
REFL Beam Dump
Periscope Baffle

## Slide 43: Source files
Some key sources for IO:
    P1500076
    E1201013
    G1200911
    G060185
    G070680

## Slide 44: Done
1000 kg
1000 kg
9/25/2015
Thanks