## Slide 1
Ruggi’s Global Inverted Pendulum Control
E. Majorana for the SUSP commissioning group
LF disturbance
wind
quakes
Noisy or saturated
Lock correction
G1700891-v1

## Slide 2
A quick report on GIPC, the Global Inverted Pendulum Control, developed at Virgo in the past years by P. Ruggi et Al.
In terms of operation configurations, GIPC is the last strategy implemented, as the stable operation of the whole interferometer is achieved.
The work to set again GIPC operation in Advanced Virgo are going on.
outline

## Slide 3
In AdV the first 5 stages (hor and ver) of the Super-Attenuator are the same as in initial Virgo.
Monolithic suspensions: overall system
The last filter of the Super attenuator, prolonged downwards, is in the same vacuum environment of the payload and surrounds it: the “actuation cage”.

## Slide 4
Top-stage floating body:
4D (3H+Vertical),
position ctrl VS ground (or gbl) and damping (acceleration).
SA last stage:
6D,
position damping VS ground
Overall Suspension Attenuator: Virgo  AdV
Payload:
6D,
position ctrl VS ground (or gbl) actuated from SA last stage
ground
Inverted Pendulum
Payload suspension point
Bottom ring:
3D (tilts+Vertical),
position ctrl VS ground actuated from ground
TESTED
No tilt sensor (so far)

## Slide 5
SuperAttenuator: Inertial Damping ON/OFF

## Slide 6
to the 5° filter of seismic isolator
marionette control
driving, isolated
by 6H and 5V
Virgo
mirror control
driving, isolated
by 6H and 5V
AdV
mirror control
driving, isolated
by 8H and 6V
last filter, auxiliary
damped from ground
suspension point
AdV actuation cage
relevant for thermal noise
Scheme Last filter + Payload :Virgo  AdV

## Slide 7
Payload angular accuracy VS ID
The Inertial damping allows to reduce the residual angular movement ~2 nrad,
(only partially seen by ground-based OpLeV)
N
N
Reconstruction
using ratio
ID_ON/ID_OFF
GWDAW – Hamilton Island, May 9 2017
Reducing microseism through Top stage control is crucial
AdV payloads have no or just few resonances in microseism region
Reducing microseism contamination through position sensors in standalone is crucial.

## Slide 8
Increase LP(s) slope and shaping
Reduce Position/Acc crossover frequency
x, ax = position and acceleration Laplace’s Tr.
xs = seism driven sensor reference
qi = “quasi-inertial”
Allowed as tilt noise is low
Sensor blending and Low Pass shaping
“Reduce”
Lesser microseism injected
Two blending strategies are available in-line. The choice
is presently enabled manually upon weather condition
(wind, microseism). In AdV an optimized design strategy to minimize background noise through the sensors to chose properly the blending is applied (L. Trozzo)
ACC
IP
tilt noise
seism
PID
LVDT
set
+
-
HPs
LPs
+
+
+
+
+
+
+
+
+
HPw
LPw
+
+
L-mix

## Slide 9
Preparatory tests ongoing: recombined FP lock, single arm
ITM S_ATTENUATOR
more “inertial”,
reduced position sensor background noise (mseism)
BUT
more affected by background “tilt noise”
ETM S_ATTENUATOR
lesser “inertial”:
Using local top stage
position sensor injects mseism noise
IP passive attenuation provides FP a cavity correction signal “cleaned” (~ 0.2)
mseism region
Blending at higher
frequency at ETM
is feasible
“tilt noise” through ETM accelerometer negligible
Top-stage is expected to be shaken more by tilt noise
(lock saturation below)
Notes: ti passo i gps di due bei lock 1177409816, durata 1800 secondi vento medio: 45.6 GIPC con poli bassi (credo 0.12) 1177411816, durata 2000 secondi vendo medio: 41,.3 GIPC con poli a 0.18

## Slide 10
Seism-Free platform AND Global Inverted Pendulum Control
GlobalControl (lock signal)
WE
NE
PR
BS
WI
NI
=
=
=( )
=( )
=
=
PINNING ITMs
DIFF on ETM
COMM on ITM
END-INPUT
COMM and DIFF
acceleration
3
DIFF position
deduced from lock correction
2
1
COMM position
deduced from lock correction
4
The 4th recombination to be studied
(just tested)

## Slide 11
Preparatory tests ongoing: recombined FP lock, single arm
Without GIPC: virtual correction due to differential motion of the two mirrors, driven at LF by the ITM, where a LF crossover is applied.
The real lock correction is not significantly spoiled by
tilt noise
to complete the scheme: smart cure (subtraction) of useism background noise, by combining IP in the central area, and optimization at the level of ITM IP.
ETM Top-stage follows ITM
STANDALONE
GIPC

## Slide 12
Preparatory tests ongoing: recombined FP lock, single arm
Is it possible (and meaningful) to further increase the blending blending frequency ?
standalone control of IP with such high crossover would be meaningless !
AdV:BLENDING TESTED UP TO 180 mHz !
(in V+ achieved 110-120 mHz)
20 smaller “tilt noise reinjection)
Notes: ti passo i gps di due bei lock 1177409816, durata 1800 secondi vento medio: 45.6 GIPC con poli bassi (credo 0.12) 1177411816, durata 2000 secondi vendo medio: 41,.3 GIPC con poli a 0.18

## Slide 13
Preparatory tests ongoing: recombined FP lock, single arm
Wind speed: 42-45 km/h (ave)
April 28 2017
ETM: Blending cavity Length/Acc at high frequency (GIPC at 180 mHz)
AdV:BLENDING TESTED UP TO 180 mHz !
(in V+ achieved 110-120 mHz)
Blending cavity Length/Acc at medium-high frequency (GIPC crossover 120 mHz)
displacement RMS unchenged
Lock correction reduced : i.e. ETM tilt background removed.
Notes: ti passo i gps di due bei lock 1177409816, durata 1800 secondi vento medio: 45.6 GIPC con poli bassi (credo 0.12) 1177411816, durata 2000 secondi vendo medio: 41,.3 GIPC con poli a 0.18

## Slide 14
HPLP(fx50)
IP
SA
Corr
ITM
FP(NE-NI)
LVDT
HPLP(fx90)
IP
SA
Corr
ETM
LVDT
Acc
Acc
1
3
5
S_ITM ground
S_ETM ground
+
-
2
GIPC
STANDALONE
1/Top_TM
HPLP(fx50) = Sensor blending ~50 mHz
HPLP(fx90) = Sensor blending ~90 mHz
4
+
-
GIPC

## Slide 15
quiet
Seism evasion strategy: an example
Combined channels:
SFR (Seism-Free
Reconstruction, the noise is coherent because central area suspensions are close each other)
+
GIPC (Global-Inverted-Pendulum Control, for 3-km- separated susp.)
local LVDTs, used in-loop sense and re-inject seismic noise
INPUT mirror suspensions used as drift controlled reference
Central area
ITM as reference
ETM
Pics from the past:
potentially with AdV we
can do even better
Better payloads,
Optimized study

## Slide 16
seism: rejection VSR1start-VSR1stop
sea
INPUT mirror suspensions used as drift controlled reference
Combined channels:
SFR (Seism-Free
Reconstruction, the noise is coherent because central area suspensions are close each other)
+
GIPC (Global-Inverted-Pendulum Control, for 3-km- separated susp.)
local LVDTs, used in-loop sense and re-inject seismic noise
Central area
ITM as reference
ETM
Pics from the past:
potentially with AdV we
can do even better
Better payloads,
Optimized study

## Slide 17
EM-MSC-251007
MSC VS robustness : earthquakes/stable GIPC
A “lucky” occurrence !*
40 m peak
Comparison of two events with similar local amplitude
Previously we had
saturation as the
amplitude was
less than 20 m
The system
is much more
robust .
Correction dynamics more
than doubled.
MARIO:
small residual
correction (~7 m)
(*Indonesia M6.8, Sep-20-08.31):
Pics from the past:
potentially with AdV we
can do even better
Better payloads,
Optimized study

## Slide 18
Conclusions
GWDAW – Hamilton Island, May 9 2017
Global Inverted pendulum control is a way to evade indirect microseism contamination due to the sensors
(both Pos and Acc) used in top stage SuperAttenuator control.
The blending at the ETM should be at higher frequency with respect to the standalone
 no accelerometer “wind noise” contamination there
In absence of Tiltmeter, “wind noise” remains, but it is quite reduced, in case of HQ the lock is more robust.
The scheme was used intensively in Virgo.
AdV news:
Better payloads (pitch/roll very LF, even below 50 mHz, reduced the impact of microseism on residual tilt.)
Higher frequency Pos/Acc-blending for ETM SuperAttenuators (up to 180 mHz !!) tested.
Common mode reallocation at ITM top-stages, just tested: the advantage of full diagonalization isn’t clear yet.
In case of background noise with different properties along the two arms, the blending at the ITMs can be specified using an optimized strategy that exploits direct measurement of seismic noise (P. Ruggi, L. Trozzo).