## Slide 1: Optical Challenges in LIGO: Past and Future
Stan Whitcomb
CREOL IA Symposium
15 March 2019
LIGO-G1900303-v1

## Slide 2
This story begins 1.3 Billion years ago,
in a distant galaxy…

## Slide 3
Black Hole #1
36X more massive than the Sun
210 km in diameter
Black Hole #2
29X more massive than the Sun
170 km in diameter
Two Black Holes
in Close Orbit

## Slide 4: Then on 14 September 2015, at the LIGO sites…

## Slide 5
B. P. Abbott et al. (LIGO Scientific Collaboration and Virgo Collaboration), Observation of Gravitational Waves from a Binary Black Hole Merger, Phys. Rev. Lett. 116, 061102 (2016)

## Slide 7
Einstein (in 1916) recognized gravitational waves in his theory of General Relativity
  Necessary consequence of Special Relativity with its finite speed for information transfer
  Most distinctive departure from Newtonian theory
Time-dependent distortions of space-time created by the acceleration of masses
  Propagate away from the sources at the speed of light
  Pure transverse waves
  Two orthogonal polarizations
Requires huge masses and relativistic accelerations
Gravitational Wave Basics
h ~10-21 for plausible astrophysical sources

## Slide 8
Gravitational wave travelling INTO the plane of this slide
Changes the separations of “free masses”
Effect of Gravitational Wave

## Slide 9
Detecting GWs with Interferometry
Earliest concepts show interferometer mirrors mounted on a “free test mass”
Weiss, 1972

## Slide 10
Suspended mirrors act as “freely-falling” test masses in horizontal plane for frequencies f >> fpend
For a LIGO detector, L ~ 4 km, h ~ 10–21
DL ~ 10-18 m
Detecting GWs with Interferometry

## Slide 11
Test Mass
Must act like a free mass in GR
Ultra-high purity fused silica
~35 cm diameter, 40 kg

## Slide 12
Test Mass Suspension
Four-stage pendulum suspension
Monolithic fused silica suspension fibers
Low thermal noise
Low noise actuation

## Slide 13: Core Optics Specifications
Challenging optical requirements:
ROC match to <1%
/1000 surface figure
< 0.5 ppm absorption
~10 ppm scatter
0.1 % coating uniformity

## Slide 14: Precision Interferometry = Controlling Measurement Noises
Displacement Noise
  Seismic noise
  Radiation Pressure
  Thermal noise
    Suspensions
    Optics
Sensing Noise
  Shot Noise
  Residual Gas
Technical Noises:
Hundreds of them…
Notes: Explain top level three noise sources
Do animation explaining limitations and as a way of previewing next slides

## Slide 15: Advanced LIGO Detector Sensitivity During O1
Abbott, et al. ,LIGO Scientific Collaboration and Virgo Collaboration, “GW150914: The Advanced LIGO Detectors in the Era of First Discoveries”, Phys. Rev. Lett. 116, 131103 (2016).
Arm Cavity Power Parm = 100 kW
Displacement Noise
  Seismic noise
  Radiation Pressure
  Thermal noise
    Suspensions
    Optics
Sensing Noise
  Shot Noise
  Residual Gas
Technical Noises:
Hundreds of them…
Optical Challenge for the Future:
Quantum Noise

## Slide 16: Two Aspects to Quantum Noise
SHOT NOISE:
Photon counting noise
RADIATION PRESSURE NOISE: Noise caused by photon pressure on mirrors
LASER
Photo-Detector
m
Measurement frequency
Slide courtesy of L. Barsotti
Notes: h_shot, h_rad

## Slide 17: Standard Quantum Limit
Trade-off in Power Between Shot Noise and Radiation- Pressure Noise
Standard Quantum Limit (SQL): Uncertainty of test mass position due to Heisenberg Uncertainty Principle
Shot Noise ~
Radiation Pressure Noise ~

## Slide 18: Reduce Quantum Noise?
Quantum noise RPN SN
  Make the interferometer longer
  Heavier test masses & more optical power
  Inject of squeezed states of light

## Slide 19: Ball and Stick Picture of Quantum Optical Noise
Quantized Electromagnetic Fields Quadrature Field Amplitudes
Classical Quantum
Heisenberg’s uncertainty principle
Coherent State
+
Equivalent to ½ photon

## Slide 20: How Does Quantum Noise Enter the Measurement?
Interferometer arms set to interfere the light back toward laser— both the stick and the ball! -> no shot noise either?
No such thing as Quantum Noise?
Beamsplitter acts the same on the stick and the ball! -> no radiation pressure noise?

## Slide 21: Quantum Noise in an Interferometer
X1
X2
X1
X2
Laser
Radiation pressure noise
  Coherent intracavity field + X1 quantum fluctuations  fluctuating force on mirrors
Shot noise
  Coherent signal field + X2 quantum fluctuations  fluctuating amplitude at PD
Even when amplitude of the field is zero, the noise fuzz ball remains => “vacuum” fluctuations

## Slide 22: Squeezing
No quantum constraints individually on ΔX1 or ΔX2 , only their product
The noise can be redistributed while keeping the minimum uncertainty product ΔX1 ΔX2 1 = Squeezed light

## Slide 23: Squeezing
Particularly useful two states
Phase squeezing
(Amplitude anti-squeezing)
Amplitude squeezing
(Phase anti-squeezing)

## Slide 24: Squeezing in an Interferometer
X1
X2
Laser
X1
X2
X1
X2
Simple squeezing gives exactly the same effect as a change in laser power

## Slide 25: Does it Really Work? Squeezing in Action
3.5 dB
(1/1.5)
2.1 dB
(1/1.27)
LSC, Nature Physics 7, 962 (2011)
LSC, Nature Photonics 7, 613–619 (2013)

## Slide 26: Best of Both Worlds?
Rotate the squeezing quadrature as a function of frequency
Shot noise
Radiation pressure

## Slide 27: Summing Up
Detection of gravitational waves is already giving important new information about the Universe on its largest scales
Made possible by advances in optics and precision interferometry
Future advances will require us to confront the quantum nature of measurement