## DB9MF
Cable Type | Twisted Pair | Item | Manufacturers Part Number | Digikey Part Number
Wire Guage | 24 AWG | Backshell | 8655MH0901BLF | 609-3129-ND
Shield Type | Shielded | Male Connector | 1757819-6 | A34455-ND
Manufacturer | best available | Female Connector | 1757820-6 | A34454-ND
Part Number
Connector Type P1: | DB9M
Connector Gender P1: | Male, PN 1757819-6
Shield of P1: | Shield to Backshell
Connector Type P2: | DB9F
Connector Gender P2: | Female, PN 1757820-6
Shield of P2: | Cut, No Connection
Pinning Information:
P1 pin 1 to P2 pin 1 | Twisted Pair 1
P1 pin 2 to P2 pin 2 | Twisted Pair 2
P1 pin 3 to P2 pin 3 | Twisted Pair 3
P1 pin 4 to P2 pin 4 | Twisted Pair 4
P1 pin 5 to P2 pin 5 | Connect
P1 pin 6 to P2 pin 6 | Twisted Pair 1
P1 pin 7 to P2 pin 7 | Twisted Pair 2
P1 pin 8 to P2 pin 8 | Twisted Pair 3
P1 pin 9 to P2 pin 9 | Twisted Pair 4
Cable Number | Cable length
ISC_SQ_446_3 | 38
ISC_SQ_450 | 38
ISC_SQ_478 | 15
ISC_SQ_503 | 120
ISC_SQ_88 | 35
ISC_SQ_500 | 120
ISC_SQ_508 | 120
ISC_SQ_524 | 130
ISC_SQ_525 | 15
Total Length = | 631
Notes
1) An individual cable name label on each end of the cable.
2) All ground to back shell connections will need to be soldered to the back shell instead of just being clamped.
3) Mark each end either "Shield Terminated" or "Shield Not Terminated"

## DB15MF
Cable Type | Twisted Pair | Item | Manufacturers Part Number | Digikey Part Number
Wire Guage | 24 AWG | Backshell | 8655MH1501BLF | 609-3130-ND
Shield Type | Shielded | Male Connector | 1757819-7 | A34457-ND
Manufacturer | best available | Female Connector | 1757820-7 | A34456-ND
Part Number
Connector Type P1: | D15M
Connector Gender P1: | Male, PN 1757819-7
Shield of P1: | Shield to Backshell
Connector Type P2: | D15F
Connector Gender P2: | Female, PN 1757820-7
Shield of P2: | Cut, No Connection
Pinning Information:
P1 pin 1 to P2 pin 1 | Twisted Pair 1
P1 pin 2 to P2 pin 2 | Twisted Pair 2
P1 pin 3 to P2 pin 3 | Twisted Pair 3
P1 pin 4 to P2 pin 4 | Twisted Pair 4
P1 pin 5 to P2 pin 5 | Twisted Pair 5
P1 pin 6 to P2 pin 6 | Twisted Pair 6
P1 pin 7 to P2 pin 7 | Twisted Pair 7
P1 pin 8 to P2 pin 8 | Connect
P1 pin 9 to P2 pin 9 | Twisted Pair 1
P1 pin 10 to P2 pin 10 | Twisted Pair 2
P1 pin 11 to P2 pin 11 | Twisted Pair 3
P1 pin 12 to P2 pin 12 | Twisted Pair 4
P1 pin 13 to P2 pin 13 | Twisted Pair 5
P1 pin 14 to P2 pin 14 | Twisted Pair 6
P1 pin 15 to P2 pin 15 | Twisted Pair 7
Cable Number | Cable length (ft)
ISC_SQ_487 | 130
ISC_SQ_488 | 130
ISC_SQ_489 | 130
ISC_SQ_496 | 122
Total Length = | 512
Notes
1) An individual cable name label on each end of the cable.
2) All ground to back shell connections will need to be soldered to the back shell instead of just being clamped.
3) Mark each end either "Shield Terminated" or "Shield Not Terminated"

## DB25MF
Cable Type | Twisted Pair | Item | Manufacturers Part Number | Digikey Part Number
Wire Guage | 24 AWG | Backshell | 8655MH2501BLF | 609-3131-ND
Shield Type | Shielded | Male Connector | 1757819-8 | A34459-ND
Manufacturer | best available | Female Connector | 1757820-8 | A34458-ND
Part Number
Connector Type P1: | D25M
Connector Gender P1: | Male, PN 1757819-8
Shield of P1: | Shield to Backshell
Connector Type P2: | D25F
Connector Gender P2: | Female, PN 1757820-8
Shield of P2: | Cut, No Connection
Pinning Information:
P1 pin 1 to P2 pin 1 | Twisted Pair 1
P1 pin 2 to P2 pin 2 | Twisted Pair 2
P1 pin 3 to P2 pin 3 | Twisted Pair 3
P1 pin 4 to P2 pin 4 | Twisted Pair 4
P1 pin 5 to P2 pin 5 | Twisted Pair 5
P1 pin 6 to P2 pin 6 | Twisted Pair 6
P1 pin 7 to P2 pin 7 | Twisted Pair 7
P1 pin 8 to P2 pin 8 | Twisted Pair 8
P1 pin 9 to P2 pin 9 | Twisted Pair 9
P1 pin 10 to P2 pin 10 | Twisted Pair 10
P1 pin 11 to P2 pin 11 | Twisted Pair 11
P1 pin 12 to P2 pin 12 | Twisted Pair 12
P1 pin 13 to P2 pin 13 | Connect
P1 pin 14 to P2 pin 14 | Twisted Pair 1
P1 pin 15 to P2 pin 15 | Twisted Pair 2
P1 pin 16 to P2 pin 16 | Twisted Pair 3
P1 pin 17 to P2 pin 17 | Twisted Pair 4
P1 pin 18 to P2 pin 18 | Twisted Pair 5
P1 pin 19 to P2 pin 19 | Twisted Pair 6
P1 pin 20 to P2 pin 20 | Twisted Pair 7
P1 pin 21 to P2 pin 21 | Twisted Pair 8
P1 pin 22 to P2 pin 22 | Twisted Pair 9
P1 pin 23 to P2 pin 23 | Twisted Pair 10
P1 pin 24 to P2 pin 24 | Twisted Pair 11
P1 pin 25 to P2 pin 25 | Twisted Pair 12
Cable Number | Cable length (ft)
ISC_SQ_440 | 112
ISC_SQ_470 | 50
ISC_SQ_471 | 50
ISC_SQ_477 | 130
ISC_SQ_479 | 70
ISC_SQ_480 | 70
ISC_SQ_485 | 130
ISC_SQ_486 | 130
ISC_SQ_492 | 130
ISC_SQ_497 | 130
ISC_SQ_441 | 112
ISC_SQ_481 | 90
ISC_SQ_482 | 90
ISC_SQ_483 | 70
ISC_SQ_484 | 70
ISC_SQ_498 | 130
ISC_SQ_504 | 135
ISC_SQ_505 | 135
Total Length = | 1834
Notes
1) An individual cable name label on each end of the cable.
2) All ground to back shell connections will need to be soldered to the back shell instead of just being clamped.
3) Mark each end either "Shield Terminated" or "Shield Not Terminated"

## DB37MF
Cable Type | Twisted Pair | Item | Manufacturers Part Number | Digikey Part Number
Wire Guage | 24 AWG | Backshell | 8655MH3701BLF | 609-3132-ND
Shield Type | Shielded | Male Connector | 1757819-9 | A34461-ND
Manufacturer | best available | Female Connector | 1757820-9 | A34460-ND
Part Number
Connector Type P1: | D37M
Connector Gender P1: | Male, PN 1757819-9
Shield of P1: | Shield to Backshell
Connector Type P2: | D37F
Connector Gender P2: | Female, PN 1757820-9
Shield of P2: | Cut, No Connection
Pinning Information:
P1 pin 1 to P2 pin 1 | Twisted Pair 1
P1 pin 2 to P2 pin 2 | Twisted Pair 2
P1 pin 3 to P2 pin 3 | Twisted Pair 3
P1 pin 4 to P2 pin 4 | Twisted Pair 4
P1 pin 5 to P2 pin 5 | Twisted Pair 5
P1 pin 6 to P2 pin 6 | Twisted Pair 6
P1 pin 7 to P2 pin 7 | Twisted Pair 7
P1 pin 8 to P2 pin 8 | Twisted Pair 8
P1 pin 9 to P2 pin 9 | Twisted Pair 9
P1 pin 10 to P2 pin 10 | Twisted Pair 10
P1 pin 11 to P2 pin 11 | Twisted Pair 11
P1 pin 12 to P2 pin 12 | Twisted Pair 12
P1 pin 13 to P2 pin 13 | Twisted Pair 13
P1 pin 14 to P2 pin 14 | Twisted Pair 14
P1 pin 15 to P2 pin 15 | Twisted Pair 15
P1 pin 16 to P2 pin 16 | Twisted Pair 16
P1 pin 17 to P2 pin 17 | Twisted Pair 17
P1 pin 18 to P2 pin 18 | Twisted Pair 18
P1 pin 19 to P2 pin 19 | Connect
P1 pin 20 to P2 pin 20 | Twisted Pair 1
P1 pin 21 to P2 pin 21 | Twisted Pair 2
P1 pin 22 to P2 pin 22 | Twisted Pair 3
P1 pin 23 to P2 pin 23 | Twisted Pair 4
P1 pin 24 to P2 pin 24 | Twisted Pair 5
P1 pin 25 to P2 pin 25 | Twisted Pair 6
P1 pin 26 to P2 pin 26 | Twisted Pair 7
P1 pin 27 to P2 pin 27 | Twisted Pair 8
P1 pin 28 to P2 pin 28 | Twisted Pair 9
P1 pin 29 to P2 pin 29 | Twisted Pair 10
P1 pin 30 to P2 pin 30 | Twisted Pair 11
P1 pin 31 to P2 pin 31 | Twisted Pair 12
P1 pin 32 to P2 pin 32 | Twisted Pair 13
P1 pin 33 to P2 pin 33 | Twisted Pair 14
P1 pin 34 to P2 pin 34 | Twisted Pair 15
P1 pin 35 to P2 pin 35 | Twisted Pair 16
P1 pin 36 to P2 pin 36 | Twisted Pair 17
P1 pin 37 to P2 pin 37 | Twisted Pair 18
Cable Number | Cable length (ft)
ISC_SQ_476 | 120
ISC_SQ_490 | 130
ISC_SQ_491 | 130
ISC_SQ_501 | 130
ISC_SQ_509 | 130
Total Length = | 640
Notes
1) An individual cable name label on each end of the cable.
2) All ground to back shell connections will need to be soldered to the back shell instead of just being clamped.
3) Mark each end either "Shield Terminated" or "Shield Not Terminated"

## M12MM
Cable Type | Twisted Pair | Item | Manufacturers Part Number | Digikey Part Number
Wire Guage | 20-22 AWG ish, OD 6-8mm | Male Connector | T4111512041-000 | A124959-ND
Shield Type | Shielded | Male Connector | T4111512041-000 | A124959-ND
Manufacturer | best available
Part Number
Connector Type P1: | M12
Connector Gender P1: | Male, Manufacturer Part Number T4111512041-000
Shield of P1: | Shield to Backshell
Connector Type P2: | M12
Connector Gender P2: | Male, Manufacturer Part Number T4111512041-000
Shield of P2: | Shield to Backshell
Pinning Information:
P1 pin 1 to P2 pin 1 | Twisted Pair 1
P1 pin 2 to P2 pin 2 | Twisted Pair 2
P1 pin 3 to P2 pin 3 | Twisted Pair 1
P1 pin 4 to P2 pin 4 | Twisted Pair 2
Cable Number | Cable length (ft)
ISC_SQ_493 | 130
ISC_SQ_494 | 130
ISC_SQ_495 | 130
Total Length = | 390
Notes
1) An individual cable name label on each end of the cable.
2) All ground to back shell connections will need to be soldered to the back shell instead of just being clamped.
3) Mark each end either "Shield Terminated" or "Shield Not Terminated"